Table 3. 	Annual average load estimates for nutrients and trace metals discharged to Mamala Bay and adjacent waters

from point source discharges. Loading data given as metric tons per year for nutrients, and kg per year for

the metals. From data in Stevenson et al. (1995)

| Water Body Receiving Point Source Discharge | Flow m 3 x 10 6 | NH4-N (Tonnes) | Total N (Tonnes) | Total P (Tonnes) | Cd (kg) | Cu (kg) | Pb (kg) | Zn (kg) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ala Wai Canal | 3.59 |  |  |  |  |  |  |  |
| Kewalo Basin | 0 |  |  |  |  | 0.082 | 9.1 |  |
| Keehi Lagoon | 1.04 |  |  |  |  |  |  |  |
| Pearl Harbor | 4.14 | 0.24 |  |  |  | 1.2 |  |  |
| Coastal Mamala Bay | 0.09 |  |  |  |  |  |  |  |
| Sand Island WWTP | 99.4 | 1,923 | 1,951 | 345 | 272 | 1,633 | 4,173 | 5,897 |
| Honouliuli WWTP | 33.2 | 613 | 799 | 122 | 84.4 | 998 | 6,169 | 2,540 |
| Ft. Kam WWTP | 9.53 | 16.3 | 109 | 16.3 | 36.3 | 163 | 263 | 998 |
| Totals | 151 | 2,553 | 2,859 | 483 | 393 | 2,795 | 10,614 | 9,435 |