Table 4. 	Annual average load estimates for suspended solids, BOD, COD and Oil and Grease discharged to

Mamala Bay and adjacent waters from point source discharges. From Stevenson et al. (1995).

| Water Body Receiving Point Source Discharge | Flow m 3 x 10 6 | TSS (Tonnes/yr) | BOD (Tonnes/yr) | COD (Tonnes/yr) | Oil and Grease (Tonnes/yr) |
| --- | --- | --- | --- | --- | --- |
| Ala Wai Canal | 3.59 | 10 |  |  | 9.1 |
| Kewalo Basin | 0 |  |  |  |  |
| Keehi Lagoon | 1.04 | 3 |  |  | 1.4 |
| Pearl Harbor | 4.14 | 1.1 | 17.2 |  | 0.044 |
| Coastal Mamala Bay | 0.09 | 1.4 | 6.9 |  |  |
| Sand Island WWTP | 99.4 | 5,567 | 10,026 | 26,127 | 2,649 |
| Honouliuli WWTP | 33.2 | 1,812 | 4,014 | 41,550 | 1,050 |
| Ft. Kam WWTP | 9.53 | 190 | 75.3 |  | 34.5 |
| Totals | 151 | 7,584 | 14,139 | 67,677 | 3,744 |