## CHART
[16 empty] | Ala Wai | Kewalo | Keehi/H. Harbor | East Loch | Middle Loch | West Loch | Ewa Plain
Table 4.3 Annual Pollutant Loading for Mamala Bay Watersheds | [14 empty] | Table 4.4 Average EMC's for Mamala Bay Watersheds
Existing Land Use Conditions | [14 empty] | Existing Land Use Conditions
| Ala Wai | Kewalo | Keehi Lagoon/ |  | Pearl Harbor |  | Ewa | East Loch 1 | East Loch 2 | Middle Loch 1 | Middle Loch 2 | West Loch 1 | West Loch 2 | Total |  | Ala Wai | Kewalo | Keehi Lagoon/ | Pearl Harbor |  |  | Ewa
| Canal | Basin | Honolulu Harbor | East Loch | Middle Loch | West Loch | Plain | [8 empty] | Canal | Basin | Honolulu Harbor | East Loch | Middle Loch | West Loch | Plain
Constituent |  |  | Medium Annual Loading (lb/yr) | [11 empty] | Constituent |  |  | Medium EMC's (mg/L)
Runoff (ac-ft/yr) | 23345.5099 | 3686.9141 | 50589.9219 | 38319.9141 | 37013.2161 | 81335.526 | 9426.875 | 23080.1615 | 15239.7526 | 1873.3438 | 35139.8724 | 17951.0979 | 63384.4281 | 243717.8771 | Runoff (cfs) | 32.2452 | 5.0924 | 69.8756 | 52.9281 | 51.1232 | 112.3419 | 13.0205
BOD | 511063 | 87178 | 1141846 | 805090 | 773934 | 1644701 | 174663 | 452092.529 | 294845.8538 | 45897.532 | 679672.1943 | 291947.6044 | 1164897.3582 | 5138475 | BOD | 8.0669 | 8.7133 | 8.3173 | 7.7421 | 7.7052 | 7.4515 | 6.8276
COD | 3170635.3124 | 511703.6337 | 7044567.6134 | 4833943.169 | 4639509.9679 | 9094885.7346 | 895986.0181 | 2938029.8854 | 1895913.2836 | 325644.9292 | 4313865.0387 | 1800930.3379 | 7293955.3967 | 30191231.4491 | COD | 50.0473 | 51.1438 | 51.313 | 46.4852 | 46.1905 | 41.2054 | 35.0244
TSS | 20700000 | 1270000 | 43600000 | 45400000 | 45500000 | 60500000 | 5940000 | 19515789.46 | 13092798.554 | 966046.0571 | 31052960.948 | 7355068.8153 | 37127284.2292 | 222910000 | TSS | 326.7416 | 126.9341 | 317.585 | 436.585 | 452.9936 | 274.1022 | 232.1968
TDS | 4709301.963 | 818059.5683 | 11095354.0675 | 8112776.3143 | 8142944.6805 | 15723248.3005 | 1539601.9573 | 4890675.8441 | 3222100.4702 | 439250.5099 | 7703694.1706 | 2997623.6404 | 12725624.6601 | 50141286.8513 | TDS | 74.3345 | 81.7635 | 80.8192 | 78.0158 | 81.0704 | 71.236 | 60.1836
Total-P | 17172.2413 | 2237.0246 | 34576.8299 | 24019.0147 | 28626.1878 | 73556.1565 | 7444.7771 | 14640.9854 | 9378.0294 | 1740.6117 | 26885.5761 | 14930.5971 | 58625.5593 | 187632.2318 | Total-P | 0.27106 | 0.22359 | 0.25186 | 0.23098 | 0.285 | 0.33325 | 0.29102
Dissolved-P | 5714.7437 | 923.2284 | 11762.9564 | 7322.019 | 10030.1269 | 33474.967 | 3017.1611 | 4475.2321 | 2846.7868 | 623.4906 | 9406.6363 | 7447.9579 | 26027.0091 | 72245.2024 | Dissolved-P | 0.090205 | 0.092275 | 0.085682 | 0.070412 | 0.099859 | 0.15166 | 0.11794
TKN | 91027.9809 | 11814.8108 | 186060.5867 | 133340.2994 | 162497.4473 | 407801.3238 | 43113.8973 | 81062.8203 | 52277.4791 | 8759.596 | 153737.8513 | 80270.8833 | 327530.4405 | 1035656.3463 | TKN | 1.4368 | 1.1809 | 1.3553 | 1.2823 | 1.6178 | 1.8476 | 1.6853
NO2&NO3 | 42187.4711 | 5750.3159 | 89419.9531 | 66925.947 | 88075.179 | 260135.2127 | 20890.9243 | 40461.5083 | 26464.4387 | 3790.6698 | 84284.5092 | 57119.3246 | 203015.8881 | 573385.0031 | NO2&NO3 | 0.66591 | 0.57473 | 0.65134 | 0.64359 | 0.87687 | 1.1786 | 0.81663
Lead | 481.5364 | 158.6024 | 1237.2479 | 393.6976 | 275.9687 | 1265.3609 | 88.701 | 252.0224 | 141.6752 | 83.1407 | 192.828 | 329.8572 | 935.5036 | 3901.1149 | Lead | 0.0076009 | 0.015852 | 0.0090122 | 0.003786 | 0.0027475 | 0.0057329 | 0.0034674
Copper | 1301.9962 | 300.8685 | 3015.9687 | 1476.3575 | 1110.6671 | 2718.638 | 190.1712 | 917.7875 | 558.57 | 179.2792 | 931.3879 | 663.3405 | 2055.2975 | 10114.6671 | Copper | 0.020552 | 0.030071 | 0.021968 | 0.014197 | 0.011058 | 0.012317 | 0.0074339
Zinc | 5344.0937 | 2559.8082 | 17282.3558 | 5670.7302 | 4343.8144 | 19734.9976 | 1166.2107 | 3513.7929 | 2156.9372 | 973.3763 | 3370.4382 | 5078.1112 | 14656.8864 | 56102.0105 | Zinc | 0.084354 | 0.25585 | 0.12589 | 0.054532 | 0.043247 | 0.089412 | 0.045588
Cadmium | 48.1536 | 15.8602 | 123.7248 | 39.3698 | 27.5969 | 126.5361 | 8.8701 | 25.2022 | 14.1675 | 8.3141 | 19.2828 | 32.9857 | 93.5504 | 390.1115 | Cadmium | 0.00076009 | 0.0015852 | 0.00090122 | 0.0003786 | 0.00027475 | 0.00057329 | 0.00034674
|  |  | High Annual Loading (lb/yr) | [14 empty] | High EMC's (mg/L)
BOD | 767400 | 120958 | 1701810 | 1241016 | 1205760 | 2409781 | 253042 | 715326.0766 | 467537.6669 | 68374.1426 | 1089022.1876 | 433719.3924 | 1788205.0069 | 7699767 | BOD | 12.1131 | 12.0895 | 12.3961 | 11.9341 | 12.0044 | 10.9178 | 9.8915
COD | 5248595.25 | 781278.4097 | 11381345.0647 | 7926256.7508 | 7591536.1892 | 14547739.8989 | 1459476.8121 | 4822123.0304 | 3104133.7204 | 533367.1907 | 7058168.9985 | 2856710.376 | 11691029.5229 | 48936228.3754 | COD | 82.8471 | 78.0873 | 82.9024 | 76.2221 | 75.5806 | 65.9102 | 57.0515
TSS | 36000000 | 2480000 | 75800000 | 76000000 | 75600000 | 103000000 | 1010000 | 33052798.8785 | 22033176.2616 | 1917054.0237 | 51657755.133 | 13043959.263 | 63654576.4489 | 369890000 | TSS | 568.2463 | 247.8713 | 552.1317 | 730.8472 | 752.6663 | 466.6534 | 39.4813
TDS | 8639254.9739 | 1600057.9221 | 20373885.3365 | 14029405.1366 | 13851886.2365 | 27912857.9488 | 2684983.4131 | 8487106.5371 | 5542298.5995 | 872854.7294 | 12979031.5071 | 5471730.7659 | 22441127.1829 | 89092330.9675 | TDS | 136.3674 | 159.9227 | 148.4046 | 134.9125 | 137.908 | 126.4624 | 104.957
Total-P | 31022.5296 | 3973.7156 | 62486.6802 | 43595.7348 | 51366.2257 | 125014.4296 | 13164.7467 | 26589.165 | 17006.5698 | 3147.6399 | 48218.5858 | 24386.333 | 100628.0967 | 330624.0622 | Total-P | 0.48968 | 0.39717 | 0.45516 | 0.41923 | 0.5114 | 0.56639 | 0.51461
Dissolved-P | 9312.4649 | 1607.2494 | 19901.1753 | 12472.9421 | 16993.4771 | 52137.1322 | 5022.8936 | 7609.5474 | 4863.3947 | 1016.2884 | 15977.1888 | 10888.9027 | 41248.2296 | 117447.3347 | Dissolved-P | 0.14699 | 0.16064 | 0.14496 | 0.11994 | 0.16919 | 0.23621 | 0.19635
TKN | 157118.5355 | 18422.7035 | 311755.4006 | 222486.3922 | 265502.4694 | 635581.9358 | 69326.2389 | 135757.2859 | 86729.1064 | 15444.4458 | 250058.0236 | 121626.9881 | 513954.9477 | 1680193.6761 | TKN | 2.4801 | 1.8413 | 2.2708 | 2.1395 | 2.6433 | 2.8796 | 2.71
NO2&NO3 | 73757.2266 | 9240.6359 | 151933.0891 | 112224.588 | 140202.8008 | 373559.1586 | 33675.404 | 68122.1677 | 44102.4203 | 6880.2112 | 133322.5896 | 77655.0217 | 295904.1369 | 894592.903 | NO2&NO3 | 1.1642 | 0.92358 | 1.1067 | 1.0792 | 1.3958 | 1.6925 | 1.3164
Lead | 902.423 | 289.7441 | 2288.5782 | 734.4576 | 513.5329 | 2324.3779 | 164.88 | 470.5496 | 263.9079 | 154.7766 | 358.7563 | 605.9254 | 1718.4525 | 7217.9938 | Lead | 0.014244 | 0.028959 | 0.01667 | 0.0070628 | 0.0051127 | 0.010531 | 0.0064452
Copper | 2422.5268 | 584.1159 | 5550.0714 | 2354.0627 | 1711.0366 | 5124.5516 | 381.0974 | 1484.1427 | 869.92 | 360.8993 | 1350.1373 | 1290.5325 | 3834.019 | 18127.4624 | Copper | 0.038239 | 0.058381 | 0.040427 | 0.022638 | 0.017035 | 0.023217 | 0.014897
Zinc | 10136.5226 | 5322.9866 | 34358.0114 | 10119.4078 | 7667.4936 | 39763.149 | 2262.6969 | 6299.4708 | 3819.937 | 1964.3754 | 5703.1182 | 10298.9191 | 29464.2299 | 109630.2678 | Zinc | 0.16 | 0.53202 | 0.25027 | 0.097312 | 0.076337 | 0.18015 | 0.08845
Cadmium | 95.15 | 33.0376 | 251.3026 | 78.5538 | 55.3578 | 260.689 | 17.8334 | 50.1965 | 28.3572 | 16.6628 | 38.6951 | 67.9568 | 192.7322 | 791.9242 | Cadmium | 0.0015019 | 0.003302 | 0.0018305 | 0.00075541 | 0.00055114 | 0.0011811 | 0.00069711
|  |  | Low Annual Loading (lb/yr) | [14 empty] | Low EMC's (mg/L)
BOD | 301640 | 58230 | 680598 | 452276 | 425375 | 1017644 | 111023 | 238946.6635 | 155179.7864 | 27114.3917 | 349896.2355 | 174689.4905 | 655098.0839 | 3046786 | BOD | 4.7613 | 5.82 | 4.9575 | 4.3493 | 4.235 | 4.6106 | 4.3399
COD | 1517149.1053 | 288490.9862 | 3555064.8363 | 2360804.0583 | 2275564.4226 | 4687129.4598 | 444638.6378 | 1431898.1963 | 928905.862 | 159664.4358 | 2115899.9868 | 944884.2683 | 3742245.1915 | 15128841.5063 | COD | 23.9476 | 28.8341 | 25.8953 | 22.7025 | 22.6553 | 21.2356 | 17.3811
TSS | 8820000 | 386000 | 18700000 | 21200000 | 21500000 | 27300000 | 2700000 | 8895685.5174 | 6051187.9661 | 274395.2024 | 14705919.2683 | 3002789.1695 | 16457088.5653 | 100606000 | TSS | 139.2203 | 38.58 | 136.2119 | 203.8679 | 214.0519 | 123.6858 | 105.544
TDS | 1755211.259 | 244831.3364 | 4118052.6953 | 3526706.1254 | 3675292.7186 | 6400716.3816 | 655833.2582 | 2108570.6971 | 1418135.4284 | 123951.2337 | 3551341.4849 | 1131040.7374 | 5269675.6442 | 20376643.7745 | TDS | 27.7053 | 24.4704 | 29.9961 | 33.9143 | 36.5909 | 28.9992 | 25.6368
Total-P | 6686.1304 | 915.869 | 13425.8455 | 9207.5156 | 11428.5334 | 34601.9252 | 3118.0279 | 5600.7807 | 3606.7349 | 673.6672 | 10754.8662 | 7767.5539 | 26834.3713 | 79383.847 | Total-P | 0.10554 | 0.091539 | 0.097795 | 0.088543 | 0.11378 | 0.15677 | 0.12188
Dissolved-P | 2889.0948 | 404.5414 | 5472.6635 | 3356.9614 | 4722.737 | 19300.374 | 1487.711 | 2058.473 | 1298.4884 | 312.8257 | 4409.9114 | 4829.0313 | 14471.3427 | 37634.0831 | Dissolved-P | 0.045603 | 0.040433 | 0.039863 | 0.032282 | 0.047019 | 0.087443 | 0.058155
TKN | 40115.9586 | 6468.59 | 87685.7161 | 63260.9999 | 80787.8797 | 226124.5858 | 22358.1256 | 38140.1891 | 25120.8108 | 3655.8851 | 77131.9946 | 47350.1045 | 178774.4813 | 526801.8557 | TKN | 0.63322 | 0.64652 | 0.63871 | 0.60834 | 0.80432 | 1.0245 | 0.87399
NO2&NO3 | 18095.9367 | 2970.0807 | 40897.0023 | 31446.0368 | 46815.3609 | 170037.5121 | 10801.1333 | 18840.3231 | 12605.7137 | 1470.4328 | 45344.9281 | 40868.6683 | 129168.8438 | 321063.0627 | NO2&NO3 | 0.28564 | 0.29685 | 0.2979 | 0.3024 | 0.46609 | 0.77037 | 0.42222
Lead | 166.3193 | 59.1194 | 444.779 | 137.9233 | 97.4316 | 464.2783 | 31.4194 | 88.063 | 49.8603 | 29.3153 | 68.1163 | 121.0285 | 343.2498 | 1401.2703 | Lead | 0.0026253 | 0.0059089 | 0.0032398 | 0.0013263 | 0.00097002 | 0.0021035 | 0.0012282
Copper | 495.2582 | 92.3954 | 1173.2407 | 842.4087 | 676.2099 | 957.9453 | 51.8919 | 508.9693 | 333.4393 | 47.8922 | 628.3177 | 204.3504 | 753.5949 | 4289.35 | Copper | 0.0078175 | 0.0092347 | 0.008546 | 0.0081009 | 0.0067323 | 0.0043401 | 0.0020285
Zinc | 1858.5447 | 592.0396 | 5031.5994 | 2453.9533 | 1946.9036 | 5431.4081 | 376.2909 | 1497.5734 | 956.3799 | 258.4037 | 1688.4999 | 1349.5407 | 4081.8673 | 17690.7396 | Zinc | 0.029336 | 0.059173 | 0.03665 | 0.023598 | 0.019383 | 0.024608 | 0.014709
Cadmium | 13.8559 | 3.6172 | 31.7963 | 10.9046 | 7.4797 | 30.4698 | 2.3816 | 7.0301 | 3.8745 | 2.2616 | 5.2181 | 7.9431 | 22.5267 | 100.505 | Cadmium | 0.00021871 | 0.00036153 | 0.00023161 | 0.00010486 | 7.4467e-05 | 0.00013805 | 9.3097e-05