## CHARTFUT
[15 empty] | Ala Wai | Kewalo | Keehi/H. Harbor | East Loch | Middle Loch | West Loch | Ewa Plain
Table 4.6 Annual Pollutant Loading Rates for Mamala Bay Watersheds | [13 empty] | Table 4.7 Average EMC's for Mamala Bay Watershed Discharges
Buildout Land Use Conditions | [13 empty] | Buildout Land Use Conditions
| Ala Wai | Kewalo | Keehi Lagoon/ | Pearl Harbor |  |  | Ewa | East Loch 1 | East Loch 2 | Middle Loch 1 | Middle Loch 2 | West Lock 1 | West Loch 2 |  | Ala Wai | Kewalo | Keehi Lagoon/ | Pearl Harbor |  |  | Ewa
| Canal | Basin | Honolulu Harbor | East Loch | Middle Loch | West Loch | Plain | [7 empty] | Canal | Basin | Honolulu Harbor | East Loch | Middle Loch | West Loch | Plain
Constituent |  |  | Medium Annual Loading (lb/yr) | [10 empty] | Constituent |  |  | Medium EMC's (mg/L)
Runoff (ac-ft/yr) | 23399.6974 | 3686.9141 | 52571.8734 | 38839.4016 | 37333.6021 | 83443.4208 | 10353.9062 | 23385.6349 | 15453.7667 | 1873.3438 | 35460.2583 | 18498.6677 | 64944.7531 | Runoff (cfs) | 32.32 | 5.0924 | 72.6131 | 53.6456 | 51.5657 | 115.2533 | 14.301
BOD | 528000 | 99200 | 1240000 | 842000 | 800000 | 1790000 | 216000 | 462783.2415 | 302340.7467 | 45897.532 | 690912.3883 | 308499.3186 | 1211951.9496 | BOD | 8.4 | 9.7 | 8.7 | 8 | 7.9 | 7.9 | 7.7
COD | 3186636.6143 | 511703.6337 | 7471648.1353 | 4974851.6073 | 4726742.4186 | 9525457.5219 | 1096027.4789 | 3020851.0986 | 1954000.5088 | 325644.9292 | 4401097.4894 | 1913006.4314 | 7612451.0905 | COD | 50.1834 | 51.1438 | 52.3722 | 47.2003 | 46.6551 | 42.066 | 39.0081
TSS | 20700000 | 1350000 | 44100000 | 45500000 | 45600000 | 61100000 | 6110000 | 19705262.732 | 13225600.3981 | 966046.0571 | 31252839.1052 | 7590130.9435 | 37796851.3234 | TSS | 327 | 132 | 310 | 432 | 450 | 270 | 218
TDS | 4724036.8372 | 818059.5683 | 11634293.9893 | 8254037.3612 | 8230065.2617 | 16296702.5833 | 1791683.8743 | 4973741.3608 | 3280296.0005 | 439250.5099 | 7790814.7519 | 3146788.3243 | 13149914.259 | TDS | 74.3944 | 81.7635 | 81.55 | 78.3126 | 81.2346 | 71.9689 | 63.7668
Total-P | 17230.0686 | 2237.0246 | 36610.5604 | 24818.2544 | 29122.4705 | 75512.5299 | 8396.0232 | 15110.7267 | 9707.5277 | 1740.6117 | 27381.8588 | 15439.2454 | 60073.2845 | Total-P | 0.27134 | 0.22359 | 0.25662 | 0.23547 | 0.28745 | 0.33348 | 0.29882
Dissolved-P | 5743.0698 | 923.2284 | 12594.4713 | 7630.4689 | 10221.4519 | 34296.0964 | 3417.9311 | 4656.5111 | 2973.9578 | 623.4906 | 9597.9613 | 7661.4042 | 26634.6922 | Dissolved-P | 0.090442 | 0.092275 | 0.08828 | 0.072396 | 0.10089 | 0.15146 | 0.12165
TKN | 91460.0672 | 11814.8108 | 195804.9385 | 136923.8561 | 164719.2909 | 417135.1892 | 47446.3619 | 83168.8113 | 53755.0448 | 8759.596 | 155959.6949 | 82698.5831 | 334436.606 | TKN | 1.4403 | 1.1809 | 1.3725 | 1.2991 | 1.6259 | 1.8421 | 1.6886
NO2&NO3 | 42350.4221 | 5750.3159 | 93435.0792 | 68231.8307 | 88883.3744 | 264104.7147 | 22660.8655 | 41229.0882 | 27002.7425 | 3790.6698 | 85092.7046 | 58149.3218 | 205955.3929 | NO2&NO3 | 0.66694 | 0.57473 | 0.65493 | 0.64737 | 0.87732 | 1.1663 | 0.80651
Lead | 487.8076 | 158.6024 | 1408.8018 | 451.1664 | 311.5517 | 1443.7576 | 176.9771 | 285.7971 | 165.3694 | 83.1407 | 228.4109 | 376.3392 | 1067.4184 | Lead | 0.007682 | 0.015852 | 0.0098749 | 0.0042806 | 0.0030752 | 0.0063759 | 0.0062987
Copper | 1315.8791 | 300.8685 | 3362.4261 | 1599.7177 | 1187.1138 | 3070.6081 | 365.5783 | 990.2808 | 609.4369 | 179.2792 | 1007.8346 | 755.0554 | 2315.5527 | Copper | 0.020723 | 0.030071 | 0.023569 | 0.015178 | 0.011717 | 0.01356 | 0.013011
Zinc | 5410.8784 | 2559.8082 | 19674.5826 | 6348.2321 | 4762.1852 | 22363.559 | 2445.8476 | 3912.0649 | 2436.1672 | 973.3763 | 3788.8089 | 5762.8427 | 16600.7163 | Zinc | 0.085211 | 0.25585 | 0.13791 | 0.060231 | 0.047005 | 0.098761 | 0.087049
Cadmium | 48.7808 | 15.8602 | 140.8802 | 45.1166 | 31.1552 | 144.3758 | 17.6977 | 28.5797 | 16.5369 | 8.3141 | 22.8411 | 37.6339 | 106.7418 | Cadmium | 0.0007682 | 0.0015852 | 0.00098749 | 0.00042806 | 0.00030752 | 0.00063759 | 0.00062987
|  |  | High Annual Loading (lb/yr) | [13 empty] | High EMC's (mg/L)
BOD | 786000 | 137000 | 1830000 | 1250000 | 1240000 | 2580000 | 306000 | 730206.8649 | 477970.0698 | 68374.1426 | 1104670.9265 | 456236.4842 | 1852232.6454 | BOD | 12.378 | 13.4 | 12.9 | 12.2 | 12.2394 | 11.3937 | 10.8907
COD | 5275322.1156 | 781278.4097 | 12049348.4679 | 8156502.2382 | 7734164.9376 | 15208803.6411 | 1766956.8981 | 4957445.3641 | 3199056.8741 | 533367.1907 | 7200797.747 | 3028782.9174 | 12180020.7237 | COD | 83.0761 | 78.0873 | 84.4593 | 77.3872 | 76.3398 | 67.1646 | 62.8868
TSS | 36100000 | 2630000 | 77200000 | 76400000 | 75900000 | 104000000 | 10600000 | 33497078.6288 | 22344713.4935 | 1917054.0237 | 52126646.0294 | 13568928.4397 | 65148305.7909 | TSS | 571 | 258 | 542 | 726 | 750 | 461 | 379
TDS | 8675226.4048 | 1600057.9221 | 21554266.1646 | 14366210.2285 | 14059913.937 | 29155098.6979 | 3248740.6892 | 8685118.5773 | 5681091.6512 | 872854.7294 | 13187059.2076 | 5794996.064 | 23360102.6339 | TDS | 136.618 | 159.9227 | 151.0836 | 136.3036 | 138.7779 | 128.7538 | 115.6241
Total-P | 31127.487 | 3973.7156 | 66180.7061 | 45052.274 | 52270.6978 | 128562.3008 | 14889.4856 | 27445.2233 | 17607.0507 | 3147.6399 | 49123.0579 | 25309.0517 | 103253.2491 | Total-P | 0.4902 | 0.39717 | 0.46389 | 0.42745 | 0.51594 | 0.56775 | 0.52992
Dissolved-P | 9355.3464 | 1607.2494 | 21324.1129 | 12972.7401 | 17303.2789 | 53573.3497 | 5717.7449 | 7903.3101 | 5069.4301 | 1016.2884 | 16286.9905 | 11262.4393 | 42310.9103 | Dissolved-P | 0.14733 | 0.16064 | 0.14947 | 0.12308 | 0.17079 | 0.23659 | 0.2035
TKN | 157947.2606 | 18422.7035 | 328682.6411 | 229193.1832 | 269664.6789 | 651292.3899 | 76717.6785 | 139698.3417 | 89494.8414 | 15444.4458 | 254220.2332 | 125715.0679 | 525577.322 | TKN | 2.4874 | 1.8413 | 2.3039 | 2.1745 | 2.6617 | 2.8762 | 2.7304
NO2&NO3 | 74093.6002 | 9240.6359 | 159281.668 | 114869.2948 | 141841.9494 | 380584.7953 | 36874.3283 | 69676.4444 | 45192.8505 | 6880.2112 | 134961.7382 | 79480.6199 | 301104.1754 | NO2&NO3 | 1.1668 | 0.92358 | 1.1165 | 1.0899 | 1.4 | 1.6807 | 1.3124
Lead | 914.146 | 289.7441 | 2604.8006 | 841.3675 | 579.7371 | 2652.1001 | 327.2133 | 533.3802 | 307.9873 | 154.7766 | 424.9605 | 691.3158 | 1960.7843 | Lead | 0.014396 | 0.028959 | 0.018258 | 0.0079827 | 0.0057223 | 0.011712 | 0.011646
Copper | 2450.6624 | 584.1159 | 6235.2135 | 2602.0996 | 1864.7806 | 5815.9485 | 726.3716 | 1629.8997 | 972.2 | 360.8993 | 1503.8812 | 1470.6983 | 4345.2502 | Copper | 0.038593 | 0.058381 | 0.043705 | 0.024688 | 0.018406 | 0.025684 | 0.025852
Zinc | 10270.4207 | 5322.9866 | 39293.0649 | 11493.8318 | 8515.9795 | 45212.211 | 4911.6572 | 7107.4535 | 4386.3783 | 1964.3754 | 6551.604 | 11718.3797 | 33493.8313 | Zinc | 0.16174 | 0.53202 | 0.27542 | 0.10905 | 0.084057 | 0.19966 | 0.17481
Cadmium | 96.3959 | 33.0376 | 286.3988 | 90.0886 | 62.4978 | 297.4377 | 35.98 | 56.9758 | 33.1128 | 16.6628 | 45.835 | 77.5315 | 219.9061 | Cadmium | 0.001518 | 0.003302 | 0.0020075 | 0.00085474 | 0.00061688 | 0.0013135 | 0.0012805
|  |  | Low Annual Loading (lb/yr) | [13 empty] | Low EMC's (mg/L)
BOD | 318000 | 66700 | 755000 | 482000 | 448000 | 1130000 | 143000 | 245962.0832 | 160098.0144 | 27114.3917 | 357269.7724 | 185944.6265 | 687086.012 | BOD | 5.0079 | 6.5 | 5.2921 | 4.6 | 4.422 | 4.9903 | 5.0894
COD | 1524661.3471 | 288490.9862 | 3785425.4524 | 2430332.7421 | 2318548.3294 | 4927559.405 | 556136.43 | 1472770.1645 | 957562.5776 | 159664.4358 | 2158883.8936 | 1007467.0502 | 3920092.3548 | COD | 24.0105 | 28.8341 | 26.5338 | 23.0585 | 22.8851 | 21.7609 | 19.7931
TSS | 8810000 | 399000 | 18600000 | 21100000 | 21500000 | 27200000 | 2610000 | 8909156.2564 | 6060546.5056 | 274395.2024 | 14720006.9828 | 3034601.2282 | 16548669.122 | TSS | 138.7405 | 39 | 131 | 200.1923 | 212.215 | 120.1197 | 92.891
TDS | 1755422.1767 | 244831.3364 | 4204781.9541 | 3533377.8386 | 3679226.8164 | 6500910.0602 | 689402.0096 | 2112516.7244 | 1420861.1142 | 123951.2337 | 3555275.5827 | 1157020.6422 | 5343889.4179 | TDS | 27.6445 | 24.4704 | 29.4732 | 33.5239 | 36.3157 | 28.7091 | 24.5361
Total-P | 6708.0845 | 915.869 | 14196.3747 | 9507.4982 | 11614.7801 | 35346.3882 | 3480.2407 | 5777.0918 | 3730.4065 | 673.6672 | 10941.1129 | 7960.8883 | 27385.4998 | Total-P | 0.10564 | 0.091539 | 0.099509 | 0.090205 | 0.11464 | 0.1561 | 0.12386
Dissolved-P | 2905.1637 | 404.5414 | 5842.7568 | 3511.5913 | 4818.782 | 19646.5889 | 1660.5073 | 2149.334 | 1362.2573 | 312.8257 | 4505.9564 | 4918.8631 | 14727.7258 | Dissolved-P | 0.045751 | 0.040433 | 0.040955 | 0.033317 | 0.047564 | 0.086763 | 0.059098
TKN | 40253.9414 | 6468.59 | 91891.264 | 64509.2278 | 81559.3609 | 230466.6242 | 24313.7676 | 38873.9988 | 25635.229 | 3655.8851 | 77903.4759 | 48478.1176 | 181988.5067 | TKN | 0.63392 | 0.64652 | 0.64411 | 0.61205 | 0.80503 | 1.0178 | 0.86534
NO2&NO3 | 18134.0863 | 2970.0807 | 42401.785 | 31782.6289 | 47022.2502 | 171668.7773 | 11489.2111 | 19038.3137 | 12744.3152 | 1470.4328 | 45551.8174 | 41290.0313 | 130378.746 | NO2&NO3 | 0.28558 | 0.29685 | 0.29721 | 0.30155 | 0.46413 | 0.75812 | 0.40891
Lead | 168.5026 | 59.1194 | 507.0925 | 158.2304 | 110 | 529.7229 | 63.7069 | 99.998 | 58.2323 | 29.3153 | 80.6847 | 138.0798 | 391.6432 | Lead | 0.0026536 | 0.0059089 | 0.0035544 | 0.0015013 | 0.0010858 | 0.0023393 | 0.0022674
Copper | 498.8616 | 92.3954 | 1272.6525 | 875.527 | 696.7141 | 1061.5313 | 103.1181 | 528.4333 | 347.0938 | 47.8922 | 648.8219 | 231.3399 | 830.1913 | Copper | 0.0078561 | 0.0092347 | 0.0089206 | 0.0083068 | 0.0068769 | 0.0046879 | 0.00367
Zinc | 1876.6837 | 592.0396 | 5603.9683 | 2629.0014 | 2055.1374 | 6045.5703 | 677.3715 | 1600.4635 | 1028.5379 | 258.4037 | 1796.7337 | 1509.5257 | 4536.0445 | Zinc | 0.029554 | 0.059173 | 0.039281 | 0.024943 | 0.020285 | 0.026698 | 0.024108
Cadmium | 14.0326 | 3.6172 | 36.0651 | 12.4584 | 8.4429 | 34.7682 | 4.5296 | 7.9432 | 4.5152 | 2.2616 | 6.1812 | 9.0632 | 25.705 | Cadmium | 0.00022099 | 0.00036153 | 0.0002528 | 0.0001182 | 8.3335e-05 | 0.00015354 | 0.00016121