| Sample type | Bacteria (CFU/100ml) |  |  |  | FRNA Phage |
| --- | --- | --- | --- | --- | --- |
|  | Fecal coliforms | E. coli | Enterococci | C. perfringens | (PFU/100ml) |
| Raw | 3.20x107 | 2.72x107 | 2.77x105 | 7.14x104 | 4.32x106 |
| Primary treated | 3.19x107 | 1.52x107 | 2.96x105 | 7.96x104 | 1.57x106 |
| Secondary treated | 1.39x105 | 1.39x105 | 1.66x104 | 5.75x102 | 8.51x103 |
| Post-chlorinated | 8 | 7 | 11 | 1.78x102 | 2.03x103 |

Table 14.  Geometric means of concentration of indicator bacteria and FRNA phages

in sewage.