Table 8.	Comparison of metals concentrations estimated in sub-embayment outflow to Mamala Bay with measured metals concentration in raw stormwater runoff (Sacramento) and primary treated stormwater runoff (North Point WWTP, San Francisco, CA). All data in g/L. Data from Kinnetic Laboratories, 1994b (Sacramento) and the City and County of San Francisco, Department of Planning, 1994.

| Metal | Mean Concentration in Outflow to Mamala Bay1 | Concentration Range in Sacramento Storm Runoff2 | Mean Discharge in North Point WWTP Effluent3 |
| --- | --- | --- | --- |
| Cd | 0.37 | ND4 - 1.1 | 3.9 |
| Cu | 10.49 | 1.8 - 28 | 101.5 |
| Pb | 1.43 | 7.9 - 36 | 57.5 |
| Zn | 86.21 | 30 - 170 | 256.6 |

1. 	Mean of estimated outflow concentrations from Pearl Harbor, Kewalo Basin, Keehi Lagoon, and the Ala Wai Canal. Estimated from data given in Stevenson et al., 1995.

2. 	Range from eight stations in both rural and urban areas of the City of Sacramento, the County of Sacramento, the City of Folsom, and the City of Galt. Storm monitoring occurred in January, 1994.

3.	Mean concentration in discharge from a WWTP in the City of San Francisco designated exclusively for primary treatment of storm water runoff from an urban/light industrial area.

4.	ND indicates not detected.