Table 9. 	BOD and TSS removal efficiencies and calculated BOD and TSS loading at the Honouliuli WWTP under conventional treatment and CEPT. NPDES requirements for removal and loading under Section 301(h) waiver conditions are presented for comparison.

|  | BOD % Removal | BOD Monthly Loading (kg/day) | TSS % Removal | TSS Monthly Loading (kg/day |
| --- | --- | --- | --- | --- |
| NPDES Requirements | 30% (301[h]) | 15,200 | -- | 9,000 |
| Conventional Primary Treatment | 30 | 15,100 | 73 | 5,500 |
| CEPT Tests | 40 | 16,300 | 80 | 6,200 |