Field and Laboratory Methods Used for U.S. Dept. of Energy Funded Cruises, 1978-1983

submitted by James R. Postel

University of Washington, School of Oceanography, Box 357940, Seattle, WA 98195-7940

Between 1974 and 1983 a series of cruises were conducted off the Washington coast to provide seasonal information on the physical, chemical, and biological properties over the continental shelf and adjacent offshore waters under the auspices of research grants funded by the U.S. Department of Energy (and its predecessor the Energy Research and Development Agency).  A survey line of designated, closely-spaced stations along latitude 47°07’ N extending from near shore about 180 km offshore to about 126°30’ W was sampled as rapidly as possible during each cruise, and at selected locations 24-hour drift stations were occupied to provide measurements of in situ primary productivity and diel variations of hydrography, nutrient concentrations, and phytoplankton and zooplankton standing stock.  In addition to sampling along the designated line of stations, various other tasks were accomplished on the cruises, such as deployment and recovery of sediment traps or current meters, assessments of spatial variability of standard parameters, zooplankton grazing experiments, sediment sampling, and/or optical measurements.  These other tasks varied from cruise to cruise depending on the time available and the interests of the personnel on board the ship.

The following methods were employed for all the following cruises between 1978 and 1983:

Ship				Cruise		Begin/End Dates		Chief Scientist

R/V Cayuse			CY678		08 Jun 1978/14 Jun 1978	Mary J. Perry

R/V Cayuse			CY978		06 Sep 1978/11 Sep 1978	Mary J. Perry

R/V Thomas G. Thompson	TT135		16 Oct 1978/24 Oct 1978	Mary J. Perry

R/V Thomas G. Thompson	TT140		16 Jul 1979/02 Aug 1979	Mary J. Perry

In addition to the standard methods used for the above-listed cruises, polarographic oxygen electrode and beam attenuation coefficient data were also included for the cruises beginning in 1980:

R/V Wecoma			W8009		24 Sep 1980/14 Oct 1980	Michael R. Landry

R/V Thomas G. Thompson	TT160		17 Aug 1981/07 Sep 1981	Michael R. Landry

R/V Cayuse			C8206		09 Jun 1982/26 Jun 1982	Michael R. Landry

R/V Wecoma			W8206		11 Jun 1982/25 Jun 1982	Michael R. Landry

R/V Thomas G. Thompson	TT174		08 Aug 1983/21 Aug 1983	Michael R. Landry

(Note:  Michael R. Landry is designated as chief scientist for both C8206 and W8206.  The cruises were conducted concurrently; he was on each cruise for part of the time, and he was the principal investigator of the overall research project.)

Standard Station Methods

Standard observations of weather and sea state were made every two hours by the ship’s officers.  Solar radiation was monitored with a Belfort recording pyrheliometer mounted on an upper deck railing of the ship as free from shadows as possible until 1983 (TT174), when a Li-Cor quantum sensor and printing integrator were used instead.  Secchi disk readings were made at stations occupied during local daylight hours.  Station positions were determined by the ship’s officer on watch from LORAN-C readings.

For cruises CY678 (June 1978) through TT174 (August 1983) temperature and conductivity measurements were made with a Neil Brown Instruments Systems, Inc. Mark III CTD and recorded on magnetic tape with a Kennedy data logger in the upper 300 m.  Downcasts and upcasts were conducted at about 30 m min-1 and were recorded separately on tape; software written by colleagues at Oregon State University was used to obtain a real time plot of selected parameters during the downcasts to help determine water column characteristics and select sampling depths for the upcasts.  Data processing occurred after the cruise to obtain the temperature and salinity values associated with water samples collected with the General Oceanics rosette sampler that was part of the CTD package.  (Two Neil Brown instrument systems were used during the concurrent cruises C8206 and W8206.)

Thus the temperature and salinity and calculated density listed in these data files for discrete sample depths on these cruises were generally obtained from the CTD scans associated with the bottle closings of the rosette at each station rather than being measured with reversing thermometers or a salinity bridge.  Calibration samples were taken during each cruise to allow us to determine the appropriate coefficients to convert the CTD measurements to scientific units.  Temperatures are referenced to the 1968 temperature scale and were used with the time-lagged conductivity sensor signals and pressure readings to calculate salinity.  For cruises between 1978 and 1981 (CY678, CY978, TT135, TT140, W8009, and TT160) salinity was based on the equations of Brown and Allentoft (1966); in 1982 and 1983 (cruises C8206, W8206, and TT174) the salinity values are based on the UNESCO equations (1979) for practical salinity.

Besides the pressure, temperature and conductivity sensors other instruments were attached to the package at various times during the cruise series to measure dissolved oxygen (Beckman polarographic electrode), underwater irradiance (sensor designed by Oregon State University optics group) and beam attenuation coefficient (sensor designed by Oregon State University optics group; it was subsequently marketed as a Sea Tech 25 cm path length transmissometer).  These oxygen and beam attenuation coefficient data were included in the data files beginning in 1980 (cruises W8009, TT160, C8206, W8206, and TT174).  See the data format explanations to decode the data properly.

Water was collected at discrete depths which were selected on the basis of historical biological data for the area, hydrographic features evident in CTD downcast plots for current and adjacent stations, or light depths.  Up to twelve depths were sampled in the upper 150 - 200 m of the water column with 2.5-Liter Niskin bottles made of PVC with latex rubber tubing to close the end caps, and which were equipped with reversing thermometer racks.  Sample depths were estimated from a digital readout of the CTD pressure sensor at sea and were calculated more exactly from the data scans collected before and after each bottle closure after the cruise.

Subsamples were drawn from the water bottles for the following measurements:  dissolved oxygen, salinity, dissolved nutrients (phosphate, silicate, nitrate, nitrite, and ammonium), chlorophyll-a and its degradation products, 14C primary productivity, and phytoplankton species identifications and enumerations.  Occasionally, samples were collected for identification and enumeration of microzooplankton species also.  Both the phytoplankton and microzooplankton samples were preserved with a final concentration of  1% (v:v) formalin that had been buffered with 30 g sodium acetate per liter of formalydehyde.  Additional microzooplanton samples were preserved with Schaudin’s fixative.  The phytoplankton and microzooplanton samples were saved for over ten years, and some were microscopically examined by various students, before they were discarded.

At some stations replicate bottles were closed at 2-4 randomly selected depths to obtain paired samples of routine parameters for statistical analysis of sampling error.

Laboratory Methods

Salinity samples were measured with a locally built salinometer, which was a modification of the Wenner-Smith-Soule salinity bridge (Paquette 1958).  At depths with discrete samples for dissolved oxygen a modification of the Carpenter (1965) titration method was used; reagent concentrations were adjusted slightly to reduce volatilization of iodine.  Oxygen solubilities and apparent oxygen utilization (AOU) were calculated in accordance with the equations of Weiss (1970) using the CTD temperature and salinity values associated with the discrete oxygen samples.  Beginning in 1980 (W8009) if discrete samples were not collected during a cast, the dissolved oxygen concentrations were based on the polarographic electrode sensor on the CTD package, but oxygen solubility and AOU were not calculated or reported because the values are not as accurate as the data from the titrated samples.

Dissolved nutrient samples were frozen in plastic bottles on board the ship, and they were later analyzed on shore using a Technicon AutoAnalyzer II system.  Phosphate, silicate, nitrate, nitrite, and ammonium were determined using modifications of the Strickland and Parsons (1972) methods for autoanalyzer use (Friederich and Whitledge 1972).

Samples for in vitro chlorophyll-a were vacuum filtered (pressure differential < 7 psi) onto 25 mm diameter Gelman Type A/E or Whatman GF/C glass fiber filters.  About 1 ml of a saturated magnesium carbonate/filtered seawater slurry was squirted onto the filter surface before filtering to prevent degradation of the phytoplankton pigments before fluorometric analyses on board (Yentsch and Menzel 1963; Holm-Hansen et al. 1965) with a Turner 111 fluorometer.  The fluorometer was calibrated against spectrophotometrically measured chlorophyll-a extracted from exponentially growing mixed phytoplankton cultures prior to each cruise (Lorenzen 1967).  Pigments were extracted in 90% acetone after cells were lysed by sonication for 7 minutes at 400-500 amps power using an Ultrasonic Instruments International, Inc., Megason ultrasonic disintegrator and probe.

For primary productivity measurements during these cruises the radiocarbon method of Steeman Nielsen (1952) was used.  Samples were inoculated with 1-4 Ci NaH14CO3, incubated, collected by vacuum filtration (< 7 psi pressure differential) on 25 mm diameter Millipore HA (0.45 m pore) membrane filters, fumed over concentrated HCl for less than one minute, and placed into vials containing scintillation fluor.  The scintillation fluor base consisted of 5 g PPO/Liter and 0.5 g dimethyl-POPOP/Liter dissolved in reagent grade toluene.  PPO is the short for 2,5-diphenyloxazole, and dimethyl-POPOP is short for 1,4-bis-[2,(4-methyl-5-phenyloxazolyl)]-benzene.  Each vial contained 9 ml fluor base and 1 ml Beckmann formula BBS-3 Biosolv.  They were counted with a Packard Tri-Carb Liquid Scintillation Spectrometer (Model 3310).  Computer processing of the data included corrections for background, dark bottle uptake, inorganic carbon content of seawater, counting efficiency, and isotope discrimination.

At selected stations simulated in situ incubations were conducted with water from 4-6 specified light depths based on Secchi disk measurements.  The light depths chosen approximated the following percentages of surface irradiance:  100, 50, 30, 15, 7, and 1%.  Samples were kept on deck under neutral density wire screens (to match the light depth from which they came) illuminated by natural sunlight in a tray cooled by running surface sea water.  These incubations usually lasted about 24 hours from whatever time they began.  These results are included in this data set.

At drift stations, in situ primary productivity measurements were usually made.  Water samples were collected at 4-12 depths (including several light depths to match the on-deck experiments), then subsampled and inoculated before dawn.  The experimental bottles were suspended from a drifting buoy that was attached to a parachute drogue.  The ship tracked the buoy as it moved with the drogue, and additional CTD casts and bottle casts were conducted every 6-12 h in the vicinity of the buoy.  The experimental bottles were retrieved after sunset and either filtered immediately or else placed in the deck incubators until dawn the next day.  These results are included in this data set.

Zooplankton samples were collected at the drift stations by vertically towing an unmetered 1-m diameter, 216-m mesh closing net through discrete depth intervals near noon and midnight local time Samples were preserved with a final concentration of 10% (v:v) formalin, which had been buffered with sodium borate.  Many of the samples are stored at the University of Washington, School of Oceanography, under the care of Dr. Bruce Frost.  Some have been enumerated and results have been reported in papers and data reports by Dr. Michael Landry (currently at the University of Hawaii) and associates at the University of Washington.  Other special experiments were conducted at the drift stations to coordinate biological measurements related to sediment trap studies and optical measurements.  None of these data are included in this data set.

References

Brown, N. and B. Allentoft.  1966.  Salinity, conductivity and temperature relationships of sea water over the range of 0 to 60 ppt.  Bissett-Berman Corp., Manuscript Report. March 1, 1966.

Carpenter, J.H.  1965.  The Chesapeake Bay Institute technique for the Winkler dissolved oxygen method.  Limnol. Oceanogr., 10: 141-143.

Friederich, G.E. and T.E. Whitledge.  1972.  Autoanalyzer procedures for nutrients.  In:  Phytoplankton growth dynamics.  Tech. Series 1:  Chemostat methodology and chemical analyses.  Ed. By S.P. Pavlou.  Special Rept. No. 52, Dept. Oceanogr., Univ. Wash., Seattle, WA,  pp. 38-55.

Holm-Hansen, O., C.J. Lorenzen, R.W. Holmes, and J.D.H. Strickland.  1965.  Fluorometric determination of chlorophyll.  J. Cons. Perm. int. Explor. Mer. 30:  3-15.

Lorenzen, C.J.  1966.  A method for the continuous measurement of in vivo chlorophyll concentration.  Deep-Sea Res., 13: 223-227.

Lorenzen, C.J.  1967.  Determination of chlorophyll and phaeopigments:  Spectrophotometric equations.  Limnol. Oceanogr., 12:  3433-346.

Paquette, R.G. 1958.  A modification of the Wenner-Smith-Soule salinity bridge for the determination of salinity in sea water.  University of Washington, Dept. Oceanogr. Technical Report No. 61, Ref. M58-14, 57 pp.

Steemann Nielsen, E.  1952.  The use of radioactive carbon (C14) for measuring organic production in the sea.  J. Cons. perm. int. Explor. Mer, 18: 117-140.

Strickland, J.D.H. and T.R. Parsons.  1972.  A practical handbook of seawater analysis.  Bull. No. 167, Fish. Res. Bd. Canada, 2nd edition, Ottawa.  310 pp.

UNESCO.  1966.  Monographs on oceanographic methodology.  1. Determination of photosynthetic pigments in sea-water.  United Nations Educational, Scientific, and Cultural Organization, Paris. 69pp.

UNESCO.  1979.  Ninth report of the joint panel on oceanographic tables and standards.  September 1978,  UNESCO Technical Papers in Marine Science 30.  Paris, 32pp.

Yentsch, C.S. and D.W. Menzel.  1963.  A method for the determination of phytoplankton chlorophyll and phaeophytin by fluorescence.  Deep-Sea Res., 10: 221-231.