Equipment List:

CTD	-	Sea-Bird CTD, 2000 meter  or greater depth rating. Real-Time operation.

Carousel Water Sampler with 12, 4 liter bottles, or greater. Deck Box and computer.

We have a SBE 32 Carousel water sampler. 12, 4 liter bottles. Carousel auto fire module (AFM).

SBE 50 pressure sensor. SBE 19 plus CTD. SBE 33 deck box.

Aux. Sensors

SBE 43 Oxygen sensor

Wet Labs ECO CDOM, FLCDRTD Fluorometer

Benthos Altimiter

Winch	-	Winch with level wind. 2000 meters of 5/16” 3 conductor cable.

An accurate counter. Spare Cable terminations.

Navigation -	Differential GPS, Heading from gyro or GPS. Navigation Software.

We are using C-Nav GPS, Gyro interface, and WinFrog for software.

Over-Side pole for mounting LISST for running transects.

Turner Designs C-3 towed fluorometer for transects

Communications -	2 Sat phones

CapRock or Sailor internet connections

Lab	-	2  LISST-100x

Oxygen probe

Converted Deep freezer to refrigerator for sample storage