Daily Report:  Evidence of dispersed oil droplets using the LISST-100X particle counter

May 20, 2010

Water samples were collected at four stations for particle size distribution measurements using the LISST-100X particle counter.  A total of 72 LISST samples were analyzed, including duplicates.  Selected samples were also collected and stored for shore based fluorescence intensity ratio measurements.

Figure 1 presents the small droplet (∑ 2.5 - 60µm) particle size data for stations 34 through 37.  The small droplet concentrations for stations 34 and 35 were low throughout the water column, with only a small increase for the surface samples consistent with the observations made on May 19.  In contrast, station 36 had significantly higher concentrations of small particles in the surface samples extending down to 100m.  At station 36, the in situ CTD fluorometer signal showed a spike between 1100-1200m.  This was also detected by the LISST, where a small increase in small particle concentrations was observed in the 1200m sample.  This could indicate a small plume of dispersed oil at this depth, although the intensity of the signal is much less than what was observed at this station 3 days ago (Station 26 on May 17).  Station 37 was similar to station 36, with high concentrations of small particles at the surface, although no deep water plume was detected by the in situ CTD fluorometer.

Figure 1: Average small droplet concentration as a function of depth from stations 34 to 37.