CTD CAST DATA COLLECTION SUMMARY

Vessel on Position

CTD ready for deployment

Call SBE 19 on

Time SBE 19 on

CTD over to 3 meters

Time for CTD in

Start – Pump on

Time for Pump on

Call for 60m/min

Estimated Depth from bridge

Call Estimated Depth –100 to Winch

LISST down

Start LISST

Time LISST start

Altimeter Alarm

Winch Stop at Altimeter Alarm

Bridge Stop at Altimeter Alarm

Screen Capture – Downcast

Right Click Save Picture

Right Click Print to 6500

CTD Depth + Altimeter Correction = Bottom Depth

Real Time Control

Bottle Control

Call Bottle 1 depth to Winch

Call 20 meters to Winch

Call 10 meters to Winch

Call Stop at Bottle 1 depth to Winch

Fire Bottle

Record DO/Bottle Depth/Time

Repeat for all Bottle depths

*Stop – Pump Off*

Time Pump off

Screen Capture - Upcast

Call CTD on board to Winch

SBE 19 off

Time 19 off (CTD on board)

Stop LISST

Time LISST stop

LISST up

Complete Survey Log (Coordinates)

Complete SBE 9 Header File

Scan Survey Log

Down Load SBE 19 data

FileZilla

SBE 9 data

SBE 19 data

LISST Data

ADCP Data

SBE 9 Screen Shots

Site Logs

Daily Reports

Data To NOAA