## meta data
cruise |  | 2006-08
ship |  | Tully
dates |  | January 30 - February 19, 2006
Chief Scientist |  | Marie Robert
Carbon sampling |  | Marty Davelaar
Reference: |  | Miller, L.A., Davelaar, M., and Linguanti, J., 2007. Line P Inorganic Carbon Data Set, Cruise 2006-08, February 2006. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples were collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Alkalinity and DIC samples were taken from the same bottle.
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total dissolved inorganic carbon
technique for standardization |  |  | Na2CO3
sample volume |  |  | see raw data
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2057.30+/-0.45
IOS standards |  |  | IOS10 | IOS13
calibrated values |  |  | 2486.12 | 2088.345
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Replicate Analyses
| A | B | C |  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg |  | umol/kg |  |  | difference
140 | 2337.3407 | 2337.6978 |  |  | 2337.5193 |  | -0.35713 | 0.35713
210 | 2391.0825 | 2391.6869 |  |  | 2391.3847 |  | -0.60441 | 0.60441
235 | 2386.0963 | 2385.3884 |  |  | 2385.7423 |  | 0.70793 | 0.70793
360 | 2377.9749 | 2377.8925 | 2378.8262 |  | 2378.2312 | 0.51693
361 | 2379.0459 | 2379.0734 | 2378.9635 |  | 2379.0276 | 0.057166
362 | 2379.1283 | 2379.1832 | 2377.7826 |  | 2378.698 | 0.79323
363 | 2379.2656 | 2379.7599 | 2379.1557 |  | 2379.3937 | 0.32182
364 | 2378.991 | 2378.2495 | 2379.4578 |  | 2378.8994 | 0.60934
average variability: | [8 empty] | 0.496
standard deviation of variability: | [8 empty] | 0.23919
Replicate Samples
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg |  |  | difference
139 | 2338.7383
140 | 2337.5193
|  | 2338.1288 |  | -1.219 | 1.219
210 | 2391.3847
211 | 2390.9723
|  | 2391.1785 |  | -0.41234 | 0.41234
234 | 2387.4838
235 | 2385.7423
|  | 2386.6131 |  | -1.7415 | 1.7415
284 | 2390.2925
285 | 2389.23
|  | 2389.7613 |  | -1.0624 | 1.0624
360 | 2378.2312
361 | 2379.0276
362 | 2378.698
363 | 2379.3937
364 | 2378.8994
|  | 2378.85 | 0.42885
average variability: | [5 empty] | 0.97283
standard deviation of variability: | [5 empty] | 0.56338
Precision estimate: |  | 0.97 | umol/kg
Total Alkalinity
Type of titration |  |  | Open cell
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2253.50+/-0.84
IOS standard |  |  | IOS13
calibrated value |  |  | 2280.33
Acid batch |  |  | 5
acid concentration |  |  | 0.09987
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Replicate Analyses
| A | B | C |  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg |  | umol/kg |  |  | difference
140 | 2320.9607 | 2323.1983 |  |  | 2322.0795 |  | -2.2376 | 2.2376
210 | 2404.7153 | 2405.612 |  |  | 2405.1636 |  | -0.89666 | 0.89666
235 | 2420.7204 | 2420.6794 |  |  | 2420.6999 |  | 0.041011 | 0.041011
360 | 2421.0535 | 2416.4176 | 2411.8379 |  | 2416.4363 | 4.6078
361 | 2420.9714 | 2414.3555 | 2417.5598 |  | 2417.6289 | 3.3085
362 | 2419.7451 | 2422.551 | 2412.7588 |  | 2418.3516 | 5.0426
363 | 2417.0363 | 2409.1311 | 2414.9321 |  | 2413.6998 | 4.0941
364 | 2415.9171 | 2423.1366 | 2419.2886 |  | 2419.4475 | 3.6124
average variability: | [8 empty] | 2.9801
standard deviation of variability: | [8 empty] | 1.7801
Replicate Samples
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg |  |  | difference
139 | 2319.8798
140 | 2322.0795
|  | 2320.9796 |  | 2.1997 | 2.1997
210 | 2405.1636
211 | 2407.4544
|  | 2406.309 |  | 2.2908 | 2.2908
234 | 2418.1711
235 | 2420.6999
|  | 2419.4355 |  | 2.5287 | 2.5287
284 | 2416.9497
285 | 2417.7315
|  | 2417.3406 |  | 0.78185 | 0.78185
360 | 2416.4363
361 | 2417.6289
362 | 2418.3516
363 | 2413.6998
364 | 2419.4475
|  | 2417.1128 | 2.1999
average variability: | [5 empty] | 2.0002
standard deviation of variability: | [5 empty] | 0.69423
Precision estimate: |  | 3 | umol/kg
Version control
2010-05-18 | Temperature, salinity, and nutrient data added