## metadata
cruise |  | 2007-13
ship |  | CCGS John P. Tully
dates |  | May 30-June 14, 2007
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, and J. Linguanti, 2009. Line P Inorganic Carbon Data Set, Cruise 2007-13, May-June 2007. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Both TIC and Alkalinity were analyzed from the same bottle
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total Inorganic Carbon
Coulometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
technique for standardization |  |  | Certified Reference Materials (supplied by A. Dickson, Scripps Institute of Oceanography)
analysis temperature (C) |  |  | 20
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2057.30+/-0.45
IOS standard |  |  | 14
calibrated value |  |  | 2036.68 +/- 0.45
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 230 | Large difference from replicate niskin
| 231 | Large difference from replicate niskin
| 504 | Large difference between replicates
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
39 | 2368.9629 | 2369.7816 | 2369.3722 | -0.8187 | 0.8187
132 | 2372.7114 | 2373.6426 | 2373.177 | -0.93122 | 0.93122
179 | 2380.7164 | 2381.5353 | 2381.1258 | -0.81893 | 0.81893
231 | 2342.7852 | 2343.2648 | 2343.025 | -0.47957 | 0.47957
370 | 2356.8405 | 2357.4613 | 2357.1509 | -0.62086 | 0.62086
502 | 2350.1085 | 2349.7672 | 2349.9379 | 0.34126 | 0.34126
503 | 2351.972 | 2352.4238 | 2352.1979 | -0.45176 | 0.45176
504 | 2351.6619 | 2350.5579 | 2351.1099 | 1.1041 | 1.1041
505 | 2351.0935 | 2350.5574 | 2350.8255 | 0.53617 | 0.53617
506 | 2350.5294 | 2350.6141 | 2350.5717 | -0.084658 | 0.084658
average variability: |  |  |  | -0.22242 | 0.61872
standard deviation of variability: |  |  |  | 0.68012 | 0.3036
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
131 | 2372.8519
132 | 2373.177
|  | 2373.0145 |  | 0.32504 | 0.32504
179 | 2381.1258
180 | 2381.7327
|  | 2381.4293 |  | 0.60689 | 0.60689
230 | 2345.0407
231 | 2343.025
|  | 2344.0329 |  | -2.0157 | 2.0157
502 | 2349.9379
503 | 2352.1979
504 | 2351.1099
505 | 2350.8255
506 | 2350.5717
|  | 2350.9286 | 0.83119
average variability: |  |  |  | -0.36127 |  | 0.94471
standard deviation of variability: |  |  |  | 1.4397 |  | 0.74344
Precision estimate: |  | 0.94471 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
Cell type |  |  | Open
Endpoint determination |  |  | Modified Gran plot
Standard used:
Dickson CRM |  |  | 73
certified value |  |  | 2253.50+/-0.84
Acid batch |  |  | 6
acid concentration (mol/kg) |  |  | 0.098069
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 131 | Large difference from replicate niskin
| 132 | Large difference from replicate niskin
| 372 | Low relative to historical experience
| 503 | Large difference between replicates
Replicate Analyses
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
39 | 2382.4294 | 2381.4662 | 2381.9478 | 0.96314 | 0.96314
132 | 2418.5335 | 2418.2335 | 2418.3835 | 0.30002 | 0.30002
179 | 2419.0463 | 2418.5458 | 2418.796 | 0.50052 | 0.50052
231 | 2424.1282 | 2422.5814 | 2423.3548 | 1.5468 | 1.5468
370 | 2425.0979 | 2426.5066 | 2425.8022 | -1.4087 | 1.4087
502 | 2420.3959 | 2421.4381 | 2420.917 | -1.0422 | 1.0422
503 | 2419.8264 | 2418.1776 | 2419.002 | 1.6488 | 1.6488
504 | 2421.1378 | 2420.2536 | 2420.6957 | 0.88424 | 0.88424
505 | 2418.8671 | 2419.3867 | 2419.1269 | -0.5196 | 0.5196
506 | 2420.0461 | 2421.0936 | 2420.5699 | -1.0475 | 1.0475
average variability: |  |  |  | 0.18256 | 0.98615
standard deviation of variability: |  |  |  | 1.1188 | 0.45633
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
131 | 2420.3959
132 | 2418.3835
|  | 2419.3897 |  | -2.0124 | 2.0124
179 | 2418.796
180 | 2418.612
|  | 2418.704 |  | -0.18403 | 0.18403
230 | 2423.8596
231 | 2423.3548
|  | 2423.6072 |  | -0.50474 | 0.50474
502 | 2420.917
503 | 2419.002
504 | 2420.6957
505 | 2419.1269
506 | 2420.5699
|  | 2420.0623 | 0.9204
average variability: |  |  |  | -0.90039 |  | 0.90539
standard deviation of variability: |  |  |  | 0.97628 |  | 0.79719
Precision estimate: |  | 0.98615 | umol/kg
Version control
2009-01-30 | Initial archiving
2010-05-18 | Temperature and nutrient data added; raw data removed