## 18DD20020107_meta
cruise |  | 2002-01
ship |  | CCGS John P. Tully
dates |  | February 6-21, 2002
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., Davelaar, M., and T. Sowden, 2015. Line P Inorganic Carbon Data Set, Cruise 2002-01, February 2002. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Both TIC and Alkalinity were analyzed from the same bottle
Analysts: | Marty Davelaar and Suzanne Wratten
flags
3 = suspect sample
6 = mean of replicate samples
Total Inorganic Carbon
Coulometric titration
| Reference: | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson &amp; C. Goyet, eds. ORNL/CDIAC-74
Standardization technique |  |  | CRM water
Analysis temperature (C) |  |  | 20 | Unconfirmed
Standards used:
Dickson CRM |  |  | 57 |  | 61
certified value |  |  | 2005.98 +/- 0.55 |  | 1998.17 ¬± 0.24
IOS standard |  |  | 13
calibrated value |  |  | 2088.46 +/- 0.49
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 59 | High outlier
Replicate Analyses (same niskin)
Sample | A | B | Average | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | Difference
47 | 2396.3892 | 2396.3278 | 2396.3585 | 0.061452 | 0.061452
73 | 2383.1559 | 2382.3474 | 2382.7517 | 0.80858 | 0.80858
average variability: |  |  |  | 0.43502 | 0.43502
Replicate Samples (different niskins)
Sample |  | Average | difference | absolute
id | umol/kg | umol/kg | umol/kg | difference
18 | 2382.1322
19 | 2383.0462
|  | 2382.5892 | -0.91403 | 0.91403
46 | 2395.8071
47 | 2396.3585
|  | 2396.0828 | 0.5514 | 0.5514
72 | 2383.6035
73 | 2382.7517
|  | 2383.1776 | -0.85185 | 0.85185
average variability: |  |  | -0.40483 | 0.77243
standard deviation of variability: |  |  | 0.8287 | 0.19392
Precision estimate: |  | 0.77 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson &amp; C. Goyet, eds. ORNL/CDIAC-74
Cell type |  |  | Open
Endpoint determination |  |  | Gran plot
Standard used:
Dickson CRM |  |  | 61
certified value |  |  | 2202.04 ¬± 1.23
Acid batch |  |  | 3
acid concentration |  |  | 0.10017
sample weight |  |  | 100-105 grams
Analysis temperature (C) |  |  | 25
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 46 | Large difference between replicate niskins
| 47 | Large difference between replicate niskins
| 85 | Unstable analysis
Replicate Analyses
Sample | A | B | Average | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | Difference
47 | 2401.9719 | 2400.7681 | 2401.37 | 1.2038 | 1.2038
73 | 2420.8396 | 2421.014 | 2420.9268 | -0.17436 | 0.17436
average variability: |  |  |  | 0.51472 | 0.68908
Replicate Samples (different niskins)
Sample |  | Average | difference | absolute
id | umol/kg | umol/kg | umol/kg | difference
18 | 2378.7217
19 | 2377.8314
|  | 2378.2765 | -0.89026 | 0.89026
46 | 2408.2375
47 | 2401.37
|  | 2404.8037 | -6.8675 | 6.8675
72 | 2423.971
73 | 2420.9268
|  | 2422.4489 | -3.0442 | 3.0442
average variability: |  |  | -3.6007 | 3.6007
standard deviation of variability: |  |  | 3.0272 | 3.0272
Precision estimate: |  | 3.6 | umol/kg
Version control
2015-07-28 | First archived