## OCADSmetadata
Instructions: Please try not to change the order of Rows No. 1 through No. 211, as the information will be read by a computer computer program later on. Starting from No. 212, please first append the additional variable sections, then the non-measured variable sections, then the additional principal investigator sections (if there are more than three PIs), and then the platform sections (if there are more than 3 platforms). Please do not use special characters.
No | Metadata element name | Your input | Help reference no.
1 | Submission Date |  | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Lisa A. Miller | 3.1
4 | Investigator-1 institution | Institute of Ocean Sciences, Fisheries and Oceans Canada | 3.2
5 | Investigator-1 address | 9860 West Saanich Road, Sidney, BC V8L 4B2 Canada | 3.3
6 | Investigator-1 phone | +1 250 363 6673 | 3.4
7 | Investigator-1 email | lisa.miller@dfo-mpo.gc.ca | 3.5
8 | Investigator-1 researcher ID |  | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) | 0000-0001-9726-3744 | 3.7
10 | Investigator-2 name | Marty Davelaar | 3.1
11 | Investigator-2 institution | Institute of Ocean Sciences, Fisheries and Oceans Canada | 3.2
12 | Investigator-2 address | 9860 West Saanich Road, Sidney, BC V8L 4B2 Canada | 3.3
13 | Investigator-2 phone |  | 3.4
14 | Investigator-2 email | marty.davelaar@dfo-mpo.gc.ca | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name |  | 3.1
18 | Investigator-3 institution |  | 3.2
19 | Investigator-3 address |  | 3.3
20 | Investigator-3 phone |  | 3.4
21 | Investigator-3 email |  | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name |  | 4.1
25 | Data submitter institution |  | 4.2
26 | Data submitter address |  | 4.3
27 | Data submitter phone |  | 4.4
28 | Data submitter email |  | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Line P Inorganic Carbon Data Set, Cruise 2001-29, August 2001 | 5
32 | Abstract |  | 6
33 | Purpose |  | 7
34 | Start date | 22 August, 2001 | 8.1
35 | End date | 5 September, 2001 | 8.2
36 | Westbd longitude | 225.33 E | 9.1
37 | Eastbd longitude | 233.33 E | 9.2
38 | Northbd latitude | 49.28 N | 9.3
39 | Southbd latitude | 48.65 N | 9.4
40 | Geographic names | Northeast Pacific | 11
41 | Funding agency name | Fisheries and Oceans Canada | 13.1
42 | Funding project title |  | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects | Line P | 14
45 | Platform-1 name | CCGS John P. Tully | 15.1
46 | Platform-1 ID |  | 15.2
47 | Platform-1 type |  | 15.3
48 | Platform-1 owner |  | 15.4
49 | Platform-1 country |  | 15.5
50 | Platform-2 name |  | 15.1
51 | Platform-2 ID |  | 15.2
52 | Platform-2 type |  | 15.3
53 | Platform-2 owner |  | 15.4
54 | Platform-2 country |  | 15.5
55 | Platform-3 name |  | 15.1
56 | Platform-3 ID |  | 15.2
57 | Platform-3 type |  | 15.3
58 | Platform-3 owner |  | 15.4
59 | Platform-3 country |  | 15.5
60 | EXPOCODE |  | 16
61 | Cruise ID | 2001-29 | 17
62 | Section |  | 18
63 | Author list for citation | Miller, L.A., M. Davelaar, and D. Wan | 19
64 | References |  | 20
65 | Supplemental information |  | 21
66 | DIC: Variable abbreviation in data files | TIC | 22.1
67 | DIC: Variable unit | micromol/kg | 22.5
68 | DIC: Observation type | profiles | 22.2
69 | DIC: Measured or calculated | measured | 22.6
70 | DIC: Calculation method and parameters |  | 22.7
71 | DIC: Sampling instrument | rosette-mounted niskins | 22.8
72 | DIC: Analyzing instrument | coulometer, SOMMA1 | 22.9
73 | DIC: Detailed sampling and analyzing information | Collected in 250-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips; Stored at 4 C in the dark and analyzed ashore; TIC and alkalinity Analyzed from the same glass bottle | 22.10
74 | DIC: Field replicate information | 2 niskins closed at the same depth at 2 stations | 22.11
75 | DIC: Standardization technique description | reference solution | 22.12.1
76 | DIC: Frequency of standardization | daily | 22.12.2
77 | DIC: CRM manufacturer | Dickson CRM; and in-house standard #11, calibrated to Dickson CRM batch 48 | 22.12.3.1
78 | DIC: Batch number | CRM 54 | 22.12.3.2
79 | DIC: Poison used to kill the sample | Saturated HgCl2 solution | 22.13.1
80 | DIC: Poison volume | 100 microL | 22.13.2
81 | DIC Poisoning correction description | (known standard value/measured standard value) X analyzed sample value X 1.0004 (HgCl2 correction) | 22.13.3
82 | DIC: Uncertainty | 1.5 micromol/kg | 22.14
83 | DIC: Data quality flag description | 3=suspect sample, 4=bad sample, 6=mean of replicate samples | 22.15
84 | DIC: Method reference (citation) | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74 | 22.16
85 | DIC: Researcher Name |  | 22.17.1
86 | DIC: Researcher Institution |  | 22.17.2
87 | TA: Variable abbreviation in data files | ALK | 23.1
88 | TA: Variable unit | micromol/kg | 23.5
89 | TA: Observation type | profiles | 23.2
90 | TA: Measured or calculated | measured | 23.6
91 | TA: Calculation method and parameters |  | 23.7
92 | TA: Sampling instrument | rosette-mounted niskins | 23.8
93 | TA: Analyzing instrument | potentiometric titrator, home-built | 23.9
94 | TA: Type of titration | potentiometric | 23.1
95 | TA: Cell type (open or closed) | open | 23.11
96 | TA: Curve fitting method | non-linear least squares | 23.12
97 | TA: Detailed sampling and analyzing information | Collected in 250-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips; Stored at 4 C in the dark and analyzed ashore; TIC and alkalinity Analyzed from the same glass bottle | 23.13
98 | TA: Field replicate information | 2 niskins closed at the same depth at 2 stations | 23.14
99 | TA: Standardization technique description | reference solution | 23.15.1
100 | TA: Frequency of standardization | daily | 23.15.2
101 | TA: CRM manufacturer | Dickson CRM | 23.15.3.1
102 | TA: Batch Number | 54 | 23.15.3.2
103 | TA: Poison used to kill the sample | yes | 23.16.1
104 | TA: Poison volume | 100 microL | 23.16.2
105 | TA: Poisoning correction description | (known standard value/measured standard value) X analyzed sample value X 1.0004 (HgCl2 correction) | 23.16.3
106 | TA: Magnitude of blank correction |  | 23.17
107 | TA: Uncertainty | 1.1 micromol/kg | 23.18
108 | TA: Data quality flag description | 3=suspect sample, 4=bad sample, 6=mean of replicate samples | 23.19
109 | TA: Method reference (citation) | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74; Dickson, A.G., J.D. Afghan, and G.C. Anderson (2003). Reference materials for oceanic CO2 analysis: A method for the certifiaction of total alkalinity. Mar. Chem. 80: 185-97. | 23.2
110 | TA: Researcher Name |  | 23.21.1
111 | TA: Researcher Institution |  | 23.21.2
112 | pH: Variable abbreviation in data files |  | 24.1
113 | pH: pH scale |  | 24.9
114 | pH: Observation type |  | 24.2
115 | pH: Measured or calculated |  | 24.5
116 | pH: Calculation method and parameters |  | 24.6
117 | pH: Sampling instrument |  | 24.7
118 | pH: Analyzing instrument |  | 24.8
119 | pH: Temperature of measurement |  | 24.1
120 | pH: Detailed sampling and analyzing information |  | 24.11
121 | pH: Field replicate information |  | 24.12
122 | pH: Standardization technique description |  | 24.13.1
123 | pH: Frequency of standardization |  | 24.13.2
124 | pH: pH values of the standards |  | 24.13.3
125 | pH: Temperature of standardization |  | 24.13.4
126 | pH: Temperature correction method |  | 24.14
127 | pH: at what temperature was pH reported |  | 24.15
128 | pH: Uncertainty |  | 24.16
129 | pH: Data quality flag description |  | 24.17
130 | pH: Method reference (citation) |  | 24.18
131 | pH: Researcher Name |  | 24.19.1
132 | pH: Researcher Institution |  | 24.19.2
133 | pCO2A: Variable abbreviation in data files |  | 25.1
134 | pCO2A: Variable unit |  | 25.5
135 | pCO2A: Observation type |  | 25.2
136 | pCO2A: Measured or calculated |  | 25.6
137 | pCO2A: Calculation method and parameters |  | 25.7
138 | pCO2A: Sampling instrument |  | 25.8
139 | pCO2A: Location of seawater intake |  | 25.9
140 | pCO2A: Depth of seawater intake |  | 25.1
141 | pCO2A: Analyzing instrument |  | 25.11
142 | pCO2A: Detailed sampling and analyzing information |  | 25.12
143 | pCO2A: Equilbrator type |  | 25.13.1
144 | pCO2A: Equilibrator volume (L) |  | 25.13.2
145 | pCO2A: Vented or not |  | 25.13.3
146 | pCO2A: Water flow rate (L/min) |  | 25.13.4
147 | pCO2A: Headspace gas flow rate (L/min) |  | 25.13.5
148 | pCO2A: How was temperature inside the equilibrator measured . |  | 25.13.6
149 | pCO2A: How was pressure inside the equilibrator measured. |  | 25.13.7
150 | pCO2A: Drying method for CO2 gas |  | 25.14
151 | pCO2A: Manufacturer of the gas detector |  | 25.15.1
152 | pCO2A: Model of the gas detector |  | 25.15.2
153 | pCO2A: Resolution of the gas detector |  | 25.15.3
154 | pCO2A: Uncertainty of the gas detector |  | 25.15.4
155 | pCO2A: Standardization technique description |  | 25.16.1
156 | pCO2A: Frequency of standardization |  | 25.16.2
157 | pCO2A: Manufacturer of standard gas |  | 25.16.3.1
158 | pCO2A: Concentrations of standard gas |  | 25.16.3.2
159 | pCO2A: Uncertainties of standard gas |  | 25.16.3.3
160 | pCO2A: Water vapor correction method |  | 25.17
161 | pCO2A: Temperature correction method |  | 25.18
162 | pCO2A: at what temperature was pCO2 reported |  | 25.19
163 | pCO2A: Uncertainty |  | 25.2
164 | pCO2A: Data quality flag description |  | 25.21
165 | pCO2A: Method reference (citation) |  | 25.22
166 | pCO2A: Researcher Name |  | 25.23.1
167 | pCO2A: Researcher Institution |  | 25.23.2
168 | pCO2D: Variable abbreviation in data files |  | 26.1
169 | pCO2D: Variable unit |  | 26.5
170 | pCO2D: Observation type |  | 26.2
171 | pCO2D: Measured or calculated |  | 26.6
172 | pCO2D: Calculation method and parameters |  | 26.7
173 | pCO2D: Sampling instrument |  | 26.8
174 | pCO2D: Analyzing instrument |  | 26.9
175 | pCO2D: Storage method |  | 26.1
176 | pCO2D: Seawater volume (mL) |  | 26.11
177 | pCO2D: Headspace volume (mL) |  | 26.12
178 | pCO2D: Temperature of measurement |  | 26.13
179 | pCO2D: Detailed sampling and analyzing information |  | 26.14
180 | pCO2D: Field replicate information |  | 26.15
181 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
182 | pCO2D: Model of the gas detector |  | 26.16.2
183 | pCO2D: Resolution of the gas detector |  | 26.16.3
184 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
185 | pCO2D: Standardization technique description |  | 26.17.1
186 | pCO2D: Frequency of standardization |  | 26.17.2
187 | pCO2D: Temperature of standardization |  | 26.17.3
188 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
189 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
190 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
191 | pCO2D: Water vapor correction method |  | 26.18
192 | pCO2D: Temperature correction method |  | 26.19
193 | pCO2D: at what temperature was pCO2 reported |  | 26.2
194 | pCO2D: Uncertainty |  | 26.21
195 | pCO2D: Data quality flag description |  | 26.22
196 | pCO2D: Method reference (citation) |  | 26.23
197 | pCO2D: Researcher Name |  | 26.24.1
198 | pCO2D: Researcher Institution |  | 26.24.2
199 | Var1: Variable abbreviation in data files |  | 27.1
201 | Var1: Full variable name |  | 27.2
200 | Var1: Variable unit |  | 27.7
202 | Var1: Observation type |  | 27.4
203 | Var1: Sampling instrument |  | 27.1
204 | Var1: Analyzing instrument |  | 27.11
205 | Var1: Detailed sampling and analyzing information |  | 27.13
206 | Var1: Field replicate information |  | 27.14
207 | Var1: Uncertainty |  | 27.15
208 | Var1: Data quality flag description |  | 27.16
209 | Var1: Method reference (citation) |  | 27.17
210 | Var1: Researcher Name |  | 27.21.1
211 | Var1: Researcher Institution |  | 27.21.2
212 | Var2: Variable abbreviation in data files |  | 27.1
214 | Var2: Full variable name |  | 27.2
213 | Var2: Variable unit |  | 27.7
215 | Var2: Observation type |  | 27.4
216 | Var2: Sampling instrument |  | 27.1
217 | Var2: Analyzing instrument |  | 27.11
218 | Var2: Detailed sampling and analyzing information |  | 27.13
219 | Var2: Field replicate information |  | 27.14
220 | Var2: Uncertainty |  | 27.15
221 | Var2: Data quality flag description |  | 27.16
222 | Var2: Method reference (citation) |  | 27.17
223 | Var2: Researcher Name |  | 27.21.1
224 | Var2: Researcher Institution |  | 27.21.2
225 | VarN: Variable abbreviation in data files |  | 28.1
226 | VarN: Full variable name |  | 28.2