## Metadata
Cruise |  | 2014-01
Ship |  | CCGS John P. Tully
Dates |  | February 11-25, 2014
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, G. Cooper, and T. Sowden, 2015. Line P Inorganic Carbon Data Set, Cruise 2014-01, February 2014. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
flags
3 = suspect sample
6 = mean of duplicate samples
Total Inorganic Carbon
Coulometric titration
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | Collected in 500-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips.
Poisoned w/ 100 microlitres saturated HgCl2
Stored at 4 C in the dark and analyzed ashore
Analysis from the same glass bottle as alkalinity
Instrument: |  |  | SOMMA 1
Standardization technique: |  |  | CRM water
Analysis temperature (C): |  |  | 20
Analyst: |  |  | M. Davelaar
Standard used:
Dickson CRM |  |  | 133
certified value |  |  | 2021.12 ± 0.44
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 44 | C parameters inconsistent
| 91 | C parameters inconsistent
| 92 | C parameters inconsistent
| 95 | C parameters inconsistent
| 194 | High outlier
| 201 | High outlier, inconsistent w/Alk & pH
| 205 | C parameters inconsistent
| 496 | Low outlier
Replicate Analyses (same niskin)
Sample | A | B |  | Difference | Absolute
id | umol/kg | umol/kg | average | umol/kg | Difference
2 | 2119.75 | 2120.6011 | 2120.1756 | -0.85111 | 0.85111
7 | 2098.8632 | 2098.4349 | 2098.6491 | 0.42829 | 0.42829
13 | 2077.4809 | 2078.026 | 2077.7534 | -0.54508 | 0.54508 | Unknown which was tapped first
44 | 2238.8757 | 2238.7592 | 2238.8175 | 0.11656 | 0.11656
48 | 2124.9834 | 2125.7226 | 2125.353 | -0.73925 | 0.73925
54 | 2117.3343 | 2116.6724 | 2117.0034 | 0.66192 | 0.66192
56 | 2174.7946 | 2175.0762 | 2174.9354 | -0.2816 | 0.2816
93 | 2159.427 | 2158.6875 | 2159.0572 | 0.73949 | 0.73949
192 | 2385.9522 | 2385.5254 | 2385.7388 | 0.42677 | 0.42677
348 | 2354.4647 | 2353.8234 | 2354.144 | 0.64121 | 0.64121 | Unknown which was tapped first
349 | 2353.9984 | 2353.0074 | 2353.5029 | 0.99099 | 0.99099 | Last sample of the day?
372 | 2347.0358 | 2347.7357 | 2347.3857 | -0.69986 | 0.69986
615 | 2368.852 | 2367.7643 | 2368.3081 | 1.0877 | 1.0877
average variability: |  |  |  | 0.152 | 0.63152
standard deviation of variability: |  |  |  | 0.69385 | 0.27276
Replicate Samples (different niskins)
Sample |  | Average | difference | absolute
id | umol/kg | umol/kg | umol/kg | difference
192 | 2385.7388
193 | 2385.0213
|  | 2385.38 | -0.71757 | 0.71757
348 | 2354.144
349 | 2353.5029
|  | 2353.8235 | -0.64114 | 0.64114
372 | 2347.3857
373 | 2347.9693
|  | 2347.6775 | 0.58357 | 0.58357
615 | 2368.3081
616 | 2367.92
|  | 2368.1141 | -0.3881 | 0.3881
average variability: |  |  | -0.29081 | 0.5826
standard deviation of variability: |  |  | 0.59968 | 0.1408
Precision estimate: |  | 0.63 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | Collected in 500-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips.
Poisoned w/ 100 microlitres saturated HgCl2
Stored at 4 C in the dark and analyzed ashore
Analysis from the same glass bottle as TIC
Cell type |  |  | Open
Endpoint determination |  |  | Non-linear least squares fit
Instruments |  |  | IOS #1,#3
Analyst |  |  | M. Davelaar
Standard used:
Dickson CRM |  |  | 133
certified value |  |  | 2224.37 ± 0.96
Analysis temperature (C) |  |  | 25
Acid batch |  |  | 18
acid concentration |  |  | 0.099487
sample weight |  |  | approximately 100 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 44 | C parameters inconsistent
| 91 | C parameters inconsistent
| 92 | C parameters inconsistent
| 95 | C parameters inconsistent
| 194 | High outlier
| 196 | Low outlier, inconsistent w/TIC & pH
| 198 | Low outlier, inconsistent w/TIC & pH
| 205 | C parameters inconsistent
| 362 | Unstable analysis, inconsistent w/TIC & pH
| 363 | Unstable analysis, inconsistent w/TIC & pH
| 496 | Low outlier
| 627 | Low outlier, inconsistent w/TIC & pH
| 628 | Low outlier, inconsistent w/TIC & pH
| 629 | Low outlier, inconsistent w/TIC & pH
| 630 | Low outlier, inconsistent w/TIC & pH
| 636 | Low outlier, inconsistent w/TIC & pH
| 651 | High outlier; not on rosette sheet
Replicate Analyses (same niskin)
Sample | A | B |  | Difference | Absolute
id | umol/kg | umol/kg | average | umol/kg | Difference
2 | 2153.4701 | 2156.1298 | 2154.8 | -2.6597 | 2.6597
7 | 2128.9476 | 2129.7641 | 2129.3558 | -0.81652 | 0.81652
13 | 2114.3794 | 2111.5645 | 2112.9719 | 2.8149 | 2.8149 | Calibration low
44 | 2223.8762 | 2222.5973 | 2223.2367 | 1.2789 | 1.2789
48 | 2179.8127 | 2177.7233 | 2178.768 | 2.0893 | 2.0893
54 | 2145.979 | 2146.9195 | 2146.4493 | -0.94055 | 0.94055
56 | 2223.9537 | 2221.5904 | 2222.7721 | 2.3633 | 2.3633
93 | 2169.6428 | 2167.0112 | 2168.327 | 2.6315 | 2.6315
192 | 2389.6219 | 2389.4938 | 2389.5579 | 0.12808 | 0.12808
349 | 2420.1354 | 2421.4845 | 2420.8099 | -1.3491 | 1.3491
372 | 2426.1732 | 2425.5917 | 2425.8824 | 0.58144 | 0.58144
615 | 2423.339 | 2421.8769 | 2422.6079 | 1.4621 | 1.4621
average variability: |  |  |  | 0.63198 | 1.593
standard deviation of variability: |  |  |  | 1.773 | 0.90062
Replicate Samples (different niskins)
Sample |  | Average | difference | absolute
id | umol/kg | umol/kg | umol/kg | difference
192 | 2389.5579
193 | 2388.0447
|  | 2388.8013 | -1.5132 | 1.5132
348 | 2421.6843
349 | 2420.8099
|  | 2421.2471 | -0.87442 | 0.87442
372 | 2425.8824
373 | 2426.1363
|  | 2426.0094 | 0.25388 | 0.25388
615 | 2422.6079
616 | 2420.9011
|  | 2421.7545 | -1.7068 | 1.7068
average variability: |  |  | -0.96013 | 1.0871
standard deviation of variability: |  |  | 0.88403 | 0.65956
Precision estimate: |  | 1.6 | umol/kg
pH
Spectrophotometric
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | All samples were collected directly from the rosette into 10-cm glass & quartz spectrophotometer cells
Teflon stoppers were used to seal both cell inlet ports.
Samples were incubated in cell block at 25 oC for 1 hour before being analyzed.
pH scale: |  |  | Total hydrogen ion concentration
Analysis temperature (C): |  |  | 25.00 +/- 0.11
Analyst: |  |  | G. Cooper
Dye: | m-Cresol Purple | [5 empty] | May 4, 2012 batch (GAC), Vial B
| Concentration: | [5 empty] | 3 mmol/L
| pH (no adjustment): | [5 empty] | 7.8523
| Absorbance ratio (578nm/474nm): | [5 empty] | 1.218
| pH perturbation by dye addition: | [5 empty] | R(corrected) = -0.0127R(measured)+0.0058
(R2 = 0.93)
| Absorbance change at 730 nm w/dye addition: | [5 empty] | 0.0027 +/- 0.0026
| Stability constants: |  | Dickson, A.G., Sabine, C.L., and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Spectrophotometer model: |  |  | Agilent 8543 |  | Serial Number: CN22807933
| Accuracy: |  | Peak wavelengths confirmed to within 1 nm by spectrophotometric scans of a sealed HoO standard, 6 Feb. 2014
| Stability: |  | Self tests were run and passed: 5, 10, 17, 25 Feb. 2014
Notes: | 44 | C parameters inconsistent
| 45 | Large difference between replicates
| 91 | C parameters inconsistent
| 92 | C parameters inconsistent
| 94 | Unstable analysis
| 95 | C parameters inconsistent
| 203 | Unstable analysis
| 205 | C parameters inconsistent
| 384 | Large difference between replicates
| 502 | Unstable analysis
| 506 | Unstable analysis, inconsistent w/TIC & Alk
| 513 | Unstable analysis
Replicate Analyses (same niskin)
| A | B | C | Average | stdev | difference | abs diff
3 | 7.4611 | 7.4592 | 7.4581 | 7.4595 | 0.001528
13 | 7.4752 | 7.4753 | 7.4762 | 7.4756 | 0.00056496
45 | 7.4227 | 7.4208 | 7.4272 | 7.4236 | 0.0032832
53 | 7.4952 | 7.4921 | 7.4935 | 7.4936 | 0.0015549
56 | 7.4721 | 7.4761 | 7.4738 | 7.474 | 0.0020045
95 | 7.5962 | 7.5956 | 7.5967 | 7.5961 | 0.00054616
196 | 7.283 | 7.2826 | 7.2854 | 7.2836 | 0.0014909
207 | 7.7952 | 7.794 | 7.7965 | 7.7952 | 0.0012449
351 | 7.46 | 7.4592 | 7.4599 | 7.4597 | 0.00042726
360 | 7.4329 | 7.4326 | 7.4328 | 7.4328 | 0.00016191
375 | 7.4493 | 7.448 | 7.4472 | 7.4482 | 0.0010903
384 | 7.428 | 7.4275 | 7.424 | 7.4265 | 0.0021739
494 | 7.4467 | 7.4481 | 7.4485 | 7.4478 | 0.00092874
509 | 7.8049 | 7.8041 | 7.8032 | 7.8041 | 0.00081084
620 | 7.3043 | 7.3038 |  | 7.304 |  | 0.0005658 | 0.0005658
627 | 7.5252 | 7.5233 | 7.5232 | 7.5239 | 0.0011051
average variability: |  |  |  |  | 0.001261 |  |  | 0.0012176
standard deviation of variability: |  |  |  |  | 0.00079961 |  |  | 0.0007918
Replicate Samples (different niskins)
|  | Average | difference | abs diff
54 | 7.4954
55 | 7.4954
|  | 7.4954 | 2.266e-05 | 2.266e-05
91 | 7.4756
92 | 7.4778
|  | 7.4767 | 0.0022147 | 0.0022147
93 | 7.4925
94 | 7.4953 |  |  |  |  | Unstable analysis
|  | 7.4939 | 0.0028084 | 0.0028084
192 | 7.3132
193 | 7.3156
|  | 7.3144 | 0.002388 | 0.002388
348 | 7.5198
349 | 7.5213
|  | 7.5205 | 0.0014935 | 0.0014935
372 | 7.5304
373 | 7.5307
|  | 7.5305 | 0.00028607 | 0.00028607
615 | 7.4877
616 | 7.4878
|  | 7.4877 | 2.3936e-05 | 2.3936e-05
average variability: |  |  | 0.0013196 |  | 0.0013196
standard deviation of variability: |  |  | 0.0011985 |  | 0.0011985
Precision estimate: |  | 0.0013
Version control
2015-02-10 | First archived