## Metadata
Metadata form for underway measurement systems
( * =mandatory field)
Please submit this form to Benjamin Pfeil (benjamin.pfeil@bjerknes.uib.no) |  |  |  |  | to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* |  | Vassilis Kitidis
| Organization* |  | Plymouth Marine Laboratory, Plymouth, United Kingdom
| Address* |  | Prospect Place, West Hoe, Plymouth, PL1 3DH
| Phone* |  | Kitidis, +441752633100
| Email* |  | vak@pml.ac.uk
Dataset_Info* | Dataset ID*
| Submission Dates (will be completed by the data management) | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | United Kingdom Ocean Acidification
| Cruise ID |  | D366
Section (Leg)
| Geographical Coverage* | Geographical Region | Southern Ocean + Arctic Ocean (Atlantic; including passage through Atlantic to and from UK)
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W) | #REF!
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W) | #REF!
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S) | #REF!
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S) | #REF!
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20110606
|  | End Date: (YYYYMMDD) | 20110709
| Ports of Call |  | Glasgow (UK)
| Vessel* | Vessel Name | RRS Discovery
|  | Vessel ID | IMO 5090660
|  | Country | United Kingdom
|  | Vessel Owner | UK Natural Environment Research Council
|  | Variables Info* | xCO2_equ, P_atm, T_equ, T_sea, S_sea, pCO2_sw, pCO2_atm, fCO2_sw, fCO2_atm, ΔpCO2, ΔfCO2, WOCE QC flag, Sub-flag, xCO2atm_dry (ppmv)
Variable | Variable Name* |  | xCO2_equ
| Description of Variable: (E.g., in dry air) |  | CO2 Mixing Ratio in Equilibrator (dry; in ppmv)
| Variable Name* |  | P_atm
| Description of Variable: (E.g., in dry air) |  | Atmospheric pressure (in μatm)
| Variable Name* |  | Tequ
| Description of Variable: (E.g., in dry air) |  | Temperature in equilibrator (in degrees C)
| Variable Name* |  | T_sea
| Description of Variable: (E.g., in dry air) |  | Intake temperature (in degrees C)
| Variable Name* |  | S_sea
| Description of Variable: (E.g., in dry air) |  | Intake salinity (unitless)
| Variable Name* |  | pCO2_sw
| Description of Variable: (E.g., in dry air) |  | pCO2 from equilibrator at T_sea, S_sea (in μatm)
| Variable Name* |  | pCO2atm
| Description of Variable: (E.g., in dry air) |  | pCO2 air at T_sea, S_sea (wet air; in μatm)
| Variable Name* |  | fCO2_sw
| Description of Variable: (E.g., in dry air) |  | fCO2 from equilibrator at T_sea, S_sea (in μatm)
| Variable Name* |  | fCO2atm
| Description of Variable: (E.g., in dry air) |  | fCO2 air at T_sea, S_sea (wet air; in μatm)
| Variable Name* |  | ΔpCO2
| Description of Variable: (E.g., in dry air) |  | ΔpCO2 (pCO2_sw - pCO2atm; in μatm)
| Variable Name* |  | ΔfCO2
| Description of Variable: (E.g., in dry air) |  | ΔfCO2 (fCO2_sw - fCO2atm; in μatm)
| Variable Name* |  | xCO2atm_dry (ppmv)
| Description of Variable: (E.g., in dry air) |  | CO2 mixing ratio in marine air (dry; in ppmv)
Method Description* | Equilibrator Design | Equilibrator Type | 2-stage vented showerhead
|  | Equilibrator Volume (L) | approx 2.5 l
|  | Water Flow Rate (L/min) | 1.6 l/min
|  | Headspace Gas Flow Rate (L/min) | 0.2
|  | Vented | yes
| Measurement Method |  | Infrared analysis of headspace in equilibrium with flowing seawater. Referenced against NOAA-traceable standards every 5 minutes
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | NOAA/CMDL
| CO2 Sensors | CO2 Sensor | Infrared
|  | Manufacturer | LI-COR
|  | Model | 840
Environmental Control: (Describe any additional environmental control.)
Resolution
|  | Uncertainty | ±1.5
|  | CO2 Sensor Calibration: (For each calibration gas, document traceability to an internationally recognized scale, including date and place of last calibration. Include uncertainty of assigned value.) | 3 working standards (nominal concentrations: 0, 250, 450 ppmv CO2 in synthetic air; supplier: BOC Ltd.) were calibrated against NOAA primary reference standards (244.9 and 444.4 ppmv; cylinder numbers CA07398 and CA07305) in the lab, pre- and post-deployment.
| Other Sensors (In situ Temperature & Salinity) | Manufacturer | Seabird, Thermosalinograph for SST and Salinity
|  | Model | SBE 45 (serial #: 0229)
|  | Resolution | 0.0001 for SST; 0.0002 for Salinity
|  | Uncertainty | 0.002 for SST; 0.005 for Salinity
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibration for Tempersature and Pressure. Salinity calibrated against bottle samples analysed with an Autosal salinimeter
| Other Sensors (Equilibrator Temperature) | Manufacturer | Pico-Technology, 2 x platinum resistance thermometers in equilibrator
|  | Model | PT100 Class B
|  | Resolution | 0.001 oC
|  | Uncertainty | ±0.01 oC
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | in-house calibrations at PML against NIST-traceable thermometer
| Other Sensors (Equilibrator Pressure) | Manufacturer | Druck Ltd.
|  | Model | PTX7517-3257
|  | Resolution | 0.1 mbar
|  | Uncertainty | 0.1 mbar
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibration
| Other Sensors (Atmospheric Pressure) | Manufacturer | Vaisala PTB100A barometer (s.n. S3610008)
|  | Model | PTB100A
|  | Resolution | 0.001 mbar
|  | Uncertainty | ±0.001 mbar
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibration; corrected to sea-level from height at which barometer is mounted (16 m) (Gill, A.E., 1982. Atmosphere Ocean Dynamics. Academic Press.; McIlveen, R., 1991. Fundamentals of Weather and Climate. Nelson Thornes Ltd.)
| Method References: (Publication(s) describing method) |  | Hardman-Mountford et al., 2008. An operational monitoring system to provide indicators of CO2-related variables in the ocean. ICES J. Mar. Sci. 65, 1498-1503.
Data set references
Citation
Data Set Link | URL*
Label*
| Link Note: (Optional instructions or remarks) |  | This data set forms part of an inter-comparison exercise which included a second pCO2 system, TA, DIC and spectrophotometric pH. Reference: Ribas-Ribas et al., 2014, doi: 10.5194/bgd-11-2793-201