## metadata
No | Metadata element name | Your input | Help reference no.
1 | Submission Date | 2017-07-07 | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Rik Wanninkhof | 3.1
4 | Investigator-1 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
5 | Investigator-1 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
6 | Investigator-1 phone | 1-305-361-4379 | 3.4
7 | Investigator-1 email | Rik.Wanninkhof@noaa.gov | 3.5
8 | Investigator-1 researcher ID |  | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) |  | 3.7
10 | Investigator-2 name | Denis Pierrot | 3.1
11 | Investigator-2 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
12 | Investigator-2 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
13 | Investigator-2 phone | 1-305-361-4441 | 3.4
14 | Investigator-2 email | Denis.Perrot@noaa.gov | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name | Kevin Sullivan | 3.1
18 | Investigator-3 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
19 | Investigator-3 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
20 | Investigator-3 phone | 1-305-361-4382 | 3.4
21 | Investigator-3 email | Kevin.Sullivan@noaa.gov | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name | Kevin Sullivan | 4.1
25 | Data submitter institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 4.2
26 | Data submitter address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 4.3
27 | Data submitter phone | 1-305-361-4382 | 4.4
28 | Data submitter email | Kevin.Sullivan@noaa.gov | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Partial pressure (or fugacity) of carbon dioxide, temperature, salinity and other variables collected from surface underway observations using carbon dioxide gas analyzer, shower head equilibrator and other instruments from SOOP M/V Equinox in the Caribbean Sea and North Atlantic Ocean in 2017 (NCEI Accession 0161868) | 5
32 | Abstract | In 2015, the Ocean Carbon Group at NOAA Atlantic Oceanographic and Meteorological Laboratory (AOML) installed an autonomous instrument to measure CO2 levels in surface water and air on the M/V Equinox (http://www.aoml.noaa.gov/ocd/ocdweb/equinox/equinox_introduction.html). This data set archive is the Sea Surface and Atmospheric fCO2 data measured in the Atlantic Ocean and Caribbean Sea during the Cruise Ship "Celebrity Equinox" 2017 SOOP cruises. | 6
33 | Purpose | The major objectives of this SOOP project is to provide a high quality measurements of atmospheric and sea surface fCO2, sea surface salinity, temperature, and other parameters, in the Caribbean Sea and Atlantic Ocean. | 7
34 | Start date | 2017-01-02 | 8.1
35 | End date | 2017-07-09 | 8.2
36 | Westbd longitude | -87.1 | 9.1
37 | Eastbd longitude | -59.5 | 9.2
38 | Northbd latitude | 26.3 | 9.3
39 | Southbd latitude | 9.3 | 9.4
40 | Geographic names | Atlantic Ocean, Caribbean Sea | 11
41 | Funding agency name | NOAA Climate Program Office Program | 13.1
42 | Funding project title | Surface Water pCO2 Measurements from Ships of Opportunity (SOOP) | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects |  | 14
45 | Platform-1 name | M/V Equinox Cruise Ship | 15.1
46 | Platform-1 ID |  | 15.2
47 | Platform-1 type | SOOP Lines | 15.3
48 | Platform-1 owner | Royal Caribbean International | 15.4
49 | Platform-1 country | USA, Liberia | 15.5
50 | EXPOCODE | MLCE20170102, MLCE20170109, MLCE20170120, MLCE20170130, MLCE20170210, MLCE20170220, MLCE20170303, MLCE20170313, MLCE20170324, MLCE20170403, MLCE20170414, MLCE20170424, MLCE20170505, MLCE20170515, MLCE20170526, MLCE20170604, MLCE20170611, MLCE20170618, MLCE20170625, MLCE20170702 | 16
51 | Cruise ID | EQNX_20170102, EQNX_20170109, EQNX_20170120, EQNX_20170130, EQNX_20170210, EQNX_20170220, EQNX_20170303, EQNX_20170313, EQNX_20170324, EQNX_20170403, EQNX_20170414, EQNX_20170424, EQNX_20170505, EQNX_20170515, EQNX_20170526, EQNX_20170604, EQNX_20170611, EQNX_20170618, EQNX_20170626, EQNX_20170702 | 17
52 | Section |  | 18
53 | Author list for citation | Wanninkhof, Rik; Pierrot, Denis; Sullivan, Kevin | 19
54 | References | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. Feely, R.A., R. Wanninkhof, H.B. Milburn, C.E. Cosca, M. Stapp, and P.P. Murphy, A new automated underway system for making high precision pCO2 measurements onboard research ships, Analytica Chim. Acta, 377, 185-191, 1998. Wanninkhof and Thoning, Measurement of fugacity of Carbon Dioxide in surface water and air using continuous sampling methods, Marine Chemistry, 44, 189-205, 1993. | 20
55 | Supplemental information |  | 21
56 | DIC: Variable abbreviation in data files |  | 22.1
57 | DIC: Variable unit |  | 22.5
58 | DIC: Observation type |  | 22.2
59 | DIC: Measured or calculated |  | 22.6
60 | DIC: Calculation method and parameters |  | 22.7
61 | DIC: Sampling instrument |  | 22.8
62 | DIC: Analyzing instrument |  | 22.9
63 | DIC: Detailed sampling and analyzing information |  | 22.10
64 | DIC: Field replicate information |  | 22.11
65 | DIC: Standardization technique description |  | 22.12.1
66 | DIC: Frequency of standardization |  | 22.12.2
67 | DIC: CRM manufacturer |  | 22.12.3.1
68 | DIC: Batch number |  | 22.12.3.2
69 | DIC: Poison used to kill the sample |  | 22.13.1
70 | DIC: Poison volume |  | 22.13.2
71 | DIC Poisoning correction description |  | 22.13.3
72 | DIC: Uncertainty |  | 22.14
73 | DIC: Data quality flag description |  | 22.15
74 | DIC: Method reference (citation) |  | 22.16
75 | DIC: Researcher Name |  | 22.17.1
76 | DIC: Researcher Institution |  | 22.17.2
77 | TA: Variable abbreviation in data files |  | 23.1
78 | TA: Variable unit |  | 23.5
79 | TA: Observation type |  | 23.2
80 | TA: Measured or calculated |  | 23.6
81 | TA: Calculation method and parameters |  | 23.7
82 | TA: Sampling instrument |  | 23.8
83 | TA: Analyzing instrument |  | 23.9
84 | TA: Type of titration |  | 23.1
85 | TA: Cell type (open or closed) |  | 23.11
86 | TA: Curve fitting method |  | 23.12
87 | TA: Detailed sampling and analyzing information |  | 23.13
88 | TA: Field replicate information |  | 23.14
89 | TA: Standardization technique description |  | 23.15.1
90 | TA: Frequency of standardization |  | 23.15.2
91 | TA: CRM manufacturer |  | 23.15.3.1
92 | TA: Batch Number |  | 23.15.3.2
93 | TA: Poison used to kill the sample |  | 23.16.1
94 | TA: Poison volume |  | 23.16.2
95 | TA: Poisoning correction description |  | 23.16.3
96 | TA: Magnitude of blank correction |  | 23.17
97 | TA: Uncertainty |  | 23.18
98 | TA: Data quality flag description |  | 23.19
99 | TA: Method reference (citation) |  | 23.2
100 | TA: Researcher Name |  | 23.21.1
101 | TA: Researcher Institution |  | 23.21.2
102 | pH: Variable abbreviation in data files |  | 24.1
103 | pH: pH scale |  | 24.9
104 | pH: Observation type |  | 24.2
105 | pH: Measured or calculated |  | 24.5
106 | pH: Calculation method and parameters |  | 24.6
107 | pH: Sampling instrument |  | 24.7
108 | pH: Analyzing instrument |  | 24.8
109 | pH: Temperature of measurement |  | 24.1
110 | pH: Detailed sampling and analyzing information |  | 24.11
111 | pH: Field replicate information |  | 24.12
112 | pH: Standardization technique description |  | 24.13.1
113 | pH: Frequency of standardization |  | 24.13.2
114 | pH: pH values of the standards |  | 24.13.3
115 | pH: Temperature of standardization |  | 24.13.4
116 | pH: Temperature correction method |  | 24.14
117 | pH: at what temperature was pH reported |  | 24.15
118 | pH: Uncertainty |  | 24.16
119 | pH: Data quality flag description |  | 24.17
120 | pH: Method reference (citation) |  | 24.18
121 | pH: Researcher Name |  | 24.19.1
122 | pH: Researcher Institution |  | 24.19.2
123 | pCO2A: Variable abbreviation in data files | fCO2_SW@SST | 25.1
124 | pCO2A: Variable unit | uatm | 25.5
125 | pCO2A: Observation type | Surface underway | 25.2
126 | pCO2A: Measured or calculated | Measured | 25.6
127 | pCO2A: Calculation method and parameters |  | 25.7
128 | pCO2A: Sampling instrument | Seawater pump | 25.8
129 | pCO2A: Location of seawater intake | Bow | 25.9
130 | pCO2A: Depth of seawater intake | 5 meters | 25.1
131 | pCO2A: Analyzing instrument | Infrared Analyzer: LI-COR model 6262 | 25.11
132 | pCO2A: Detailed sampling and analyzing information | Pierrot, D., C. Neil, K. Sullivan, R. Castle, R. Wanninkhof, H. Lueger, T. Johannessen, A. Olsen, R. A. Feely, and C. E. Cosca (2009), Recommendations for autonomous underway pCO2 measuring systems and data reduction routines, Deep-Sea Res II, 56, 512-522 | 25.12
133 | pCO2A: Equilbrator type | Spray head above dynamic pool, with thermal jacket | 25.13.1
134 | pCO2A: Equilibrator volume (L) | 0.95 L (0.4 L water, 0.55 L headspace) | 25.13.2
135 | pCO2A: Vented or not | Vented | 25.13.3
136 | pCO2A: Water flow rate (L/min) | 1.5 - 2.0 L/min | 25.13.4
137 | pCO2A: Headspace gas flow rate (L/min) | 70 - 150 ml/min | 25.13.5
138 | pCO2A: How was temperature inside the equilibrator measured . | Hart Scientific model 1523 digital thermometer | 25.13.6
139 | pCO2A: How was pressure inside the equilibrator measured. | External Setra 270 connected to the exit of the analyzer | 25.13.7
140 | pCO2A: Drying method for CO2 gas | Gas stream passes through a thermoelectric condenser (~5 C) and then through a Perma Pure (Nafion) dryer before reaching the analyzer (90% dry). | 25.14
141 | pCO2A: Manufacturer of the gas detector | Licor, Inc | 25.15.1
142 | pCO2A: Model of the gas detector | Licor 6262 | 25.15.2
143 | pCO2A: Resolution of the gas detector | Accuracy: +/- 2 uatm in fCO2_SW | 25.15.3
144 | pCO2A: Uncertainty of the gas detector | Precision: +/- 0.01 uatm in fCO2_SW | 25.15.4
145 | pCO2A: Standardization technique description | The system runs a full cycle in approximately 7 hours. The cycle starts with 4 standard gases, then measures three rounds of 6 atmopherice samples followed by 50 surface water samples. Each new gas is flushed through the Licor Analyzer for 2 minutes prior to a stop-flow measurement. | 25.16.1
146 | pCO2A: Frequency of standardization | Every 7 hours | 25.16.2
147 | pCO2A: Manufacturer of standard gas | Standard gases are supplied by NOAA Earth System Research Laboratory, Global Monitoring Division, in Boulder, CO, and are directly traceable to the WMO scale. | 25.16.3.1
148 | pCO2A: Concentrations of standard gas | Std 1: CA05585, 280.18 ppm, owned by ESRL, used every ~5.0 hours. Std 2: CA06368, 328.12 ppm, owned by ESRL, used every ~5.0 hours. Std 3: CA05979, 381.89 ppm, owned by AOML, used every ~5.0 hours. Std 4: CB08988, 455.60 ppm, owned by ESRL, used every ~5.0 hours. Std 5: 0.00 ppm, owned by AOML, used every ~26.5 hours. | 25.16.3.2
149 | pCO2A: Uncertainties of standard gas | 0.01 ppm | 25.16.3.3
150 | pCO2A: Water vapor correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.17
151 | pCO2A: Temperature correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.18
152 | pCO2A: at what temperature was pCO2 reported | In situ sea surface temperature | 25.19
153 | pCO2A: Uncertainty | 0.01C | 25.2
154 | pCO2A: Data quality flag description | WOCE quality control flags are used: 2 = good value, 3 = questionable value, 4 = bad value | 25.21
155 | pCO2A: Method reference (citation) | Pierrot, D., C. Neil, K. Sullivan, R. Castle, R. Wanninkhof, H. Lueger, T. Johannessen, A. Olsen, R. A. Feely, and C. E. Cosca (2009), Recommendations for autonomous underway pCO2 measuring systems and data reduction routines, Deep-Sea Res II, 56, 512-522 | 25.22
156 | pCO2A: Researcher Name | Denis Pierrot | 25.23.1
157 | pCO2A: Researcher Institution | NOAA/AOML | 25.23.2
158 | pCO2D: Variable abbreviation in data files |  | 26.1
159 | pCO2D: Variable unit |  | 26.5
160 | pCO2D: Observation type |  | 26.2
161 | pCO2D: Measured or calculated |  | 26.6
162 | pCO2D: Calculation method and parameters |  | 26.7
163 | pCO2D: Sampling instrument |  | 26.8
164 | pCO2D: Analyzing instrument |  | 26.9
165 | pCO2D: Storage method |  | 26.1
166 | pCO2D: Seawater volume (mL) |  | 26.11
167 | pCO2D: Headspace volume (mL) |  | 26.12
168 | pCO2D: Temperature of measurement |  | 26.13
169 | pCO2D: Detailed sampling and analyzing information |  | 26.14
170 | pCO2D: Field replicate information |  | 26.15
171 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
172 | pCO2D: Model of the gas detector |  | 26.16.2
173 | pCO2D: Resolution of the gas detector |  | 26.16.3
174 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
175 | pCO2D: Standardization technique description |  | 26.17.1
176 | pCO2D: Frequency of standardization |  | 26.17.2
177 | pCO2D: Temperature of standardization |  | 26.17.3
178 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
179 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
180 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
181 | pCO2D: Water vapor correction method |  | 26.18
182 | pCO2D: Temperature correction method |  | 26.19
183 | pCO2D: at what temperature was pCO2 reported |  | 26.2
184 | pCO2D: Uncertainty |  | 26.21
185 | pCO2D: Data quality flag description |  | 26.22
186 | pCO2D: Method reference (citation) |  | 26.23
187 | pCO2D: Researcher Name |  | 26.24.1
188 | pCO2D: Researcher Institution |  | 26.24.2
189 | Var1: Variable abbreviation in data files | SST_C | 27.1
190 | Var1: Full variable name | Sea Surface Temperature | 27.2
191 | Var1: Variable unit | degrees celcius | 27.7
192 | Var1: Observation type | Surface Underway | 27.4
193 | Var1: Sampling instrument |  | 27.1
194 | Var1: Analyzing instrument | SBE 38, Seabird, Inc. | 27.11
195 | Var1: Detailed sampling and analyzing information | In Bow Thruster room, about 1m after the intake which is directly through the ship's hull, before the SW pump | 27.13
196 | Var1: Field replicate information |  | 27.14
197 | Var1: Uncertainty | Accuracy: 0.001C, Precision: 0.0003C | 27.15
198 | Var1: Data quality flag description |  | 27.16
199 | Var1: Method reference (citation) |  | 27.17
200 | Var1: Researcher Name | Maintained by University of Miami's MTG group | 27.21.1
201 | Var1: Researcher Institution | University of Miami | 27.21.2
202 | Var2: Variable abbreviation in data files | SAL_permil | 27.1
203 | Var2: Full variable name | Sea Surface Salinity | 27.2
204 | Var2: Variable unit |  | 27.7
205 | Var2: Observation type | Surface Underway | 27.4
206 | Var2: Sampling instrument |  | 27.1
207 | Var2: Analyzing instrument | SBE 45, Seabird, Inc. | 27.11
208 | Var2: Detailed sampling and analyzing information |  | 27.13
209 | Var2: Field replicate information |  | 27.14
210 | Var2: Uncertainty | Accuracy: +/- 0.005; Precision: 0.0002 | 27.15
211 | Var2: Data quality flag description |  | 27.16
212 | Var2: Method reference (citation) |  | 27.17
213 | Var2: Researcher Name | Maintained by University of Miami's MTG group | 27.21.1
214 | Var2: Researcher Institution | University of Miami | 27.21.2
215 | Var3: Variable abbreviation in data files | PRES_ATM@SSP_hPa | 27.1
216 | Var3: Full variable name | Atmospheric Pressure | 27.2
217 | Var3: Variable unit | hPa | 27.7
218 | Var3: Observation type |  | 27.4
219 | Var3: Sampling instrument | Vaisala, WXT520 | 27.1
220 | Var3: Analyzing instrument |  | 27.11
221 | Var3: Detailed sampling and analyzing information |  | 27.13
222 | Var3: Field replicate information |  | 27.14
223 | Var3: Uncertainty | Accuracy: +/- 0.5 hPa; Precision: 0.1 hPa | 27.15
224 | Var3: Data quality flag description |  | 27.16
225 | Var3: Method reference (citation) |  | 27.17
226 | Var3: Researcher Name | Maintained by University of Miami's MTG group | 27.21.1
227 | Var3: Researcher Institution | University of Miami | 27.21.2