## Metadata
Metadata form for underway measurement systems
( * =mandatory field)
to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* |  | Mohamed Ahmed1, Brent Else1, Tonya Burgers2, Tim Papakyriakou2
| Organization* |  | 1- University of Calgary 2- University of Manitoba
| Address* |  | 1- Geography Dept., University of Calgary 2500 University Drive NW, Calgary T2N 1N4, AB, Canada
2- Center for Earth Observation Science, Department of Environment & Geography University of Manitoba, Winnipeg R3T 2N2, MB, Canada.
| Phone* |  | 14036293882 (Ahmed's cell phone )
| Email* |  | mohamed.ahmed3@ucalgary.ca Belse@ucalgary.ca Tonya.Burgers@umanitoba.ca Tim.Papakyriakou@umanitoba.ca
Dataset_Info* | Dataset ID*
Funding Info
| Submission Dates | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | Underway surface water pCO2 measuerements in the Canadian Arctic Archipelago in 2016
| Cruise ID (Expocode) |  | 18DL20160603
Section (Leg)
| Geographical Coverage* | Geographical Region | Canadian Arctic Arcipelago
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20160802
|  | End Date: (YYYYMMDD) | 20160926
Ports of Call
| Platform Type (e.g. Ship) |  | Ship
| Survey Type (e.g. Research cruise) |  | Research cruise
| Vessel* | Vessel Name | CCGS Amundsen
|  | Vessel ID | 18DL
|  | Country | Canada
|  | Vessel Owner | Canadian Coast Guard
Variables | Variable Name1* |  | xCO2_EQU
| Description of Variable (e.g. in dry air) |  | CO2 molar fraction
| Unit |  | micromol per mol (or ppm)
| Variable Name2* |  | xH2O_EQU
| Description of Variable (e.g. in dry air) |  | H2O molar fraction
| Unit |  | millimol per mol (or ppt)
| Variable Name3* |  | TEMP_LICOR
| Description of Variable (e.g. in dry air) |  | temperature of gas analyzer
| Unit |  | degrees celcius
| Variable Name4* |  | PRES_LICOR
| Description of Variable (e.g. in dry air) |  | pressure of gas analyzer
| Unit |  | hPa
| Variable Name5* |  | PRES_EQU
| Description of Variable (e.g. in dry air) |  | pressure of equilibrator
| Unit |  | hPa
| Variable Name6* |  | TEMP_EQU
| Description of Variable (e.g. in dry air) |  | temperature of water inside equilibrator
| Unit |  | degrees celcius
| Variable Name7* |  | SSS
| Description of Variable (e.g. in dry air) |  | sea surface salinity
| Unit |  | practical salinity units
| Variable Name8* |  | SST
| Description of Variable (e.g. in dry air) |  | sea surface temperature
| Unit |  | degrees celcius
| Variable Name9* |  | pCO2_SW
| Description of Variable (e.g. in dry air) |  | partial pressure of CO2
| Unit |  | micro-atmosphere
| Variable Name10* |  | fCO2_SW
| Description of Variable (e.g. in dry air) |  | fugacity of CO2
| Unit |  | micro-atmosphere
| Total variables in the Data Set |  | 10
| Comments on data QC |  | We did these following filtering steps on our data: 1) replace xCO2_EQU, pCO2_SW, and fCO2_SW values with NaN's if the measured xCO2_EQU values are higher than 10000 ppm or lower than 0 ppm; 2) replace xCO2_EQU, pCO2_SW, TEMP_EQU and fCO2_SW values with NaN's if the measured water flow was lower than 1.5 L/min; 3) replace xCO2_EQU, pCO2_SW, and fCO2_SW values with NaN's if the measured PRES_LICOR was higher than 1100 hPa or lower than 900 hPa; 4) replace xCO2_EQU, pCO2_SW, and fCO2_SW values with NaN's if the measured conductivity was lower or equal to 0 mS/cm; 5) replace xCO2_EQU, pCO2_SW, SST and fCO2_SW values with NaN's if the measured Idronaut's temperature was higher than 20 degree celisus or lower than -5 degree celisus.
Method Description* | Equilibrator Design | Equilibrator Type | shower-type equilibrator
Equilibrator Volume (L)
|  | Intake Location | engine room of CCGS Amundsen
|  | Water Flow Rate (L/min) | 2.4-2.8 L/min
|  | Headspace Gas Flow Rate (L/min) | ~100 ml/min
|  | Vented (Yes, No) | Yes
|  | Equilibration Comments | Temperature inside the equilibarator measured with a very accurate (±0.01 °C) and stable Hart digital thermometer with a thermistor probe. However, we applied a temperature correction to account for warming from the seawater intake line to the GO 8050 equilibrator. The temperature correction was done with a regression analysis between the equilibrator water temperature and it's coincident seawater measurements made bt the shup's CTD-rosette. The computed SST values from this linear relationship are the temperatures at which our pCO2 values are reported. Details about this regression, and the statistics of it are included in the second tab of this spreadsheet.
|  | Drying Method | The heaspace gas from the equilibrator goes through a condensor, then Naphion drying tubes, then to the CO2 analyzer
| Measurement Method |  | This automated underway system operates by directing the seawater flow from a high-volume inlet (located approximately at 7 m beneath the water surface) through a shower-type equilibrator system. The gas in the headspace of the equilibrator is cycled in a closed loop through a LI-COR LI-7000 CO2/H2O gas analyzer at a rate of 80-100 ml min-1 to measure CO2 and H2O mole fraction. See Pierrot et al. [2009] for more details about the measurement method
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | Praxair (Canada)
| CO2 Sensors | CO2 Sensor | non-dispersive Infrared gas analyzer
|  | Manufacturer | LICOR
|  | Model | LI-7000
|  | Measured CO2 Values | CO2 molar fraction
|  | Measurement Frequency | ~1-2 min
|  | Uncertainty (Accuracy/Precision) | the precision of the measurements is ± 1 ppm (see Pierrot et al. 2009) the accuracy of the instrument is nominal ±1% (see Pierrot et al. 2009)
|  | CO2 Sensor Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of the last calibration) | CO2 sensor was calibrated by the manufacturer prior deployment
|  | Number Non-Zero Gas Standards | 2
|  | Calibration Gases | zero CO2 gas (ultra-pure N2 gas from Praxair), and two span gases (373.07 ppm and 600.02 ppm from Praxair)
|  | Comments | Calibration was done twice daily
| Other Sensors | Manufacturer | temperature of gas analyzer (Betatherm)
|  | Model | 100K6MBD1 temperature sensor
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy better than 0.05 deg C for temp. sensor of gas analyzer
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | pressure of gas analyzer (TE connectivity)
|  | Model | 13A-015A pressure sensor
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.1% for pressure sensor
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | pressure of equilibrator (Setra)
|  | Model | 239 setra pressure transducer
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.027 hPa for the Setra pressure transducer
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | salinity (Idronaut)
|  | Model | Idronaut Ocean Seven model 315
|  | Resolution | sensor was logged to save measureements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.003 mS/cm in conductivity measurement
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | temperature (Idronaut)
|  | Model | Idronaut Ocean Seven model 315
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.002 deg C for water temperature
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
Comments
| Method References: (Publication(s) describing method) |  | Ahmed et al. (in progress) Variability of seawater pCO2 in the Canadian Arctic Archipelago from 2010 to 2016, JGR-Oceans
| Additional information |  | see Pierrot et al. [2009] for more details on GO 8050 underway system see Weiss and Price [1980] for water vapor correction method see Takahashi et al. [1993] for temperature correction method
Suggested QC flag from Data Provider
Data set references | (Publication(s) describing data set) |  | Ahmed et al. (in progress) Variability of seawater pCO2 in the Canadian Arctic Archipelago from 2010 to 2016, JGR-Oceans
Citation | How to cite this data |  | Ahmed, M., Else, B., Burgers, T., and Papakyriako, T. (2018). Surface water pCO2 measuerements in the Canadian Arctic Archipelago in 2016
Data Set Link | URL*
| Label* |  | pCO2, Canadian Arctic Archiepalgo, carbon cycle, Arctic shelves
Link Note: (Optional instructions or remarks)

## Linear regression 2016
Cruise_Number | Cast_Number | Station_ID | CTD_time | Latitude_dec_degree | Longitude_dec_degree | Depth_m | CTD_temp_degC | Salinity_PSU | pCO2_time | Equ_temp_degC | H2O_Flow_L_per_min) | Notes
2016002 | 41 | 325 | 8/04/2016 08:11 | 73.8169 | -80.4912 | 6 | 3.89 | 31.1 | 2016-08-04 08:11 | 5.99 | 1.89
2016002 | 42 | 324 | 8/04/2016 10:25 | 73.9836 | -80.4756 | 6 | 5.132 | 32.365 | 2016-08-04 10:26 | 7.01 | 1.87
2016002 | 43 | 323 | 8/04/2016 13:04 | 74.1569 | -80.4688 | 6 | 4.674 | 32.423 | 2016-08-04 13:03 | 6.01 | 2.09
2016002 | 44 | 323 | 8/04/2016 15:14 | 74.1571 | -80.456 | 6 | 5.506 | 32.352 | 2016-08-04 15:04 | 6.78 | 2.08
2016002 | 45 | 300 | 8/05/2016 06:43 | 74.3162 | -80.4968 | 6 | 6.155 | 32.388 | 2016-08-05 06:42 | 7.12 | 2.11
2016002 | 46 | 322 | 8/05/2016 08:49 | 74.4968 | -80.5419 | 6 | 4.481 | 31.725 | 2016-08-05 08:50 | 5.22 | 2.14
2016002 | 90 | AllenBay | 8/17/2016 22:54 | 74.7272 | -95.2466 | 6 | 2.761 | 29.939 | 2016-08-17 22:54 | 4.15 | 1.99
2016002 | 91 | 305 | 8/18/2016 05:07 | 74.3291 | -94.977 | 6 | 0.777 | 29.062 | 2016-08-18 05:09 | 2.1 | 2.09
2016002 | 92 | 305 | 8/18/2016 09:24 | 74.329 | -94.9835 | 6 | 0.598 | 29.392 | 2016-08-18 09:25 | 1.94 | 2
2016002 | 93 | 306 | 8/18/2016 14:37 | 74.4141 | -98.1842 | 6 | -0.587 | 28.258 | 2016-08-18 14:38 | 0.93 | 2.05
2016002 | 94 | 310E | 8/19/2016 16:18 | 71.2945 | -97.7015 | 6 | 1.899 | 25.206 | 2016-08-19 16:19 | 3.29 | 2.1
2016002 | 95 | 310E | 8/19/2016 18:32 | 71.2937 | -97.7028 | 6 | 2.021 | 24.178 | 2016-08-19 18:33 | 3.28 | 2.11
2016002 | 96 | 311 | 8/20/2016 01:20 | 70.2701 | -98.5189 | 6 | 1.948 | 25.428 | 2016-08-20 01:21 | 3.38 | 2.13
2016002 | 97 | 312 | 8/20/2016 12:42 | 69.1731 | -100.6929 | 6 | 4.285 | 26.075 | 2016-08-20 12:42 | 5.25 | 2.06
2016002 | 98 | 312 | 8/20/2016 14:33 | 69.1717 | -100.6985 | 6 | 4.372 | 26.125 | 2016-08-20 14:33 | 5.75 | 2.09
2016002 | 99 | QMGM | 8/20/2016 22:38 | 68.2462 | -101.7812 | 6 | 8.962 | 19.55 | 2016-08-20 22:38 | 9.76 | 2.1
2016002 | 100 | QMGM | 8/21/2016 00:33 | 68.3008 | -101.7441 | 6 | 8.457 | 19.584 | 2016-08-21 00:33 | 9.76 | 2.17
2016002 | 101 | QMGM | 8/21/2016 04:22 | 68.3039 | -101.7451 | 6 | 8.018 | 20.049 | 2016-08-21 04:22 | 9.6 | 2.13
2016002 | 102 | QMG2 | 8/21/2016 07:52 | 68.3137 | -100.8001 | 6 | 5.314 | 22.994 | 2016-08-21 07:51 | 8.19 | 2.12
2016002 | 103 | QMGM | 8/21/2016 19:15 | 68.2497 | -101.8083 | 6 | 9.145 | 19.329 | 2016-08-21 19:15 | 10.37 | 2.13 |  | Linear regression
2016002 | 104 | QMG1 | 8/22/2016 10:24 | 68.4916 | -99.8966 | 6 | 4.73 | 24.386 | 2016-08-22 10:24 | 6.26 | 2.16
2016002 | 105 | QMG3 | 8/22/2016 20:43 | 68.3295 | -102.9451 | 6 | 7.598 | 22.202 | 2016-08-22 20:43 | 8.55 | 2.15 |  | Regression Statistics
2016002 | 106 | QMG4 | 8/23/2016 01:25 | 68.4841 | -103.4282 | 6 | 8.061 | 24.788 | 2016-08-23 01:25 | 9 | 2.15 |  | Multiple R | 0.97983
2016002 | 107 | 314 | 8/23/2016 10:39 | 68.9705 | -105.4755 | 6 | 7.669 | 25.334 | 2016-08-23 10:39 | 8.93 | 2.08 |  | R Square | 0.96006
2016002 | 108 | 314 | 8/23/2016 13:19 | 68.9715 | -105.4759 | 6 | 7.73 | 25.185 | 2016-08-23 13:18 | 8.43 | 2.16 |  | Adjusted R Square | 0.95948
2016002 | 109 | 316 | 8/24/2016 05:24 | 68.3816 | -112.1173 | 6 | 5.005 | 27.546 | 2016-08-24 05:24 | 6.83 | 2.08 |  | Standard Error | 0.56398
2016003 | 1 | 405 | 8/27/2016 05:41 | 70.6106 | -123.029 | 6 | 6.756 | 27.851 | 2016-08-27 05:43 | 8.19 | 2.06 |  | Observations | 71
2016003 | 2 | CA-08 | 8/27/2016 23:28 | 71.0091 | -126.0894 | 6 | 3.729 | 27.914 | 2016-08-27 23:28 | 4.28 | 2.11
2016003 | 3 | 407 | 8/28/2016 06:30 | 70.9997 | -126.0744 | 6 | 4.232 | 28.09 | 2016-08-28 06:31 | 4.86 | 2.15 |  | ANOVA
2016003 | 4 | 407 | 8/28/2016 11:03 | 71.0042 | -126.0663 | 6 | 3.093 | 27.809 | 2016-08-28 11:03 | 4 | 2.13 |  |  | df | SS | MS | F | Significance F
2016003 | 5 | 407 | 8/28/2016 15:17 | 71.0096 | -126.0746 | 6 | 4.536 | 28.07 | 2016-08-28 15:19 | 5.34 | 2.15 |  | Regression | 1 | 527.5562 | 527.5562 | 1658.582 | 5.4727e-50
2016003 | 6 | 437 | 8/28/2016 19:51 | 71.8006 | -126.4993 | 6 | 3.633 | 27.544 | 2016-08-28 19:51 | 5.2 | 2.16 |  | Residual | 69 | 21.9473 | 0.31808
2016003 | 7 | 437 | 8/28/2016 23:03 | 71.7999 | -126.4956 | 6 | 3.996 | 27.331 | 2016-08-28 23:04 | 5.66 | 2.16 |  | Total | 70 | 549.5035
2016003 | 8 | 410 | 8/29/2016 01:15 | 71.7007 | -126.4945 | 6 | 6.161 | 27.809 | 2016-08-29 01:16 | 7.71 | 2.14
2016003 | 9 | 411 | 8/29/2016 02:53 | 71.6274 | -126.7158 | 6 | 4.886 | 27.947 | 2016-08-29 02:52 | 7.36 | 2.14 |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
2016003 | 10 | 412 | 8/29/2016 04:30 | 71.5632 | -126.9267 | 6 | 6.2 | 27.343 | 2016-08-29 04:30 | 7.57 | 2.11 |  | Intercept | -1.4732 | 0.13687 | -10.7637 | 2.0574e-16 | -1.7462 | -1.2001 | -1.7462 | -1.2001
2016003 | 11 | 413 | 8/29/2016 05:58 | 71.4919 | -127.1374 | 6 | 3 | 27.485 | 2016-08-29 05:58 | 7.69 | 2.09 |  | 5.99 | 0.99858 | 0.02452 | 40.7257 | 5.4727e-50 | 0.94966 | 1.0475 | 0.94966 | 1.0475
2016003 | 12 | 414 | 8/29/2016 06:56 | 71.4235 | -127.334 | 6 | 0.888 | 27.308 | 2016-08-29 06:57 | 2.61 | 2.06
2016003 | 13 | 408 | 8/29/2016 14:13 | 71.2861 | -127.5536 | 6 | 1.651 | 27.278 | 2016-08-29 14:14 | 2.82 | 2.11
2016003 | 14 | CA-05 | 8/29/2016 16:41 | 71.2799 | -127.5323 | 6 | 0.924 | 27.287 | 2016-08-29 16:43 | 3.23 | 2.09
2016003 | 15 | CA-05 | 8/29/2016 19:17 | 71.2855 | -127.5342 | 6 | 1.569 | 27.207 | 2016-08-29 19:18 | 3.16 | 2.11
2016003 | 16 | CA-05 | 8/29/2016 22:07 | 71.2752 | -127.5283 | 6 | 0.49 | 27.506 | 2016-08-29 22:08 | 2.53 | 2.1
2016003 | 17 | 417 | 8/29/2016 23:15 | 71.221 | -127.9788 | 6 | 4.886 | 27.157 | 2016-08-29 23:16 | 6.5 | 2.12
2016003 | 18 | 418 | 8/30/2016 00:01 | 71.1604 | -128.1675 | 6 | 5.085 | 26.819 | 2016-08-30 00:02 | 6.82 | 2.1
2016003 | 19 | 419 | 8/30/2016 00:52 | 71.1048 | -128.3484 | 6 | 5.371 | 26.692 | 2016-08-30 00:53 | 6.77 | 2.1
2016003 | 20 | 420 | 8/30/2016 01:44 | 71.0467 | -128.5173 | 6 | 5.248 | 26.925 | 2016-08-30 01:45 | 6.77 | 2.11
2016003 | 74 | 405 | 9/14/2016 23:23 | 70.6081 | -123.0327 | 6 | 3.946 | 27.888 | 2016-09-14 23:25 | 5.27 | 2.12
2016003 | 75 | 405 | 9/15/2016 01:01 | 70.6092 | -123.0289 | 6 | 4.009 | 28.058 | 2016-09-15 01:02 | 5.29 | 2.1
2016003 | 76 | 406 | 9/15/2016 06:22 | 69.9738 | -122.9545 | 6 | 3.898 | 28.091 | 2016-09-15 06:23 | 5.21 | 2.06
2016003 | 77 | 403 | 9/15/2016 15:23 | 70.1002 | -120.101 | 6 | 4.391 | 27.916 | 2016-09-15 15:23 | 5.56 | 2.08
2016003 | 78 | 1402 | 9/16/2016 02:02 | 70.5509 | -117.6359 | 6 | 5.391 | 28.489 | 2016-09-16 02:04 | 6.61 | 2.13
2016003 | 79 | 1402 | 9/16/2016 03:56 | 70.5486 | -117.6343 | 6 | 5.342 | 28.476 | 2016-09-16 03:56 | 6.61 | 2.1
2016003 | 80 | 316 | 9/18/2016 08:09 | 68.3881 | -112.122 | 6 | 3.435 | 27.548 | 2016-09-18 08:05 | 5.89 | 2.02
2016003 | 81 | 314 | 9/19/2016 00:38 | 68.9704 | -105.4705 | 6 | 2.296 | 27.238 | 2016-09-19 00:39 | 4.03 | 2.02
2016003 | 82 | QMG4 | 9/19/2016 07:55 | 68.4865 | -103.4375 | 6 | 3.501 | 26.435 | 2016-09-19 07:55 | 4.96 | 2.13
2016003 | 83 | QMG3 | 9/19/2016 13:46 | 68.3279 | -102.939 | 6 | 3.763 | 25.989 | 2016-09-19 13:46 | 5.46 | 2.12
2016003 | 84 | QMGM | 9/19/2016 18:43 | 68.3069 | -101.7504 | 6 | 2.605 | 25.648 | 2016-09-19 18:44 | 4.03 | 2.15
2016003 | 85 | QMG2 | 9/19/2016 23:27 | 68.3139 | -100.8002 | 6 | 2.614 | 25.811 | 2016-09-19 23:27 | 4.42 | 2.14
2016003 | 86 | 312 | 9/20/2016 08:39 | 69.1711 | -100.6975 | 6 | 1.026 | 26.062 | 2016-09-20 08:39 | 2.44 | 2.13
2016003 | 87 | 311 | 9/20/2016 17:48 | 70.2846 | -98.521 | 6 | 0.478 | 26.256 | 2016-09-20 17:50 | 2.11 | 2.16
2016003 | 88 | 310E | 9/21/2016 00:05 | 70.8318 | -99.0728 | 6 | -0.175 | 27.466 | 2016-09-21 00:05 | 1.46 | 2.2
2016003 | 89 | 310W | 9/21/2016 09:51 | 71.4597 | -101.2718 | 6 | -0.352 | 27.08 | 2016-09-21 09:52 | 1.23 | 2.17
2016003 | 90 | 307 | 9/22/2016 14:45 | 74.0983 | -103.0399 | 6 | -1.438 | 28.889 | 2016-09-22 14:45 | 0.18 | 2.16
2016003 | 91 | 307 | 9/22/2016 17:07 | 74.1137 | -103.1112 | 6 | -1.464 | 28.933 | 2016-09-22 17:07 | 0.16 | 2.17
2016003 | 92 | 346 | 9/24/2016 04:21 | 74.1518 | -91.5143 | 6 | 0.111 | 28.035 | 2016-09-24 04:21 | 1.42 | 2.2
2016003 | 93 | 304 | 9/24/2016 06:43 | 74.2442 | -91.5123 | 6 | -1.184 | 30.612 | 2016-09-24 06:44 | 0.37 | 2.16
2016003 | 94 | 345 | 9/24/2016 11:06 | 74.357 | -91.4833 | 6 | -1.398 | 30.507 | 2016-09-24 11:07 | 0.13 | 2
2016003 | 95 | 344 | 9/24/2016 12:38 | 74.4487 | -91.5256 | 6 | -1.075 | 31.927 | 2016-09-24 12:38 | 0.24 | 1.97
2016003 | 96 | 343 | 9/24/2016 13:53 | 74.5441 | -91.5515 | 6 | -1.192 | 31.456 | 2016-09-24 13:54 | 0.28 | 2.17
2016003 | 97 | 301 | 9/25/2016 03:16 | 74.1214 | -83.3182 | 6 | -0.752 | 30.752 | 2016-09-25 03:17 | 0.62 | 2.14
2016003 | 98 | 165 | 9/26/2016 10:59 | 72.7154 | -75.7549 | 6 | 0.833 | 31.223 | 2016-09-26 11:00 | 2.42 | 2.09
2016003 | 99 | 165 | 9/26/2016 15:02 | 72.7112 | -75.7579 | 6 | 0.949 | 31.123 | 2016-09-26 15:04 | 2.33 | 2.06