## metadata
Cruise |  | 2008-01
Ship |  | CCGS John P. Tully
Dates |  | January 31 - February 17, 2008
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, W.K. Johnson, M. Arychuk, and J. Linguanti, 2009. Line P Inorganic Carbon Data Set, Cruise 2008-01, January-February 2008. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
TIC and alkalinity collected in 500-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips.
Poisoned w/ 100 microlitres saturated HgCl2
Samples stored at 4 C in the dark and analyzed ashore
Alkalinity and TIC analyses were taken from the same glass bottle.
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
WARNING: Niskins 13-18 misfired at stations P12, P16, P20 and P26 (casts 24, 35, 40, and 46), apparently closing earlier (deeper) than firing depths.
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total Inorganic Carbon
Coulometric titration
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
technique for standardization |  |  | CRM water
analysis temperature (C) |  |  | 20
Standard used:
IOS standard |  |  | 14 |  | Calibrated against Dickson CRM batch 73
calibrated value |  |  | 2036.68 +/- 0.45
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 63 | Large difference between replicates
| 77 | Inconsistent w/other C system parameters
| 133 | Low, but there is nothing odd about analysis
| 133 | Low relative to historical experience
| 139 | Misfire, likely closed near 1000 m
| 140 | Misfire, likely closed near 1000 m
| 141 | Niskin fired @ 174.8 dbar, likely closed @ 800 m
| 142 | Misfire, likely closed between 600 and 800 m
| 143 | Niskin fired @ 124.8 dbar, likely closed @ 400 m
| 144 | Misfire
| 146 | Inconsistent w/other C system parameters
| 147 | Inconsistent w/other C system parameters
| 228 | Niskin fired @ 302.7 dbar, likely closed @ 1250 m
| 229 | Misfire
| 230 | Misfire
| 231 | Niskin fired @ 175.5 dbar, likely closed @ 800 m
| 232 | Misfire
| 233 | Misfire
| 237 | Inconsistent w/other C system parameters
| 238 | Inconsistent w/other C system parameters
| 239 | Inconsistent w/other C system parameters
| 278 | Niskin fired @ 299.4 dbar, likely closed @ 1250 m
| 279 | Niskin fired @ 249.4 dbar, likely closed @ 1250 m
| 280 | Niskin fired @ 201.4 dbar, likely closed @ 1000 m
| 281 | Niskin fired @ 173.6 dbar, likelyi closed @ 800 m
| 282 | Niskin fired @ 150.3 dbar, likely closed @ 600 m
| 283 | Niskin fired @ 126.2 dbar, likely closed @ 400 m
| 340 | Niskin fired @ 301.6 dbar, likely closed @ 1250 m
| 341 | Niskin fired @ 248.0 dbar, likely closed @ 1250 m
| 342 | Niskin fired @ 200.7 dbar, likely closed @ 1000 m
| 343 | Misfire, likely closed between 600 and 800 m
| 344 | Misfire
| 345 | Misfire
| 389 | Differs from replicate niskins
Replicate Analyses (same niskin)
Sample | A | B | C | Average | St. dev. | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
63 | 2369.5516 | 2367.1235 |  | 2368.3375 |  | 2.4281 | 2.4281
131 | 2380.9125 | 2380.5175 |  | 2380.715 |  | 0.39498 | 0.39498
217 | 2344.4013 | 2344.9373 |  | 2344.6693 |  | -0.53599 | 0.53599
338 | 2348.9749 | 2350.5872 |  | 2349.781 |  | -1.6124 | 1.6124
389 | 2381.6239 | 2383.5832 | 2381.1823 | 2382.1298 | 1.2779 |  |  |  | Sampled in reverse order: C, B, then A
390 | 2386.0666 | 2386.9701 | 2386.0383 | 2386.3583 | 0.52998 |  |  |  | Sampled in reverse order: C, B, then A
391 | 2383.8534 | 2383.6811 | 2384.6151 | 2384.0499 | 0.49706 |  |  |  | Sampled in reverse order: C, B, then A
392 | 2384.5322 | 2384.0805 | 2385.7216 | 2384.7781 | 0.84771 |  |  |  | Sampled in reverse order: C, B, then A
393 | 2384.9847 | 2385.172 | 2386.9213 | 2385.6926 | 1.0682 |  |  |  | Sampled in reverse order: C, B, then A
average variability: | [5 empty] | 0.16869 |  | 1.0214
standard deviation of variability: | [5 empty] | 1.7151 |  | 0.66808
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
63 | 2368.3375
64 | 2368.7325
|  | 2368.535 |  | 0.39492 | 0.39492
131 | 2380.715
132 | 2381.3357
|  | 2381.0253 |  | 0.62068 | 0.62068
217 | 2344.6693
219 | 2344.9729
|  | 2344.8211 |  | 0.30354 | 0.30354
269 | 2370.0857
270 | 2369.7154
|  | 2369.9006 |  | -0.37027 | 0.37027
389 | 2382.1298
390 | 2386.3583
391 | 2384.0499
392 | 2384.7781
393 | 2385.6926
|  | 2384.6018 | 1.6372
average variability: |  |  |  | 0.23722 |  | 0.66532
standard deviation of variability: |  |  |  | 0.42636 |  | 0.55624
Precision estimate: |  | 1.0214 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Cell type |  |  | Open
Endpoint determination |  |  | Non-linear least squares
Standard used:
IOS standard |  |  | 14 |  | Calibrated against Dickson CRM batch 73
calibrated value |  |  | 2268.8 +/-1.2
Acid batch |  |  | 6
acid concentration |  |  | 0.098069
sample weight |  |  | 100-105 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 63 | Large difference between replicates, Differs from replicate niskin
| 64 | Differs from replicate niskin
| 65 | Low, inconsistent w/TIC and pH
| 67 | Low relative to TIC and pH
| 73 | High relative to TIC and pH
| 77 | Inconsistent w/other C system parameters
| 138 | Low relative to historical experience, inconsistent w/TIC & pH
| 139 | Misfire, likely closed near 1000 m
| 140 | Misfire, likely closed near 1000 m
| 141 | Niskin fired @ 174.8 dbar, likely closed @ 800 m
| 142 | Misfire, likely closed between 600 and 800 m
| 143 | Niskin fired @ 124.8 dbar, likely closed @ 400 m
| 144 | Misfire
| 146 | Inconsistent w/other C system parameters
| 147 | Inconsistent w/other C system parameters
| 228 | Niskin fired @ 302.7 dbar, likely closed @ 1250 m
| 229 | Misfire
| 230 | Misfire
| 231 | Niskin fired @ 175.5 dbar, likely closed @ 800 m
| 232 | Misfire
| 233 | Misfire
| 237 | Inconsistent w/other C system parameters
| 238 | Inconsistent w/other C system parameters
| 239 | Inconsistent w/other C system parameters
| 278 | Niskin fired @ 299.4 dbar, likely closed @ 1250 m
| 279 | Niskin fired @ 249.4 dbar, likely closed @ 1250 m
| 280 | Niskin fired @ 201.4 dbar, likely closed @ 1000 m
| 281 | Niskin fired @ 173.6 dbar, likelyi closed @ 800 m
| 282 | Niskin fired @ 150.3 dbar, likely closed @ 600 m
| 283 | Niskin fired @ 126.2 dbar, likely closed @ 400 m
| 340 | Niskin fired @ 301.6 dbar, likely closed @ 1250 m
| 341 | Niskin fired @ 248.0 dbar, likely closed @ 1250 m
| 342 | Niskin fired @ 200.7 dbar, likely closed @ 1000 m
| 343 | Misfire, likely closed between 600 and 800 m
| 344 | Misfire
| 345 | Misfire
Replicate Analyses (same niskin)
Sample | A | B | C | Average | St. dev. | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
63 | 2366.9286 | 2365.2092 |  | 2366.0689 |  | 1.7194 | 1.7194
131 | 2401.5537 | 2401.6179 |  | 2401.5858 |  | -0.064236 | 0.064236
217 | 2434.6003 | 2434.1102 |  | 2434.3552 |  | 0.49008 | 0.49008
338 | 2359.0716 | 2359.3191 |  | 2359.1953 |  | -0.24744 | 0.24744
389 | 2400.4028 | 2398.0313 | 2399.7747 | 2399.403 | 1.2287 |  |  |  | Sampled in reverse order: C, B, then A
390 | 2398.1744 | 2398.3613 | 2397.0497 | 2397.8618 | 0.70946 |  |  |  | Sampled in reverse order: C, B, then A
391 | 2395.4291 | 2395.7493 | 2395.8612 | 2395.6799 | 0.22428 |  |  |  | Sampled in reverse order: C, B, then A
392 | 2396.3698 | 2397.5267 | 2396.3194 | 2396.7386 | 0.68293 |  |  |  | Sampled in reverse order: C, B, then A
393 | 2394.8912 | 2393.938 | 2394.2782 | 2394.3691 | 0.48306 |  |  |  | Sampled in reverse order: C, B, then A
average variability: | [5 empty] | 0.47445 |  | 0.64995
standard deviation of variability: | [5 empty] | 0.88721 |  | 0.52713
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
63 | 2366.0689
64 | 2368.588
|  | 2367.3285 |  | 2.5191 | 2.5191
131 | 2401.5858
132 | 2401.4715
|  | 2401.5287 |  | -0.11428 | 0.11428
217 | 2434.3552
219 | 2434.9314
|  | 2434.6433 |  | 0.57622 | 0.57622
269 | 2421.8189
270 | 2421.0676
|  | 2421.4432 |  | -0.75122 | 0.75122
389 | 2399.403
390 | 2397.8618
391 | 2395.6799
392 | 2396.7386
393 | 2394.3691
|  | 2396.8105 | 1.941
average variability: |  |  |  | 0.55745 |  | 1.1804
standard deviation of variability: |  |  |  | 1.4157 |  | 1.007
Precision estimate: |  | 1.2 | umol/kg
pH
All samples were collected directly from the rosette into 10-cm spectrophotometer cells
Spectrophotometric
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
pH scale: |  | Total hydrogen ion concentration
Analysis temperature: |  | 25 C
Dye: |  |  |  |  | m-Cresol Purple
| Concentration(s): |  |  |  | ≥ 2 mmol/L
| pH: |  |  |  | 7.96
| Absorbance ratio (578nm/474nm): |  |  |  | 1.47
| pH perturbation by dye addition: |  |  |  | -0.0009±0.0027
| Stability constants: |  |  |  | Dickson, A.G., Sabine, C.L., and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Spectrophotometer model: | [5 empty] | Agilent 8543
| Accuracy: |  |  |  |  | Peak wavelengths confirmed to within 1 nm by spectrophotometric scans of a sealed HoO standard
| Stability: |  |  |  |  | Absorbance stability not confirmed for this data set
| Absorbance change at 730 nm w/dye addition: |  |  |  |  | 0.0017±0.0059
Notes: | 61 | Large difference between replicates, T unstable
| 77 | Inconsistent w/other C system parameters
| 135 | High, relative to TIC and Alk
| 140 | Misfire, likely closed near 1000 m
| 142 | Misfire, likely closed between 600 and 800 m
| 144 | Misfire
| 146 | Inconsistent w/other C system parameters
| 147 | Inconsistent w/other C system parameters
| 226 | High analytical blank
| 228 | Niskin fired @ 302.7 dbar, likely closed @ 1250 m
| 230 | Misfire
| 232 | Misfire
| 237 | Inconsistent w/other C system parameters
| 238 | Inconsistent w/other C system parameters
| 239 | Inconsistent w/other C system parameters
| 278 | Niskin fired @ 299.4 dbar, likely closed @ 1250 m
| 280 | Niskin fired @ 201.4 dbar, likely closed @ 1000 m
| 282 | Niskin fired @ 150.3 dbar, likely closed @ 600 m
| 289 | Large difference between replicates
| 340 | Niskin fired @ 301.6 dbar, likely closed @ 1250 m
| 342 | Niskin fired @ 200.7 dbar, likely closed @ 1000 m
| 344 | Misfire
Replicate Analyses (same niskin)
| A | B | C | Average | STDDEV. | difference | abs diff
61 | 7.3477 | 7.3318 |  | 7.3397 |  | 0.015948
131 | 7.3491 | 7.3516 |  | 7.3504 |  | -0.0024884 | 0.0024884
140 | 7.3001 | 7.3018 |  | 7.301 |  | -0.0016694 | 0.0016694
149 | 7.7969 | 7.7924 |  | 7.7969 |  | 0.0044607 |  |  | Unstable blanks
216 | 7.5264 | 7.5256 |  | 7.526 |  | 0.00083283 | 0.00083283
230 | 7.2983 | 7.2974 |  | 7.2978 |  | 0.00082968 | 0.00082968
239 | 7.7754 | 7.7648 |  | 7.7648 |  | 0.010582 |  |  | Unstable blank
270 | 7.4464 | 7.4484 |  | 7.4474 |  | -0.0020381 | 0.0020381
280 | 7.2982 | 7.2973 |  | 7.2978 |  | 0.00088329 | 0.00088329
289 | 7.7697 | 7.7738 |  | 7.7717 |  | -0.0041537 | 0.0041537
330 | 7.5409 | 7.5402 |  | 7.5406 |  | 0.0006996 | 0.0006996
342 | 7.3222 | 7.3102 |  | 7.3222 |  | 0.011991 |  |  | Unstable blanks
394 | 7.3329 | 7.3361 | 7.3331 | 7.334 | 0.0017786 |  |  |  | Only 2-hour samples used
average variability: | [5 empty] | 0.0029898 |  | 0.0017082
standard deviation of variability: | [5 empty] | 0.0064369 |  | 0.0011147
Replicate Samples (different niskins)
|  | Average | difference | abs diff
131 | 7.3504
132 | 7.3517
|  | 7.351 | 0.0013609 | 0.0013609
269 | 7.4474
270 | 7.4474
|  | 7.4474 | -3.7842e-05 | 3.7842e-05
average variability: |  |  |  |  | 0.00069938
Precision estimate: |  | 0.0017
Version control
2009-01-30 | Initial archiving
2010-05-18 | Temperature and nutrient data added; raw data removed