## metadata
cruise |  | 2005-01
ship |  | Tully
dates |  | February 11-February 26 2005
Chief Scientist |  | Marie Robert
Reference: |  | Miller, L.A., Davelaar, M., and Linguanti, J., 2008. Line P Inorganic Carbon Data Set, Cruise 2005-01, February 2005. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
All samples were collected in 500 ml bottles to which 100 microlitres of HgCl2 was added
Both DICand Alkalinity were run from the same bottle
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total dissolved inorganic carbon
technique for standardization |  |  | Na2CO3
sample volume |  |  | see raw data
20050407 DIC pipette volume was changed due to a leaky tube.
Standards used:
IOS standard |  |  | IOS13
calibrated value |  |  | 2088.345
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 90 | Outlier with respect to historical data & other properties; analysis appeared fine
| 26 | Large difference from replicate sample 25
Replicate Analyses (same niskin)
| A | B | C | Average | St. dev. | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
25 | 2356.4192 | 2356.5074 |  | 2356.4633 |  | -0.088206 | 0.088206
88 | 2373.2583 | 2373.9801 |  | 2373.6192 |  | -0.72185 | 0.72185
128 | 2388.3405 | 2388.59 |  | 2388.4652 |  | -0.24948 | 0.24948
Cal1 | 2388.2996 | 2388.1332 | 2389.4091 | 2388.614 | 0.69363 |  |  |  | Specific sample numbers unknown, taken from 2000 m, Cast 37
Cal2 | 2389.4091 | 2389.7143 | 2388.7157 | 2389.2797 | 0.51171
Cal3 | 2388.05 | 2390.6573 | 2388.4661 | 2389.0578 | 1.4008
Cal4 | 2387.9945 | 2386.6908 | 2390.1026 | 2388.2626 | 1.7216
Cal5 | 2389.9362 | 2389.0763 | 2389.742 | 2389.5848 | 0.45097
189 | 2358.5053 | 2359.2266 |  | 2358.8659 |  | -0.72129 | 0.72129
262 | 2366.9588 | 2368.2746 |  | 2367.6167 |  | -1.3157 | 1.3157
average variability: | [7 empty] | 0.78752
standard deviation of variability: | [7 empty] | 0.52841
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
23 | 2369.1555
24 | 2369.1825
|  | 2369.169 |  | 0.027058 | 0.027058
25 | 2356.4633
26 | 2355.4745
|  | 2355.9689 |  | -0.98878 | 0.98878
88 | 2373.6192
89 | 2373.0093
|  | 2373.3142 |  | -0.60992 | 0.60992
128 | 2388.4652
129 | 2388.3954
|  | 2388.4303 |  | -0.069833 | 0.069833
Cal1 | 2388.614 | [7 empty] | Specific sample numbers unknown, taken from 2000 m, Cast 37
Cal2 | 2389.2797
Cal3 | 2389.0578
Cal4 | 2388.2626
Cal5 | 2389.5848
|  | 2388.9598 | 0.52635
188 | 2358.0335
189 | 2358.8659
|  | 2358.4497 |  | 0.83243 | 0.83243
average variability: | [5 empty] | 0.50906
standard deviation of variability: | [5 empty] | 0.39253
Precision estimate: |  | 0.79 | umol/kg
Total Alkalinity
Type of titration |  |  | Open cell
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 61
certified value |  |  | 2202.04
IOS standard |  |  | IOS13
calibrated value |  |  | 2280.33
Acid batch |  |  | 3
acid concentration |  |  | 0.09967
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | Deep water alkalinity at Station P26 was lower than the historical average by about 10 micromol/kg, but it's not as far off at station P20
| 90 | Outlier with respect to historical data & other properties; analysis appeared fine
| 25 | Large difference between duplicate samples
| 26 | Large difference from replicate sample 25
| 139 | Unstable analysis -- large RMS error on linearization
Replicate Analyses
| A | B | C | Average | Stdev | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
25 | 2352.6612 | 2355.9555 |  | 2354.3083 |  | -3.2943 | 3.2943
88 | 2369.5618 | 2371.0414 |  | 2370.3016 |  | -1.4796 | 1.4796
128 | 2384.301 | 2382.0227 |  | 2383.1618 |  | 2.2783 | 2.2783
Cal1 | 2407.4314 | 2409.0695 | 2410.0989 | 2408.8666 | 1.3453 |  |  |  | Specific sample numbers unknown, taken from 2000 m, Cast 37
Cal2 | 2410.0107 | 2407.6514 | 2411.0684 | 2409.5768 | 1.7494
Cal3 | 2410.7705 | 2408.6711 | 2405.8378 | 2408.4265 | 2.4754
Cal4 | 2407.0505 | 2411.2483 | 2410.3088 | 2409.5359 | 2.2031
Cal5 | 2412.1579 | 2410.4687 | 2411.6581 | 2411.4283 | 0.86771
189 | 2420.456 | 2421.2476 |  | 2420.8518 |  | -0.79164 | 0.79164
262 | 2411.8442 | 2414.1896 |  | 2413.0169 |  | -2.3453 | 2.3453
average variability: | [7 empty] | 1.883
standard deviation of variability: | [7 empty] | 0.78222
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
23 | 2363.7443
24 | 2367.3021
|  | 2365.5232 |  | 3.5578 | 3.5578
25 | 2354.3083
26 | 2341.2683
|  | 2347.7883 |  | -13.04 | 13.04
88 | 2370.3016
89 | 2371.1513
|  | 2370.7265 |  | 0.84977 | 0.84977
128 | 2383.1618
129 | 2379.8342
|  | 2381.498 |  | -3.3276 | 3.3276
Cal1 | 2408.8666 | [7 empty] | Specific sample numbers unknown, taken from 2000 m, Cast 37
Cal2 | 2409.5768
Cal3 | 2408.4265
Cal4 | 2409.5359
Cal5 | 2411.4283
|  | 2409.5668 | 1.1464
188 | 2421.0654
189 | 2420.8518
|  | 2420.9586 |  | -0.21361 | 0.21361
average variability: | [5 empty] | 1.819
standard deviation of variability: | [5 empty] | 1.5222
Precision estimate: |  | 1.9 | umol/kg
Version control
2010-05-18 | Temperature, salinity, and nutrient data added