## OCADSmetadata
Instructions: Please try not to change the order of Rows No. 1 through No. 211, as the information will be read by a computer computer program later on. Starting from No. 212, please first append the additional variable sections, then the non-measured variable sections, then the additional principal investigator sections (if there are more than three PIs), and then the platform sections (if there are more than 3 platforms). Please do not use special characters.
No | Metadata element name | Your input | Help reference no.
1 | Submission Date |  | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Lisa A. Miller | 3.1
4 | Investigator-1 institution | Institute of Ocean Sciences, Fisheries and Oceans Canada | 3.2
5 | Investigator-1 address | 9860 West Saanich Road, Sidney, BC V8L 4B2 Canada | 3.3
6 | Investigator-1 phone | +1 250 363 6673 | 3.4
7 | Investigator-1 email | lisa.miller@dfo-mpo.gc.ca | 3.5
8 | Investigator-1 researcher ID |  | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) | 0000-0001-9726-3744 | 3.7
10 | Investigator-2 name | Marty Davelaar | 3.1
11 | Investigator-2 institution | Institute of Ocean Sciences, Fisheries and Oceans Canada | 3.2
12 | Investigator-2 address | 9860 West Saanich Road, Sidney, BC V8L 4B2 Canada | 3.3
13 | Investigator-2 phone |  | 3.4
14 | Investigator-2 email | marty.davelaar@dfo-mpo.gc.ca | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name | Glenn Cooper | 3.1
18 | Investigator-3 institution | Institute of Ocean Sciences, Fisheries and Oceans Canada | 3.2
19 | Investigator-3 address | 9860 West Saanich Road, Sidney, BC V8L 4B2 Canada | 3.3
20 | Investigator-3 phone |  | 3.4
21 | Investigator-3 email | glenn.cooper@dfo-mpo.gc.ca | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name |  | 4.1
25 | Data submitter institution |  | 4.2
26 | Data submitter address |  | 4.3
27 | Data submitter phone |  | 4.4
28 | Data submitter email |  | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Line P Inorganic Carbon Data Set, Cruise 2016-08, August 2016 | 5
32 | Abstract |  | 6
33 | Purpose |  | 7
34 | Start date | 17 August, 2016 | 8.1
35 | End date | 26 August, 2016 | 8.2
36 | Westbd longitude | 145.00 W | 9.1
37 | Eastbd longitude | 123.25 W | 9.2
38 | Northbd latitude | 50.00 N | 9.3
39 | Southbd latitude | 48.61 N | 9.4
40 | Geographic names | Northeast Pacific | 11
41 | Funding agency name | Fisheries and Oceans Canada | 13.1
42 | Funding project title |  | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects | Line P | 14
45 | Platform-1 name | CCGS John P. Tully | 15.1
46 | Platform-1 ID |  | 15.2
47 | Platform-1 type |  | 15.3
48 | Platform-1 owner |  | 15.4
49 | Platform-1 country |  | 15.5
50 | Platform-2 name |  | 15.1
51 | Platform-2 ID |  | 15.2
52 | Platform-2 type |  | 15.3
53 | Platform-2 owner |  | 15.4
54 | Platform-2 country |  | 15.5
55 | Platform-3 name |  | 15.1
56 | Platform-3 ID |  | 15.2
57 | Platform-3 type |  | 15.3
58 | Platform-3 owner |  | 15.4
59 | Platform-3 country |  | 15.5
60 | EXPOCODE |  | 16
61 | Cruise ID | 2016-08 | 17
62 | Section |  | 18
63 | Author list for citation | Miller, L.A., M. Davelaar, G. Cooper, M. Robert, and D. Wan | 19
64 | References |  | 20
65 | Supplemental information |  | 21
66 | DIC: Variable abbreviation in data files | TIC | 22.1
67 | DIC: Variable unit | micromol/kg | 22.5
68 | DIC: Observation type | profiles | 22.2
69 | DIC: Measured or calculated | measured | 22.6
70 | DIC: Calculation method and parameters |  | 22.7
71 | DIC: Sampling instrument | rosette-mounted niskins | 22.8
72 | DIC: Analyzing instrument | coulometer, SOMMA1, SOMMA4, VINDTA30 | 22.9
73 | DIC: Detailed sampling and analyzing information | 500mL glass bottles , preserved with 100 microliters of HgCl2, glass stoppers sealed with grease and tape. Total inorganic carbon and alkalinity were both analyzed from the same bottle. | 22.10
74 | DIC: Field replicate information | 1% of samples collected in replicate | 22.11
75 | DIC: Standardization technique description | reference solution | 22.12.1
76 | DIC: Frequency of standardization | daily | 22.12.2
77 | DIC: CRM manufacturer | Dickson CRM | 22.12.3.1
78 | DIC: Batch number | 152, 160, 161 | 22.12.3.2
79 | DIC: Poison used to kill the sample | Saturated HgCl2 solution | 22.13.1
80 | DIC: Poison volume | 100 microlL | 22.13.2
81 | DIC Poisoning correction description | (known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction) | 22.13.3
82 | DIC: Uncertainty | 1.0 micromol/kg | 22.14
83 | DIC: Data quality flag description | 3=suspect sample, 4=bad sample, 6=mean of replicate samples. Specific notes with regards to this data set: Station P deepwater below long term lower control value, still within specification value; 37, Large difference between replicates; 38, Inconsistent w/other CO2 system variables; 46, Inconsistent w/other CO2 system variables; 112, Low outlier, inconsistent w/other CO2 system variables; 118, Inconsistent w/other CO2 system variables; 317, High outlier, inconsistent w/other CO2 system variables; 429, Inconsistent w/other CO2 system variables; 483, Sample from niskin with white spring appears to be different from replicates; 544, Low outlier, inconsistent w/other CO2 system variables; 705, Inconsistent w/other CO2 system variables | 22.15
84 | DIC: Method reference (citation) | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. | 22.16
85 | DIC: Researcher Name |  | 22.17.1
86 | DIC: Researcher Institution |  | 22.17.2
87 | TA: Variable abbreviation in data files | ALK | 23.1
88 | TA: Variable unit | micromol/kg | 23.5
89 | TA: Observation type | profiles | 23.2
90 | TA: Measured or calculated | measured | 23.6
91 | TA: Calculation method and parameters |  | 23.7
92 | TA: Sampling instrument | rosette-mounted niskins | 23.8
93 | TA: Analyzing instrument | potentiometric titrator, IOS2, IOS3 | 23.9
94 | TA: Type of titration | potentiometric | 23.1
95 | TA: Cell type (open or closed) | open | 23.11
96 | TA: Curve fitting method | Non-linear least squares using Labview | 23.12
97 | TA: Detailed sampling and analyzing information | 500mL glass bottles , preserved with 100 microliters of HgCl2, glass stoppers sealed with grease and tape. Total inorganic carbon and alkalinity were both analyzed from the same bottle. | 23.13
98 | TA: Field replicate information | 1% of samples collected in replicate | 23.14
99 | TA: Standardization technique description | reference solution | 23.15.1
100 | TA: Frequency of standardization | daily | 23.15.2
101 | TA: CRM manufacturer | Dickson CRM | 23.15.3.1
102 | TA: Batch Number | 152, 160, 161 | 23.15.3.2
103 | TA: Poison used to kill the sample | yes | 23.16.1
104 | TA: Poison volume | 100 microlL | 23.16.2
105 | TA: Poisoning correction description | (known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction) | 23.16.3
106 | TA: Magnitude of blank correction |  | 23.17
107 | TA: Uncertainty | 2.6 micromol/kg | 23.18
108 | TA: Data quality flag description | 3=suspect sample, 4=bad sample, 6=mean of replicate samples. Specific notes with regards to this data set: 25, Large difference between replicates; 38, Inconsistent w/other CO2 system variables; 43, Large difference from replicate niskin; 44, Large difference from replicate niskin; 46, Inconsistent w/other CO2 system variables; 118, Inconsistent w/other CO2 system variables; 413, Large difference from replicate niskin; 414, Large difference from replicate niskin; 429, Inconsistent w/other CO2 system variables; 705, Inconsistent w/other CO2 system variables; 722, High outlier; in consistent w/other CO2 system variables | 23.19
109 | TA: Method reference (citation) | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. | 23.2
110 | TA: Researcher Name |  | 23.21.1
111 | TA: Researcher Institution |  | 23.21.2
112 | pH: Variable abbreviation in data files | PH_TOT(25C) | 24.1
113 | pH: pH scale | Total | 24.9
114 | pH: Observation type | Profiles | 24.2
115 | pH: Measured or calculated | measured | 24.5
116 | pH: Calculation method and parameters |  | 24.6
117 | pH: Sampling instrument | rosette-mounted niskins | 24.7
118 | pH: Analyzing instrument | Spectrophotometer, Agilent 8453 | 24.8
119 | pH: Temperature of measurement | 25 C | 24.1
120 | pH: Detailed sampling and analyzing information | All samples were collected directly from the rosette into 10-cm spectrophotometer cells. Teflon stoppers were used to seal both cell inlet ports. Samples were incubated in cell block at 25 C for 1 hour before being analyzed. | 24.11
121 | pH: Field replicate information | 1% of samples collected in replicate | 24.12
122 | pH: Standardization technique description |  | 24.13.1
123 | pH: Frequency of standardization |  | 24.13.2
124 | pH: pH values of the standards |  | 24.13.3
125 | pH: Temperature of standardization |  | 24.13.4
126 | pH: Temperature correction method |  | 24.14
127 | pH: at what temperature was pH reported | 25 C | 24.15
128 | pH: Uncertainty | 0.0013 | 24.16
129 | pH: Data quality flag description | 3=suspect sample, 4=bad sample, 6=mean of replicate samples. Specific notes with regards to this data set: 38, Inconsistent w/other CO2 system variables; 46, Inconsistent w/other CO2 system variables; 48, cloudy, inconsistent wi/other CO2 system variables; 118, Inconsistent w/other CO2 system variables; 412-435, Analysis delayed more than 4 hours; 429, Inconsistent w/other CO2 system variables; 521-544, Analysis delayed more than 4 hours; 705-728, Analysis delayed 5 hours; 705, Inconsistent w/other CO2 system variables | 24.17
130 | pH: Method reference (citation) | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. | 24.18
131 | pH: Researcher Name |  | 24.19.1
132 | pH: Researcher Institution |  | 24.19.2
133 | pCO2A: Variable abbreviation in data files |  | 25.1
134 | pCO2A: Variable unit |  | 25.5
135 | pCO2A: Observation type |  | 25.2
136 | pCO2A: Measured or calculated |  | 25.6
137 | pCO2A: Calculation method and parameters |  | 25.7
138 | pCO2A: Sampling instrument |  | 25.8
139 | pCO2A: Location of seawater intake |  | 25.9
140 | pCO2A: Depth of seawater intake |  | 25.1
141 | pCO2A: Analyzing instrument |  | 25.11
142 | pCO2A: Detailed sampling and analyzing information |  | 25.12
143 | pCO2A: Equilbrator type |  | 25.13.1
144 | pCO2A: Equilibrator volume (L) |  | 25.13.2
145 | pCO2A: Vented or not |  | 25.13.3
146 | pCO2A: Water flow rate (L/min) |  | 25.13.4
147 | pCO2A: Headspace gas flow rate (L/min) |  | 25.13.5
148 | pCO2A: How was temperature inside the equilibrator measured . |  | 25.13.6
149 | pCO2A: How was pressure inside the equilibrator measured. |  | 25.13.7
150 | pCO2A: Drying method for CO2 gas |  | 25.14
151 | pCO2A: Manufacturer of the gas detector |  | 25.15.1
152 | pCO2A: Model of the gas detector |  | 25.15.2
153 | pCO2A: Resolution of the gas detector |  | 25.15.3
154 | pCO2A: Uncertainty of the gas detector |  | 25.15.4
155 | pCO2A: Standardization technique description |  | 25.16.1
156 | pCO2A: Frequency of standardization |  | 25.16.2
157 | pCO2A: Manufacturer of standard gas |  | 25.16.3.1
158 | pCO2A: Concentrations of standard gas |  | 25.16.3.2
159 | pCO2A: Uncertainties of standard gas |  | 25.16.3.3
160 | pCO2A: Water vapor correction method |  | 25.17
161 | pCO2A: Temperature correction method |  | 25.18
162 | pCO2A: at what temperature was pCO2 reported |  | 25.19
163 | pCO2A: Uncertainty |  | 25.2
164 | pCO2A: Data quality flag description |  | 25.21
165 | pCO2A: Method reference (citation) |  | 25.22
166 | pCO2A: Researcher Name |  | 25.23.1
167 | pCO2A: Researcher Institution |  | 25.23.2
168 | pCO2D: Variable abbreviation in data files |  | 26.1
169 | pCO2D: Variable unit |  | 26.5
170 | pCO2D: Observation type |  | 26.2
171 | pCO2D: Measured or calculated |  | 26.6
172 | pCO2D: Calculation method and parameters |  | 26.7
173 | pCO2D: Sampling instrument |  | 26.8
174 | pCO2D: Analyzing instrument |  | 26.9
175 | pCO2D: Storage method |  | 26.1
176 | pCO2D: Seawater volume (mL) |  | 26.11
177 | pCO2D: Headspace volume (mL) |  | 26.12
178 | pCO2D: Temperature of measurement |  | 26.13
179 | pCO2D: Detailed sampling and analyzing information |  | 26.14
180 | pCO2D: Field replicate information |  | 26.15
181 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
182 | pCO2D: Model of the gas detector |  | 26.16.2
183 | pCO2D: Resolution of the gas detector |  | 26.16.3
184 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
185 | pCO2D: Standardization technique description |  | 26.17.1
186 | pCO2D: Frequency of standardization |  | 26.17.2
187 | pCO2D: Temperature of standardization |  | 26.17.3
188 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
189 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
190 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
191 | pCO2D: Water vapor correction method |  | 26.18
192 | pCO2D: Temperature correction method |  | 26.19
193 | pCO2D: at what temperature was pCO2 reported |  | 26.2
194 | pCO2D: Uncertainty |  | 26.21
195 | pCO2D: Data quality flag description |  | 26.22
196 | pCO2D: Method reference (citation) |  | 26.23
197 | pCO2D: Researcher Name |  | 26.24.1
198 | pCO2D: Researcher Institution |  | 26.24.2
199 | Var1: Variable abbreviation in data files | BOTSAL_PSS-78 | 27.1
201 | Var1: Full variable name | Bottle salinity | 27.2
200 | Var1: Variable unit | Unitless (practical salinity scale) | 27.7
202 | Var1: Observation type | Profiles | 27.4
203 | Var1: Sampling instrument | rosette-mounted niskins | 27.1
204 | Var1: Analyzing instrument | Guildline 8410A Portasal Salinometer (S/N 58879) | 27.11
205 | Var1: Detailed sampling and analyzing information | Salinity samples were collected in 200 ml type II glass bottles with disposable plastic inserts and screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab at IOS on a Guildline 8410A Portasal Salinometer (S/N 58879) standardized with IAPSO standard seawater 50 to 64 days after collection. | 27.13
206 | Var1: Field replicate information |  | 27.14
207 | Var1: Uncertainty | 0.0028 | 27.15
208 | Var1: Data quality flag description | 6 = Mean of replicate measurements. | 27.16
209 | Var1: Method reference (citation) |  | 27.17
210 | Var1: Researcher Name |  | 27.21.1
211 | Var1: Researcher Institution |  | 27.21.2
212 | Var2: Variable abbreviation in data files | BOTOXY_UMOL/KG | 27.1
214 | Var2: Full variable name | Bottle dissolved oxygen | 27.2
213 | Var2: Variable unit | micromol/kg | 27.7
215 | Var2: Observation type | Profiles | 27.4
216 | Var2: Sampling instrument | rosette-mounted niskins | 27.1
217 | Var2: Analyzing instrument |  | 27.11
218 | Var2: Detailed sampling and analyzing information | Oxygen samples were analyzed at sea using an automated Winkler titration system (Metrohm Dosimat model 876 and a UV light source and detector with a 365nm filter controlled by LV02_876 software designed and constructed by Scripps Institution of Oceanography) with modifications based on Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). | 27.13
219 | Var2: Field replicate information |  | 27.14
220 | Var2: Uncertainty | 3% | 27.15
221 | Var2: Data quality flag description | 3 = Questionable measurement (probably good). 4 = Poor measurement (probably bad). 6 = Mean of replicate measurements. | 27.16
222 | Var2: Method reference (citation) |  | 27.17
223 | Var2: Researcher Name |  | 27.21.1
224 | Var2: Researcher Institution |  | 27.21.2
225 | Var3: Variable abbreviation in data files | NO2+NO3_UMOL/L | 27.1
227 | Var3: Full variable name | dissolved nitrite plus nitrate | 27.2
226 | Var3: Variable unit | micromol/L | 27.7
228 | Var3: Observation type | Profiles | 27.4
229 | Var3: Sampling instrument | rosette-mounted niskins | 27.1
230 | Var3: Analyzing instrument |  | 27.11
231 | Var3: Detailed sampling and analyzing information | Nutrient samples were collected in plastic tubes. One set of samples was collected and immediately quick frozen in aluminum blocks stored in -20 freezer. Another set of samples from 400 dbar and deeper (to be used for silicate analysis) was collected and stored at 4C in the dark. All samples were returned to IOS for analysis using an Astoria analyzer following methods described in IOS Nutrient Methods (1996) Barwell-Clarke and Whitney. | 27.13
232 | Var3: Field replicate information |  | 27.14
233 | Var3: Uncertainty | 0.05 microl/L | 27.15
234 | Var3: Data quality flag description | 6 = Mean of replicate measurements. | 27.16
235 | Var3: Method reference (citation) |  | 27.17
236 | Var3: Researcher Name |  | 27.21.1
237 | Var3: Researcher Institution |  | 27.21.2
238 | Var4: Variable abbreviation in data files | PO4_UMOL/L | 27.1
240 | Var4: Full variable name | dissolved phosphate | 27.2
239 | Var4: Variable unit | micromol/L | 27.7
241 | Var4: Observation type | Profiles | 27.4
242 | Var4: Sampling instrument | rosette-mounted niskins | 27.1
243 | Var4: Analyzing instrument |  | 27.11
244 | Var4: Detailed sampling and analyzing information | Nutrient samples were collected in plastic tubes. One set of samples was collected and immediately quick frozen in aluminum blocks stored in -20 freezer. Another set of samples from 400 dbar and deeper (to be used for silicate analysis) was collected and stored at 4C in the dark. All samples were returned to IOS for analysis using an Astoria analyzer following methods described in IOS Nutrient Methods (1996) Barwell-Clarke and Whitney. | 27.13
245 | Var4: Field replicate information |  | 27.14
246 | Var4: Uncertainty | 0.006 microl/L | 27.15
247 | Var4: Data quality flag description | 3 = Questionable measurement (probably good). 6 = Mean of replicate measurements. | 27.16
248 | Var4: Method reference (citation) |  | 27.17
249 | Var4: Researcher Name |  | 27.21.1
250 | Var4: Researcher Institution |  | 27.21.2
251 | Var5: Variable abbreviation in data files | SIO4_UMOL/L | 27.1
253 | Var5: Full variable name | dissolved silicate | 27.2
252 | Var5: Variable unit | micromol/L | 27.7
254 | Var5: Observation type | Profiles | 27.4
255 | Var5: Sampling instrument | rosette-mounted niskins | 27.1
256 | Var5: Analyzing instrument |  | 27.11
257 | Var5: Detailed sampling and analyzing information | Nutrient samples were collected in plastic tubes. One set of samples was collected and immediately quick frozen in aluminum blocks stored in -20 freezer. Another set of samples from 400 dbar and deeper (to be used for silicate analysis) was collected and stored at 4C in the dark. All samples were returned to IOS for analysis using an Astoria analyzer following methods described in IOS Nutrient Methods (1996) Barwell-Clarke and Whitney. | 27.13
258 | Var5: Field replicate information |  | 27.14
259 | Var5: Uncertainty | 0.09 microl/L | 27.15
260 | Var5: Data quality flag description | 6 = Mean of replicate measurements. | 27.16
261 | Var5: Method reference (citation) |  | 27.17
262 | Var5: Researcher Name |  | 27.21.1
263 | Var5: Researcher Institution |  | 27.21.2
225 | VarN: Variable abbreviation in data files |  | 28.1
226 | VarN: Full variable name |  | 28.2