## Sheet2
Metadata form for discrete measurement
( * =mandatory field)
Please submit this form to Benjamin Pfeil (benjamin.pfeil@bjerknes.uib.no) |  |  |  | to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* | Emma Huertas
| Organization* | CSIC
| Address* | Inst. Ciencias Marinas Andalucia, Poligono Rio San Pedro s/n 11519-Puerto Real, SPAIN
| Phone* | (+34)956832612
| Email* | emma.huertas@icman.csic.es
Chief scientist if not PI | Name*
Organization*
Address*
Phone*
Email*
Dataset_Info* | Dataset ID*
Submission Dates (will be completed by the data management)
Cruise_Info* | Experiment Name*
| Cruise ID | GIFT3
Section (Leg)
| Geographical Coverage* | Strait of Gibraltar
| Westernmost Longitude: | -5.9719
| Easternmost Longitude: | -5.3665
| Northernmost Latitude: | 35.9856
| Southernmost Latitude: | 35.8696
| Temporal Coverage | 20061123
20061123
Ports of Call
| Vessel* | García del Cid
Spain
Consejo Superior de Investigaciones Científicas
Variables Info*
Variable | Variable Name* | Please include station cast and bottle number!
Description of Variable: (E.g., in dry air)
Method Description*
Total CO2 data | TCO2 analysis method
Standarization technique
Field replicate info
Poisoning info
Accuracy info
Method references
Alkalinty | Curve Fitting Method | Double single point (4.45;4.41) Open flask
| Type of Titration | potentiometric
| Description of other Titration | TALK was measured using an automatic potentiometric titrator Titrando 794 Metrohm, with a Metrohm 6.0232.100 combination glass electrode and a Pt-1000 probe for temperature measurement.
| Cell type | Open
| CRM scale | Dickson, Batch 76 At=2314.49 Ct=2101.69 pHT25=7.8834
| Sample volume | 186 ml
| Magnitude of blank correction | none (HCl is made with MilliQ water)
| Accuracy info | The STD of all the TALK determinations was 0.005 umolkg-1.
| Method references | Perez, F.F. and F. Fraga. (1987). A precise and rapid analytical procedure for alkalinity determination. Mar. Chem., 21, 169-182
pCO2 data | Analysis
Field replicate info
Storage method
Accuracy info
Method references
pH data | pH scale | Total scale @25deg.C
| pH analysis method | Spectrophotometrically, this method consists on adding a dye solution to the seawater sample, so that the ratio between two absorbances at two different wavelengths is proportional to the sample pH.
| Calibration info | In order to check the accuracy of the pH measurements, samples of CO2 reference material (CRM 76 distributed by A.G. Dickson from the Scripps Institution of Oceanography) were analysed during the cruise.
NaN
25.0ºC
25.0ºC
Lab pressure
| Accuracy info | Uncertainty of +/- 0.0017, standard deviation of differences was 0.001 (n=15)
| Method references | Clayton, T.D. and R.H. Byrne (1993). Spectrophotometric seawater pH measurements: total hydrogen ion concentration scale concentration scale calibration of m-cresol purple and at-sea results. Deep-Sea Res. I, Vol. 40, 10, 2115-2129.
0 | (Publication(s) decribing this data set) | Huertas et al., (2009) Anthropogenic and natural CO2 exchange through the Strait of Gibraltar. Biogeosciences 6: 647–662. De la Paz et al., (2011) Reconstruction of the seasonal cycle of air–sea CO2 fluxes in the Strait of Gibraltar. Marine Chemistry 126: 155–162. Huertas et al., (2012) Atlantic forcing of the Mediterranean oligotrophy. Global Biogeochemical Cycles. 26, GB2022, doi:10.1029/2011GB004167.
Citation
Data Set Link | URL*
Label*
Link Note: (Optional instructions or remarks)