## metadata
No | Metadata element name | Your input | Help reference no.
1 | Submission Date | 2015-09-30 | 1
2 | Accession no. of related data sets | 0132048 | 2
3 | Investigator-1 name | Andrea J. Fassbender | 3.1
4 | Investigator-1 institution | National Oceanic and Atmospheric Administration (NOAA) Pacific Marine Environmental Laboratory (PMEL) | 3.2
5 | Investigator-1 address | 7600 Sand Point Way NE, Seattle, WA 98115-6349 | 3.3
6 | Investigator-1 phone | (205) 526-6208 | 3.4
7 | Investigator-1 email | Andrea.Fassbender@noaa.gov | 3.5
8 | Investigator-1 researcher ID |  | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) |  | 3.7
10 | Investigator-2 name | Christopher L. Sabine | 3.1
11 | Investigator-2 institution | National Oceanic and Atmospheric Administration (NOAA) Pacific Marine Environmental Laboratory (PMEL) | 3.2
12 | Investigator-2 address | 7600 Sand Point Way NE, Seattle, WA 98115-6349 | 3.3
13 | Investigator-2 phone | (206) 526-6800 | 3.4
14 | Investigator-2 email | chris.sabine@noaa.gov | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name | Christian Meinig | 3.1
18 | Investigator-3 institution | National Oceanic and Atmospheric Administration (NOAA) Pacific Marine Environmental Laboratory (PMEL) | 3.2
19 | Investigator-3 address | 7600 Sand Point Way NE, Seattle, WA 98115-6349 | 3.3
20 | Investigator-3 phone | (206) 526-6149 | 3.4
21 | Investigator-3 email | Christian.Meinig@noaa.gov | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Investigator-4 name | Eric H. De Carlo | 3.1
25 | Investigator-4 institution | University of Hawai’i at Ma̅noa, School of Ocean and Earth Science and Technology | 3.2
26 | Investigator-4 address | 1000 Pope Road, Honolulu, Hawaii 96822 | 3.3
27 | Investigator-4 phone | (808) 956-5924 | 3.4
28 | Investigator-4 email | edecarlo@soest.hawaii.edu | 3.5
29 | Investigator-4 researcher ID |  | 3.6
30 | Investigator-4 ID type (ORCID, Researcher ID, etc.) |  | 3.7
31 | Data submitter name | Andrea J. Fassbender | 4.1
32 | Data submitter institution | National Oceanic and Atmospheric Administration (NOAA) Pacific Marine Environmental Laboratory (PMEL) | 4.2
33 | Data submitter address | 7600 Sand Point Way NE, Seattle, WA 98115-6349 | 4.3
34 | Data submitter phone | (205) 526-6208 | 4.4
35 | Data submitter email | Andrea.Fassbender@noaa.gov | 4.5
36 | Data submitter researcher ID |  | 4.6
37 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
38 | Title | Extended autonomous measurements of dissolved inorganic carbon near Honolulu, HI | 5
39 | Abstract | To expand the number of tools available for autonomous carbonate system observations, we have developed a robust surface ocean dissolved inorganic carbon (DIC) sensor capable of extended (>year) field deployments with a laboratory determined uncertainty of ±5 μmol kg−1. The prototype sensor was deployed off shore of Honolulu, Hawaii for seven months on a moored buoy equipped with a Sea-Bird Electronics CTD and SAMI pH sensor unit. The buoy was deployed ~25m from an existing CO2 buoy, which allowed us to over constrain the carbonate system and thoroughly evaluate the performance of the prototype DIC sensor. In addition, 51 discrete bottle samples were collected throughout the seven month deployment and analyzed for DIC via coulometry. Results from this field test confirm that direct measurement of DIC is ~90% more accurate than estimates of DIC calculated from contemporaneous and collocated measurements of pH and CO2. The improved accuracy from directly measuring DIC gives rise to new opportunities for quantitative, autonomous carbon cycle studies. | 6
40 | Purpose | To test the performance of a novel moored autonomous DIC sensor prototype. | 7
41 | Start date | 2013-10-31 11:30 | 8.1
42 | End date | 2014-06-19 | 8.2
43 | Westbd longitude | 157°51'54.6"W (157.865167 °W) | 9.1
44 | Eastbd longitude | 157°51'54.6"W (157.865167 °W) | 9.2
45 | Northbd latitude | 21°17'17.4"N (21.288167 °N) | 9.3
46 | Southbd latitude | 21°17'17.4"N (21.288167 °N) | 9.4
47 | Spatial reference system | WGS 84 | 10
48 | Geographic names | Honolulu, Hawaii | 11
49 | Location of organism collection |  | 12
50 | Funding agency name | NOAA Gobal Carbon Cycle Program and NOAA Ocean Acidification Program | 13.1
51 | Funding project title | Development of a Robust Moored DIC Sensor for Carbon Cycle Studies | 13.2
52 | Funding project ID (Grant no.) | GC10-108, OAPFY13.03.PMEL.006 | 13.3
53 | Research projects | none | 14
54 | Platform-1 name | Kewalo Buoy | 15.1
55 | Platform-1 ID | DIC system 16 | 15.2
56 | Platform-1 type | Moored buoy | 15.3
57 | Platform-1 owner | National Oceanic and Atmospheric Administration (NOAA) Pacific Marine Environmental Laboratory (PMEL) | 15.4
58 | Platform-1 country | USA | 15.5
59 | EXPOCODE | none | 16
60 | Cruise ID | none | 17
61 | Section | none | 18
62 | Author list for citation | Fassbender, Andrea J.; Sabine, Christopher L.; Meinig, Christian; and De Carlo, Eric H. | 19
63 | References |  | 20
64 | Supplemental information | none | 21
65 | DIC: Variable abbreviation in data files | none | 22.1
66 | DIC: Observation type | Moored buoy | 22.2
67 | DIC: In-situ observation / manipulation condition / response variable | In-situ | 22.3
68 | DIC: Manipulation method |  | 22.4
69 | DIC: Variable unit | umol/kg | 22.5
70 | DIC: Measured or calculated | Measured | 22.6
71 | DIC: Calculation method, software, and parameters | none | 22.7
72 | DIC: Sampling instrument | Moored Autunomous Dissolved Inorganic Carbon (MADIC) System | 22.8
73 | DIC: Analyzing instrument | Moored Autunomous Dissolved Inorganic Carbon (MADIC) System | 22.9
74 | DIC: Detailed sampling and analyzing information | Equilibration of an acidified sea water sample with a close loop of initially CO2 free air. Measurement of CO2 in the gas phase at equilibrium using an infrared detector. Determination of DIC using Henry's Law and the Ideal Gas Law. | 22.10
75 | DIC: Field replicate information |  | 22.11
76 | DIC: Standardization technique description | The infrared detector is calibrated prior to each measurming using a WMO traceable calibration gas housed on the buoy. | 22.12.1
77 | DIC: Frequency of standardization | Every sample. | 22.12.2
78 | DIC: CRM manufacturer |  | 22.12.3.1
79 | DIC: Batch number |  | 22.12.3.2
80 | DIC: Poison used to kill the sample | TBTO puck in the analyzer intake filter | 22.13.1
81 | DIC: Poison volume |  | 22.13.2
82 | DIC Poisoning correction description |  | 22.13.3
83 | DIC: Uncertainty | 11 umol/kg | 22.14
84 | DIC: Data quality flag description | 2 = good data, 3 = questionable data, 4 = bad data, 6 = missing data | 22.15
85 | DIC: Method reference (citation) | Fassbender, A.J., Sabine, C.L., Lawrence-Slavas, N., De Carlo, E.H., Meinig, C. and S. Maenner Jones (2015). Robust sensor for extended autonomous measurements of surface ocean dissolved inorganic carbon. Environmental Science & Technology, doi: 10.1021/es5047183. | 22.16
86 | DIC: Researcher Name | Andrea J. Fassbender | 22.17.1
87 | DIC: Researcher Institution | NOAA PMEL | 22.17.2
88 | TA: Variable abbreviation in data files |  | 23.1
89 | TA: Observation type |  | 23.2
90 | TA: In-situ observation / manipulation condition / response variable |  | 23.3
91 | TA: Manipulation method |  | 23.4
92 | TA: Variable unit |  | 23.5
93 | TA: Measured or calculated |  | 23.6
94 | TA: Calculation method, software, and parameters |  | 23.7
95 | TA: Sampling instrument |  | 23.8
96 | TA: Analyzing instrument |  | 23.9
97 | TA: Type of titration |  | 23.1
98 | TA: Cell type (open or closed) |  | 23.11
99 | TA: Curve fitting method |  | 23.12
100 | TA: Detailed sampling and analyzing information |  | 23.13
101 | TA: Field replicate information |  | 23.14
102 | TA: Standardization technique description |  | 23.15.1
103 | TA: Frequency of standardization |  | 23.15.2
104 | TA: CRM manufacturer |  | 23.15.3.1
105 | TA: Batch Number |  | 23.15.3.2
106 | TA: Poison used to kill the sample |  | 23.16.1
107 | TA: Poison volume |  | 23.16.2
108 | TA: Poisoning correction description |  | 23.16.3
109 | TA: Magnitude of blank correction |  | 23.17
110 | TA: Uncertainty |  | 23.18
111 | TA: Data quality flag description |  | 23.19
112 | TA: Method reference (citation) |  | 23.2
113 | TA: Researcher Name |  | 23.21.1
114 | TA: Researcher Institution |  | 23.21.2
115 | pH: Variable abbreviation in data files | pH | 24.1
116 | pH: Observation type | Moored buoy | 24.2
117 | pH: In-situ observation / manipulation condition / response variable | In-situ | 24.3
118 | pH: Manipulation method |  | 24.4
119 | pH: Measured or calculated | Measured | 24.5
120 | pH: Calculation method, software, and parameters |  | 24.6
121 | pH: Sampling instrument | Sunburst SAMI2 pH | 24.7
122 | pH: Analyzing instrument | Sunburst SAMI2 pH | 24.8
123 | pH: pH scale | Total | 24.9
124 | pH: Temperature of measurement |  | 24.1
125 | pH: Detailed sampling and analyzing information |  | 24.11
126 | pH: Field replicate information |  | 24.12
127 | pH: Standardization technique description |  | 24.13.1
128 | pH: Frequency of standardization |  | 24.13.2
129 | pH: pH values of the standards |  | 24.13.3
130 | pH: Temperature of standardization |  | 24.13.4
131 | pH: Temperature correction method |  | 24.14
132 | pH: at what temperature was pH reported | in situ | 24.15
133 | pH: Uncertainty |  | 24.16
134 | pH: Data quality flag description | 2 = good data, 3 = questionable data, 4 = bad data, 6 = missing data | 24.17
135 | pH: Method reference (citation) | Seidel, M. P., M. D. M. D. DeGrandpre, and A. G. Dickson (2008), A sensor for in situ indicator-based measurements of seawater pH, Mar. Chem., 109(1-2), 18–28, doi:10.1016/j.marchem.2007.11.013. | 24.18
136 | pH: Researcher Name | Andrea J. Fassbender | 24.19.1
137 | pH: Researcher Institution | NOAA PMEL | 24.19.2
138 | pCO2A: Variable abbreviation in data files |  | 25.1
139 | pCO2A: Observation type |  | 25.2
140 | pCO2A: In-situ observation / manipulation condition / response variable |  | 25.3
141 | pCO2A: Manipulation method |  | 25.4
142 | pCO2A: Variable unit |  | 25.5
143 | pCO2A: Measured or calculated |  | 25.6
144 | pCO2A: Calculation method, software, and parameters |  | 25.7
145 | pCO2A: Sampling instrument |  | 25.8
146 | pCO2A: Location of seawater intake |  | 25.9
147 | pCO2A: Depth of seawater intake |  | 25.1
148 | pCO2A: Analyzing instrument |  | 25.11
149 | pCO2A: Detailed sampling and analyzing information |  | 25.12
150 | pCO2A: Equilbrator type |  | 25.13.1
151 | pCO2A: Equilibrator volume (L) |  | 25.13.2
152 | pCO2A: Vented or not |  | 25.13.3
153 | pCO2A: Water flow rate (L/min) |  | 25.13.4
154 | pCO2A: Headspace gas flow rate (L/min) |  | 25.13.5
155 | pCO2A: How was temperature inside the equilibrator measured . |  | 25.13.6
156 | pCO2A: How was pressure inside the equilibrator measured. |  | 25.13.7
157 | pCO2A: Drying method for CO2 gas |  | 25.14
158 | pCO2A: Manufacturer of the gas detector |  | 25.15.1
159 | pCO2A: Model of the gas detector |  | 25.15.2
160 | pCO2A: Resolution of the gas detector |  | 25.15.3
161 | pCO2A: Uncertainty of the gas detector |  | 25.15.4
162 | pCO2A: Standardization technique description |  | 25.16.1
163 | pCO2A: Frequency of standardization |  | 25.16.2
164 | pCO2A: Manufacturer of standard gas |  | 25.16.3.1
165 | pCO2A: Concentrations of standard gas |  | 25.16.3.2
166 | pCO2A: Uncertainties of standard gas |  | 25.16.3.3
167 | pCO2A: Water vapor correction method |  | 25.17
168 | pCO2A: Temperature correction method |  | 25.18
169 | pCO2A: at what temperature was pCO2 reported |  | 25.19
170 | pCO2A: Uncertainty |  | 25.2
171 | pCO2A: Data quality flag description |  | 25.21
172 | pCO2A: Method reference (citation) |  | 25.22
173 | pCO2A: Researcher Name |  | 25.23.1
174 | pCO2A: Researcher Institution |  | 25.23.2
175 | pCO2D: Variable abbreviation in data files |  | 26.1
176 | pCO2D: Observation type |  | 26.2
177 | pCO2D: In-situ observation / manipulation condition / response variable |  | 26.3
178 | pCO2D: Manipulation method |  | 26.4
179 | pCO2D: Variable unit |  | 26.5
180 | pCO2D: Measured or calculated |  | 26.6
181 | pCO2D: Calculation method, software, and parameters |  | 26.7
182 | pCO2D: Sampling instrument |  | 26.8
183 | pCO2D: Analyzing instrument |  | 26.9
184 | pCO2D: Storage method |  | 26.1
185 | pCO2D: Seawater volume (mL) |  | 26.11
186 | pCO2D: Headspace volume (mL) |  | 26.12
187 | pCO2D: Temperature of measurement |  | 26.13
188 | pCO2D: Detailed sampling and analyzing information |  | 26.14
189 | pCO2D: Field replicate information |  | 26.15
190 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
191 | pCO2D: Model of the gas detector |  | 26.16.2
192 | pCO2D: Resolution of the gas detector |  | 26.16.3
193 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
194 | pCO2D: Standardization technique description |  | 26.17.1
195 | pCO2D: Frequency of standardization |  | 26.17.2
196 | pCO2D: Temperature of standardization |  | 26.17.3
197 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
198 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
199 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
200 | pCO2D: Water vapor correction method |  | 26.18
201 | pCO2D: Temperature correction method |  | 26.19
202 | pCO2D: at what temperature was pCO2 reported |  | 26.2
203 | pCO2D: Uncertainty |  | 26.21
204 | pCO2D: Data quality flag description |  | 26.22
205 | pCO2D: Method reference (citation) |  | 26.23
206 | pCO2D: Researcher Name |  | 26.24.1
207 | pCO2D: Researcher Institution |  | 26.24.2
208 | Var1: Variable abbreviation in data files | SST | 27.1
209 | Var1: Full variable name | Sea Surface Temperature | 27.2
210 | Var1: Observation type | Moored buoy | 27.4
211 | Var1: In-situ observation / manipulation condition / response variable | In-situ | 27.5
212 | Var1: Variable unit | Degrees Celcius | 27.7
213 | Var1: Measured or calculated | Measured | 27.8
214 | Var1: Calculation method, software, and parameters |  | 27.9
215 | Var1: Sampling instrument | Seabird 16plus V2 SeaCAT CTD | 27.1
216 | Var1: Analyzing instrument | Seabird 16plus V2 SeaCAT CTD | 27.11
217 | Var1: Duration (for settlement/colonization methods) |  | 27.12
218 | Var1: Detailed sampling and analyzing information |  | 27.13
219 | Var1: Field replicate information |  | 27.14
220 | Var1: Uncertainty | < 0.01 degrees Celsius | 27.15
221 | Var1: Data quality flag description | 2 = good data, 3 = questionable data, 4 = bad data, 6 = missing data | 27.16
222 | Var1: Method reference (citation) |  | 27.17
223 | Var1: Biological subject |  | 27.18
224 | Var1: Species Identification code |  | 27.19
225 | Var1: Life stage of the biological subject |  | 27.20
226 | Var1: Researcher Name | Andrea J. Fassbender | 27.21.1
227 | Var1: Researcher Institution | NOAA PMEL | 27.21.2
228 | Var2: Variable abbreviation in data files | SSS | 27.1
229 | Var2: Full variable name | Sea Surface Salinity | 27.2
230 | Var2: Observation type | Moored buoy | 27.4
231 | Var2: In-situ observation / manipulation condition / response variable | In-situ | 27.5
232 | Var2: Variable unit |  | 27.7
233 | Var2: Measured or calculated | Measured | 27.8
234 | Var2: Calculation method, software, and parameters |  | 27.9
235 | Var2: Sampling instrument | Seabird 16plus V2 SeaCAT CTD | 27.1
236 | Var2: Analyzing instrument | Seabird 16plus V2 SeaCAT CTD | 27.11
237 | Var2: Duration (for settlement/colonization methods) |  | 27.12
238 | Var2: Detailed sampling and analyzing information |  | 27.13
239 | Var2: Field replicate information |  | 27.14
240 | Var2: Uncertainty | < 0.05 | 27.15
241 | Var2: Data quality flag description | 2 = good data, 3 = questionable data, 4 = bad data, 6 = missing data | 27.16
242 | Var2: Method reference (citation) |  | 27.17
243 | Var2: Biological subject |  | 27.18
244 | Var2: Species Identification code |  | 27.19
245 | Var2: Life stage of the biological subject |  | 27.20
246 | Var2: Researcher Name | Andrea J. Fassbender | 27.21.1
247 | Var2: Researcher Institution | NOAA PMEL | 27.21.2