"ReadMe" for SOIREE CTD Data

CTD data collection for SOIREE used NIWA's Seabird 911plus CTD and related 
instrumentation - operated in its standard configuration, and according to 
standard procedures.

Likewise, CTD data processing followed standard procedures.

These processes routinely result in pressure, temperature, salinity and 
dissolved oxygen data that conform to WOCE Hydrographic Programme standards 
(see WOCE HP Operations Manual WHP 91-1 at

http://whpo.ucsd.edu/manuals.htm

) - with the measurements referenced to (calibrated against) their 
respective international standards.

For SOIREE, the main exception was that there was no water-sample dissolved 
oxygen data collected during the cruise. This meant that the dissolved O2 
data could not be reliably calibrated to WOCE standards and that they are 
only crudely indicative. It would be possible to somewhat further enhance 
these dissolved O2 data by applying a calibration from a previous or 
following cruise that used the same senor.

For any further details, please e-mail

mailto:m.walkington@niwa.cri.nz.

Matt Walkington