A detailed description of the header and data quality flags used is provided in the Informe Investigación 014_08i.pdf.

### Data Quality Flags

Table 1 shown below is a shortened version. Flags assigned are similar to that used by IGOSS (Integrated Global Ocean Services System).

| Flag | Quality | Description |
| --- | --- | --- |
| 0 | No QC done | They have not yet been quality controlled. |
| 1 | Good data | The data pass all quality control process. Good data. |
| 2 | "Probably" good data | The data is inconsistent related with other data. Probably good data in which some features (probably real) are present but these are unconfirmed. |
| 3 | "Probably" bad data | Doubtful data. Suspect data in which unusual, and probably erroneous features are observed. |
| 4 | Bad data | Erroneous values are observed. |
| 5 | Changed | The data have been change. The original values (before the change) are preserved in the database. |
| 6 - 7 | Reserved | Flags 6 - 7 are reserved for future use. |
| 8 | Out of climatology | The data is anomalous compare with local climatology. |
| 9 | QC flag missing | Flag 9 data indicate that the element is missing. |

Table 1. Data Quality Flag

Header Quality Flag

In QCEstación is kept the results of header quality control tests. A hexadecimal value was generated containing the results of the quality control tests. Each routine is represented by a digit (byte) in the hexadecimal number.

Byte:            1    2   3   4   5   6

x---------------------- Date/Time

x-----------------  Increasing station number

x-------------- Ship velocity

x---------- Regional ranges

x------ Increasing pressure

x—Depth vs Maximum depth CTD/Botella

Each byte, representing 4 binary bits, has the general structure:

- First position. If the test done, failed or not failed.

- Second position. Test not done.

- Third position. Test failed for missing value

- Fourth position. Depends on each routine.

The possible values are:

| Binary | Hex | Results |
| --- | --- | --- |
| 0000 | 0 | Test not done |
| 0011 | 3 | Test done, not failed |
| 0010 | 2 | Test done, failed |
| 0110 | 6 | Test done, failed because missing value |
| 1010 | A | Test done, failed – Depends on each routine |
| 1011 | B | Test done, not failed – Depends on each routine |
| 1110 | E | Test done, failed – Depends on each routine |
|  | F | Error |