## metadata
No | Metadata element name | Your input | Help reference no.
1 | Submission Date | 2013-10-01 | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Rik Wanninkhof | 3.1
4 | Investigator-1 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
5 | Investigator-1 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
6 | Investigator-1 phone | 1-305-361-4379 | 3.4
7 | Investigator-1 email | Rik.Wanninkhof@noaa.gov | 3.5
8 | Investigator-1 researcher ID |  | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) |  | 3.7
10 | Investigator-2 name | Kevin Sullivan | 3.1
11 | Investigator-2 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
12 | Investigator-2 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
13 | Investigator-2 phone | 1-305-361-4382 | 3.4
14 | Investigator-2 email | Kevin.Sullivan@noaa.gov | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Data submitter name | Kevin Sullivan | 4.1
18 | Data submitter institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 4.2
19 | Data submitter address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 4.3
20 | Data submitter phone | 1-305-361-4382 | 4.4
21 | Data submitter email | Kevin.Sullivan@noaa.gov | 4.5
22 | Data submitter researcher ID |  | 4.6
23 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
24 | Title | Partial pressure (or fugacity) of carbon dioxide, temperature, salinity and other variables collected from the coastal surface underway observations using carbon dioxide gas analyzer, shower head equilibrator and other instruments from R/V Henry B. Bigelow in the North Atlantic Ocean, US North East coast from 2013-03-14 to 2013-11-19 (NCEI Accession 0162209) | 5
25 | Abstract | In February 2011, the Ocean Carbon Group at NOAA's Atlantic Oceanographic and Meteorological Laboratory (AOML) installed an instrument to measure CO2 levels in surface water and air on the NOAA Ship Henry B. Bigelow. The Bigelow primarily operates in the North Atlantic Ocean between North Carolina and Maine. NCEI Accession 0162209 includes Surface underway, chemical, meteorological and physical data collected from NOAA Ship R/V Henry B. Bigelow in the North Atlantic Ocean, US North East coast from 2013-03-14 to 2013-11-19. These data include measurements of mole fraction of CO2 in the equilibrator headspace (dry) at equilibrator temperature, mole fraction of CO2 measured in dry outside air, barometric pressure in the equilibrator headspace, barometric pressure, corrected to sea level, water temperature in equilibrator, sea surface temperature, sea surface salinity, fugacity of CO2 in sea water at SST and 100% humidity, and difference between sea water fCO2 and interpolated air fCO2. The instruments used to collect these data include carbon dioxide (CO2) gas analyzer and shower head chamber equilibrator for autonomous carbon dioxide (CO2) measurement. These data were collected by Rik Wanninkhof and Denis Pierrot of US DOC; NOAA; OAR; Atlantic Oceanographic and Meteorological Laboratory as part of the Henry B. Bigelow research coastal cruises hb1301, hb1302, hb1303, hb1304 data set. The cruise Expedition codes (EXPOCODE) are 33HH20130314, 33HH20130610, 33HH20130701, 33HH20130903. | 6
26 | Purpose | The major objectives of this SOOP project is to provide a high quality measurements of atmospheric and sea surface fCO2, sea surface salinity, temperature, and other parameters, in the North-East US coastal area between North Carolina and Maine. | 7
27 | Start date | 2013-03-14 | 8.1
28 | End date | 2013-11-19 | 8.2
29 | Westbd longitude | -76.39 | 9.1
30 | Eastbd longitude | -64.48 | 9.2
31 | Northbd latitude | 45.26 | 9.3
32 | Southbd latitude | 33.95 | 9.4
33 | Geographic names | North Atlantic Ocean | 11
34 | Funding agency name | NOAA Climate Program Office Program | 13.1
35 | Funding project title | NOAA Ocean Acidification Program | 13.2
36 | Funding project ID (Grant no.) |  | 13.3
37 | Research projects |  | 14
38 | Platform-1 name | R/V Henry B. Bigelow | 15.1
39 | Platform-1 ID | 33HH | 15.2
40 | Platform-1 type | Research vessel | 15.3
41 | Platform-1 owner | NOAA | 15.4
42 | Platform-1 country | USA | 15.5
43 | EXPOCODE | 33HH20130314, 33HH20130610, 33HH20130701, 33HH20130903 | 16
44 | Cruise ID | hb1301_L1-4, hb1302, hb1303_L1-2, hb1304_L1-5 | 17
45 | Section |  | 18
46 | Author list for citation | Wanninkhof, Rik; Sullivan, Kevin | 19
47 | References | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. | 20
48 | Supplemental information |  | 21
49 | DIC: Variable abbreviation in data files |  | 22.1
50 | DIC: Variable unit |  | 22.5
51 | DIC: Observation type |  | 22.2
52 | DIC: Measured or calculated |  | 22.6
53 | DIC: Calculation method and parameters |  | 22.7
54 | DIC: Sampling instrument |  | 22.8
55 | DIC: Analyzing instrument |  | 22.9
56 | DIC: Detailed sampling and analyzing information |  | 22.10
57 | DIC: Field replicate information |  | 22.11
58 | DIC: Standardization technique description |  | 22.12.1
59 | DIC: Frequency of standardization |  | 22.12.2
60 | DIC: CRM manufacturer |  | 22.12.3.1
61 | DIC: Batch number |  | 22.12.3.2
62 | DIC: Poison used to kill the sample |  | 22.13.1
63 | DIC: Poison volume |  | 22.13.2
64 | DIC Poisoning correction description |  | 22.13.3
65 | DIC: Uncertainty |  | 22.14
66 | DIC: Data quality flag description |  | 22.15
67 | DIC: Method reference (citation) |  | 22.16
68 | DIC: Researcher Name |  | 22.17.1
69 | DIC: Researcher Institution |  | 22.17.2
70 | TA: Variable abbreviation in data files |  | 23.1
71 | TA: Variable unit |  | 23.5
72 | TA: Observation type |  | 23.2
73 | TA: Measured or calculated |  | 23.6
74 | TA: Calculation method and parameters |  | 23.7
75 | TA: Sampling instrument |  | 23.8
76 | TA: Analyzing instrument |  | 23.9
77 | TA: Type of titration |  | 23.1
78 | TA: Cell type (open or closed) |  | 23.11
79 | TA: Curve fitting method |  | 23.12
80 | TA: Detailed sampling and analyzing information |  | 23.13
81 | TA: Field replicate information |  | 23.14
82 | TA: Standardization technique description |  | 23.15.1
83 | TA: Frequency of standardization |  | 23.15.2
84 | TA: CRM manufacturer |  | 23.15.3.1
85 | TA: Batch Number |  | 23.15.3.2
86 | TA: Poison used to kill the sample |  | 23.16.1
87 | TA: Poison volume |  | 23.16.2
88 | TA: Poisoning correction description |  | 23.16.3
89 | TA: Magnitude of blank correction |  | 23.17
90 | TA: Uncertainty |  | 23.18
91 | TA: Data quality flag description |  | 23.19
92 | TA: Method reference (citation) |  | 23.2
93 | TA: Researcher Name |  | 23.21.1
94 | TA: Researcher Institution |  | 23.21.2
95 | pH: Variable abbreviation in data files |  | 24.1
96 | pH: pH scale |  | 24.9
97 | pH: Observation type |  | 24.2
98 | pH: Measured or calculated |  | 24.5
99 | pH: Calculation method and parameters |  | 24.6
100 | pH: Sampling instrument |  | 24.7
101 | pH: Analyzing instrument |  | 24.8
102 | pH: Temperature of measurement |  | 24.1
103 | pH: Detailed sampling and analyzing information |  | 24.11
104 | pH: Field replicate information |  | 24.12
105 | pH: Standardization technique description |  | 24.13.1
106 | pH: Frequency of standardization |  | 24.13.2
107 | pH: pH values of the standards |  | 24.13.3
108 | pH: Temperature of standardization |  | 24.13.4
109 | pH: Temperature correction method |  | 24.14
110 | pH: at what temperature was pH reported |  | 24.15
111 | pH: Uncertainty |  | 24.16
112 | pH: Data quality flag description |  | 24.17
113 | pH: Method reference (citation) |  | 24.18
114 | pH: Researcher Name |  | 24.19.1
115 | pH: Researcher Institution |  | 24.19.2
116 | pCO2A: Variable abbreviation in data files | fCO2_SW@SST | 25.1
117 | pCO2A: Variable unit | uatm | 25.5
118 | pCO2A: Observation type | Surface underway | 25.2
119 | pCO2A: Measured or calculated | Measured | 25.6
120 | pCO2A: Calculation method and parameters |  | 25.7
121 | pCO2A: Sampling instrument | Seawater pump | 25.8
122 | pCO2A: Location of seawater intake | Bow | 25.9
123 | pCO2A: Depth of seawater intake | 3 meters | 25.1
124 | pCO2A: Analyzing instrument | Infrared Analyzer: LI-COR model 6262 | 25.11
125 | pCO2A: Detailed sampling and analyzing information | Pierrot, D., C. Neil, K. Sullivan, R. Castle, R. Wanninkhof, H. Lueger, T. Johannessen, A. Olsen, R. A. Feely, and C. E. Cosca (2009), Recommendations for autonomous underway pCO2 measuring systems and data reduction routines, Deep-Sea Res II, 56, 512-522 | 25.12
126 | pCO2A: Equilbrator type | Spray head above dynamic pool, with thermal jacket | 25.13.1
127 | pCO2A: Equilibrator volume (L) | 0.95 L (0.4 L water, 0.55 L headspace) | 25.13.2
128 | pCO2A: Vented or not | Vented | 25.13.3
129 | pCO2A: Water flow rate (L/min) | 1.5 - 2.0 L/min | 25.13.4
130 | pCO2A: Headspace gas flow rate (L/min) | 70 - 150 ml/min | 25.13.5
131 | pCO2A: How was temperature inside the equilibrator measured . | Hart Scientific model 1523 digital thermometer | 25.13.6
132 | pCO2A: How was pressure inside the equilibrator measured. | External Setra 270 connected to the exit of the analyzer | 25.13.7
133 | pCO2A: Drying method for CO2 gas | Gas stream passes through a thermoelectric condenser (~5 C) and then through a Perma Pure (Nafion) dryer before reaching the analyzer (90% dry). | 25.14
134 | pCO2A: Manufacturer of the gas detector | Licor, Inc | 25.15.1
135 | pCO2A: Model of the gas detector | Licor 6262 | 25.15.2
136 | pCO2A: Resolution of the gas detector | 0.01 uatm | 25.15.3
137 | pCO2A: Uncertainty of the gas detector | 1 uatm | 25.15.4
138 | pCO2A: Standardization technique description | The analyzer is calibrated every 4.3 hours with field standards that in turn were calibrated with primary standards that are directly traceable to the WMO scale. The zero gas is ultra-high purity air. | 25.16.1
139 | pCO2A: Frequency of standardization | Every 4.3 hours | 25.16.2
140 | pCO2A: Manufacturer of standard gas | Scott-Marrin, Inc. | 25.16.3.1
141 | pCO2A: Concentrations of standard gas | Std 1: JA02645, 204.75 ppm / Std 2: JA02273, 317.49 ppm / Std 3: JA02285, 372.23 ppm / Std 4: JA02647, 518.24 ppm / Std 5: JA03093, 0.00 ppm | 25.16.3.2
142 | pCO2A: Uncertainties of standard gas | 0.01 ppm | 25.16.3.3
143 | pCO2A: Water vapor correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.17
144 | pCO2A: Temperature correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.18
145 | pCO2A: at what temperature was pCO2 reported | In situ sea surface temperature | 25.19
146 | pCO2A: Uncertainty | 0.01C | 25.2
147 | pCO2A: Data quality flag description | WOCE quality control flags are used: 2 = good value, 3 = questionable value, 4 = bad value | 25.21
148 | pCO2A: Method reference (citation) | Pierrot, D., C. Neil, K. Sullivan, R. Castle, R. Wanninkhof, H. Lueger, T. Johannessen, A. Olsen, R. A. Feely, and C. E. Cosca (2009), Recommendations for autonomous underway pCO2 measuring systems and data reduction routines, Deep-Sea Res II, 56, 512-522 | 25.22
149 | pCO2A: Researcher Name | Kevin Sullivan | 25.23.1
150 | pCO2A: Researcher Institution | NOAA/AOML | 25.23.2
151 | pCO2D: Variable abbreviation in data files |  | 26.1
152 | pCO2D: Variable unit |  | 26.5
153 | pCO2D: Observation type |  | 26.2
154 | pCO2D: Measured or calculated |  | 26.6
155 | pCO2D: Calculation method and parameters |  | 26.7
156 | pCO2D: Sampling instrument |  | 26.8
157 | pCO2D: Analyzing instrument |  | 26.9
158 | pCO2D: Storage method |  | 26.1
159 | pCO2D: Seawater volume (mL) |  | 26.11
160 | pCO2D: Headspace volume (mL) |  | 26.12
161 | pCO2D: Temperature of measurement |  | 26.13
162 | pCO2D: Detailed sampling and analyzing information |  | 26.14
163 | pCO2D: Field replicate information |  | 26.15
164 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
165 | pCO2D: Model of the gas detector |  | 26.16.2
166 | pCO2D: Resolution of the gas detector |  | 26.16.3
167 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
168 | pCO2D: Standardization technique description |  | 26.17.1
169 | pCO2D: Frequency of standardization |  | 26.17.2
170 | pCO2D: Temperature of standardization |  | 26.17.3
171 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
172 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
173 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
174 | pCO2D: Water vapor correction method |  | 26.18
175 | pCO2D: Temperature correction method |  | 26.19
176 | pCO2D: at what temperature was pCO2 reported |  | 26.2
177 | pCO2D: Uncertainty |  | 26.21
178 | pCO2D: Data quality flag description |  | 26.22
179 | pCO2D: Method reference (citation) |  | 26.23
180 | pCO2D: Researcher Name |  | 26.24.1
181 | pCO2D: Researcher Institution |  | 26.24.2
182 | Var1: Variable abbreviation in data files | SST_C | 27.1
183 | Var1: Full variable name | Sea Surface Temperature | 27.2
184 | Var1: Variable unit | degrees celcius | 27.7
185 | Var1: Observation type | Surface Underway | 27.4
186 | Var1: Sampling instrument |  | 27.1
187 | Var1: Analyzing instrument | SBE 38, Seabird, Inc. | 27.11
188 | Var1: Detailed sampling and analyzing information | After sea water pump, ~3 m below sea surface | 27.13
189 | Var1: Field replicate information |  | 27.14
190 | Var1: Uncertainty | Accuracy: 0.001C, Precision: 0.00025C | 27.15
191 | Var1: Data quality flag description |  | 27.16
192 | Var1: Method reference (citation) |  | 27.17
193 | Var1: Researcher Name | Kevin Sullivan | 27.21.1
194 | Var1: Researcher Institution | NOAA/AOML | 27.21.2
195 | Var2: Variable abbreviation in data files | SAL_permil | 27.1
196 | Var2: Full variable name | Sea Surface Salinity | 27.2
197 | Var2: Variable unit |  | 27.7
198 | Var2: Observation type | Surface Underway | 27.4
199 | Var2: Sampling instrument |  | 27.1
200 | Var2: Analyzing instrument | SBE 45, Seabird, Inc. | 27.11
201 | Var2: Detailed sampling and analyzing information |  | 27.13
202 | Var2: Field replicate information |  | 27.14
203 | Var2: Uncertainty | Accuracy: +/- 0.005; Precision: 0.0002 | 27.15
204 | Var2: Data quality flag description |  | 27.16
205 | Var2: Method reference (citation) |  | 27.17
206 | Var2: Researcher Name | Kevin Sullivan | 27.21.1
207 | Var2: Researcher Institution | NOAA/AOML | 27.21.2
208 | Var3: Variable abbreviation in data files | PRES_ATM@SSP_hPa | 27.1
209 | Var3: Full variable name | Atmospheric Pressure | 27.2
210 | Var3: Variable unit | hPa | 27.7
211 | Var3: Observation type |  | 27.4
212 | Var3: Sampling instrument |  | 27.1
213 | Var3: Analyzing instrument | Vaisala, Model: PTB220 | 27.11
214 | Var3: Detailed sampling and analyzing information |  | 27.13
215 | Var3: Field replicate information |  | 27.14
216 | Var3: Uncertainty | Accuracy: +/- 0.15 hPa; Precision: 0.01 hPa | 27.15
217 | Var3: Data quality flag description |  | 27.16
218 | Var3: Method reference (citation) |  | 27.17
219 | Var3: Researcher Name | Kevin Sullivan | 27.21.1
220 | Var3: Researcher Institution | NOAA/AOML | 27.21.2