## Sheet2
Metadata form for underway measurement systems
( * =mandatory field)
Please submit this form to Benjamin Pfeil (benjamin.pfeil@bjerknes.uib.no) |  |  |  |  | to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* |  | Are Olsen & Truls Johannessen
| Organization* |  | Bjerknes Centre for Climate Research, Bergen, Norway
| Address* |  | Allegaten 55, 5007 Bergen
| Phone* |  | Olsen, +4755584322; Johannessen: +4755584327,
| Email* |  | are.olsen@uni.no & truls@gfi.uib.no
Dataset_Info* | Dataset ID* |  | part of underway measurements on Nuka Arctica 2008 dataset. Total 29 crossings (including one starting in 2007)
| Submission Dates (will be completed by the data management) | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | CARBOOCEAN
| Cruise ID |  | 26NA20081115
Section (Leg)
| Geographical Coverage* | Geographical Region | North Sea, northern North Atlantic, Greenland west coast.
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W) | -54.106
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W) | 10.757
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S) | 68.566
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S) | 57.466
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20081115
|  | End Date: (YYYYMMDD) | 20081125
| Ports of Call |  | Aasiat (Greenland) to Sismiut (Greenland) to Nuuk (Greenland) to Aalborg (Denmark)
| Vessel* | Vessel Name | R/V Nuka Arctica
|  | Vessel ID | 26NA
|  | Country | Denmark
|  | Vessel Owner | Royal Arctic Lines
|  | Variables Info* | intake and equilibrator temperatures, equilibrator pressure, xCO2 in dry air at equ temp, fCO2 at 100% humidity at SST, XCO2_atm_interp
Variable | Variable Name* |  | xCO2 equ temp
| Description of Variable: (E.g., in dry air) |  | Dry mole fraction in equilibrator headspace as reported by licor
| Variable Name* |  | fCO2_insitu
| Description of Variable: (E.g., in dry air) |  | fCO2 at 100% humidity at SST, determined from xCO2 according to Pierrot et al, 2009
| Variable Name* |  | Equ_temp
| Description of Variable: (E.g., in dry air) |  | Temperature in equilibrator
| Variable Name* |  | SST
| Description of Variable: (E.g., in dry air) |  | Intake temperature
| Variable Name* |  | Equ_pres
| Description of Variable: (E.g., in dry air) |  | equilibrator headspace pressure
| Variable Name* |  | XCO2_atm_interp
| Description of Variable: (E.g., in dry air) |  | 4 atmospheric samples are measured ~every hour. These have been linearly interpolated over the equilibrator samples.
Method Description* | Equilibrator Design | Equilibrator Type | two stage showerhead
|  | Equilibrator Volume (L) | approx 0.5 (vent equ) & 2.5 (main equ) l
|  | Water Flow Rate (L/min) | approx 2.5
|  | Headspace Gas Flow Rate (L/min) | 80
|  | Vented | yes
| Measurement Method |  | Infrared analysis of headspace in equilibrium with flowing seawater
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | NOAA/CMDL
| CO2 Sensors | CO2 Sensor | Infrared
|  | Manufacturer | LI-COR
|  | Model | 6262
Environmental Control: (Describe any additional environmental control.)
|  | Resolution | ±0.2
|  | Uncertainty | ±1
|  | CO2 Sensor Calibration: (For each calibration gas, document traceability to an internationally recognized scale, including date and place of last calibration. Include uncertainty of assigned value.) | Traceable to the WMO-X93 scale. From May 2008 we used standards from NOAA calibrated spring 2008 on the ship. One zero gas and three standards at approx 190 377 and 410 ppm
| Other Sensors | Manufacturer | Intake temperature sensor, Hart Scientific
|  | Model | Probe: 5610, thermometer:1521
|  | Resolution | 0.001
|  | Uncertainty | ±0.01
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibrated against a NIST tracable thermometer. Regular zero point calibrations and well as checks against equilibrator thermometer
|  | Manufacturer | Equilibrator temperature sensor, Hart Scientific
|  | Model | Probe: 5610, thermometer:1521
|  | Resolution | 0.001
|  | Uncertainty | ±0.01
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibrated against a NIST tracable thermometer. Regular zero point calibrations and well as checks against intake thermometer.
|  | Manufacturer | Equilibrator pressure, this is measured differentially using a Setra 239 sensor. The given equilibrator pressure is sum of this and the Licor cell pressure (recorded by 6262-03 Pressure Transducer)
|  | Model | Setra 239 & Licor 6262-30
|  | Resolution | 0.01 hPa
|  | Uncertainty | ±0.05 (Setra) & ±0.45 (Licor), gives total ±0.453 hPa
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibrated, traceable to NIST.
| Method References: (Publication(s) describing method) |  | Wanninkhof and Thoning, Marine Chemistry 44, 189-205, 1993
Data set references |  |  | Pierrot et al., Deep Sea Res. II, 56, 512-522 (2009)
Citation |  |  | Olsen et al., Biogeosciences, 5, 535-547, (2008) | Note that in 2005 instrument was in bow, all other years it was installed midships
Data Set Link | URL*
Label*
| Link Note: (Optional instructions or remarks) |  | Note that a constant salinity of 35 was used for calculating pH20 for the xCO2 to pCO2 conversion step in the fCO2 calculation.