|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project: | ANIMIDA III | | | | | | |
| Parameters: | TPH and SHC | | | | | | |
| Laboratory: | Battelle, Norwell, MA | | | | | | |
| Matrix: | Sediment, Peat | | | | | | |
| Data Set: | DP-15-0318 | | | | | | |
| Analytical SOP: | 5-202 | | | | | | |
| Method Reference: | Modified EPA Method 8015C | | | | | | |
|  |  | | |  |  |  | |
| Sample Custody | Receipt Date | | | Temp (°C) | | | |
| 8/11/2014 and 8/25/2015 | | | 0.9, 1.2, 0.3 and 2.8 | | | |
|  |  | | |  |  |  | |
| Corrective Actions | SHP-150811-03 had sample L4815 was listed on the COC as QAH-122 with a collection time of 8:40 on 8/6/15. There was no jar that had matching collection information but there was a jar that had the correct station information that belongs to that sample. The ID on the jar was QAH-207 with a collection date of 8/6/15 @ 10:00am. Logged in as the COC states but I believe it should be the QAH-207.  SHP-150825-01 had missing COCs. The samples were confirmed with the project manager. | | | | | | |
|
| Sample Storage | The samples were stored in an access-limited freezer until sample preparation could begin. | | | | | | |
|
|  | METHOD SUMMARIES |  | | |  |  | |
| Sample Preparation | Samples were prepared for analysis by weighing approximately 30 grams of sample material into a pre-cleaned extraction vessel and dried using sodium sulfate.  Each sample was spiked with PAH, Biomarker and SHC surrogates and extracted 3 times using methylene chloride by shaker table.  The combined extracts were dried over sodium sulfate and concentrated by Kuderna-Danish (KD) and nitrogen evaporation techniques. Sample clean-up was performed on the extracts using alumina columns. Extracts were further cleaned up and fractionated using silica gel columns. The F1 fraction was collected and split for TPH/SHC and biomarker analyses. The F2 fraction was collected for PAH and alkylated PAH analysis. The extracts were concentrated and spiked with IS for analysis. | | | | | | |
| Prep comments | * All samples had overlying water layer. Overlying water was poured off before being weighed out. After samples were weighed out to 30g, overlying water layer still existed. The samples were centrifuged and then poured off again to remove existing waster layer. * While samples were concentrating on water bath, a brief hint of smoke (camp fire) entered the lab. * Additional copper clean-up was done on the SRM sample per order of the analyst. * Sample L4797 spilled approximately 500 uL while at 2 mL just before silica columns. * Samples L4799-P and L4800-P were peat, and was therefore weighed out at 10 g per order of project manager. * Sample L4800MS-P shattered post-extraction. Sample was re-extracted and caught up to batch. * Samples L4905 and L4906 were mistakenly not extracted on 8/31/2015. Samples extracted on 9/2/2015 and caught up to batch. | | | | | | |
|
|
|
|
| Analysis | TPH/SHC was measured by gas chromatography with flame ionization detection (GC/FID). An initial calibration consisting of target analytes was completed prior to analysis to demonstrate the linear range of analysis. Calibration verification was performed at the beginning and end of each 24 hour period (or 10 samples) in which samples were analyzed. Concentrations of TPH/SHC were calculated by the internal standard method. Normal alkanes were quantified using the average RF generated from the initial calibration. TPH concentrations were quantified using the average RF of nC9 through nC40. | | | | | | |
| Analysis comments | All data are reported as surrogate corrected and on a dry wt. basis. The NSC and CO are reported as not surrogate corrected on an oil weight basis | | | | | |  |
| Holding Times | Extraction Date(s) |  | Analysis Date(s) | | | |  |
|  | 8/31/2015 & 9/2 and 9/2015 | 9/11-13/2015 | | | | | |

|  |  |
| --- | --- |
| Procedural Blank (PB) | A PB was prepared with this analytical batch to ensure the sample extraction and analysis methods are free of contamination. |
|
| PB <5 X MDL  Samples must be >5x PB | Six exceedances noted. |
| Comments: Comments: The blank had some “J” qualified data. This led to some “B” qualified data (decane). |
|
|  |  |
| Laboratory Control Spike (LCS) | A LCS was prepared with this analytical batch. The percent recoveries of target analytes were calculated to measure accuracy. |
|
| Recovery of 70-130%  Nonane: 50-130% | No exceedances noted. |
| Comments: None. |
|
|
|  | |
| North Slope Crude (NSC) and Control Oil (CO) | A NSC Reference Oil and Control Oil was prepared with this batch to evaluate the instrumental accuracy and also provide petroleum pattern information, aiding in the qualitative identification of target analytes. |
| < 30% RPD for 90% of analytes | No exceedances noted. |
| Comments: None. |
|  | |
| |  |  | | --- | --- | | Standard Reference Material (SRM) | An SRM was prepared with this analytical batch. | | % Difference <30% for analytes above 5XMDL | No exceedances noted. | | Comments: There were no certified values for the target analytes. | | |
| Surrogate Recovery | Surrogate compounds were added prior to extraction. The surrogate recoveries are calculated to measure extraction efficiency. |
| Recovery of 40-120% | No exceedance noted. |
| Comments: None. |
|  | |  |
| Matrix Spike/Matrix Spike Duplicate (MS/MSD) | A MS/MSD was prepared with this analytical batch. The percent recoveries of target analytes were calculated to measure accuracy. The RPD of target analytes were calculated to measure data quality in terms of accuracy. |  |
| Recovery of 70-130%  Nonane: 50-130%  Relative Percent Difference (RPD) < 30% | No exceedances noted. |  |
| Comments: None. |  |
|  | |
| Initial Calibration (ICAL) | The GC/FID is calibrated with a minimum 5 level curve for all compounds. |
|
|
| Individual RSD ≤25%; Mean RSD ≤20% | No exceedances noted. |
| Comments: None. |
|
|  |  |
| Independent Calibration Check (ICC) | The independent check was run after each initial calibration to verify the calibration. This standard is from a different source than the ICAL. |
|
| Individual and Mean PD <25% | No exceedances noted. |
| Comments: None. |
|
|  |  |
| Continuing Calibration Verification (CCV) | Continuing calibration standards were run every 24 hours to ensure that initial calibration is still valid. |
|
| Individual RSD ≤25%; Mean RSD ≤20% | No exceedances noted. |
| Comments: None. |
|