## Sheet2
Metadata form for underway measurement systems
| (based on the SOCAT metadata template) |  |  | ( * =mandatory field)
Instrument* | Name* |  | SubCtech OceanPack RACE |  | to be filled out by the scientist
| ID* |  | s/n OPR-MK2DLZEGA-P-FLD-1807-01 |  | To be filled ou by the data management
| Configuration* |  | 1 gas inlet for auto-span; Sodalime for auto-zero
| date of manufacture* | YYYYMM | 201807
| Setup* |  | MK2 controlled OP with Sea&Sun customized CTD48. Optimized for 24VDC. External GPS and ControlBox. Applicable for the intergration of meteo-station and telemetry.
| Client* |  | Boris Herrmann Racing GmbH
| Contact* (for the deployment) |  | Stuart McLachlan malizia@borisherrmannracing.com Mob. : +33 6 95 60 60 27
Investigator* | Name* |  | Peter Landschützer
| Organization* |  | Max Planck Institute for Meteorology
| Address* |  | Bundesstrase 53 20146 Hamburg Germany
| Phone* |  | (+49) 04041173145
| Email* |  | peter.landschuetzer@mpimet.mpg.de, ttanhua@geomar.de
Dataset_Info* | Dataset ID*
Funding Info
| Submission Dates | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | Malizia Ocean Challenge
| Cruise ID (Expocode) |  | 069920181126
| Section (Leg) |  | Return Guadalupe
| Geographical Coverage* | Geographical Region | Tropical North Atlantic Ocean
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20181126
|  | End Date: (YYYYMMDD) | 20181128
| Ports of Call |  | Pointe-a-pitre
| Platform Type (e.g. Ship) |  | Racing sailing vessel
| Survey Type (e.g. Research cruise) |  | VOS (voluntary observing ship)
| Vessel* | Vessel Name | Malizia
|  | Vessel ID | MMSI 211768710
|  | Country | Germany
Vessel Owner
|  | Operetor | Boris Herrmann Racing GmbH
Variable | Variable Name* |  | year, month, day, hour, minute,second, time, longitude, latitude, vessel speed, Licor air flow, system water flow, sea surface temperature, conductivity, sea surface salinity (calculated), pressure at membrane, xCO2, fCO2 (calculated), pCO2 (calculated)
| Description of Variable (e.g. in dry air) |  | xCO2 measured in wet air
| Unit |  | ppm
| Total variables in the Data Set |  | 18
Method Description* | Equilibrator Design | Equilibrator Type | Flat membrane (PDMS)
|  | Equilibrator, active surface (mm²) | 1885
|  | Intake Location | water enters through keel - max 2m below sea surface. System intake in main bode. Distance to membrane < 0.5 meter.
|  | Water Flow Rate (L/min) | ~ 7
|  | Headspace Gas Flow Rate (L/min) | 0.5
|  | Vented (Yes, No) | No. Closed loop
|  | Equilibration Comments | Autocalibration with Zero (Soda lime) and non-zero standard; once per day. After autocalibration first 30 minutes of seawater measurements are not considered to allow full equilibrium
|  | Drying Method | None. Measuring in wet atmosphere
| Measurement Method |  | NDIR, flat membrane, closed loop
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | artificial air (refilled from standard with 601.2 ppmv, supplied by Deuste gas solutions GmbH, calibrated by IOW Warnemünde) 200Bar in 0.5L AL-tank
| CO2 Sensors | CO2 Sensor | Li-840A
|  | Manufacturer | Licor
|  | Model | 840-A
|  | Measured CO2 Values | xCO2
|  | Measurement Frequency | recording (mean values) set to: 10s
|  | Uncertainty (Accuracy/Precision) | better than 1% of reading, zero drift <0.15 ppm/°C, span drift<0.03 %/°C
|  | CO2 Sensor Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of the last calibration) | xCO2 : Licor autocalibration with Zero and 600.9 ppm standard once per day. with soda lime and 600.8ppm standard. Both referenced with LI7200 in SCT lab (Kiel) (1.8.2018); Pressure: Licor Cell pressure factory calibrated by Licor (27.07.2017, Siemensstraße 25, 61352 Bad Homburg vor der Höhe, Germany) Pressure at membrane: Calculated via Honeywell HSCMRRN001PD2A3 differential pressure sensor in hPa (07.2018, Kiel, accuracy/range= 0,25%/±1psi); Temperature and salinity see below at other sensors
|  | Number Non-Zero Gas Standards | 1
|  | Calibration Gases | artificial air with 600.8ppmv xCO2 content
Comments
| Other Sensors | Manufacturer | Sea&Sun
|  | Model | Sea&Sun customized CTD48
|  | Resolution | +/-0.005 °C; +/- 0.010 mS/cm
|  | Uncertainty (Accuracy/Precision) | +/-0.005 °C; +/- 0.010 mS/cm
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Temperature and salinity last calibrated on 20180713 by Sea and Sun Technology, Arndtstrasse 9, D-24610 Trappenkamp. T Kalibration range: 0-30°C. Conductivity calibration range: 0-65mS/cm
Comments
| Method References: (Publication(s) describing method) |  | http://www.subctech.com/Datasheets/Datasheets/Flyer_OceanPack_Family.pdf
| Additional information |  | pCO2 calculation following T correction of Takahashi et al 1993 (where T_membrane is considered T_in-situ since distance membrane to inlet is <0.5m). pCO2 and fCO2 are calculated following the DOE handbook
| Suggested QC flag from Data Provider |  | D
Data set references | (Publication(s) describing data set)
Citation | How to cite this data
Data Set Link | URL*
Label*
Link Note: (Optional instructions or remarks)