## metadata
Instructions: Please do not change the order of Rows No. 1 through No. 240. Please do not use special characters. Text highlighted in red indicates information needed to conduct quality control of submitted data, please try to fill in as much as possible for the number of variables relevant for the submitted data sets. Note that all rows in bold contain a drop-down menu, please follow the instructions provided and choose one of the options.
Number | Metadata element name | Your input | Help reference number
1 | Submission Date | 2021-01-14 | 1
2 | Accession no. of related data sets on the 14.3.1 data platform or any other data base |  | 2
3 | URL of metadata set |  | 3
4 | URL of associated data set |  | 4
5 | DOI of dataset (if applicable) |  | 5
6 | Investigator-1 name | Anna Willstrand Wranne | 6.1
7 | Investigator-1 institution | SMHI | 6.2
8 | Investigator-1 institution ID (OceanExpert) | 545 (EDMO code) | 6.3.
9 | Investigator-1 address | Sven Källfeltsgata 15, 42671 Västra Frölunda, Sweden | 6.4
10 | Investigator-1 phone | 0046-317518955 | 6.5
11 | Investigator-1 email | anna.wranne@smhi.se | 6.6
12 | Investigator-1 researcher ID | 0000-0002-5182-8292 | 6.7
13 | Investigator-1 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
14 | Investigator-2 name | Tobias Steinhoff | 6.1
15 | Investigator-2 institution | GEOMAR Helmholtz Centre for Ocean Research Kiel | 6.2
16 | Investigator-2 institution ID (OceanExpert) | N/A | 6.3.
17 | Investigator-2 address | Düsternbrooker Weg 20, 24105 Kiel, Germany | 6.4
18 | Investigator-2 phone | +49-431-6004203 | 6.5
19 | Investigator-2 email | tsteinhoff@geomar.de | 6.6
20 | Investigator-2 researcher ID | 0000-0002-2298-1298 | 6.7
21 | Investigator-2 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
22 | Investigator-3 name |  | 6.1
23 | Investigator-3 institution |  | 6.2
24 | Investigator-2 institution ID (OceanExpert) |  | 6.3.
25 | Investigator-3 address |  | 6.4
26 | Investigator-3 phone |  | 6.5
27 | Investigator-3 email |  | 6.6
28 | Investigator-3 researcher ID |  | 6.7
29 | Investigator-3 ID type (OceanExpert, ORCID, ResearcherID, etc.) |  | 6.8
30 | Data submitter name | Tobias Steinhoff | 7.1
31 | Data submitter institution | GEOMAR Helmholtz Centre for Ocean Research Kiel | 7.2
32 | Data submitter - institution ID (OceanExpert) |  | 7.3
33 | Data submitter address | Düsternbrooker Weg 20, 24105 Kiel, Germany | 7.4
34 | Data submitter phone |  | 7.5
35 | Data submitter email | tsteinhoff@geomar.de | 7.6
36 | Data submitter researcher ID | 0000-0002-2298-1298 | 7.7
37 | Data submitter ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 7.8
38 | Name of sampling site or title of related research project | M/V Tavastland | 8
39 | Short description including purpose of observation | Tavastland is operated by SMHI and started as a joined effort with SYKE in 2009. The ferrybox measures salinity, temperature, oxygen, turbidity, chlorophyll fluorescence, phycocyanin fluorescence, and CDOM-fluorescence. | 9
40 | Method(s) applied | A General Oceanics pCO2 system (model 8050) was used for pCO2 measurements. The system is described in detail in Pierrot (2009). Surface water is pumped continuously from the intake to the equilibrator. The equilibrator contains a water spray head, and as the water flows through it the dissolved CO2 equilibrates with the headspace. The headspace is dried and xCO2 is determined by an infrared sensor. Calculations were performed following Pierrot (2009, https://doi.org/10.1016/j.dsr2.2008.12.005). The water is drawn directly from the sea chest at ca. 6m depth. A temperature sensor (SBE38) is installed close to the intake. The water is pumped throug ca. 5 m of a piping connecting to the GO system. The equilibrator pressure is measured using a differential pressure sensor (inside/outside equilibrator) and an absolute pressure sensor next to the equilibrator. The air inlet is located ca. 30 m above sea level next to the ship's funnel and the air line is constanltly flushed with atmospheric air. | 10
41 | First day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2020-12-03 | 11.1
42 | Last day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2020-12-06 | 11.2
43 | Site specific measurement longitude |  | 12.1
44 | Site specific measurement latitude |  | 12.2
45 | Transect measurement longitude easternmost | 25 | 12.3
46 | Transect measurement longitude westernmost | 11 | 12.4
47 | Transect measurement latitude northernmost | 66 | 12.5
48 | Transect measurement latitude southernmost | 54 | 12.6
49 | Funding agency name | BONUS | 13.1
50 | Funding project title | Bonus Integral | 13.2
51 | Funding project ID (Grant number) | call2015-101 | 13.3
52 | Platform name | Tavastland | 14.1
53 | Platform category | Voluntary Observing Ship | 14.2
54 | Platform ID | 9334959 | 14.3
55 | Platform ID type | IMO | 14.4
56 | Platform-1 owner | Swedish Oriental Line | 14.5
57 | Platform-1 country | Sweden | 14.6
58 | EXPOCODE | 77XT20191203 | 15.1
59 | Cruise ID | TL1949-1 | 15.2
60 | Cruise ID type |  | 15.3
61 | Author list for citation | Willstrand Wranne, Anna; Steinhoff, Tobias | 16
62 | References | None | 17
63 | Supplemental information | For the scope of the Bonus Integral project the GO pCO2 setup was used to measure more gases than only CO2. Two off-axis sprctroscopy sensors from Los Gatos wer installed in addition to the Licor LI7000. The equilibrator pump was removed from the gas stream and teh 2 LGR sensors were used as pumps. The LGR sensors were installed behind the LI7000. THe gas measured gas was flowing first through the LI7000 and then was divided into one sensor for N2O/CO measurement and one sensor for CO2/CH4 measurements. The gas stream was merged after the two LGR sensors going back to the equilibrator. During data reduction it turned out that teh LI7000 was not functioning coorectly, so the CO2 data from teh Los Gatos instrument were used instead. --- The salinity was measured using a SBE45 TSG which was installed in a bypass of the GO system. ---- There was no absolute pressure sensor istalled next to the instrument. This was done later and based on the data it was found that the pressure inside the engine room is 4.3 mbar higher than the atmospheric pressure (+- 0.1 mbar). | 18
64 | Depth: Variable abbreviation in data files | N/A | 19.1
65 | Depth: Variable unit | m | 19.2
66 | DIC: Variable abbreviation in data files | N/A | 20.1
67 | DIC: Observation type |  | 20.2
68 | DIC: Variable unit |  | 20.3
69 | DIC: Collection method (e.g. bottle sampling) |  | 20.4
70 | DIC: Analyzing instrument |  | 20.5
71 | DIC: Analyzing information with citation | N/A | 20.6
72 | DIC: Quality control | N/A | 20.7
73 | DIC: Abbreviation of data quality flag scheme | N/A | 20.8
74 | DIC: Data quality scheme (name of scheme) | N/A | 20.9
75 | DIC: Uncertainty | N/A | 20.1
76 | DIC: Field replicate information | N/A | 20.11
77 | DIC: Calibration method | N/A | 20.12
78 | DIC: Frequency of calibration | N/A | 20.13
79 | DIC: CRM manufacturer | N/A | 20.14
80 | DIC: Batch number(s) | N/A | 20.15
81 | DIC: Poison used to kill the sample | N/A | 20.16
82 | DIC: Poison volume | N/A | 20.17
83 | DIC: Poisoning correction description | N/A | 20.18
84 | DIC: Method reference (citation) | N/A | 20.19
85 | DIC: Changes to Method or SOP | N/A | 20.2
86 | TA: Variable abbreviation in data files | N/A | 21.1
87 | TA: Observation type |  | 21.2
88 | TA: Variable unit |  | 21.3
89 | TA: Collection method (e.g. bottle sampling) |  | 21.4
90 | TA: Measured or calculated |  | 21.5
91 | TA: Calculation method and parameters | N/A | 21.6
92 | TA: Analyzing instrument | N/A | 21.7
93 | TA: Analyzing information with citation (SOP etc) | N/A | 21.8
94 | TA: Quality control | N/A | 21.9
95 | TA: Abbreviation of data quality flag scheme | N/A | 21.1
96 | TA: Data quality flag scheme | N/A | 21.11
97 | TA: Uncertainty | N/A | 21.12
98 | TA: Type of titration | N/A | 21.13
99 | TA: Cell type (open or closed) | N/A | 21.14
100 | TA: Curve fitting method | N/A | 21.15
101 | TA: Field replicate information | N/A | 21.16
102 | TA: Calibration method | N/A | 21.17
103 | TA: Frequency of calibration | N/A | 21.18
104 | TA: CRM manufacturer | N/A | 21.19
105 | TA: Batch Number(s) | N/A | 21.2
106 | TA: Poison used to kill the sample | N/A | 21.21
107 | TA: Poison volume | N/A | 21.22
108 | TA: Poisoning correction description | N/A | 21.23
109 | TA: Magnitude of blank correction | N/A | 21.24
110 | TA: Method reference (citation) | N/A | 21.25
111 | TA: Changes to Method or SOP | N/A | 21.26
112 | pH: Variable abbreviation in data files | N/A | 22.1
113 | pH: Observation type |  | 22.2
114 | pH: Collection method (e.g. bottle sampling) |  | 22.3
115 | pH: Analyzing instrument |  | 22.4
116 | pH: Analyzing information with citation (SOP etc) | N/A | 22.5
117 | pH: pH scale | N/A | 22.6
118 | pH: Quality control | N/A | 22.7
119 | pH: Abbreviation of data quality flag scheme | N/A | 22.8
120 | pH: Data quality flag scheme | N/A | 22.9
121 | pH: Uncertainty | N/A | 22.1
122 | pH: Temperature of measurement | N/A | 22.11
123 | pH: Field replicate information | N/A | 22.12
124 | pH: Calibration method | N/A | 22.13
125 | pH: Frequency of calibration | N/A | 22.14
126 | pH:Type of dye and manufacturer information | N/A | 22.15
127 | pH: pH values of the standards | N/A | 22.16
128 | pH: Temperature of calibration | N/A | 22.17
129 | pH: Temperature correction method | N/A | 22.18
130 | pH: At what temperature was pH reported | N/A | 22.19
131 | pH: Method reference (citation) | N/A | 22.2
132 | pH: Changes to Method or SOP | N/A | 22.21
133 | pCO2: Variable abbreviation in data files | pCO2 (SST, 100hum) | 23.1
134 | pCO2: Observation type | underway | 23.2
135 | pCO2: Variable unit | μatm | 23.3
136 | pCO2: Collection method (e.g. bottle sampling) | water collection with pump | 23.4
137 | pCO2: Location of seawater intake | front, starboard | 23.5
138 | pCO2: Depth of seawater intake | 6 m | 23.6
139 | pCO2: Analyzing instrument | General Oceanics GO pCO2 system | 23.7
140 | pCO2: Analyzing information with citation (SOP etc) | SOP05, Dickson, A.G., Sabine, C. L. and Christian, J.R. (2007). Guide to best Practices for Ocean CO2 measurements; Pierrot, D. et al. (2009), Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines | 23.8
141 | pCO2: Quality control | Yes | 23.9
142 | pCO2: Abbreviation of data quality flag scheme |  | 23.1
143 | pCO2: Data quality flag scheme |  | 23.11
144 | pCO2: Uncertainty | <10 µatm | 23.12
145 | pCO2: Equilbrator type | spray head | 23.13
146 | pCO2: Equilibrator volume (L) | 1 | 23.14
147 | pCO2: Equilibrator vented or not | Vented | 23.15
148 | pCO2: Equilibrator water flow rate (L min-1) | 2.5 | 23.16
149 | pCO2: Equilibrator headspace gas flow rate (L min-1) | 0.3 | 23.17
150 | pCO2: How was temperature inside the equilibrator measured | Equilibrator temperature is measured by a Fluke Hart 1523, wich is known to be stable over a longer period. It was calibrated in Nov. 2019. | 23.18
151 | pCO2: How was pressure inside the equilibrator measured | The equilibrator is open to the atmosphere. Since no absolute pressure sensor was installed the pressure from the atmospheric pressure sensor was used and 4.3 mbar were added (see above). A SETRA difference pressure sensor is attached to the equilibrator. | 23.19
152 | pCO2: Drying method for CO2 gas | Peltier and Nafion dryer | 23.2
153 | pCO2: Manufacturer of the gas detector | Los Gatos Research | 23.21
154 | pCO2: Model of the gas detector | CO2/CH4/H2O bench top | 23.22
155 | pCO2: Resolution of the gas detector | 0.01 | 23.23
156 | pCO2: Uncertainty of the gas detector | 0.1 | 23.24
157 | pCO2: Calibration method | Regular use of 3 non-zero reference gases | 23.25
158 | pCO2: Frequency of calibration | every 6 hours | 23.26
159 | pCO2: Manufacturer of standard gas | Deuste, Germany. The gases were calibrated against WMO traceable standard gases. | 23.27
160 | pCO2: Concentrations of standard gas | 400.0, 200.2, 803.0 | 23.28
161 | pCO2: Uncertainties of standard gas | < 0.1 | 23.29
162 | pCO2: Water vapor correction method | The dried sample was corrected to 100% humidity which was calculated following Weiss and Price (1980). Nitrous Oxide solubility in water and seawater. | 23.3
163 | pCO2: Temperature correction method | The temperature correction between equilibrator temperature and intake temperature was done following Takahashi et al. (1993). Seasonal variation of CO2 and nutrients in the high-latitude Surface Oceans: A comparative study. | 23.31
164 | pCO2: At what temperature was pCO2 reported | intake temperature of seawater | 23.32
165 | pCO2: Method reference (citation) | SOP05, Dickson, A.G., Sabine, C. L. and Christian, J.R. (2007). Guide to best Practices for Ocean CO2 measurements; Pierrot, D. et al. (2009), Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines | 23.33
166 | pCO2: Changes to Method or SOP |  | 23.34
167 | fCO2: Variable abbreviation in data files | fCO2 (SST, 100hum) | 24.1
168 | fCO2: Observation type | underway | 24.2
169 | fCO2: Variable unit | μatm | 24.3
170 | fCO2: Collection method (e.g. bottle sampling) | water collection with pump | 24.4
171 | fCO2: Location of seawater intake | see 137 | 24.5
172 | fCO2: Depth of seawater intake | see 138 | 24.6
173 | fCO2: Analyzing instrument | see 139 | 24.7
174 | fCO2: Analyzing information with citation (SOP etc) | see 140 | 24.8
175 | fCO2: Quality control | see 141 | 24.9
176 | fCO2: Abbreviation of data quality flag scheme | see 142 | 24.1
177 | fCO2: Data quality flag scheme | see 143 | 24.11
178 | fCO2: Uncertainty | see 144 | 24.12
179 | fCO2: Equilbrator type | see 145 | 24.13
180 | fCO2: Equilibrator volume (L) | see 146 | 24.14
181 | fCO2: Equilibrator vented or not | see 147 | 24.15
182 | fCO2: Equilibrator water flow rate (L min-1) | see 148 | 24.16
183 | fCO2: Equilibrator headspace gas flow rate (L min-1) | see 149 | 24.17
184 | fCO2: How was temperature inside the equilibrator measured | see 150 | 24.18
185 | fCO2: How was pressure inside the equilibrator measured | see 151 | 24.19
186 | fCO2: Drying method for CO2 gas | see 152 | 24.2
187 | fCO2: Manufacturer of the gas detector | see 153 | 24.21
188 | fCO2: Model of the gas detector | see 154 | 24.22
189 | fCO2: Resolution of the gas detector | see 155 | 24.23
190 | fCO2: Uncertainty of the gas detector | see 156 | 24.24
191 | fCO2: Calibration method | see 157 | 23.25
192 | fCO2: Frequency of calibration | see 158 | 23.26
193 | fCO2: Manufacturer of standard gas | see 159 | 23.27
194 | fCO2: Concentrations of standard gas | see 160 | 23.28
195 | fCO2: Uncertainties of standard gas | see 161 | 23.29
196 | fCO2: Water vapor correction method | see 162 | 23.3
197 | fCO2: Temperature correction method | see 163 | 23.31
198 | fCO2: At what temperature was fCO2 reported | see 164 | 23.32
199 | fCO2: Method reference (citation) | see 165 | 23.33
200 | fCO2: Changes to Method or SOP | see 166 | 23.34
201 | Temperature: Variable abbreviation in data files | SST | 25.1
202 | Temperature: Observation type | underway | 25.2
203 | Temperature: Variable unit | Celsius | 25.3
204 | Temperature: Collection method (e.g. bottle sampling) | water collection with pump | 25.4
205 | Temperature: Analyzing instrument | Seabird sensors | 25.5
206 | Temperature: Analyzing information with citation (SOP etc) | intake temperature was measured close to the intake using a SBE38 | 25.6
207 | Temperature: Quality control | Yes | 25.7
208 | Temperature: Abbreviation of data quality flag scheme |  | 25.8
209 | Temperature: Data quality flag scheme |  | 25.9
210 | Temperature: Uncertainty | 0.05 | 25.1
211 | Temperature: Field replicate information | 1 | 25.11
212 | Temperature: Method reference (citation) | Seabird SBE45 and SBE38 manual | 25.12
213 | Temperature: Changes to Method or SOP |  | 25.13
214 | Salinity: Variable abbreviation in data files | SSS | 26.1
215 | Salinity: Observation type | underway | 26.2
216 | Salinity: Variable unit | PSU | 26.3
217 | Salinity: Collection method (e.g. bottle sampling) | water collection with pump | 26.4
218 | Salinity: Analyzing instrument | Seabird sensors | 26.5
219 | Salinity: Analyzing information with citation (SOP etc) | SBE45 | 26.6
220 | Salinity: Quality control | Yes | 26.7
221 | Salinity: Abbreviation of data quality flag scheme |  | 26.8
222 | Salinity: Data quality flag scheme |  | 26.9
223 | Salinity: Uncertainty | 0.1 | 26.1
224 | Salinity: Field replicate information | 1 | 26.11
225 | Salinity: Method reference (citation) | Seabird SBE45 manual | 26.12
226 | Salinity: Changes to Method or SOP |  | 26.13
227 | Var1: Variable abbreviation in data files | Atm. Pressure | 27.1
228 | Var1: Full variable name | atmospheric pressure at sea level | 27.2
229 | Var1: Observation type | underway | 27.3
230 | Var1: Variable unit | mbar | 27.4
231 | Var1: Collection method (e.g. bottle sampling) |  | 27.5
232 | Var1: Analyzing instrument | Druck barometer | 27.6
233 | Var1: Analyzing information with citation (SOP etc) | The atm. Pressure is measured at approximately 30 m height and is corrected to sea surface. | 27.7
234 | Var1: Quality control | Yes | 27.8
235 | Var1: Abbreviation of data quality flag scheme |  | 27.9
236 | Var1: Data quality flag scheme |  | 27.1
237 | Var1: Uncertainty | 0.2% | 27.11
238 | Var1: Field replicate information | 1 | 27.12
239 | Var1: Method reference (citation) |  | 27.13
240 | Var1: Changes to Method or SOP |  | 27.14
241 | Var2: Variable abbreviation in data files | Equi Temp | 27.1
242 | Var2: Full variable name | water temperature inside the equilibrator | 27.2
243 | Var2: Observation type | underway | 27.3
244 | Var2: Variable unit | °C | 27.4
245 | Var2: Collection method (e.g. bottle sampling) |  | 27.5
246 | Var2: Analyzing instrument | Fluke Hart 1523 | 27.6
247 | Var2: Analyzing information with citation (SOP etc) |  | 27.7
248 | Var2: Quality control | Yes | 27.8
249 | Var2: Abbreviation of data quality flag scheme |  | 27.9
250 | Var2: Data quality flag scheme |  | 27.1
251 | Var2: Uncertainty | 0.05 | 27.11
252 | Var2: Field replicate information | 1 | 27.12
253 | Var2: Method reference (citation) |  | 27.13
254 | Var2: Changes to Method or SOP |  | 27.14
255 | Var3: Variable abbreviation in data files | Equi Press | 27.1
256 | Var3: Full variable name | pressure inside the equilibrator | 27.2
257 | Var3: Observation type | underway | 27.3
258 | Var3: Variable unit | mbar | 27.4
259 | Var3: Collection method (e.g. bottle sampling) |  | 27.5
260 | Var3: Analyzing instrument | SETRA (Model 239) | 27.6
261 | Var3: Analyzing information with citation (SOP etc) | The equilibrator is open to the atmosphere. A SETRA difference pressure sensor is attached to the equilibrator measuring the pressure difference between the in- and outside of the equilibrator. There was no absolute pressure sensor istalled next to th einstrument. This was done later and based on the data it was found that the pressure inside the engine room is 4.3 mbar higher than the atmospheric pressure (+- 0.1 mbar). | 27.7
262 | Var3: Quality control | Yes | 27.8
263 | Var3: Abbreviation of data quality flag scheme |  | 27.9
264 | Var3: Data quality flag scheme |  | 27.1
265 | Var3: Uncertainty | <0.5 | 27.11
266 | Var3: Field replicate information | 1 | 27.12
267 | Var3: Method reference (citation) |  | 27.13
268 | Var3: Changes to Method or SOP |  | 27.14
269 | Var4: Variable abbreviation in data files | xCO2 (equi temp, dry) | 27.1
270 | Var4: Full variable name | dry mole fraction of CO2 in the equilibrator headspace at equilibrator temperature in ppm | 27.2
271 | Var4: Observation type | underway | 27.3
272 | Var4: Variable unit | ppm | 27.4
273 | Var4: Collection method (e.g. bottle sampling) |  | 27.5
274 | Var4: Analyzing instrument | LI7000 | 27.6
275 | Var4: Analyzing information with citation (SOP etc) |  | 27.7
276 | Var4: Quality control | Yes | 27.8
277 | Var4: Abbreviation of data quality flag scheme |  | 27.9
278 | Var4: Data quality flag scheme |  | 27.1
279 | Var4: Uncertainty | 3 | 27.11
280 | Var4: Field replicate information | 1 | 27.12
281 | Var4: Method reference (citation) |  | 27.13
282 | Var4: Changes to Method or SOP |  | 27.14
283 | Var5: Variable abbreviation in data files | Atm. xCO2 (dry) | 27.1
284 | Var5: Full variable name | dry mole fraction of CO2 of atmospheric air in ppm | 27.2
285 | Var5: Observation type | underway | 27.3
286 | Var5: Variable unit | ppm | 27.4
287 | Var5: Collection method (e.g. bottle sampling) |  | 27.5
288 | Var5: Analyzing instrument | LI7000 | 27.6
289 | Var5: Analyzing information with citation (SOP etc) |  | 27.7
290 | Var5: Quality control | Yes | 27.8
291 | Var5: Abbreviation of data quality flag scheme |  | 27.9
292 | Var5: Data quality flag scheme |  | 27.1
293 | Var5: Uncertainty | 4 | 27.11
294 | Var5: Field replicate information | 1 | 27.12
295 | Var5: Method reference (citation) |  | 27.13
296 | Var5: Changes to Method or SOP |  | 27.14
297 | Var5: Variable abbreviation in data files | Atm xCO2 (dry, running mean) | 27.1
298 | Var5: Full variable name | dry mole fraction of CO2 of atmospheric air in ppm with a running mean (500 minutes) to interpolate between measurements. | 27.2
299 | Var5: Observation type | underway | 27.3
300 | Var5: Variable unit | ppm | 27.4
301 | Var5: Collection method (e.g. bottle sampling) |  | 27.5
302 | Var5: Analyzing instrument | LI7000 | 27.6
303 | Var5: Analyzing information with citation (SOP etc) |  | 27.7
304 | Var5: Quality control | Yes | 27.8
305 | Var5: Abbreviation of data quality flag scheme |  | 27.9
306 | Var5: Data quality flag scheme |  | 27.1
307 | Var5: Uncertainty | 4 | 27.11
308 | Var5: Field replicate information | 1 | 27.12
309 | Var5: Method reference (citation) |  | 27.13
310 | Var5: Changes to Method or SOP |  | 27.14

## Sheet2
ID type | Platform category | Platform/cruise ID | depth | Observation type | DIC/TA Variable unit | DIC Instruments | TA | pH | Frequency of calibration | CRM manufacturer | Poison | Poison volume | Country | Data quality schemes | Data quality flags
OceanExpert | Fixed Ocean Time Series | ICES | cm | underway | mol kg-1 | Marianda Company VINDTA 3C system | Cell Type | pH scale | every 3 hours | Dickson CRM | HgCl2 | 0.02% volume of original sample | Afghanistan | ODV | 0
ORCID | Mooring | IMO | m | profile | mmol kg-1 | Marianda Company VINDTA 3D system | Open | total scale | every 6 hours |  |  | 0.05% volume of original sample | Albania | GTSPP | 1
ResearcherID | Coastal Monitoring Site | WMO |  | time series | µmol kg-1 | Marianda Company AIRICA system | Closed | seawater scale | every 10 samples |  |  | 0.1% volume of original sample | Algeria | ARGO | 2
| Repeat Hydrography (vessel) | other |  | fixed coastal station |  | Apollo SciTech Inc. DIC Analyser AS-C3 |  | NBS scale | every 20 samples |  |  |  | Angola | SEADATANET | 3
| Ship-based time series (vessel) |  |  |  |  | Nihon ANS Co. | Curve fitting method | free scale |  |  |  |  | Argentina | ESEAS | 4
| Argo float |  |  | Collection Method |  | SOMMA coupled to coulometer | curve fitting with least square optimisation | [5 empty] | Australia | WOD | 5
| Glider |  |  | water collection with a water sampler (e.g. Niskin) |  |  | modified gran approach | [5 empty] | Austria | WODSTATION | 6
| Voluntary Observing Ship |  |  | water collection with bucket | [8 empty] | Azerbaijan | WOCECTD | 7
|  |  |  | water collection with pump | [8 empty] | Bahamas | WOCEBOTTLE | 8
[6 empty] | TA Instruments | [6 empty] | Bangladesh | WOCESAMPLE | 9
No | [5 empty] | Apollo SciTech Alkalinity Titrator AS-ALK2 | [6 empty] | Barbados | WOCE | blank
Yes | [5 empty] | Marianda Company VINDTA 3S system | pCO2 | Temperature |  |  |  |  | Belgium | QARTOD | ˂
|  |  |  | Field replicate info |  | Contros HydroFIA TA | Variable unit | Variable Unit |  |  |  |  | Belize | BODC | ˃
|  |  |  | 1 |  | Total alkalinity titration system | μatm | Celsius |  |  |  |  | Benin | PANGAEA | *
Measured |  |  |  | 2 |  |  | ppt | Fahrenheit |  |  |  |  | Brazil | SMHI | \
Calculated |  |  |  | 3 | [8 empty] | Bulgaria | OceanSITES | ¦
|  |  |  | 4 |  | pH Instruments | Equilibrator | [5 empty] | Cabo Verde | IODE | ?
|  |  |  | 5 |  | seaFET Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Vented | Salinity |  |  |  |  | Cameroon |  | #
|  |  |  | 6 |  | seapHox Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Not vented | PSU |  |  |  |  | Canada |  | A
[6 empty] | Deep SeaFET (Sea-Bird) |  | PPT |  |  |  |  | Chile |  | B
[6 empty] | Durafet III pH electrode | [6 empty] | China |  | C
[6 empty] | Sunburst iSAMI pH sensor | [6 empty] | Colombia |  | D
[6 empty] | Sunburst SAMI pH sensor | [6 empty] | Comoros |  | E
[6 empty] | Sunburst AFT pH | [6 empty] | Congo |  | G
[6 empty] | spectrophotometer | [6 empty] | Cook Islands |  | H
[13 empty] | Costa Rica |  | I
[13 empty] | Côte d'Ivoire |  | K
[13 empty] | Croatia |  | L
[6 empty] | pCO2/fCO2 Instruments | [6 empty] | Cuba |  | M
[6 empty] | Contros-Kongsberg HydroC CO2 FT | [6 empty] | Cyprus |  | N
[6 empty] | Moored Autonomous pCO2 monitoring System (MAPCO2™) | [6 empty] | Czechia |  | O
[6 empty] | Battelle Seaology pCO2 monitoring System (LiCor NDIR based) | [6 empty] | Democratic People's Republic of Korea |  | P
[6 empty] | Pro-OCEANUS Systems: CO2-Pro™ | [6 empty] | Congo (Democratic Republic) |  | Q
[6 empty] | Pro-OCEANUS Systems: CO2-Pro CV™ | [6 empty] | Denmark |  | R
[6 empty] | Pro-OCEANUS Systems: CO2-PRO AtmosphereTM | [6 empty] | Djibouti |  | S
[6 empty] | Pro-OCEANUS Systems: Mini CO2TM | [6 empty] | Dominica |  | T
[6 empty] | General Oceanics GO pCO2 system | [6 empty] | Dominican Republic |  | U
[6 empty] | Apollo Scitech inc. pCO2 system (AS-P2) | [6 empty] | Ecuador |  | W
[6 empty] | Sunburst Sensors SAMI-CO2 | [6 empty] | Egypt |  | X
[6 empty] | Sunburst Sensors Superco2 system | [6 empty] | El Salvador
[6 empty] | Sunburst Sensors AFT-CO2 | [6 empty] | Equatorial Guinea
[6 empty] | Kimoto Air-Marine CO2 Automatic Monitoring System | [6 empty] | Eritrea
[6 empty] | Kimoto Portable carbon dioxide analyzer | [6 empty] | Estonia
[6 empty] | CONTROS HydroC CO2 Sensor | [6 empty] | Ethiopia
[6 empty] | SubCtech OceanPack System | [6 empty] | Fiji
[6 empty] | Picarro CO2 System | [6 empty] | Finland
[6 empty] | Marianda Company SUNDANS system | [6 empty] | France
[6 empty] | Turner Designs C-sense™ in situ pCO2 Sensor | [6 empty] | Gabon
[6 empty] | Pro-OCEANUS CO2-Pro | [6 empty] | Gambia
[6 empty] | VeGAS pCO2 | [6 empty] | Georgia
[6 empty] | flask equilibrator coupled to GC or NDIR | [6 empty] | Germany
Ghana
Greece
Grenada
[6 empty] | Temperature Instruments | [6 empty] | Guatemala
[6 empty] | Seabird sensors | [6 empty] | Guinea
[6 empty] | YSI sensors | [6 empty] | Guinea Bissau
[6 empty] | Fluke Hart | [6 empty] | Guyana
Haiti
Honduras
[6 empty] | Salinity Instruments | [6 empty] | Iceland
[6 empty] | Seabird sensors | [6 empty] | India
[6 empty] | YSI sensors | [6 empty] | Indonesia
[6 empty] | other | [6 empty] | Iran (Islamic Republic of)
Iraq
Ireland
Israel
Italy
Jamaica
Japan
Jordan
Kazakhstan
Kenya
Kiribati
Kuwait
Lebanon
Libya
Madagascar
Malaysia
Maldives
Malta
Mauritania
Mauritius
Mexico
Monaco
Montenegro
Morocco
Mozambique
Myanmar
Namibia
Nauru
Netherlands
New Zealand
Nicaragua
Nigeria
Niue
Norway
Oman
Pakistan
Palau
Panama
Papua New Guinea
Peru
Philippines
Poland
Portugal
Qatar
Republic of Korea
Romania
Russian Federation
Saint Kitts and Nevis
Saint Lucia
Saint Vincent and the Grenadines
Samoa
Saudi Arabia
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovenia
Solomon Islands
Somalia
South Africa
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Thailand
Timor-Leste
Togo
Tonga
Trinidad & Tobago
Tunisia
Turkey
Turkmenistan
Tuvalu
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Vanuatu
Venezuela (Bolivarian Republic of)
Viet Nam
Yemen