## Sheet1
Table 11. Calibration data on flowmeters used for a single NORPAC net.
Flowmeter | Wire length |  |  | Revolution
No. | (m) | 1 | 2 | 3 | 4 | 5 | Mean
On July 28, 2001
RG2668 | 100 | 997* | 905* | 922 | 920 | 912 | 918
RG2768 | 100 | 1008* | 1018 | 1026 | 1034* | 1024 | 1023
*omitted for calculation of the mean revolution.