## Cast Log
CTD STATION DATA LOG SHEET
National Marine Fisheries Service, NOAA
Pacific Islands Fisheries Science Center
Honolulu, Hawaii 96822
[7 empty] | raw | mg/L |  | Wind | 080° 22 kts |  | Elaine Stuart
|  |  | Temperature |  | Salinity |  | Fluorometer |  |  | Sea | 5-7 ft |  | Randy Ramey
|  |  | TSG | CTD | TSG | CTD | Ship | CTD |  | Weather | 4/8 Cu, Ac, As
Ship | OES | 0s | 24.8751 | 24.8853 | 35.1332 | 35.1309 | 0.061 | 0.0147 | < i | Bottom Depth (m) | 3450
Cruise # | OS-06-04 | 30s | 24.8754 | 24.8845 | 35.1322 | 35.1311 | 0.059 | 0.0134 |  | Observer | Elaine Stuart
Date | 4/8/2006 | 60s | 24.8666 | 24.8813 | 35.1325 | 35.1312 | 0.06 | 0.0147
Station # | Gardner Island | 90s | 24.8634 | 24.8826 | 35.132 | 35.131 | 0.059 | 0.0159 |  | Time zone | +10
Cast # | OS060401 | 120s | 24.864 | 24.8849 | 35.1337 | 35.1312 | 0.061 | 0.0134 |  | Start Down | 16:05
Lat | 24 08.139 N | 150s | 24.8637 | 24.8818 | 35.1326 | 35.1307 | 0.059 | 0.0159 |  | At Depth | 16:14
Long | 167 40.105 W | 180s | 24.8635 | 24.8824 | 35.1321 | 35.1314 | 0.059 | 0.0122 |  | Start Up | 16:14
[10 empty] | In | 16:34
[10 empty] | Descent Speed | 60m per min
[10 empty] | Ascent Speed | 60m per min
Time (local) | Pressure (dbars) | Temperature (C) |  | Salinity |  | Oxygen |  | Fluorometer SP |  | Bottle | Depth | Macro
16:05 | 3.222 | 24.8822 |  | 35.1312 |  | 4.5494 |  | 0.0134 |  | ----- | Surface | s
16:14 | 500.61 | 8.213 |  | 34.0989 |  | 3.0505 |  | 0.0122 |  | ----- | Bottom | b
16:20 | 150.377 | 19.6715 |  | 34.9876 |  | 4.2036 |  | 0.0269 |  | 1 | 150 | 1
16:21 | 125.381 | 21.1148 |  | 35.1178 |  | 4.2486 |  | 0.0562 |  | 2 | 125 | 2
16:22 | 100.274 | 22.3468 |  | 35.165 |  | 4.3365 |  | 0.1221 |  | 3 | 100 | 3
16:23 | 80.456 | 23.5246 |  | 35.2422 |  | 4.5315 |  | 0.0391 |  | 4 | 80 | 4
16:25 | 3.874 | 24.8962 |  | 35.1333 |  | 4.5487 |  | 0.0134 |  | 5 | Surface | 5
6
7
8
9
10
11
12
e
fish |  | T | cal | C | cal | O2 | cal | fluoro | cal
281 | primary | 2779 | 2005-02-19 | 2326 | 2005-12-06 | 430715 | 2004-09-21 | Sp 2227 | 2005-03-01
2004-12-10 | secondary | 975 | 2005-04-21 | 652 | 2005-05-17 | 430593 | 2005-12-16
Comment: | Secondary conductivity sensor (2326) not giving a salinity reading. Attempted swapping out the secondary T-C sensors with no improvement in salinity data. Also tried swapping out the conductivity cable with the same results. Decided to do the cast anyway and troubleshoot the problem after.

## Description
This version of the cast log is All Purpose
The cast log is designed for up to 12 bottles to be fired.
Enter Bottle Depth as necessary
Bottle data is only tied to Macro Number, not Bottle Depth
Latitude and Longitude are filled in from SCS only when the macro S is
executed.
ASCII Out must be turned on in Seasave outputting only the following data:
Column #0 | descent rate [m/s] | Dec. Digits | 3
Column #1 | pressure [db] | Dec. Digits | 3
Column #2 | temprature, pri, ITS-90 [deg C] | Dec. Digits | 3
Column #3 | salinity, PSS-78 [PSU], pri T, pri C | Dec. Digits | 2
Column #4 | oxygen, SBE [ml/l] | Dec. Digits | 3
Column #5 | fluorometer, seapoint [ug/l] | Dec. Digits | 3