## Cast Log
CTD STATION DATA LOG SHEET
National Marine Fisheries Service, NOAA
Pacific Islands Fisheries Science Center
Honolulu, Hawaii 96822
[7 empty] | raw | mg/L |  | Wind | 120° 17 kts |  | Elaine Stuart
|  |  | Temperature |  | Salinity |  | Fluorometer |  |  | Sea | 3-5 ft |  | Randy Ramey
|  |  | TSG | CTD | TSG | CTD | Ship | CTD |  | Weather | 4/8 Cu
Ship | OES | 0s | 23.5995 | 23.5705 | 35.3077 | 35.2372 | 0.064 | 0.022 | < i | Bottom Depth (m) | 2856
Cruise # | OS-06-04 | 30s | 23.5981 | 23.5687 | 35.3085 | 35.1757 | 0.061 | 0.0208 |  | Observer | Elaine Stuart
Date | 4/12/2006 | 60s | 23.5971 | 23.559 | 35.309 | 34.9248 | 0.062 | 0.022
Station # | Lisianski Island | 90s | 23.5943 | 23.5871 | 35.308 | 35.1901 | 0.061 | 0.0183 |  | Time zone | +10
Cast # | OS060403 | 120s | 23.5973 | 23.573 | 35.3074 | 34.9424 | 0.062 | 0.0208 |  | Start Down | 01:30
Lat | 25 49.865 N | 150s | 23.5983 | 23.5718 | 35.3082 | 35.2375 | 0.064 | 0.0195 |  | At Depth | 01:39
Long | 173 40.108 W | 180s | 23.6055 | 23.5713 | 35.3062 | 35.2979 | 0.064 | 0.0208 |  | Start Up | 01:39
[10 empty] | In | 01:56
[10 empty] | Descent Speed | 60m per min
[10 empty] | Ascent Speed | 60m per min
Time (local) | Pressure (dbars) | Temperature (C) |  | Salinity |  | Oxygen |  | Fluorometer SP |  | Bottle | Depth | Macro
01:30 | 1.54 | 23.5678 |  | 35.3009 |  | 3.3112 |  | 0.0183 |  | ----- | Surface | s
01:39 | 500.448 | 9.4137 |  | 38.6119 |  | 2.9693 |  | 0.0134 |  | ----- | Bottom | b
01:45 | 150.583 | 19.7709 |  | 34.3464 |  | 2.6348 |  | 0.0464 |  | 1 | no sample | 1
01:46 | 125.721 | 22.1349 |  | 34.6891 |  | 2.8774 |  | 0.0769 |  | 2 | 125 | 2
01:48 | 99.182 | 21.7071 |  | 34.6761 |  | 2.6118 |  | 0.044 |  | 3 | no sample | 3
01:48 | 80.92 | 21.861 |  | 34.7132 |  | 2.7705 |  | 0.0317 |  | 4 | 80 | 4
01:50 | 2.312 | 23.5594 |  | 35.2459 |  | 2.9476 |  | 0.0208 |  | 5 | Surface | 5
6
7
8
9
10
11
12
e
fish |  | T | cal | C | cal | O2 | cal | fluoro | cal
2740 | primary | 2779 | 2005-02-19 | 2326 | 2005-12-06 | 430715 | 2004-09-21 | Sp 2227 | 2005-03-01
2006-01-04 | secondary | 975 | 2005-04-21 | 652 | 2005-05-17 | 430593 | 2005-12-16
Comment: | The Fish was changed out to serial number 2740. Primary sensors not giving good data because of voltage problems. Secondary sensors are reading a little high as is the Fish. Bottles 1 and 3 fired but did not close because of snagging on bottom wingnut in the process of closing.

## Description
This version of the cast log is All Purpose
The cast log is designed for up to 12 bottles to be fired.
Enter Bottle Depth as necessary
Bottle data is only tied to Macro Number, not Bottle Depth
Latitude and Longitude are filled in from SCS only when the macro S is
executed.
ASCII Out must be turned on in Seasave outputting only the following data:
Column #0 | descent rate [m/s] | Dec. Digits | 3
Column #1 | pressure [db] | Dec. Digits | 3
Column #2 | temprature, pri, ITS-90 [deg C] | Dec. Digits | 3
Column #3 | salinity, PSS-78 [PSU], pri T, pri C | Dec. Digits | 2
Column #4 | oxygen, SBE [ml/l] | Dec. Digits | 3
Column #5 | fluorometer, seapoint [ug/l] | Dec. Digits | 3