## Cast Log
CTD STATION DATA LOG SHEET
National Marine Fisheries Service, NOAA
Pacific Islands Fisheries Science Center
Honolulu, Hawaii 96822
[7 empty] | raw | mg/L |  | Wind | 120° 16 kts |  | Elaine Stuart
|  |  | Temperature |  | Salinity |  | Fluorometer |  |  | Sea | 4-6 ft |  | Randy Ramey
|  |  | TSG | CTD | TSG | CTD | Ship | CTD |  | Weather | 6/8 Cu, Ac, As
Ship | OES | 0s | 23.8807 | 23.8669 | 35.2643 | 35.2049 | 0.062 | 0.0195 | < i | Bottom Depth (m) | 3538
Cruise # | OS-06-04 | 30s | 23.8773 | 23.868 | 35.2643 | 35.1619 | 0.061 | 0.022 |  | Observer | Elaine Stuart
Date | 4/13/2006 | 60s | 23.8766 | 23.8694 | 35.2641 | 35.1681 | 0.061 | 0.0183
Station # | Laysan Island | 90s | 23.8784 | 23.8754 | 35.2648 | 35.2328 | 0.064 | 0.022 |  | Time zone | +10
Cast # | OS060404 | 120s | 23.8782 | 23.8745 | 35.2646 | 35.1877 | 0.063 | 0.0208 |  | Start Down | 02:03
Lat | 25 34.146 N | 150s | 23.877 | 23.8716 | 35.2638 | 35.1507 | 0.061 | 0.0183 |  | At Depth | 02:11
Long | 171 32.088 W | 180s | 23.88 | 23.8868 | 35.2643 | 35.1268 | 0.061 | 0.0195 |  | Start Up | 02:11
[10 empty] | In | 02:30
[10 empty] | Descent Speed | 60m per min
[10 empty] | Ascent Speed | 60m per min
Time (local) | Pressure (dbars) | Temperature (C) |  | Salinity |  | Oxygen |  | Fluorometer SP |  | Bottle | Depth | Macro
02:03 | 2.391 | 23.8682 |  | 35.0963 |  | 4.4934 |  | 0.0208 |  | ----- | Surface | s
02:11 | 500.48 | 9.1238 |  | 34.387 |  | 3.9621 |  | 0.0147 |  | ----- | Bottom | b
02:18 | 150.606 | 17.703 |  | 33.7714 |  | 4.2717 |  | 0.0244 |  | 1 | 150 | 1
02:19 | 124.575 | 17.519 |  | 34.2079 |  | 4.3581 |  | 0.0611 |  | 2 | 125 | 2
02:20 | 100.226 | 18.2944 |  | 34.7824 |  | 4.9894 |  | 0.0452 |  | 3 | 100 | 3
02:22 | 79.285 | 18.7607 |  | 33.6379 |  | 5.007 |  | 0.0379 |  | 4 | 80 | 4
02:24 | 3 | 23.4511 |  | 34.5926 |  | 4.5415 |  | 0.0208 |  | 5 | Surface | 5
6
7
8
9
10
11
12
e
fish |  | T | cal | C | cal | O2 | cal | fluoro | cal
2740 | primary | 2779 | 2005-02-19 | 2326 | 2005-12-06 | 430715 | 2004-09-21 | Sp 2227 | 2005-03-01
2006-01-04 | secondary | 975 | 2005-04-21 | 652 | 2005-05-17 | 430593 | 2005-12-16
Comment: | The primary and secondary cables were switched for troubleshooting of data channels. Primary salinity data giving questionable readings on the upcast.

## Description
This version of the cast log is All Purpose
The cast log is designed for up to 12 bottles to be fired.
Enter Bottle Depth as necessary
Bottle data is only tied to Macro Number, not Bottle Depth
Latitude and Longitude are filled in from SCS only when the macro S is
executed.
ASCII Out must be turned on in Seasave outputting only the following data:
Column #0 | descent rate [m/s] | Dec. Digits | 3
Column #1 | pressure [db] | Dec. Digits | 3
Column #2 | temprature, pri, ITS-90 [deg C] | Dec. Digits | 3
Column #3 | salinity, PSS-78 [PSU], pri T, pri C | Dec. Digits | 2
Column #4 | oxygen, SBE [ml/l] | Dec. Digits | 3
Column #5 | fluorometer, seapoint [ug/l] | Dec. Digits | 3