Daily Report:  Tracking the Plume of Dispersed Oil using Particle Size Distribution Measurements and Fluorescence Intensity Ratios

July 5, 2010

Water samples were collected at three stations for particle size distribution measurements using the LISST-100X particle counter.  A total of 55 LISST samples were analyzed, including duplicates.  Samples at depths of elevated fluorescence were selected from the CTD trace for fluorescence intensity ratio measurements and analyzed using a Quantech Life Sciences fixed wavelength fluorometer.

Figure 1 presents the small droplet (∑ 2.5 - 60µm) particle size data and fluorescence intensity ratios for stations BM112 through BM114.  The station locations were:

BM112: Lat= 28.74139  Long= -88.346389

BM113: Lat= 28.7458  Long=  -88.34775

BM114: Lat= 28.701694  Long= -88.336973

Slightly elevated concentrations of small particles were detected in the deep water (approx. 1160 – 1200m) at Stations BM112 through BM113, where the in situ CTD fluorometer detected a weak subsurface plume. The plume was not evident at Station BM114 in either the CTD trace or small particle concentrations. Elevated concentrations of small particles were detected in the surface sample (0.5 m) at Station BM114.

The results of fluorescence intensity ratios showed that low ratios were observed in both the near surface waters (3m or less) and in the deeper water samples.  Slightly elevated intensity ratios were observed in the surface water samples at Station BM113.

Sample

99

12

11

10

09

06

05

03

02

01

Depth

0.5m

2m

300m

499m

1099m

1167m

1174m

1259m

1300m

1538m

Intensity Ratio

Sample

99

12

11

10

09

08

06

05

04

02

01

Depth

0.5m

3m

50m

300m

500m

999m

1199m

1222m

1239m

1269m

1527m

Intensity Ratio

Sample

99

09

08

07

06

04

02

01

Depth

0.5m

50m

299m

500m

999m

1249m

1449m

1468m

Intensity Ratio

Figure 1: Average small particle concentrations and fluorescence intensity ratios as a function of depth for stations BM112 to BM114.