Daily Report:  Tracking the Plume of Dispersed Oil using Particle Size Distribution Measurements and Fluorescence Intensity Ratios

July 12, 2010

Water samples were collected at three stations for particle size distribution measurements using the LISST-100X particle counter.  A total of 57 LISST samples were analyzed, including duplicates.  Samples at depths of elevated fluorescence were selected from the CTD trace for fluorescence intensity ratio measurements and analyzed using a Quantech Life Sciences fixed wavelength fluorometer.

Figure 1 presents the small droplet (∑ 2.5 - 60µm) particle size data and fluorescence intensity ratios for stations BM123 through BM125.  The station locations were:

BM123: Lat= 28.7128366  	Long= -88.3756885	(3km South West of the well head)

BM124: Lat= 28.708525 	Long= -88.3772833	(3.5km South West of the well head)

BM125: Lat= 28.704225 	Long= -88.378725	(4km South West of the well head)

The LISST data did show an increase in small particles at 1139m depth in station BM125 which correlates with the CTD in situ fluorometer. Elevated concentrations of small particles were detected in the 0.5m surface sample on Station BM123 through BM125.

The results of fluorescence intensity ratios showed that low ratios were observed in both the near surface waters (3m or less) and in the deeper water samples.

Sample

99

12

11

10

09

07

05

04

02

01

Depth

0.5m

3m

50m

300m

499m

1109m

1149m

1189m

1209m

1583m

Intensity Ratio

Sample

99

12

11

10

09

07

06

03

02

01

Depth

0.5m

2m

50m

500m

990m

1034m

1139m

1179m

1219m

1589m

Intensity Ratio

Sample

99

12

11

10

09

07

05

03

02

01

Depth

0.5m

2m

50m

500m

979m

1049m

1139m

1179m

1209m

1594m

Intensity Ratio

Figure 1: Average small particle concentrations and fluorescence intensity ratios as a function of depth for stations BM123 to BM125.