Daily Report:  Tracking the Plume of Dispersed Oil using Particle Size Distribution Measurements and Fluorescence Intensity Ratios

July 13, 2010

Water samples were collected at three stations for particle size distribution measurements using the LISST-100X particle counter.  A total of 64 LISST samples were analyzed, including duplicates.  Samples at depths of elevated fluorescence were selected from the CTD trace for fluorescence intensity ratio measurements and analyzed using a Quantech Life Sciences fixed wavelength fluorometer.

Figure 1 presents the small droplet (∑ 2.5 - 60µm) particle size data and fluorescence intensity ratios for stations BM126, BM127, BM129, and BM130.  The station locations were:

BM126: Lat= 28.6954966	Long= -88.3818616

BM127: Lat= 28.70000  	Long= -88.441492

BM129: Lat= 28.70507 	Long= -88.3825

BM130: Lat= 28.7119983 	Long= -88.3717483

Station 128 was skipped because the CTD file for station 126 was saved as 128. We had to leave station 126 shortly after starting the cast because a seismic survey was being conducted by another vessel. After station 127 we returned to 126 to take samples. The LISST data did show a slight increase in small particles at 1100m to 1300m depth in stations BM126, BM129, and BM130. This correlates with the CTD in situ fluorometer. Elevated concentrations of small particles were detected in the 0.5m, 2m, and 50m samples on Station BM126 through BM130.

The results of fluorescence intensity ratios showed that low ratios were observed in both the near surface waters (3m or less) and in the deeper water samples.

Sample

99

12

11

10

08

06

04

02

01

Depth

0.5m

3m

51m

500m

1079m

1110m

1144m

1159m

1597m

Intensity Ratio

Sample

99

07

06

05

04

03

02

01

Depth

0.5m

2m

50m

100m

500m

999m

1198m

1302m

Intensity Ratio

Sample

99

11

10

09

08

07

06

05

01

Depth

0.5m

2m

50m

500m

1000m

1122m

1146m

1249m

1589m

Intensity Ratio

Sample

99

11

10

08

07

05

03

02

01

Depth

0.5m

2m

51m

500m

1099m

1145m

1174m

1204m

1583m

Intensity Ratio

Figure 1: Average small particle concentrations and fluorescence intensity ratios as a function of depth for stations BM126 to BM130.