27 July 2010 R/V Ferrel Status Report, Cruise 3 – Day 2

Complied by Tony Parkin, Chief Scientist

1.)	Site Conditions, Daily Activities and Sampling Locations

At 0430 the Ferrel was asked to move five miles to the east from the proposed first sampling location due to one of the seismic vessels working around the well head need turning room and the Ferrel was in the way. We were set up to commence sampling on the new position and a CTD cast and water samples were collected. Some of the water samples collected were far too warm to have come from 1000 meters beneath the surface and it was discovered that some of the Niskin bottles were not firing which would normally eject the potable water that they filled with prior to deployment. The LBNL lab and Test America were alerted about this to test the conductivity of the samples collected on the previous cruise to ensure that seawater was sampled and that the Niskins had in fact fired and collected a sample. A second caste was conducted with the Niskin bottles being deployed open but not all of the bottles fired and so samples were collected for chemical analysis only due to the limited volume of samples collected. A third caste was conducted at the same location and samples were collected for microbiological analysis.

The results of the CTD cast are:

| Station | Position from wellhead | Fluorescence signal | Signal depth | Comment |
| --- | --- | --- | --- | --- |
| BP-TN05-SS08 | 15 miles SE | None seen | N/A | Weak DO dip (2 mg/L detected at 1015m No samples collected |
| BP-TN05-SS07 | 15 miles SE | Very weak signal | 1020m | Weak DO dip as above, samples collected for chemical analysis only |
| BP-TN05-SS09 | 15 miles SE | Very weak signal | 1017m | Weak DO dip as above, samples collected for microbiological analysis only |

2.)	Air Quality

The Industrial Hygienist conducted air monitoring measurements analyzing for CO, H2S, LEL, O2 and VOC’s. Samples were collected in the work area during sample collection and hourly throughout the day. Data collected showed no air quality concerns.

3.)	Science Crew

| Name | First Name | Affiliation | Role |
| --- | --- | --- | --- |
| Weber | Zach | CTEH | Assistant Scientist |
| Parkin | Tony | EM&A | Chief Scientist |
| Weiand | Corey | Entrix | Water Sampler |
| Pelling | Ray | Entrix | Water Sampler |
| Smith | Craig | C&C | Party Chief Team |
| Daigle | Brad | C&C | Oceanography Team |
| Burke | Emily | C&C | Oceanography Team |
| Fortney | Julien | LBNL | Microbiologist |
| Pecino | Yvette | LBNL | Microbiologist |
| Summers | Kaitlyn | NOAA | Data Manager |
| Saeger | Josh | Bureau Veritas | IH |
| Pendleton | Marcia | Univ of S. Miss | Microbiologist |