Site Equipment Failure Report (SEFR)

- One report per instrument.

- Complete heading information.

- Description of Fault:  Enter a description of the fault.  Be very descriptive and detailed.  Note lights, voltages, resistances, test results, data, etc

- Trouble Shooting Undertaken:  Enter any trouble shooting undertaken.  Please note, if an instrument has been disassembled for troubleshooting or repair.

- Suggestions:  Enter any suggestions for making the instrument perform better offshore.

- EFR No.:  This is for the Tech Shop to enter.  Do not enter a number.

- Attach the completed Report to the faulty equipment.  Use the plastic sleeve to protect the paper.

- Attach a Red Faulty Tag to the faulty equipment.

- The Red tag should include the Technicians name, date, and brief description of the fault.

- If possible, a copy of the SEFR should be included with all paperwork turned in at the debrief with the Project Manager.

- A digital copy of the SEFR is located on the site laptops.

SEFR Contents:

  - Blank SEFR forms

- Red Faulty  Tags

4	Sheets Protectors