## 97 sediment report
Analytical Report
Client: | Arthur D. Little, Inc. |  |  | Service Agreement: | #K9705126
Project: | MMS Shelikof Strait/Cook Inlet |  |  | Date Collected: | 7/9- 7/16/97
Matrix: | Sediment |  |  | Date Extracted: | 1997-07-28
P450 Reporter Gene Assay
Standard Methods 8070/ ASTM Draft Standard Guide
Assay Dates 8/3-8/18/1997
| Client I.D. | CAS # | B[a]PEq (mg/g dry) | TEQ (ng/g dry)
| Z1F1 | K5126-1 | 1.8709 | 0.11226
| Z2R22 | 2 | 4.3335 | 0.26001
| Z2F1 | 3 | 4.0039 | 0.24023
| Z1R13 | 4 | 6.284 | 0.37704
| Z2R13 | 5 | 1.7617 | 0.1057
| Z2R14 | 6 | 3.7739 | 0.22643
| Z2R1 | 7 | 2.6677 | 0.16006
| Z1R7 | 8 | 2.2468 | 0.13481
| Z0F14 | 9 | 2.9253 | 0.17552
| Z0F1 | 10 | 1.8918 | 0.11351
| Z0F13 | 11 | 1.3224 | 0.079345
| Z1F2 | 12 | 5.1505 | 0.30903
| Z0F8 | 13 | 0.82267 | 0.04936
| Z1R4 | 14 | 1.4215 | 0.085287
| Z0R4 | 15 | 2.5584 | 0.1535
| Z0F2 | 16 | 1.1348 | 0.068086
| Z0F6 | 17 | 1.0629 | 0.063777
| Z0F5 | 18 | 1.4854 | 0.089123
| Z1R8 | 19 | 3.3424 | 0.20054
| Z3R10 | 20 | 5.1233 | 0.3074
| Z3F2 | 21 | 2.1328 | 0.12797
| Z2F2 | 22 | 6.2615 | 0.37569
| Z3F1 | 23 | 4.7282 | 0.28369
| Z3R20 | 24 | 4.3498 | 0.26099
| Z3R11 | 25 | 2.2349 | 0.1341
| Z3R08 | 26 | 5.4845 | 0.32907
| Z3R14 | 27 | 6.172 | 0.37032

## 97 sediment info
SEDIMENT EXTRACT SAMPLES
Extracts received 7/30/97
Client I.D. | CAS # | Sample Wt (g) | % Solids | Dry Wt (g) | Final Extract Vol (mL)
Z1F1 | K5126-1 | 40.42 | 53.9 | 21.7864 | 1
Z2R22 | 2 | 40.58 | 41.2 | 16.719 | 1
Z2F1 | 3 | 40.7 | 42.6 | 17.3382 | 1
Z1R13 | 4 | 40.75 | 36.5 | 14.8737 | 1
Z2R13 | 5 | 40.69 | 55.6 | 22.6236 | 1
Z2R14 | 6 | 40.63 | 43.4 | 17.6334 | 1
Z2R1 | 7 | 40.47 | 40 | 16.188 | 1
Z1R7 | 8 | 40.46 | 56.4 | 22.8194 | 1
Z0F14 | 9 | 40.91 | 44.3 | 18.1231 | 1
Z0F1 | 10 | 40.5 | 46.2 | 18.711 | 1
Z0F13 | 11 | 40.39 | 56.5 | 22.8204 | 1
Z1F2 | 12 | 40.49 | 43.8 | 17.7346 | 1
Z0F8 | 13 | 40.65 | 62 | 25.203 | 1
Z1R4 | 14 | 40.21 | 50.8 | 20.4267 | 1
Z0R4 | 15 | 40.27 | 59 | 23.7593 | 1
Z0F2 | 16 | 40.52 | 59.5 | 24.1094 | 1
Z0F6 | 17 | 40.73 | 62.2 | 25.3341 | 1
Z0F5 | 18 | 40.93 | 57 | 23.3301 | 1
Z1R8 | 19 | 40.61 | 47 | 19.0867 | 1
Z3R10 | 20 | 40.81 | 39.1 | 15.9567 | 1
Z3F2 | 21 | 40.88 | 38.4 | 15.6979 | 1
Z2F2 | 22 | 40.68 | 38 | 15.4584 | 1
Z3F1 | 23 | 40.41 | 35.1 | 14.1839 | 1
Z3R20 | 24 | 40.96 | 36.6 | 14.9914 | 1
Z3R11 | 25 | 40.1 | 37.3 | 14.9573 | 1
Z3R08 | 26 | 40.35 | 36.1 | 14.5663 | 1
Z3R14 | 27 | 40.55 | 37.4 | 15.1657 | 1

## 97 sediment data
P450 RGS Analysis of Extracts: MMS Shelikof Strait/Cook Inlet
August 3-4, 1997 |  | P450 RGS Analyses of 1997 Sediments
VOL.
| (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 | 0.108 | 0.085 | 0.082 | 0.091667 | 0.014224 | 15.5175 | 1
TCDD (1 ng/mL) | 2 | 10.615 | 11.012 | 9.308 | 10.3117 | 0.89158 | 8.6463 | 112.0833 | dry wt. | B[a]PEq | TEQ
CAS# | (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | (ug/g) | (ng/g)
K5126-1 | 5 | 1.336 | 1.067 | 0.972 | 1.125 | 0.1888 | 16.7826 | 12.2283 | 21.7864 | 1.8709 | 0.11226
2 | 5 | 2.037 | 2.238 | 1.724 | 1.9997 | 0.25903 | 12.9534 | 21.7355 | 16.719 | 4.3335 | 0.26001
3 | 5 | 1.972 | 2.03 | 1.746 | 1.916 | 0.15005 | 7.8316 | 20.8261 | 17.3382 | 4.0039 | 0.24023
4 | 5 | 2.981 | 2.519 | 2.239 | 2.5797 | 0.3747 | 14.5252 | 28.0399 | 14.8737 | 6.284 | 0.37704
5 | 5 | 1.063 | 1.109 | 1.128 | 1.1 | 0.033422 | 3.0383 | 11.9565 | 22.6236 | 1.7617 | 0.1057
6 | 5 | 1.436 | 2.105 | 1.969 | 1.8367 | 0.35359 | 19.2516 | 19.9638 | 17.6334 | 3.7739 | 0.22643
August 4-5, 1997
VOL.
| (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 | 0.13 | 0.114 | 0.093 | 0.11233 | 0.018556 | 16.5189 | 1
TCDD (1 ng/mL) | 2 | 11.765 | 13.796 | 13.089 | 12.8833 | 1.031 | 8.0026 | 115.0298 | dry wt. | B[a]PEq | TEQ
CAS# | (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | (ug/g) | (ng/g)
K5126-7 | 5 | 1.48 | 1.612 | 1.261 | 1.451 | 0.17729 | 12.2183 | 12.9554 | 16.188 | 2.6677 | 0.16006
8 | 5 | 1.941 | 1.54 | 1.687 | 1.7227 | 0.20287 | 11.7762 | 15.381 | 22.8194 | 2.2468 | 0.13481
9 | 5 | 1.724 | 1.81 | 1.81 | 1.7813 | 0.049652 | 2.7874 | 15.9048 | 18.1231 | 2.9253 | 0.17552
10 | 5 | 1.332 | 1.302 | 0.934 | 1.1893 | 0.22163 | 18.6351 | 10.619 | 18.711 | 1.8918 | 0.11351
August 14-15, 1997
VOL.
| (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 | 0.125 | 0.111 | 0.083 | 0.10633 | 0.021385 | 20.1116 | 1
TCDD (1 ng/mL) | 2 | 8.463 | 9.281 | 9.359 | 9.0343 | 0.49632 | 5.4938 | 85.2296 | dry wt. | B[a]PEq | TEQ
CAS# | (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | (ug/g) | (ng/g)
K5126-11 | 5 | 0.954 | 0.907 | 1.018 | 0.95967 | 0.055717 | 5.8058 | 9.0535 | 22.8204 | 1.3224 | 0.079345
12 | 5 | 3.05 | 3.142 | 2.522 | 2.9047 | 0.33458 | 11.5186 | 27.4025 | 17.7346 | 5.1505 | 0.30903
13 | 5 | 0.576 | 0.784 | 0.618 | 0.65933 | 0.10999 | 16.6817 | 6.2201 | 25.203 | 0.82267 | 0.04936
14 | 5 | 1.031 | 0.909 | 0.83 | 0.92333 | 0.10126 | 10.9672 | 8.7107 | 20.4267 | 1.4215 | 0.085287
15 | 5 | 1.906 | 1.992 | 1.901 | 1.933 | 0.051157 | 2.6465 | 18.2358 | 23.7593 | 2.5584 | 0.1535
16 | 5 | 0.899 | 1.011 | 0.7 | 0.87 | 0.15752 | 18.1052 | 8.2075 | 24.1094 | 1.1348 | 0.068086
17 | 5 | 0.849 | 0.958 | 0.762 | 0.85633 | 0.098206 | 11.4681 | 8.0786 | 25.3341 | 1.0629 | 0.063777
18 | 5 | 1.258 | 0.942 | 1.106 | 1.102 | 0.15804 | 14.341 | 10.3962 | 23.3301 | 1.4854 | 0.089123
19 | 5 | 2.195 | 2.067 | 1.824 | 2.0287 | 0.18845 | 9.2892 | 19.1384 | 19.0867 | 3.3424 | 0.20054
20 | 5 | 3.097 | 2.41 | 2.292 | 2.5997 | 0.43473 | 16.7224 | 24.5252 | 15.9567 | 5.1233 | 0.3074
21 | 5 | 1.258 | 0.874 | 1.062 | 1.0647 | 0.19201 | 18.0351 | 10.044 | 15.6979 | 2.1328 | 0.12797
22 | 5 | 3.012 | 3.057 | 3.165 | 3.078 | 0.078632 | 2.5546 | 29.0377 | 15.4584 | 6.2615 | 0.37569
23 | 5 | 2.46 | 2.025 | 1.913 | 2.1327 | 0.28896 | 13.5491 | 20.1195 | 14.1839 | 4.7282 | 0.28369
24 | 5 | 1.934 | 2.32 | 1.967 | 2.0737 | 0.21397 | 10.3183 | 19.5629 | 14.9914 | 4.3498 | 0.26099
August 17-18, 1997
VOL.
| (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 | 0.084 | 0.072 | 0.053 | 0.069667 | 0.015631 | 22.4371 | 1
TCDD (1 ng/mL) | 2 | 8.932 | 9.459 | 8.27 | 8.887 | 0.59578 | 6.7039 | 126.9571 | dry wt. | B[a]PEq | TEQ
CAS# | (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | (ug/g) | (ng/g)
K5126-25 | 5 | 0.598 | 0.77 | 0.738 | 0.702 | 0.091477 | 13.0309 | 10.0286 | 14.9573 | 2.2349 | 0.1341
26 | 5 | 1.943 | 1.713 | 1.377 | 1.6777 | 0.28465 | 16.967 | 23.9667 | 14.5663 | 5.4845 | 0.32907
27 | 5 | 1.976 | 2.264 | 1.657 | 1.9657 | 0.30363 | 15.4468 | 28.081 | 15.1657 | 6.172 | 0.37032
August 17-18, 1997
6 HR | VOL.
| (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 | 0.13 | 0.124 | 0.1 | 0.118 | 0.015875 | 13.453 | 1
TCDD (1 ng/mL) | 2 | 4.968 | 5.529 | 5.766 | 5.421 | 0.40982 | 7.5598 | 45.9407 | dry wt. | B[a]PEq | TEQ
CAS# | (uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | (ug/g) | (ng/g)
K5126-25 | 5 | 4.519 | 5.004 | 4.165 | 4.5627 | 0.4212 | 9.2315 | 38.6667 | 14.9573 | 8.6171 | 0.51703

## 97 tissue report
Analytical Report
Client: | Arthur D. Little Company |  |  | Service Agreement: | #K9706082
Project: | MMS Shelikof Strait/Cook Inlet |  |  | Date Collected: | 7/13-16/97
Matrix: | DCM Extracts of Tissue |  |  | Date Extracted: | 1997-09-13
P450 Reporter Gene Assay
Standard Methods 8070/ ASTM Standard Guide E1853-96
Assay Dates 9/28-29, 10/16-17/1997
|  |  | B[a]PEq | TEQ
| Client I.D. | CAS # | (mg/g lipid) | (ng/g lipid)
| 97-2-14-01-00-RGS-T-H4 | K6082-1 | 1.5635 | 0.093809
| 97-2-14-01-00-RGS-T-H3 | 2 | <1.6 | <0.10
| 97-2-14-01-00-RGS-T-H2 | 3 | <1.8 | <0.11
| 97-3-01-01-00-RGS-T-H1 | 4 | <1.0 | <0.06
| 97-3-01-01-00-RGS-T-BC | 5 | 0.90989 | 0.054594
| 97-2-14-01-00-RGS-T-H1 | 6 | 0.96893 | 0.058136
| 97-2-14-01-00-RGS-T-AF1 | 7 | <1.8 | <0.10
| 97-0-F7-01-00-RGS-T-H5 | 8 | <0.6 | <0.04
| 97-0-F7-01-00-RGS-T-H1 | 9 | <0.6 | <0.04
| 97-0-F7-01-00-RGS-T-H2 | 10 | <0.6 | <0.04
| 97-0-F7-01-00-RGS-T-H3 | 11 | <0.8 | <0.05
| 97-0-F7-01-00-RGS-T-H6 | 12 | <0.7 | <0.04
| 97-0-F7-01-00-RGS-T-H4 | 13 | <0.8 | <0.05

## 97 tissue info
Extracts received 9/16/97 |  | FISH TISSUE SAMPLES
Client I.D. | CAS # | Sample Wt (g) | % Lipids | Lipid Wt (g) | Final Extract Vol (mL)*
97-2-14-01-00-RGS-T-H4 | K6082-1 | 18.45 | 12 | 2.214 | 2
97-2-14-01-00-RGS-T-H3 | 2 | 20.63 | 10 | 2.063 | 2
97-2-14-01-00-RGS-T-H2 | 3 | 20.57 | 9 | 1.8513 | 2
97-3-01-01-00-RGS-T-H1 | 4 | 20.41 | 16 | 3.2656 | 2
97-3-01-01-00-RGS-T-BC | 5 | 11.24 | 37 | 4.1588 | 2
97-2-14-01-00-RGS-T-H1 | 6 | 20.69 | 16 | 3.3104 | 2
97-2-14-01-00-RGS-T-AF1 | 7 | 12.71 | 15 | 1.9065 | 2
97-0-F7-01-00-RGS-T-H5 | 8 | 20.49 | 26 | 5.3274 | 2
97-0-F7-01-00-RGS-T-H1 | 9 | 20.83 | 25 | 5.2075 | 2
97-0-F7-01-00-RGS-T-H2 | 10 | 20.43 | 26 | 5.3118 | 2
97-0-F7-01-00-RGS-T-H3 | 11 | 20.26 | 21 | 4.2546 | 2
97-0-F7-01-00-RGS-T-H6 | 12 | 20.11 | 24 | 4.8264 | 2
97-0-F7-01-00-RGS-T-H4 | 13 | 20.12 | 22 | 4.4264 | 2
*Final Volume calculated as 2 mL after GPC lipid cleanup at CAS/Kelso
Note: CAS/Kelso described samples as very watery, hard to cleanup lipids

## 97 tissue data
P450 RGS Analysis of 1997 Tissue Extracts: MMS Shelikof Strait/Cook Inlet
September 28-29, 1997
| Vol(uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | % CV | FOLD
DCM | 10 | 0.101 | 0.107 | 0.104 | 0.104 | 0.003 | 2.8846 | 1 |  |  |  | lipid
TCDD (1 ng/mL) | 2 | 9.881 | 10.316 | 10.732 | 10.3097 | 0.42554 | 4.1275 | 99.1314 | wet wt. | Final Vol | lipid wt. | B[a]PEQ | TEQ
CAS# | Vol(uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | % CV | FOLD | (g) | (mL) | (g) | (ug/g) | (ng/g)
K6082-1 | 10 | 0.124 | 0.102 | 0.098 | 0.108 | 0.014 | 12.963 | 1.0385 | 18.45 | 2 | 2.214 | 1.5635 | 0.093809
2 | 10 | 0.059 | 0.075 | 0.057 | 0.063667 | 0.0098658 | 15.496 | 0.61218 | 20.63 | 2 | 2.063 | <1.6 | <0.10
3 | 10 | 0.043 | 0.047 | 0.035 | 0.041667 | 0.0061101 | 14.6642 | 0.40064 | 20.57 | 2 | 1.8513 | <1.8 | <0.11
October 16-17, 1997
| Vol(uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | % CV | FOLD
DCM | 10 | 0.108 | 0.109 | 0.102 | 0.10633 | 0.0037859 | 3.5604 | 1 |  |  |  | lipid
TCDD (1 ng/mL) | 2 | 10.404 | 11.08 | 11.295 | 10.9263 | 0.46495 | 4.2553 | 103.0786 | wet wt. | Final Vol | lipid wt. | B[a]PEQ | TEQ
CAS# | Vol(uL) | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | % CV | FOLD | (g) | (mL) | (g) | (ug/g) | (ng/g)
K6082-4 | 10 | 0.118 | 0.08 | 0.101 | 0.099667 | 0.019035 | 19.0987 | 0.94025 | 20.41 | 2 | 3.2656 | <1.0 | <0.06
5 | 10 | 0.118 | 0.131 | 0.112 | 0.12033 | 0.0097125 | 8.0714 | 1.1352 | 11.24 | 2 | 4.1588 | 0.90989 | 0.054594
6 | 10 | 0.114 | 0.088 | 0.104 | 0.102 | 0.013115 | 12.8577 | 0.96226 | 20.69 | 2 | 3.3104 | 0.96893 | 0.058136
7 | 10 | 0.046 | 0.056 | 0.048 | 0.05 | 0.0052915 | 10.583 | 0.4717 | 12.71 | 2 | 1.9065 | <1.8 | <0.10
8 | 10 | 0.048 | 0.037 | 0.042 | 0.042333 | 0.0055076 | 13.01 | 0.39937 | 20.49 | 2 | 5.3274 | <0.6 | <0.04
9 | 10 | 0.059 | 0.067 | 0.057 | 0.061 | 0.0052915 | 8.6746 | 0.57547 | 20.83 | 2 | 5.2075 | <0.6 | <0.04
10 | 10 | 0.059 | 0.063 | 0.047 | 0.056333 | 0.0083267 | 14.7811 | 0.53145 | 20.43 | 2 | 5.3118 | <0.6 | <0.04
11 | 10 | 0.043 | 0.046 | 0.039 | 0.042667 | 0.0035119 | 8.231 | 0.40252 | 20.26 | 2 | 4.2546 | <0.8 | <0.05
12 | 10 | 0.051 | 0.056 | 0.059 | 0.055333 | 0.0040415 | 7.3038 | 0.52201 | 20.11 | 2 | 4.8264 | <0.7 | <0.04
13 | 10 | 0.04 | 0.055 | 0.043 | 0.046 | 0.0079373 | 17.2549 | 0.43396 | 20.12 | 2 | 4.4264 | <0.8 | <0.05

## 98 sediment report
Analytical Report
Client: | Arthur D. Little, Inc. |  |  | Service Agreement: | K9804382
Project: | MMS 1998 |  |  | Date Collected: | 6/28- 7/7/98
Matrix: | Extracts of Sediment |  |  | Date Extracted: | 7/22- 7/23/98
P450 Reporter Gene Assay
Standard Methods 8070/ ASTM Standard Guide E1853-96
Assay Dates 8/3-8/4/1998
Site | Sample I.D. | CAS # | B[a]PEq (mg/g dry) | TEQ (ng/g dry)
Z0F6 | 98-0-F6-01-00-RGS-S | K4382-1 | 0.44256 | 0.026554
Z3R16 | 98-3-R16-01-00-RGS-S | 2 | 3.4111 | 0.20467
Z0F2 | 98-0-F2-01-00-RGS-S | 3 | 1.1376 | 0.068259
Z0F5 | 98-0-F5-01-00-RGS-S | 4 | 0.9927 | 0.059562
Z2F3 | 98-2-F3-01-00-RGS-S | 5 | 2.3384 | 0.1403
Z4F2 | 98-4-F21- 00- 450-S | 6 | 3.418 | 0.20508
Z4F1 | 98-4-F1-01-00-RGS-S | 7 | 3.0267 | 0.1816
Z0F4 | 98-0-F4-01-00-RGS-S | 8 | 2.3608 | 0.14165
Z1F2 | 98-1-F2-01-00-RGS-S | 9 | 2.6971 | 0.16183
Z0F13 | 98-0-F13-01-00-RGS-S | 10 | 1.3342 | 0.080049
Z1R21 | 98-1-21-01-00-RGS-S | 11 | 1.369 | 0.082141
Z3F2 | 98-3-F2-01-00-RGS-S | 12 | 2.4769 | 0.14861
Z1R16 | 98-1-16-01-00-RGS-S | 13 | 2.4736 | 0.14841
Z0F8 | 98-0-F8-01-00-RGS-S | 14 | 0.56788 | 0.034073
Z3R7 | 98-03-07-01-00-450-S | 15 | 3.8171 | 0.22903
Z3R18 | 98-3-R18-01-00-RGS-S | 16 | 2.6827 | 0.16096
Z2F2 | 98-2-F2-01-00-RGS-S | 17 | 2.7591 | 0.16554
Z3F1 | 98-3-F1-01-00-RGS-S | 18 | 2.811 | 0.16866
Z2R16 | 98-2-16-01-00-RGS-S | 19 | 2.1284 | 0.12771
Z4F4 | 98-4-F4-01-00-RGS-S | 20 | 3.0486 | 0.18292
Z1F1 | 98-1-F1-01-00-RGS-S | 21 | 1.7215 | 0.10329
Z2F1 | 98-2-F1-01-00-RGS-S | 22 | 1.8347 | 0.11008
Z2F4 | 98-2-F4-01-00-RGS-S | 23 | 1.559 | 0.093541
Z2R20 | 98-2-20-01-00-RGS-S | 24 | 2.0104 | 0.12062
Z2R17 | 98-2-17-01-00-RGS-S | 25 | 2.5941 | 0.15565
Z0F14 | 98-0-F14-01-00-RGS-S | 26 | 2.3776 | 0.14265
Z0F1 | 98-0-F1-01-00-RGS-S | 27 | 2.0519 | 0.12311
Z0F2 | 98-0-F2-01-00-RGS-S | 3 Dup | 1.0444 | 0.062666
Z0F8 | 98-0-F8-01-00-RGS-S | 14 Dup | 0.61472 | 0.036883
Z4F4 | 98-4-F4-01-00-RGS-S | 20 Dup | 2.7908 | 0.16745
Z1F1 | 98-1-F1-01-00-RGS-S | 21 Dup | 2.4303 | 0.14582

## 98 sediment data
P450 RGS 1998 Sediment Raw Data
August 3-4, 1998 (batch 1) |  | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 uL | 0.11 | 0.115 | 0.102 | 0.109 | 0.0065574 | 6.016 | 1
Solvent Mix | 5 uL | 0.077 | 0.087 |  | 0.082 | 0.0070711 | 8.6233 | 1
TCDD | 1 ng/mL | 7.851 | 7.742 | 7.82 | 7.8043 | 0.056163 | 0.71964 | 71.5994
Applied 5 uL of extracts, total extract vol. 0.4 mL | [8 empty] | Dry Wt. | B[a]P Eq. | TEQ
Sample # | CAS # | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | ug/g dry | ng/g dry
98-0-F6-01-00-RGS-S | K4382-1 | 0.446 | 0.398 | 0.322 | 0.38867 | 0.062525 | 16.087 | 4.7398 | 14.28 | 0.44256 | 0.026554
98-3-R16-01-00-RGS-S | 2 | 1.999 | 1.912 | 1.586 | 1.8323 | 0.21772 | 11.8822 | 22.3455 | 8.7344 | 3.4111 | 0.20467
98-0-F2-01-00-RGS-S | 3 | 0.995 | 0.897 | 0.852 | 0.91467 | 0.073119 | 7.994 | 11.1545 | 13.0732 | 1.1376 | 0.068259
98-0-F5-01-00-RGS-S | 4 | 0.7 | 0.737 | 0.596 | 0.67767 | 0.073105 | 10.7877 | 8.2642 | 11.1 | 0.9927 | 0.059562
98-2-F3-01-00-RGS-S | 5 | 1.061 | 1.039 | 1.13 | 1.0767 | 0.04748 | 4.4099 | 13.1301 | 7.4868 | 2.3384 | 0.1403
98-4-F21- 00- 450-S | 6 | 1.656 | 1.742 | 1.429 | 1.609 | 0.16171 | 10.0501 | 19.622 | 7.6544 | 3.418 | 0.20508
98-4-F1-01-00-RGS-S | 7 | 1.397 | 1.375 | 1.377 | 1.383 | 0.012166 | 0.87965 | 16.8659 | 7.4298 | 3.0267 | 0.1816
98-0-F4-01-00-RGS-S | 8 | 1.863 | 1.841 | 1.676 | 1.7933 | 0.10221 | 5.6993 | 21.8699 | 12.3519 | 2.3608 | 0.14165
98-1-F2-01-00-RGS-S | 9 | 1.265 | 1.383 | 1.256 | 1.3013 | 0.070868 | 5.4458 | 15.8699 | 7.8453 | 2.6971 | 0.16183
98-0-F13-01-00-RGS-S | 10 | 0.938 | 1.07 | 0.825 | 0.94433 | 0.12262 | 12.9851 | 11.5163 | 11.5092 | 1.3342 | 0.080049
98-1-21-01-00-RGS-S | 11 | 1.057 | 1.235 | 1.049 | 1.1137 | 0.10515 | 9.4421 | 13.5813 | 13.2273 | 1.369 | 0.082141
98-3-F2-01-00-RGS-S | 12 | 1.282 | 1.245 | 1.417 | 1.3147 | 0.090534 | 6.8864 | 16.0325 | 8.6305 | 2.4769 | 0.14861
98-1-16-01-00-RGS-S | 13 | 1.319 | 1.515 | 1.281 | 1.3717 | 0.12558 | 9.155 | 16.7276 | 9.0168 | 2.4736 | 0.14841
98-0-F8-01-00-RGS-S | 14 | 0.509 | 0.508 | 0.45 | 0.489 | 0.033779 | 6.9077 | 5.9634 | 14.0015 | 0.56788 | 0.034073
98-03-07-01-00-450-S | 15 | 1.587 | 1.729 | 1.596 | 1.6373 | 0.079513 | 4.8563 | 19.9675 | 6.9747 | 3.8171 | 0.22903
98-0-F2-01-00-RGS-S | 3 Dup | 0.809 | 0.887 |  | 0.848 | 0.055154 | 6.504 | 10.3415 | 13.202 | 1.0444 | 0.062666
98-0-F8-01-00-RGS-S | 14 Dup | 0.579 | 0.459 |  | 0.519 | 0.084853 | 16.3493 | 6.3293 | 13.7283 | 0.61472 | 0.036883
Lab Control Spike | 0722-LCS | 1.684 | 1.678 |  | 1.681 | 0.0042426 | 0.25239 | 20.5
Method Blank | 0722-MB | 0.085 |  |  | 0.085 |  |  | 1.0366
P450 RGS 1998 Sediment Raw Data
August 3-4, 1998 (batch 2) |  | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD
DCM | 5 uL | 0.106 | 0.114 | 0.106 | 0.10867 | 0.0046188 | 4.2504 | 1
Solvent Mix | 5 uL | 0.079 | 0.084 |  | 0.0815 | 0.0035355 | 4.3381 | 1
TCDD | 1 ng/mL | 8.109 | 8.258 | 8.459 | 8.2753 | 0.17564 | 2.1225 | 75.9205
Applied 5 uL of extracts, total extract vol. 0.4 mL | [8 empty] | Dry Wt. | B[a]P Eq. | TEQ
Sample # | CAS # | RLU1 | RLU2 | RLU3 | Mean | St.Dev. | CV% | FOLD | (g) | ug/g dry | ng/g dry
98-3-R18-01-00-RGS-S | 16 | 1.279 | 1.396 | 1.123 | 1.266 | 0.13696 | 10.8186 | 15.439 | 7.6734 | 2.6827 | 0.16096
98-2-F2-01-00-RGS-S | 17 | 1.209 | 1.132 | 1.134 | 1.1583 | 0.04389 | 3.7891 | 14.126 | 6.8265 | 2.7591 | 0.16554
98-3-F1-01-00-RGS-S | 18 | 1.329 | 1.365 | 1.391 | 1.3617 | 0.031134 | 2.2865 | 16.6057 | 7.8764 | 2.811 | 0.16866
98-2-16-01-00-RGS-S | 19 | 1.042 | 1.079 | 0.814 | 0.97833 | 0.14351 | 14.6693 | 11.9309 | 7.474 | 2.1284 | 0.12771
98-4-F4-01-00-RGS-S | 20 | 1.337 | 1.539 | 1.41 | 1.4287 | 0.10229 | 7.1595 | 17.4228 | 7.62 | 3.0486 | 0.18292
98-1-F1-01-00-RGS-S | 21 | 1.1 | 1.243 | 0.981 | 1.108 | 0.13118 | 11.8396 | 13.5122 | 10.4652 | 1.7215 | 0.10329
98-2-F1-01-00-RGS-S | 22 | 0.988 | 1.022 | 0.855 | 0.955 | 0.088255 | 9.2414 | 11.6463 | 8.4638 | 1.8347 | 0.11008
98-2-F4-01-00-RGS-S | 23 | 0.558 | 0.669 | 0.598 | 0.60833 | 0.056217 | 9.2411 | 7.4187 | 6.3448 | 1.559 | 0.093541
98-2-20-01-00-RGS-S | 24 | 1.023 | 1.068 | 1.057 | 1.0493 | 0.023459 | 2.2356 | 12.7967 | 8.487 | 2.0104 | 0.12062
98-2-17-01-00-RGS-S | 25 | 1.256 | 1.273 | 1.194 | 1.241 | 0.041581 | 3.3506 | 15.1341 | 7.7787 | 2.5941 | 0.15565
98-0-F14-01-00-RGS-S | 26 | 1.202 | 1.221 | 1.183 | 1.202 | 0.019 | 1.5807 | 14.6585 | 8.2205 | 2.3776 | 0.14265
98-0-F1-01-00-RGS-S | 27 | 1.087 | 1.256 | 1.19 | 1.1777 | 0.085172 | 7.2323 | 14.3618 | 9.3324 | 2.0519 | 0.12311
98-4-F4-01-00-RGS-S | 20 Dup | 1.24 | 1.428 |  | 1.334 | 0.13294 | 9.9652 | 16.2683 | 7.7724 | 2.7908 | 0.16745
98-1-F1-01-00-RGS-S | 21 Dup | 1.472 | 1.641 |  | 1.5565 | 0.1195 | 7.6775 | 18.9817 | 10.4139 | 2.4303 | 0.14582
Lab Control Spike | 0723-LCS | 1.559 | 1.589 |  | 1.574 | 0.021213 | 1.3477 | 19.1951
Method Blank | 0723-MB | 0.129 |  |  | 0.129 |  |  | 1.5732

## 98 QA
QA/QC Results
Lab Control Spike = 17.4 ng dioxin/furan mixture added to 20 g sodium sulfate and
extracted for a final volume of 0.4 mL = 43.5 ng/mL
Applied 5 uL of LCS to 2 mL medium in well = 0.11 ng/mL.
Using EPA TEFs for the 17 analytes in the mixture, this equals a TEQ of 12.5 pg/mL.
Sample | CAS # | Fold
Lab Control Spike | 0722-LCS | 20.5
Lab Control Spike | 0723-LCS | 19.1951
The RGS response to 0722-LCS and 0723-LCS are within 1 standard deviation
of the standard curve below.
Results of testing Method Blanks (20 g sodium sulfate extracted to 0.4 mL)
Applied 5 uL to cells
Fold Induction
Sample | CAS # | Fold | Test Date | (1 ng/mL TCDD)
Method Blank | 0722-MB | 1.0366 | 1998-08-04 | 71.5994
Method Blank | 0723-MB | 1.5732 | 1998-08-04 | 75.9205
|  |  | Mean | 73.7599
|  |  | SD | 3.0555

## 98 sediment info
Extracts of Arthur D. Little, Inc. 1998 Sediment Samples
Extracts received 7/24/98 |  | Extracts in DMSO/Toluene/Isopropyl Alcohol Mix
Client I.D. | CAS # | Sample Wt (g) | % Solids | Dry Wt (g) | Final Extract Vol (mL)
98-0-F6-01-00-RGS-S | K4382-1 | 20 | 71.4 | 14.28 | 0.4
98-3-R16-01-00-RGS-S | 2 | 20.6 | 42.4 | 8.7344 | 0.4
98-0-F2-01-00-RGS-S | 3 | 20.3 | 64.4 | 13.0732 | 0.4
98-0-F5-01-00-RGS-S | 4 | 20 | 55.5 | 11.1 | 0.4
98-2-F3-01-00-RGS-S | 5 | 20.4 | 36.7 | 7.4868 | 0.4
98-4-F21- 00- 450-S | 6 | 20.8 | 36.8 | 7.6544 | 0.4
98-4-F1-01-00-RGS-S | 7 | 20.3 | 36.6 | 7.4298 | 0.4
98-0-F4-01-00-RGS-S | 8 | 20.9 | 59.1 | 12.3519 | 0.4
98-1-F2-01-00-RGS-S | 9 | 20.7 | 37.9 | 7.8453 | 0.4
98-0-F13-01-00-RGS-S | 10 | 20.7 | 55.6 | 11.5092 | 0.4
98-1-21-01-00-RGS-S | 11 | 20.7 | 63.9 | 13.2273 | 0.4
98-3-F2-01-00-RGS-S | 12 | 20.5 | 42.1 | 8.6305 | 0.4
98-1-16-01-00-RGS-S | 13 | 20.4 | 44.2 | 9.0168 | 0.4
98-0-F8-01-00-RGS-S | 14 | 20.5 | 68.3 | 14.0015 | 0.4
98-0-F2-01-00-RGS-S | 3 Dup | 20.5 | 64.4 | 13.202 | 0.4
98-0-F8-01-00-RGS-S | 14 Dup | 20.1 | 68.3 | 13.7283 | 0.4
Lab Control Spike | 0722-LCS | 20.1 | NA | NA | 0.4
Method Blank | 0722-MB | 20.1 | NA | NA | 0.4
Extracts received 7/28/98
Client I.D. | CAS # | Sample Wt (g) | % Solids | Dry Wt (g) | Final Extract Vol (mL)
98-03-07-01-00-450-S | 15 | 20.1 | 34.7 | 6.9747 | 0.4
98-3-R18-01-00-RGS-S | 16 | 20.3 | 37.8 | 7.6734 | 0.4
98-2-F2-01-00-RGS-S | 17 | 20.5 | 33.3 | 6.8265 | 0.4
98-3-F1-01-00-RGS-S | 18 | 20.3 | 38.8 | 7.8764 | 0.4
98-2-16-01-00-RGS-S | 19 | 20.2 | 37 | 7.474 | 0.4
98-4-F4-01-00-RGS-S | 20 | 20 | 38.1 | 7.62 | 0.4
98-1-F1-01-00-RGS-S | 21 | 20.4 | 51.3 | 10.4652 | 0.4
98-2-F1-01-00-RGS-S | 22 | 20.2 | 41.9 | 8.4638 | 0.4
98-2-F4-01-00-RGS-S | 23 | 20.6 | 30.8 | 6.3448 | 0.4
98-2-20-01-00-RGS-S | 24 | 20.5 | 41.4 | 8.487 | 0.4
98-2-17-01-00-RGS-S | 25 | 20.1 | 38.7 | 7.7787 | 0.4
98-0-F14-01-00-RGS-S | 26 | 20.5 | 40.1 | 8.2205 | 0.4
98-0-F1-01-00-RGS-S | 27 | 20.2 | 46.2 | 9.3324 | 0.4
98-4-F4-01-00-RGS-S | 20 Dup | 20.4 | 38.1 | 7.7724 | 0.4
98-1-F1-01-00-RGS-S | 21 Dup | 20.3 | 51.3 | 10.4139 | 0.4
Lab Control Spike | 0723-LCS | 20.4 | NA | NA | 0.4
Method Blank | 0723-MB | 20.5 | NA | NA | 0.4

## 98 tissue report
Analytical Report
Client: Arthur D. Little Co. |  |  |  | Service Agreement: | #K9807031
Project: MMS |  |  |  | Date Collected: | 1998-10-08
Matrix: Extracts of Tissue |  |  |  | Date Extracted: | 1998-11-14
P450 Reporter Gene Assay
Standard Methods 8070/ ASTM Standard Guide E1853-96
Assay Dates 1/8-1/19/99
|  | B[a]PEq | TEQ | B[a]PEq | TEQ
Client I.D. | CAS # | (mg/g lipid) | (ng/g lipid) | (mg/g dry) | (ng/g dry)
98-2-14A-01-00-PHC-T-AF | K7031-1 | 0.79259 | 0.047556 | 0.26971 | 0.016183
98-3-1A-01-00-PHC-T-AF | 2 | 6.5256 | 0.39154 | 0.35776 | 0.021466
98-3-1A-00-PHC-T-S | 3 | < 31.7 | < 1.9 | < 10.4 | < 0.6
98-3-1A-01-00-PHC-T-H | 4 | < 4.3 | < 0.2 | < 1.8 | < 0.1
98-3-1A-01-00-PHC-T-BC | 5 | 0.31854 | 0.019113 | 0.23439 | 0.014063
98-3-1A-01-00-PHC-T-PC | 6 | 0.37006 | 0.022204 | 0.197 | 0.01182
98-1-23A-01-00-PHC-T-S | 7 | < 8.5 | < 0.5 | < 5.3 | < 0.3
98-1-23A-04-00-PHC-T-PC | 8 | < 5.6 | < 0.3 | < 3.5 | < 0.2
98-1-23A-02-00-PHC-T-PC | 9 | < 15.1 | < 0.9 | < 11.9 | < 0.7
98-1-14A-01-00-PHC-T-PC | 10 | < 4.7 | < 0.3 | < 2.9 | < 0.2
98-2-14A-01-00-PHC-T-H | 11 | < 17.3 | < 1.0 | < 5.8 | < 0.3
98-1-23A-01-00-PHC-T-PC | 12 | < 5.4 | < 0.3 | < 3.3 | < 0.2

## 98 tissue figure 2
DLCS
LCS

## 98 tissue data
1998 AD Little Tissue Extracts
January 7-8, 1999
16 hour |  |  | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD
Solvent | DCM | 10 uL | 0.043 | 0.051 | 0.047 | 0.0056569 | 12.0359 | 1
Solv Mix | DMSO mix | 10 uL | 0.05 | 0.047 | 0.0485 | 0.0021213 | 4.3739 | 1
Ref. Tox. | TCDD | 1 ng/mL | 2.974 | 2.862 | 2.918 | 0.079196 | 2.714 | 62.0851 | Lipid | Lipid |  | Dry | Dry
Applied 10 uL | [6 empty] | Lipid Wt. | Final Ext. | B[a]P Eq. | TEQ | Dry Wt. | B[a]P Eq. | TEQ
CAS # | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD | (g) | Vol (mL) | ug/g | ng/g | (g) | ug/g | ng/g
2 | 0.427 | 0.421 | 0.424 | 0.0042426 | 1.0006 | 8.6531 | 0.502 | 0.4 | 11.4914 | 0.68949 | 9.1565 | 0.63001 | 0.037801
3 | 0.056 | 0.043 | 0.0495 | 0.0091924 | 18.5705 | 1.0102 | 4.0996 | 40 | 16.4278 | 0.98567 | 12.486 | 5.3938 | 0.32363
4 | 0.062 | 0.059 | 0.0605 | 0.0021213 | 3.5063 | 1.2347 | 3.2186 | 4 | 2.5574 | 0.15344 | 7.7121 | 1.0673 | 0.064039
5 | 0.013 | 0.02 | 0.0165 | 0.0049497 | 29.9985 | 0.33673 | 4.4383 | 0.4 | nc | nc | 6.0319 | nc | nc
6 | 0.005 | 0.003 | 0.004 | 0.0014142 | 35.3553 | 0.081633 | 4.4105 | 0.4 | nc | nc | 8.2852 | nc | nc
7 | 0.002 | 0.005 | 0.0035 | 0.0021213 | 60.6092 | 0.071429 | 7.821 | 20 | nc | nc | 9.0684 | nc | nc
8 | 0.049 | 0.056 | 0.0525 | 0.0049497 | 9.4281 | 1.0714 | 2.3347 | 4 | 3.0594 | 0.18356 | 3.7749 | 1.8922 | 0.11353
9 | 0.048 | 0.048 | 0.048 | 0 | 0 | 0.97959 | 4.3708 | 20 | 7.4707 | 0.44824 | 5.5527 | 5.8806 | 0.35283
12 | 0.049 | 0.048 | 0.0485 | 0.00070711 | 1.458 | 0.9898 | 2.4003 | 4 | 2.7491 | 0.16495 | 3.9662 | 1.6637 | 0.099823
6 hour |  |  | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD
Solvent | DCM | 10 uL | 0.067 | 0.075 | 0.071 | 0.0056569 | 7.9674 | 1
Solv Mix | DMSO mix | 10 uL | 0.09 | 0.081 | 0.0855 | 0.006364 | 7.4432 | 1
Ref. Tox. | TCDD | 1 ng/mL | 1.844 | 1.699 | 1.7715 | 0.10253 | 5.7878 | 24.9507
Applied 10 uL | [6 empty] | Lipid Wt. | Final Ext.
CAS # | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD | (g) | Vol (mL)
2 | 1.386 | 1.396 | 1.391 | 0.0070711 | 0.50834 | 16.1744 | 0.502 | 0.4
3 | 0.072 | 0.072 | 0.072 | 0 | 0 | 0.83721 | 4.0996 | 40
4 | 0.085 | 0.088 | 0.0865 | 0.0021213 | 2.4524 | 1.0058 | 3.2186 | 4
5 | 0.08 | 0.093 | 0.0865 | 0.0091924 | 10.627 | 1.0058 | 4.4383 | 0.4
6 | 0.027 | 0.019 | 0.023 | 0.0056569 | 24.595 | 0.26744 | 4.4105 | 0.4
7 | 0.008 | 0.008 | 0.008 | 0 | 0 | 0.093023 | 7.821 | 20
8 | 0.081 | 0.079 | 0.08 | 0.0014142 | 1.7678 | 0.93023 | 2.3347 | 4
9 | 0.049 | 0.049 | 0.049 | 0 | 0 | 0.56977 | 4.3708 | 20
12 | 0.071 | 0.079 | 0.075 | 0.0056569 | 7.5425 | 0.87209 | 2.4003 | 4
1998 AD Little Tissue Extracts
January 11-12, 1999
16 hour |  |  | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD
Solvent | DCM | 10 uL | 0.053 | 0.058 | 0.0555 | 0.0035355 | 6.3703 | 1
Solv Mix | DMSO mix | 10 uL | 0.053 | 0.052 | 0.0525 | 0.00070711 | 1.3469 | 1
Ref. Tox. | TCDD | 1 ng/mL | 6.671 | 5.66 | 6.1655 | 0.71488 | 11.5949 | 110.0982 | Lipid | Lipid |  | Dry | Dry
Applied 10 uL | [6 empty] | Lipid Wt. | Final Ext. | B[a]P Eq. | TEQ | Dry Wt. | B[a]P Eq. | TEQ
CAS # | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD | (g) | Vol (mL) | ug/g | ng/g | (g) | ug/g | ng/g
1 | 0.139 | 0.129 | 0.134 | 0.0070711 | 5.2769 | 2.5283 | 3.379 | 0.4 | 0.49883 | 0.02993 | 9.9297 | 0.16975 | 0.010185
10 | 0.063 | 0.065 | 0.064 | 0.0014142 | 2.2097 | 1.2075 | 2.7353 | 4 | 0.29431 | 0.017658 | 4.4038 | 0.1828 | 0.010968
11 | 0.068 | 0.066 | 0.067 | 0.0014142 | 2.1108 | 1.2642 | 0.8018 | 4 | 1.0511 | 0.063066 | 2.3885 | 0.35284 | 0.02117
LCS (10uL) | 3.343 | 2.707 | 3.025 | 0.44972 | 14.8668 | 57.0755
DLCS(5uL) | 2.449 | 2.792 | 2.6205 | 0.24254 | 9.2554 | 49.4434
MB(10uL) | 0.407 | 0.421 | 0.414 | 0.0098995 | 2.3912 | 7.8113
6 hour |  |  | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD
Solvent | DCM | 10 uL | 0.043 | 0.055 | 0.049 | 0.0084853 | 17.3169 | 1
Solv Mix | DMSO mix | 10 uL | 0.085 | 0.07 | 0.0775 | 0.010607 | 13.6859 | 1
Ref. Tox. | TCDD | 1 ng/mL | 2.625 | 2.795 | 2.71 | 0.12021 | 4.4357 | 55.3061
Applied 10 uL | [6 empty] | Lipid Wt. | Final Ext.
CAS # | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD | (g) | Vol (mL)
1 | 0.087 | 0.243 | 0.165 | 0.11031 | 66.8537 | 2.1154 | 3.379 | 0.4
10 | 0.09 | 0.083 | 0.0865 | 0.0049497 | 5.7223 | 1.109 | 2.7353 | 4
11 | 0.156 | 0.129 | 0.1425 | 0.019092 | 13.3978 | 1.8269 | 0.8018 | 4
LCS (10uL) | 3.19 | 3.396 | 3.293 | 0.14566 | 4.4234 | 42.2179
DLCS(5uL) | 2.655 | 2.408 | 2.5315 | 0.17466 | 6.8993 | 32.4551
MB(10uL) | 5.094 | 3.175 | 4.1345 | 1.3569 | 32.8199 | 53.0064
1998 AD Little Tissue Extracts |  |  |  |  | Received more (of the same) extract from Kelso.
January 18-19, 1999
16 hour |  |  | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD
Solvent | DCM | 2 uL | 0.06 | 0.056 | 0.058 | 0.0028284 | 4.8766 | 1
Solv Mix | DMSO mix | 5 uL | 0.06 | 0.055 | 0.0575 | 0.0035355 | 6.1488 | 1
Ref. Tox. | TCDD | 1 ng/mL | 3.908 | 4.365 | 4.1365 | 0.32315 | 7.8121 | 71.319 | Lipid | Lipid |  | Dry | Dry
Applied 5 uL | [6 empty] | Lipid Wt. | Final Ext. | B[a]P Eq. | TEQ | Dry Wt. | B[a]P Eq. | TEQ
CAS # | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD | (g) | Vol (mL) | ug/g | ng/g | (g) | ug/g | ng/g
1 | 0.117 | 0.116 | 0.1165 | 0.00070711 | 0.60696 | 2.0086 | 3.379 | 0.4 | 0.79259 | 0.047556 | 9.9297 | 0.26971 | 0.016183
2 | 0.13 | 0.155 | 0.1425 | 0.017678 | 12.4054 | 2.4569 | 0.502 | 0.4 | 6.5256 | 0.39154 | 9.1565 | 0.35776 | 0.021466
3 | 0.059 | 0.054 | 0.0565 | 0.0035355 | 6.2576 | 0.97414 | 4.0996 | 40 | < 31.7 | < 1.9 | 12.486 | < 10.4 | < 0.6
4 | 0.063 | 0.057 | 0.06 | 0.0042426 | 7.0711 | 1.0345 | 3.2186 | 4 | < 4.3 | < 0.2 | 7.7121 | < 1.8 | < 0.1
5 | 0.06 | 0.063 | 0.0615 | 0.0021213 | 3.4493 | 1.0603 | 4.4383 | 0.4 | 0.31854 | 0.019113 | 6.0319 | 0.23439 | 0.014063
6 | 0.077 | 0.065 | 0.071 | 0.0084853 | 11.9511 | 1.2241 | 4.4105 | 0.4 | 0.37006 | 0.022204 | 8.2852 | 0.197 | 0.01182
7 | 0.042 | 0.041 | 0.0415 | 0.00070711 | 1.7039 | 0.71552 | 7.821 | 20 | < 8.5 | < 0.5 | 9.0684 | < 5.3 | < 0.3
8 | 0.054 | 0.06 | 0.057 | 0.0042426 | 7.4432 | 0.98276 | 2.3347 | 4 | < 5.6 | < 0.3 | 3.7749 | < 3.5 | < 0.2
9 | 0.056 | 0.059 | 0.0575 | 0.0021213 | 3.6893 | 0.99138 | 4.3708 | 20 | < 15.1 | < 0.9 | 5.5527 | < 11.9 | < 0.7
10 | 0.054 | 0.058 | 0.056 | 0.0028284 | 5.0508 | 0.96552 | 2.7353 | 4 | < 4.7 | < 0.3 | 4.4038 | < 2.9 | < 0.2
11 | 0.054 | 0.067 | 0.0605 | 0.0091924 | 15.194 | 1.0431 | 0.8018 | 4 | < 17.3 | < 1.0 | 2.3885 | < 5.8 | < 0.3
12 | 0.061 | 0.052 | 0.0565 | 0.006364 | 11.2636 | 0.97414 | 2.4003 | 4 | < 5.4 | < 0.3 | 3.9662 | < 3.3 | < 0.2
LCS (5uL) | 0.618 | 0.687 | 0.6525 | 0.04879 | 7.4775 | 11.25
DLCS(10uL) | 1.144 | 1.066 | 1.105 | 0.055154 | 4.9913 | 19.0517
MB(5uL) | 0.215 | 0.207 | 0.211 | 0.0056569 | 2.681 | 3.6379
1998 AD Little Tissue Extracts
January 18-19 (con't)
6 hour |  |  | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD
Solvent | DCM | 2 uL | 0.08 | 0.081 | 0.0805 | 0.00070711 | 0.87839 | 1
Solv Mix | DMSO mix | 5 uL | 0.072 | 0.075 | 0.0735 | 0.0021213 | 2.8862 | 1
Ref. Tox. | TCDD | 1 ng/mL | 2.047 | 2.109 | 2.078 | 0.043841 | 2.1098 | 25.6543
Applied 5 uL | [6 empty] | Lipid Wt. | Final Ext.
CAS # | RLU1 | RLU2 | Mean | St.Dev. | CV% | FOLD | (g) | Vol (mL)
1 | 0.327 | 0.344 | 0.3355 | 0.012021 | 3.583 | 4.5338 | 3.379 | 0.4
2 | 0.893 | 0.948 | 0.9205 | 0.038891 | 4.225 | 12.4392 | 0.502 | 0.4
3 | 0.096 | 0.083 | 0.0895 | 0.0091924 | 10.2708 | 1.2095 | 4.0996 | 40
4 | 0.066 | 0.074 | 0.07 | 0.0056569 | 8.0812 | 0.94595 | 3.2186 | 4
5 | 0.153 | 0.121 | 0.137 | 0.022627 | 16.5164 | 1.8514 | 4.4383 | 0.4
6 | 0.122 | 0.082 | 0.102 | 0.028284 | 27.7297 | 1.3784 | 4.4105 | 0.4
7 | 0.059 | 0.061 | 0.06 | 0.0014142 | 2.357 | 0.81081 | 7.821 | 20
8 | 0.077 | 0.076 | 0.0765 | 0.00070711 | 0.92432 | 1.0338 | 2.3347 | 4
9 | 0.069 | 0.059 | 0.064 | 0.0070711 | 11.0485 | 0.86486 | 4.3708 | 20
10 | 0.078 | 0.074 | 0.076 | 0.0028284 | 3.7216 | 1.027 | 2.7353 | 4
11 | 0.11 | 0.098 | 0.104 | 0.0084853 | 8.1589 | 1.4054 | 0.8018 | 4
12 | 0.078 | 0.07 | 0.074 | 0.0056569 | 7.6444 | 1 | 2.4003 | 4
LCS (5uL) | 1.915 | 1.908 | 1.9115 | 0.0049497 | 0.25895 | 25.8311
DLCS(10uL) | 1.267 | 1.128 | 1.1975 | 0.098288 | 8.2078 | 16.1824
MB(5uL) | 1.594 | 1.327 | 1.4605 | 0.1888 | 12.9269 | 19.7365

## 98 tissue info
1998 Tissue Extracts
Extracts received 12/23/98
Final
Client I.D. | CAS # | Sample Wt (g) | % Lipids | Lipid Wt (g) | % Solids | Dry Wt (g) | Extract Vol (mL)
98-2-14A-01-00-PHC-T-AF | K7031-1 | 20.73 | 16.3 | 3.379 | 47.9 | 9.9297 | 0.4
98-3-1A-01-00-PHC-T-AF | 2 | 20.08 | 2.5 | 0.502 | 45.6 | 9.1565 | 0.4
98-3-1A-00-PHC-T-S | 3 | 20.81 | 19.7 | 4.0996 | 60 | 12.486 | 40
98-3-1A-01-00-PHC-T-H | 4 | 20.9 | 15.4 | 3.2186 | 36.9 | 7.7121 | 4
98-3-1A-01-00-PHC-T-BC | 5 | 13.17 | 33.7 | 4.4383 | 45.8 | 6.0319 | 0.4
98-3-1A-01-00-PHC-T-PC | 6 | 20.61 | 21.4 | 4.4105 | 40.2 | 8.2852 | 0.4
98-1-23A-01-00-PHC-T-S | 7 | 9.9 | 79 | 7.821 | 91.6 | 9.0684 | 20
98-1-23A-04-00-PHC-T-PC | 8 | 10.91 | 21.4 | 2.3347 | 34.6 | 3.7749 | 4
98-1-23A-02-00-PHC-T-PC | 9 | 11.15 | 39.2 | 4.3708 | 49.8 | 5.5527 | 20
98-1-14A-01-00-PHC-T-PC | 10 | 11.35 | 24.1 | 2.7353 | 38.8 | 4.4038 | 4
98-2-14A-01-00-PHC-T-H | 11 | 8.44 | 9.5 | 0.8018 | 28.3 | 2.3885 | 4
98-1-23A-01-00-PHC-T-PC | 12 | 11.43 | 21 | 2.4003 | 34.7 | 3.9662 | 4
*Final Extract Volume calculated by CAS/Kelso after GPC cleanup.
CAS ID | CAS # | Final Extract Vol (mL)
Lab Control Sample | 11-14 LCS | 0.4
Dup Lab Control Sample | 11-14DLCS | 0.4
Method Blank | 11-14MB | 0.4