meta data

file t4a9merge.doc

project=JGOFS Arabian Sea

ship=Thomas Thompson

cruise=TN049 (Process cruise 4)

PI's Dr. Lou Codispoti

Dr. Catherine Goyet

Dr. Edward Peltzer

Dr. Dennis Hansell

Dr. Hugh Ducklow

----------------------------------------------------------------

Cast specific comments, quality assessment, analytical methods as prepared

by L. Codispoti

JGOFS Arabian Sea Cruise TN049

FOR THE HYDROGRAPHIC BOTTLE DATA

L.A. Codispoti (lou@ccpo.odu.edu)

Old Dominion University, April 1996

General Comments:

This "readme" file pertains to the salinity, dissolved oxygen, and

nutrient data taken from sampling bottles with the hydrographic

rosette that was typically equipped with 24 10-liter Niskin type

bottles during RV T.G. Thompson cruise TN049. This cruise was the

third JGOFS Arabian Sea Process Leg and took place during July-August

1995.  Prof. Richard T. Barber of the Duke University Marine Laboratory

(rbarber@acpub.duke.edu) was the chief scientist. DATA TAKEN WITH THE

CLEAN ROSETTE USED FOR OBTAINING PRIMARY PRODUCTION AND OTHER TYPES OF

BIOLOGICAL SAMPLES ARE NOT INCLUDED IN THIS REPORT.

NOTE THAT STATION 049027 WAS A "DRIFT STATION" THAT INCLUDES 21

INDIVIDUAL CTD CASTS THAT DIFFER IN POSITION BY MORE THAN 35 KM IN

SOME CASES.

Some questionable data are not included in this report. These data are

still retained in files at Old Dominion University, and are available

upon request. We note, in particular, that SIGNIFICANT PROBLEMS WERE

ENCOUNTERED WITH THE PHOSPHATE ANALYSIS EQUIPMENT DURING THIS LEG, AND

PHOSPHATE DATA FOR SEVERAL CASTS HAVE NOT BEEN INCLUDED WITH THIS

SUBMISSION. These deleted phosphate values are probably good to about

5% or better and can be made available upon request.

No units are given for salinity in this report because the most recent

definitions of salinity define it as a dimensionless number.  To

accommodate every preference, Winkler oxygen values are reported in

ml/l, micromolar and micromoles per kg.  The latter values can only be

calculated with a knowledge of the oxygen sample temperatures when the

samples were drawn. These "draw temperatures" are not reported here,

but can be obtained by contacting lou@ccpo.odu.edu.  Nutrient values

are reported in micromolar. They can be converted to micromoles per

kg, by combining lab. temperature on the Thompson (approx. 24 deg C

during this leg) and the salinity of the sample to compute density and

then dividing the value in micromolar by this number.

Methods:

In general, the methods employed for the bottle salinity, Winkler

dissolved oxygen, and nutrient analyses did not differ significantly

from those described in the JGOFS protocols that were distributed in

June, 1994. Minor differences included the following: 1) Sea Bird CTD

systems and bottle carousels were employed (SBE- 9+ underwater units,

SBE-11 deck units, SBE-32 carousels).  These units represent a newer

generation of equipment than the units described in the JGOFS

protocols.  2) The weights of the salts used for primary standards for

dissolved oxygen and nutrients were not adjusted to an "in vacuo"

basis as suggested in the protocols. It is unlikely that this

departure from procedure would cause significant errors. Our

calculations suggest that the maximum differences arising from our

decision to not correct to an "in vacuo" basis would range from 0.02%

(oxygen standards) to 0.06%(ammonium standards).  3) The protocols

give one a choice of adjusting nutrient methods so that calibration

curves are strictly linear, or opting for more response and taking

into account non-linearities.  We choose the latter method.  4) No

corrections were made for "carryover" between nutrient samples run on

the Technicon Autoanalyzer. Data from this cruise, suggest that

carryover effects in our nutrient analyses are generally less than ~2%

of the concentration difference between adjacent samples. Examination

of cases where more than one sample was taken from a depth at which

there was a significant increase in nutrient concentrations will help

the user determine the carryover effect for many individual casts. 5)

Calibration and re-calibration of volumetric ware were not exactly as

described in the JGOFS protocols, but this was largely compensated for

by comparing independent standards diluted with independent volumetric

ware, and by re-calibration of some of the volumetric ware after

cruises TN045 and TN050. DATA FOR THIS CRUISE (TN049) HAVE BEEN

CORRECTED FOR ERRORS IN THE PIPETS BY MULTIPLYING THE SILICATE VALUES

BY 0.999. 6) Duplicate oxygen samples were not drawn from every Niskin

or Go-Flo bottle, but there were several comparisons of bottles

tripped at the same depth.  7) Azide was added to the Winkler oxygen

pickling reagents to destroy nitrite that can be present in relatively

high concentrations in the Arabian Sea.

Temperature:

The temperature data associated with each bottle depth were taken by

the CTD system during the bottle tripping process.  Consult the

companion CTD data report for this cruise to learn more about the CTD

system.

Sampling:

The samples in this report were taken from 10 liter Niskin

bottles.

Because there is little or no lag time between triggering a bottle and

bottle closure with the new SeaBird rosette systems, bottles were

generally held at the sampling depth for at least 30 seconds before

tripping or until the deck read-outs stabilized if this took more than

30 seconds.

NOTE THAT THE MID-POINT OF THE SAMPLING BOTTLES WAS ONE METER ABOVE

THE CTD SENSORS.  THE DATA HAVE NOT BEEN CORRECTED FOR THIS ONE METER

OR 1.1 DECIBAR DIFFERENCE BETWEEN CTD SENSOR AND SAMPLING BOTTLE

POSITIONS.

Salinity:

Salinities were determined with Guildline Autosal salinometers. New

vials of standard sea-water were used to standardize before and at the

end of every run (12-36 samples). Agreement between bottle salinities

and the recently calibrated sensors on the Sea Bird CTD systems was

usually better than 0.01 (except in regions of strong gradients)

before post-cruise data processing which employs the bottle salinities

to correct the CTD salinities. More information on the quality of the

salinity data are given in the companion CTD report.  Both the CTD

salinity data at the time of bottle tripping and the salinities run on

the Niskin bottle samples with an Autosal salinometer are reported

here.

Dissolved oxygen:

The Winkler dissolved oxygen set-up was built and supplied by the

SIO/ODF group.  This system is computer controlled and detects the

end-point photometrically.  Temperature of the thiosulfate and

standard solutions is automatically monitored by this system.  Checks

on cruises TN039 and TN043 between independent standards prepared with

independent volumetric ware gave agreement of +-0.02 per cent. A

similar check made during TN054 suggested agreement of ~+-0.15 per

cent. The linearity of the "Dosimat" automatic buret was also checked

during cruises TN043 and TN054 with good results.

Nutrients:

Note that the terminology used to describe nutrients has become

somewhat loose over the years and that silicate=silicic acid, and

phospate=reactive phosphorus.

Nutrient analyses were performed on a 5-channel Technicon II AA

system that was modified and provided by the SIO/ODF group.

In assessing the nutrient standard comparisons outlined below,

note that the full-scale ranges for nutrients were as follows:

Ammonium  =0 to   5  micromolar

Nitrate   =0 to  45  "

Nitrite   =0 to   5  "

Phosphate =0 to   3.6"

Silicate  =0 to 180  "

These ranges were arrived at after an Internet pole of PI's and

cover the full depth concentration range for the Arabian Sea.

On the set-up and calibration cruise (TN039), the SIO/ODF nitrate and

nitrite standards and standards from the National Institute of

Oceanography in India (provided by S.W.A.  Naqvi) were compared with

the following results:

NIO Nitrate Std.= 22.6 micromolar; SIO/ODF=22.5 micromolar

NIO Nitrite Std.=  2.42 micromolar; SIO/ODF = 2.50 micromolar

As can be inferred from the above, the nitrate plus nitrite

values were almost identical in the mixed standards;

25.02 (NIO) vs 25.00 (SIO)micromolar.

On TN039 Lou Codispoti prepared independent primary nitrate, nitrite,

silicate and phosphate standards for comparison with SIO/ODF primary

standards, and made dilutions using glassware entirely independent of

the SIO/ODF glassware.

The results were as follows:

Codispoti           SIO/ODF

Nitrate   26.96 micromolar    26.85 micromolar

Nitrite    2.90 "              2.86 "

Silicate  86.4  "             85.8  "

Phosphate  2.36 "                2.36  "

All of the above results are within plus or minus 0.5% of the full

scale values, and with the exception of nitrite, the rest are within

plus or minus 0.2% of the full scale values. On TN043, the volumetric

equipment used for making routine nitrate and phosphate standards was

checked against volumetric ware calibrated by LAC. The average of the

results agreed to within +-0.1% of the full scale value for phosphate

and +-0.2% of the full scale value for nitrate.

Because nitrite values in the suboxic waters of the Arabian Sea can

attain values of approximately 5 micromolar, we kept track of the

efficiency of the Cd column that reduces nitrate to nitrite in the

nitrate analysis.  The efficiencies were all greater than 99% during

this cruise, so no corrections have been made for any errors in

nitrate arising from deviations in cadmium column efficiency. NOTE

THAT THE FULL-SCALE NITRITE RANGE FOR THIS CRUISE WAS 5 MICROMOLAR AND

THAT SOME CONCENTRATIONS EXCEEDED THIS VALUE.  IN THESE CASES, THE

SAMPLES EITHER HAD TO BE DILUTED OR THE VOLTAGE RANGE CHANGED ON THE

RECORDER.  THESE MANIPULATIONS TEND TO DEGRADE THE ACCURACY OF NITRITE

VALUES IN EXCESS OF 4.5 TO 5 MICROMOLAR.

The ammonium results are the least precise of all the nutrient

results.  On TN039, three primary standards were compared with

agreement of about plus or minus three per cent of the full-scale

value. These standards may have agreed within the precision of the

method, but we found a significant salinity effect on the ammonium

results that might explain some of these differences since the

salinities of the comparison standards varied a bit.  Experiments on

this first JGOFS Arabian Sea process study cruise (TN043) suggest that

the ammonium signal decreases by approximately 3.5% for a salinity

increase of 1.00.  Comparisons of an independent standard compared by

LAC with the SIO standard on this cruise (TN043) when corrected for

salinity differences between the standards agreed to ~ + -0.1% of the

full-scale value.  The largest absolute difference was 0.025

micromolar and the average difference was 0.013 micromolar for six

comparisons between 1-3 micromolar. Thus, the average difference

between these two independent standards was + -0.006 micromolar. These

results tend to confirm the need to take salinity differences between

samples and standards into account when calculating the final ammonium

concentrations. THE AMMONIUM VALUES IN THIS REPORT HAVE BEEN CORRECTED

FOR THIS EFFECT. ON THIS CRUISE THE SALINITY EFFECT CORRECTION IS A

2.7% DECREASE IN SIGNAL FOR A SALINITY INCREASE OF 1.00. On this

cruise, the salinity of the working standards used to calibrate the

ammonium method was ~35.14.

Final Corrections

performed at US JGOFS DMO October 28, 1996

From: Lou Codispoti

Subject: Final Corrections

---------------------------------------------------------------------------

Dear JGOFS investigator,

This is to inform you that some minor corrections were made to the

JGOFS Arabian Sea nutrient data after the 1996 meeting in New

Hampshire.  It is doubtful that any of these corrections will alter any

of your hypotheses, but they may have some significance in documenting

changes over long periods of time, and in WOCE-style investigations.

The need for these corrections arose, as a consequence of post-cruise

re-calibration of pipets, and because we did not properly account for

the nutrient content of our low nutrient sea-water.

The corrections have already been applied to the US JGOFS Arabian Sea

nutrient data collected with the hydrographic rosette, by personnel at

WHOI who maintain the US JGOFS data. I list them here for your

information.

1) All ammonium and nitrite data from Thompson leg TN053 were

multiplied by 0.997.

2) All ammonium and nitrite data from ALL US JGOFS Arabian Sea cruises

(TN039, 043, 045, 049, 050, 053 and 054) were multiplied by 0.995.

3) ALL phosphate data from ALL US JGOFS Arabian Sea cruises (TN039,

043, 045, 049, 050, 053 and 054) were multiplied  by 0.992.

Corrections 2) and 3) should probably be applied to the ONR data as

well, but I will leave this up to Burt Jones, as I am not exactly sure

how he did his standardizations.  Basically, corrections  2) and 3)

arise from a failure to take into account dilution of the Low Nutrient

Sea Water signal by standards in cases where the LNSW contains

appreciable quantities of nutrients.  The above corrections are pretty

minor within the scheme of nutrient analyses, but we should always

attempt to eliminate such systematic errors.

George and Chris have made these corrections on the US JGOFS Arabian Sea

nutrient data collected from the hydrographic rosette. Trace metal

rosette data and experimental data have not yet been corrected.

Cheers, Lou Codispoti

-----------------------------------------------------------------

Dr. Catherine Goyet, Woods Hole Oceanographic Inst. (TOC2, TALK)

PI:              Catherine Goyet

dataset:         Total carbon dioxide and total alkalinity

project/cruise:  Arabian Sea/TTN-049 - Process Cruise 4

ship:            Thomas Thompson

Methods are described in:

DOE (1994) Handbook of Methods for the Analysis of the Various

Parameters of the Carbon Dioxide System in Sea Water; Version 2,

A.G. Dickson and C. Goyet, eds. ORNL/CDIAC-74.

---------------------------------------------------------------------

Dr. Edward Peltzer, Woods Hole Oceanographic Inst, & Dr. Dennis Hansell,

Bermuda Biological Station for Research

Methods reported in:

Peltzer, Edward T. (1993).  Shipboard determination of total organic carbon by

a high temperature combustion/direct injection technique.  U.S. Joint Global

Ocean Flux Study - Equatorial Pacific Protocols, 1993, section 21A.

The EqPac methods were followed explicity on the Arabian Sea Process cruises

with two exceptions:

1. For Process cruises 1, 2 and 4, the WHOI custom built HTC/DI-TOC

analyzer was used.  For Process cruises 6 and 7, the BBSR custom

built HTC/DI-TOC analyzer was used.

2. Low carbon water (LCW) prepared using a commercial Milli-Q UV/TOC (R)

system was used to measure the instrument blank as opposed to the

carbon free distilled water (CFDW) that was used in EqPac.  For all

legs, the LCW was assigned a background TOC value of 0 uMC.

---------------------------------------------------------------------

Dr. Dennis Hansell, Bermuda Biological Station for Research

Total organic nitrogen data

Shore based analysts: Paula Hansell and Catherine Adams

Methods reported in:

Hansell, D.A. and T,Y. Waterhouse. 1997. Controls on the

distribution of organic carbon and nitogen in the eastern Pacific

Ocean, Deep Sea Research, 44: 843-857.

Notes:

1. Samples were taken in 60 ml. polyethylene bottles and stored

frozen until analyis at BBSR.

2. Samples were oxidized by UV light for at least 24 hours to

ensure full oxidation of refractory organics such as urea.

_____________________________________________________________

Dr. Hugh Ducklow, VIMS, College of William & Mary

Particulate carbon and nitrogen

Notes on the Sampling Methodology, by Hugh Ducklow

Samples were harvested from hydrocasts into Milli-Q and sample-rinsed

2-liter polycarbonate bottles, and concentrated over low vacuum

filtration onto precombusted GF/F filters. Volumes collected were

adjusted according to depth, expected carbon concentration and filter

color (generally 1-4 liters). Filters were removed from the manifold

before they dried and were stored folded in half in plastic envelopes

in a dessicator. The filters were returned to the USA on dry ice, and

finally shipped to BBSR on dry ice for analysis.

Samples were analyzed at Bermuda Biological Station for Research

following the BATS protocols.  NB: Filters were acidified so the

carbon analysis is for particulate organic carbon not total particulate

carbon.