phaeopigments

PI:              Walker O. Smith

of:              University of Tennesee, Knoxville

dataset:         Fluorometric chlorophyll-a & phaeopigments

project/cruise:  AESOPS/NBP-97-1 - Ross Sea Process 2 Cruise

ship:            Nathaniel B. Palmer

Methodology: Please see Chapter 14 of the JGOFS protocols (1994),

"Measurements of Chlorophyll a and Phaeopigments by Fluorometric Analysis"

PI-Notes on Methodology:

25mm GF/F filters

Extracted volume = 7mL in 90% Acetone

1.2M HCl = 3 drops

ASA's 10-AU fluorometer. Blank=0.

Calibrated by A.M. White

(ASA: Antarctic Support Associates)

Parameter      Description                                Units

------------------------------------------------------------------------

Fo_to_Fa      ratio of fluorometer readings, where:

Fo = sample reading before acidification

Fa = sample reading after acidification

chl_a         chlorophyll-a                                micrograms/liter

phaeo         phaeopigments                                micrograms/liter

------------------------------------------------------------------------