CSC Technical Report CSC/9-98/002

NOAA CSC/CRS Cruise NOV97SAR:

Sargasso Sea Cruise

Mary E. Culver1

Ajit Subramaniam2

John C. Brock3,4

Mark E. Geesey2,5

Giacomo R. DiTullio5

David Jones5

1TPMC/NOAA/CSC

2234 Hobson Avenue

Charleston SC 29405

2REMSA Inc.

NOAA Science Center Room 711b

4700 Silver Hill Road, Stop 9910

Washington DC 20233-9910

3NOAA Coastal Services Center

2234 South Hobson Avenue

Charleston, SC 29405

4now at U. S. Geological Survey

Center for Coastal Geology

600 4th St. So.

St. Petersburg, FL  33701

5Grice Marine Laboratory

University of Charleston

205 Fort Johnson

Charleston SC 29412

September 1998

UNITED STATES DEPARTMENT OF COMMERCE

National Oceanic and Atmospheric Administration

COASTAL SERVICES CENTER

2234 South Hobson Avenue, Charleston, SC 29405-2413

Abstract

The South Atlantic Bight consists of a variety of environments including near-coastal and continental shelf regimes, the Gulf Stream, and the Sargasso Sea.   The variability in the biological and optical characteristics of these regimes complicates any temporal or spatial analyses of changes in, for example, phytoplankton species composition, primary production rates, colored dissolved organic matter concentration, suspended sediments, or temperature.

Measurements of surface chlorophyll fluorescence, temperature, and salinity were made during a cruise on November 3 – 5, 1997.  Water column profiles of temperature, chlorophyll fluorescence, scattering, beam transmittance, upwelling radiance, and downwelling irradiance were made at 8 stations on a transect from Charleston, SC, southeast across the Gulf Stream, into the Sargasso Sea.  The measurements were compared with ocean color imagery from the NASA/OrbImage Sea Wide Field of view Sensor (SeaWiFS) to provide a means to extrapolate point measurements to a large horizontal scale.

A smooth transition from low temperature waters with high pigment concentrations and attenuation coefficients, that are typical of nearshore environments, to the higher temperature waters with low pigment concentrations and attenuation coefficients, that are typical of offshore environments, was disrupted by a warm Gulf Stream eddy that was present on the continental shelf.   The eddy was characterized by high pigment concentrations and a more diverse phytoplankton community than the other environments sampled. The regimes were evident in satellite imagery.

Table of Contents

I.	Introduction	1

II.	Objectives	1

III.	Methods	1

A.	Sampling Locations	1

B.	Sampling Platform	1

C.	Sample Collection Methods Summary	3

D.	Sampling Gear	3

E.	Bottle Samples	5

F.	Along-Track Measurements	6

G.	Optical Data Processing	6

H.	Backscattering Data Processing	7

I.	Image Processing	7

IV.	Results	8

A.	Bottle Samples	8

B.	Along-Track Data	10

C.	Optical Data	10

D. Algorithm Evaluation	11

D.	Backscattering Data	12

E.	SeaWiFS-Derived Data	13

V.	Summary	15

VI.	References	16

VII.	Metadata	16

VIII.	Appendix A - Water Column Profile Data Figures	24

IX.	Appendix B – Sub-surface Light Field Estimation Statistics	49

X.	Appendix C - Example Profile Header Information	54

XI.	Appendix D - Calibration Certificates	58

XII.	Appendix E – Backscattering Coefficient Profile Data Figures	70

List of Figures

Figure 1.  Location of Stations	2

Figure 2.  Position of Instruments on the PRR Cage.	4

Figure 3.  Cabling Diagram for the PRR Cage.	5

Figure 4.  Along-Track HPLC Pigment Concentrations.	9

Figure 5.  Along-Track Temperature and Salinity	10

Figure 6.  SeaWiFS pigment image for November 4, 1997.	13

Figure 7. Comparision normalized water leaving radiance………………………………14

List of Tables

Table 1.  Station Notes Indicating Date, Time, Location and Sky Conditions	2

Table 2.  Center Wavelengths for the PRR System	3

Table 3.  HPLC Pigment Abbreviations and Indicators.	8

Table 4  Algorithm Evaluation	11

Table 5.  SeaWiFS image chl a concentrations, corresponding in situ chl a from fluorometric and HPLC analysis, and the OC2 algorithm.	15

Acknowledgments

We thank the master and crew of R/V Palmetto, South Carolina Department of Natural Resources.

Data Usage Constraints

Users of this data are required to provide appropriate attribution in the form of co-authorship for any publications that use this data, unless formal permission to do otherwise is granted by NOAA/CSC.

# I.	Introduction

The South Atlantic Bight consists of a variety of environments including near-coastal and continental shelf regimes, the Gulf Stream, and the Sargasso Sea.   The variability in the biological and optical characteristics of these regimes complicates any temporal or spatial analyses of changes in, for example, phytoplankton species composition, primary production rates, colored dissolved organic matter concentration, suspended sediments, or temperature.  Ocean color satellites provide synoptic data of phytoplankton biomass and could be a useful tool for analysis of spatial and temporal variability.  For this tool to be useful, algorithms that relate satellite data to chlorophyll biomass need to be developed and validated for the diverse conditions found in this area.

# II.	Objectives

The primary objective of this cruise was to collect bio-optical data to support regional case II algorithm development.  The water-leaving radiance calculated from these measurements was compared to those derived from the NASA/OrbImage SeaWiFS ocean color sensor, in order to assess the sensor’s calibration.

# III.	Methods

A description of the sample collection methods and of instruments used is detailed in the following sections.

## A.	Sampling Locations

On November 3, six stations were occupied to obtain depth profiles of pigments, temperature, and salinity.  Three stations were occupied on November 4 and three stations on November 5 to obtain these same measurements as well as measurements of upwelling radiance and downwelling irradiance (Table 1, Figure 1).  Surface water samples were acquired along-track for chlorophyll, temperature and salinity.

## B.	Sampling Platform

The R/V Palmetto that belongs to the South Carolina Department of Natural Resources was used for this cruise.

Table 1.  Station Notes Indicating Date, Time, Location and Sky Conditions

| Date | Station | Lat Deg | Lat Min | Latitude | Long Deg | Long Min | Longitude | Start Time | PRRFile | Sky Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11/3/97 | 1 | 31 | 45.18 | 31.753 | -79 | 4.20 | -79.070 | 0700 | N/A |  |
| 11/3/97 | 2 | 31 | 56.58 | 31.943 | -79 | 0.06 | -79.001 | 0950 | N/A |  |
| 11/3/97 | 3 | 32 | 3.96 | 32.066 | -79 | 2.94 | -79.049 | 1140 | N/A |  |
| 11/3/97 | 4 | 32 | 10.32 | 32.172 | -79 | 10.32 | -79.172 | 1310 | N/A |  |
| 11/3/97 | 5 | 32 | 13.80 | 32.230 | -79 | 17.94 | -79.299 | 1445 | N/A |  |
| 11/3/97 | 6 | 32 | 18.60 | 32.310 | -79 | 28.56 | -79.476 | 1630 | N/A |  |
| 11/4/97 | 7 | 32 | 32.56 | 32.543 | -79 | 36.96 | -79.616 | 1215 | 971104A | Clear |
| 11/4/97 | 8 | 32 | 23.97 | 32.399 | -79 | 28.55 | -79.476 | 1415 | 971104B | Clear |
| 11/4/97 | 9 | 32 | 14.39 | 32.240 | -79 | 20.18 | -79.336 | 1615 | 971104C | Clear |
| 11/5/97 | 10 | 31 | 7.80 | 31.130 | -78 | 13.38 | -78.223 | 0400 | N/A |  |
| 11/5/97 | 13 | 31 | 4.52 | 31.075 | -78 | 11.88 | -78.198 | 1000 | 971105B | Overcast |
| 11/5/97 | 14 | 31 | 3.63 | 31.061 | -78 | 12.32 | -78.205 | 1200 | 971105C | Clouds |
| 11/5/97 | 15 | 31 | 1.92 | 31.032 | -78 | 13.26 | -78.221 | 1400 | N/A |  |
| 11/5/97 | 16 | 31 | 1.12 | 31.019 | -78 | 14.12 | -78.235 | 1600 | 971105D | Overcast |

Lat Deg, Lat Min, Long Deg, and Long Min refer to the station position in degrees and decimal minutes, Latitude and Longitude refer to the station position in decimal degrees. Time is in EST.  PRRFile: file name of the raw data acquired by the instruments in the PRR cage.

Figure 1.  Location of Stations

Stations occupied on November 3 are indicated by circles; November 4, squares; November 5, triangles.

## C.	Sample Collection Methods Summary

The Profiling Reflectance Radiometer (PRR) cage, described below, was deployed off the stern of the boat, to measure in-situ spectral downwelling irradiance, spectral upwelling radiance, temperature, chlorophyll fluorescence, light scattering, quantum scalar irradiance, and beam attenuation.  Following the PRR cast, a Hydro-Optics, Biology, and Instrumentation Laboratories, Inc. (HOBI Labs) HydroScat-6 spectral backscattering sensor was lowered by hand.  An along-track system was used to measure the position (latitude, longitude), time, course and speed of the vessel, temperature, and salinity.  The along-track system used water pumped through a deck hose by a bilge pump from an intake located about a meter below the sea surface.  In-situ temperature, salinity, and density were also measured at some stations with a Conductivity-Temperature-Depth (CTD) instrument.  Water samples for chlorophyll biomass, particulate, and dissolved absorption were obtained from a separate cast using a Niskin array.

## D.	Sampling Gear

| The PRR cage (Figures 2 and 3) contained a split PRR600s (Serial No. 9643) that measured seven channels of downwelling irradiance, seven channels of upwelling radiance, depth, tilt, roll, and temperature. A reference surface unit (PRR610 Serial No. 9644) that measured seven matched channels of surface downwelling irradiance on deck was also used. Channels 1 to 6 were narrow band (10-nanometer [nm] full width half maximum [FWHM]) centered at the indicated wavelengths, while channel 7 on the downwelling sensor and PRR610 measured broad band Photosynthetically Available Radiation (PAR) (400 to 700 nm). Channel No. | PRR600s Downwelling Light Sensor | PRR600s Upwelling Light Sensor | PRR610 |
| --- | --- | --- | --- |
| 1 | 380 nm | 380 nm | 380 nm |
| 2 | 412 nm | 412 nm | 412 nm |
| 3 | 443 nm | 443 nm | 443 nm |
| 4 | 490 nm | 490 nm | 490 nm |
| 5 | 510 nm | 510 nm | 510 nm |
| 6 | 555 nm | 555 nm | 555 nm |
| 7 | PAR | 683 nm | PAR |

Table 2.  Center Wavelengths for the PRR System

The cage also contained a 10-centimeter (cm) pathlength, 660 nm Light Emitting Diode (LED) based SeaTech transmissometer (Serial No. 664), a Biospherical Instruments Quantum Scalar Profiling sensor (QSP200, Serial No. 4443), a SeaTech light scattering sensor (LSS, Serial No. 281), and a WETLabs Wetstar chlorophyll fluorometer (Serial No. Ws3-088).  Water was drawn through the fluorometer using a SeaBird pump (Serial No. 051363) running at 2,000 revolutions per minute.  The data from these instruments were multiplexed through the PRR600s such that each record contained a depth and parameters from every instrument.  Figure 3 shows the cabling diagram for these instruments. The calibration history for all these instruments is given in Appendix D.

(Figure adapted from BSI manual)

Figure 2.  Position of Instruments on the PRR Cage.

(Figure adapted from BSI manual)

Figure 3.  Cabling Diagram for the PRR Cage.

The Hydroscat-6 is a self-contained instrument designed to measure the spectral backscattering coefficient at six wavelengths.  The wavelengths are 440, 470, 510, 590, 620, and 670 nm, each with a 10-nm bandwidth.

## E.	Bottle Samples

Discrete water samples were collected following the PRR cast, from just below the sea surface using a Niskin bottle.  For fluorometric chl a, 2320 ml was filtered; and for HPLC samples, 4640 ml was filtered through glass fiber (GF/F) filters.

The chlorophyll a samples were cold extracted in 10 ml of 90% acetone (10% water) for 24 hours in the dark and the biomass was determined fluorometrically with a Turner Designs fluorometer using the method of Yentsch and Menzel (1963).

Filtered HPLC pigment samples were cut into small pieces, ground, and extracted in a 1.5 ml microcentrifuge tube with 1.5 ml 90% acetone and placed in a freezer overnight.  They were centrifuged at 0°C for 15 minutes, 0.5 ml was filtered through a Nalgene nylon syringe filter, the samples were diluted to 60% acetone with the addition of 0.25 ml water, and 0.5 ml was injected into the HPLC.

A Hewlett-Packard 1050 Series HPLC with a Phenomonex Sphericlone ODS(2) reverse-phase column (250 mm x 4.5 mm with 5 µm particles) was used with a ternary gradient to separate and identify the photosynthetic pigments.  The three solutions were: A: Water; B: Methanol; C: 85% Methanol/15% 0.5 Molar Ammonium Acetate (pH 7.6).  The 41-minute gradient method was as follows (adapted from Wright et al. (1991):

Time(min)	%A	%B	%C	Flow rate(ml/min)                                                     0	  2	    0	98	1.0                                                                               5	  2	    0	98	1.0                                                                               6	15	  85	  0	1.0                                                                               10	10	  90	  0	1.25                                                                             30	  0	100	  0	1.25                                                                             36	  0	100	  0	1.90                                                                             39	  0	100	  0	1.90                                                                             39.5	  2	    0	98	1.5                                                                            41	  2	    0	98	1.0

A diode array detector recorded spectra every five seconds at wavelengths from 350 to 600 nm.  Chromatograms were monitored at 440 nm (for carotenoids and chlorophylls) and 405 nm (for chlorophyllides, phaeophorbides, and phaeophytins).  In addition, a fluorescence detector measured fluorescence at 666 nm using an excitation at 421 nm (maximized for chlorophyll a).  The system was calibrated using spectrophotometrically determined concentrations of purified pigments from algae cultures maintained in the lab.

## F.	Along-Track Measurements

Water from about one meter below the sea surface was pumped through a hose into a bucket in which a Hydrolab Datasonde 3 Multiprobe logger was immersed. The Datasonde was used to measure temperature, specific conductivity, and salinity.  This instrument had an internal data logger with a clock that time stamped each measurement and was set to sample every two minutes.  A computer equipped with a Socket Communications PCMCIA card using Trimble Navigation’s Global Positioning System (GPS) was used to log time, latitude, longitude, speed, and course of vessel.  The clocks on the various computers were synchronized to GPS time and the time stamp on each measurement was used to merge the GPS location with the parameters measured.

## G.	Optical Data Processing

The PRR data was processed using the Bermuda Bio-Optics Project (BBOP) processing software (Siegel et al. 1995).  A least common denominator (LCD) file was created from the binary data files, the cast card files, the calibration files, and cruise notes.  The LCD file header contains the metadata for the cast and includes information on the parameters sampled, parameters derived, filters used, and the statistical results of the regression used to extrapolate light to the sub-surface.  An example header is presented in Appendix C.  The pressure channel data was recalculated using an offset to adjust for the distance of the pressure sensor from the cosine collector.  The tops and bottoms of the individual profiles were marked using an interactive Matlab script and the corresponding record numbers were inserted into the LCD header section.  Data less than the dark threshold was replaced by -9.9x1035.  Then the data was quality controlled using flags for data with tilt and roll angles greater than 10 (flag value greater than 0 in the “aq-1Tilt-1Roll” field), and records where the surface incident irradiance was not uniform (flag value greater than 0 in the “kq-1ed412” field).  The temperature, transmissometer, and fluorometer data were despiked, in two passes, with a difference threshold.  A moving average was calculated for these channels.  The data were separated into upcast and downcast profiles and then binned to 0.5-m bins.  Spectral attenuation coefficients were calculated for the optical channels over a five point moving window.  Subsurface downwelling irradiance and upwelling radiance were extrapolated to just below the surface using data from the top 3 meters.

## H.	Backscattering Data Processing

The HydroScat-6 data were processed using IDL software.  A calibrated data file was created using software provided by HOBI Labs, Inc.  Data less than the dark threshold was replaced by -9.9x1035.  The data were despiked, in two passes, with a difference threshold. A moving average was calculated for these channels.  The data were separated into upcast and downcast profiles and then binned to 0.5-m bins.

## I.	Image Processing

The November 4, 1997 image from the OrbImage/NASA Sea-viewing Wide Field of view Sensor (SeaWiFS) ocean color satellite was retrieved from the NASA Goddard Data Archive Center in Level 1a format.  It was processed using the SeaWiFS Data Analysis System (SeaDAS) to Level 1b using the local values for climatology and atmospheric conditions.  The SeaWiFS Project algorithm (OC2 – O’Reilly et al. In press) was used to derive satellite pigment (C) from radiance measurements.

C=−0.040+100.341−3.001X+2.811X2−2.041X3

where

X=log10Rrs(490)Rrs(555)

and the remote-sensing reflectance at a wavelength (Rrs()) is defined as the ratio of the water-leaving radiance (Lw()) to the downwelling irradiance above the surface of the water (Es()).

Rrs(λ)=Lw(λ)Es(λ).

# Results

Results of the study are detailed below.

## A.	Bottle Samples

The nearshore environment the community was dominated by diatoms, as evidenced by large concentrations of Fucox along with Diad, Diat, and Chl c1+2 (see Table 3 for abbreviations, Figure. 4).  Cyanophytes also were abundant in the near-shore as evidenced by high levels of Zeax.   Other members of the community included Chlorphytes, Prymnesiophytes, and Haptophytes.  Further from shore the relative proportions of the community remained constant while the overall abundance decreases.

Table 3.  HPLC Pigment Abbreviations and Indicators.

| Pigment | Abbreviation | Phytoplankton Group |
| --- | --- | --- |
| Chlorophyll a | Chl a | all |
| Divinyl chlorophyll a | DV Chl a | Prochlorophytes |
| Chlorophyll b | Chl b | Chlorophytes, Prochlorophytes |
| Chlorophyll c | Chl c | Protists |
| Diadinoxanthin | Diad | Diatoms |
| Diatoxanthin | Diat | Diatoms |
| Fucoxanthin | Fucox | Diatoms, others |
| Lutein | Lutein | Chlorophytes |
| Peridinin | Perid | Dinoflagellates |
| Zeaxanthin | Zeax | Cyanobacteria, Rhodophytes. |
| 19’-Butanoyloxyfucoxanthin | 19-But | Prymnesiophytes |
| 19’-Hexanoyloxyfucoxanthin | 19-Hex | Haptophytes |

In the eddy, there were higher concentrations of all pigments, particularly Chl c1+2, Chl b, DV Chl a, Perid, 19-Hex, Fucox, and 19-But.  The eddy had the most diverse phytoplankton community composition than the other environments.  Diatoms were still the most abundant group, and Haptophytes, Chlorophytes, and Prymnesiophytes contributed significantly to the overall biomass.  Dinoflagellates, Cyanophytes, and Prochlorophytes represented minor groups in the community.

At the outer edge of the eddy and into the Gulf Stream (100 to 110 km), large concentrations of DV Chl a were observed.  Within the Gulf Stream the community transitioned from the shelf community, dominated by Eukaryotic algae, to the Sargasso Sea community, dominated by Prokaryotic algae.  Concentrations of all pigments, except Zeax and DV Chl a, decreased to low levels.  From the relative proportions of the pigments, the community composition in the Gulf Stream appeared more similar to that of the Sargasso Sea than to that of the shelf.

The Sargasso Sea community was dominated by Cyanobacteria.  Nearly half of the total Chlorophyll was DV Chl a (Prochlorophytes) and over half of the total Carotenoids was Zeax (Cyanophytes).  Protistan algae made up a minor portion of the phytoplankton community.

Figure 4.  Along-Track HPLC Pigment Concentrations.

## B.	Along-Track Data

In the nearshore environment salinity and temperature are lower than further offshore (Figure 5).  Across the shelf, salinity and temperature generally increase until the Gulf Stream is reached at 110 km. An eddy on the shelf between 60 and 100 km from shore (see satellite imagery) served to complicate a smooth transition from shore to Gulf Stream waters.  The eddy is evident by variations in the salinity and temperature values. In the Gulf Stream (110 to 140 km from shore) salinity and temperature values are maximal (36.5 ppt and 27.5°C, respectively). The Sargasso Sea is characterized by consistently high salinity (36.5 ppt), a lower temperature (26.3°C) than the Gulf Stream.

Figure 5.  Along-Track Temperature and Salinity

## Optical Data

The profiles of light are shown in Figures in Appendix A and the results are summarized in Table 4.  Ship shadow affected surface measurements of Stations 7 and 14.  Station 9 was measured under conditions of low sun angle and the up and down casts differed by more than is normal.  Station 16 shows reduced downwelling irradiance and upwelling radiance near the surface.  In general, irradiance attenuation was higher for stations nearshore than for the offshore stations.  The above surface downwelling irradiance (Es) should be constant during a profile if there was no change in the light field due to passing clouds etc.  This was tested by calculating the coefficient of variation (standard deviation/mean) for Es and is shown in Table 4.  The large change in Es at stations 13 and 14 are due to moving clouds while the change in Es at station 9 was due to the low sun angle when the measurements were made.

## D. Algorithm Evaluation

The downwelling irradiance and upwelling radiance were extrapolated to the null depth just below the surface (E0-) by the BBOP software.  The downwelling irradiance was propagated through the water-air interface using a transmission loss of 4% (SeaBAM Tech memo).  The upwelling radiance was propagated through water-air interface using a factor of 0.544 (SeaBAM Tech memo).  The above water (E0+) downwelling irradiance and upwelling radiance are shown in Table 4 (Ed+() and Lu+() respectively).  The above water downwelling irradiance measured by the reference sensor mounted on the ship are also shown (Es) along with the coefficient of variation of this measurement (EsErr).  The difference between the measured downwelling irradiance (Es) and the calculated downwelling irradiance (Ed+) was calculated and shown in Table 4 (ds).  The remote sensing reflectance (Rrs) was calculated using either Es or Ed+, which ever was more appropriate.  The SeaWiFS OC2 algorithm (O’Reilly et al. In press) was then used to calculate the satellite estimates of chlorophyll a and CZCS pigment.  The ratios of satellite derived to measured quantities for chlorophyll a and CZCS pigment are also shown in Table 4.

Table 4  Algorithm Evaluation

| Station | 7 | 7 | 8 | 8 | 9 | 9 | 13 | 13 | 14 | 14 | 16 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | 11/4/97 | 11/4/97 | 11/4/97 | 11/4/97 | 11/4/97 | 11/4/97 | 11/5/97 | 11/5/97 | 11/5/97 | 11/5/97 | 11/5/97 |
| Time GMT | 17:15 | 17:15 | 19:15 | 19:15 | 21:15 | 21:15 | 15:00 | 15:00 | 18:00 | 18:00 | 21:00 |
| Latitude | 32.545 | 32.545 | 32.401 | 32.401 | 32.239 | 32.239 | 31.092 | 31.092 | 31.065 | 31.065 | 31.018 |
| Longitude | -79.625 | -79.625 | -79.484 | -79.484 | -79.339 | -79.339 | -78.193 | -78.193 | -78.203 | -78.203 | -78.237 |
| TSS (mg/ml) | 4.18 | 4.18 | 3.97 | 3.97 | 4.4 | 4.4 | -9999 | -9999 | -9999 | -9999 | -9999 |
| ChlF (mg/m^3) | 0.341 | 0.341 | 0.23 | 0.23 | 0.22 | 0.22 | -9999 | -9999 | 0.164 | 0.164 | 0.181 |
| ChlaHPLC (mg/m^3) | 0.204 | 0.204 | 0.135 | 0.135 | 0.103 | 0.103 | 0.034 | 0.034 | 0.177 | 0.177 | 0.035 |
| PRR File | k971104a1 | k971104a2 | k971104b1 | k971104b2 | k971104c1 | k971104c2 | k971105b1 | k971105b2 | k971105c1 | k971105c2 | k971105d2 |
| Ed0-380 | 47.0810 | 56.4242 | 34.3683 | 33.0733 | 7.3309 | 7.4804 | 35.3895 | 42.3120 | 26.9404 | 25.6267 | 4.5353 |
| Ed0-412 | 76.7952 | 90.6395 | 57.1641 | 56.9604 | 12.2554 | 11.7856 | 53.9924 | 65.1794 | 40.8128 | 43.3243 | 6.8204 |
| Ed0-443 | 102.6940 | 109.4760 | 66.5370 | 70.7919 | 15.9260 | 17.1083 | 64.7101 | 74.7483 | 47.2889 | 50.4876 | 7.8016 |
| Ed0-490 | 125.6110 | 126.9220 | 71.2410 | 80.5079 | 21.7360 | 20.9258 | 73.9974 | 93.9138 | 50.3702 | 46.6429 | 8.1409 |
| Ed0-510 | 124.8870 | 127.2680 | 75.7468 | 81.9895 | 21.7361 | 20.5916 | 78.5806 | 81.7330 | 50.6077 | 46.1203 | 7.9294 |
| Ed0-555 | 123.5110 | 113.0750 | 66.7596 | 79.9822 | 17.9951 | 19.7463 | 78.4282 | 82.2118 | 48.6075 | 44.3305 | 7.3616 |
| Lu0-380 | 0.2971 | 0.4127 | 0.2223 | 0.2186 | 0.0756 | 0.0677 | 0.4627 | 0.4923 | 0.4368 | 0.3653 | 0.0686 |
| Lu0-412 | 0.5430 | 0.6978 | 0.3948 | 0.3969 | 0.1278 | 0.1138 | 0.6740 | 0.7222 | 0.6021 | 0.4941 | 0.0948 |
| Lu0-443 | 0.7327 | 0.9074 | 0.5184 | 0.5079 | 0.1572 | 0.1467 | 0.7076 | 0.7492 | 0.5965 | 0.4849 | 0.0920 |
| Lu0-490 | 1.0542 | 1.3386 | 0.6911 | 0.6914 | 0.1979 | 0.1885 | 0.6489 | 0.6824 | 0.5237 | 0.4256 | 0.0809 |
| Lu0-510 | 0.9935 | 1.5998 | 0.5604 | 0.5644 | 0.1580 | 0.1520 | 0.4429 | 0.4701 | 0.3588 | 0.2848 | 0.0541 |
| Lu0-555 | 0.7218 | 0.9063 | 0.3298 | 0.3245 | 0.0912 | 0.0883 | 0.2127 | 0.2257 | 0.1629 | 0.1251 | 0.0229 |
| Lu0-683 | 0.0904 | 0.3735 | 0.0379 | 0.0298 | 0.0092 | 0.0116 | 0.0214 | 0.0323 | 0.0112 | 0.0126 | 0.0032 |
| Es0+380 | 57.1897 | 57.1481 | 40.4434 | 40.5187 | 10.4477 | 10.2019 | 42.4216 | 42.2595 | 41.0132 | 35.2875 | 7.8206 |
| Es0+412 | 86.4812 | 86.3765 | 61.8463 | 62.0017 | 16.8132 | 16.2300 | 65.4077 | 64.3380 | 60.7748 | 51.0987 | 11.5609 |
| Es0+443 | 103.2277 | 103.1189 | 73.7504 | 74.4762 | 20.7524 | 20.0114 | 78.4944 | 76.4406 | 70.3828 | 58.2816 | 13.2905 |
| Es0+490 | 114.0841 | 113.9623 | 81.9425 | 83.2390 | 23.9840 | 22.9866 | 87.0858 | 83.9470 | 74.5485 | 60.5965 | 13.8472 |
| Es0+510 | 116.1758 | 115.9848 | 84.2680 | 85.2182 | 24.9741 | 23.7184 | 89.0592 | 85.6235 | 74.9033 | 60.4028 | 13.6116 |
| Es0+555 | 112.2040 | 111.9491 | 82.1636 | 82.3813 | 24.8535 | 23.0023 | 86.7828 | 83.1626 | 72.2169 | 57.6124 | 12.6920 |
| Lwn380 | 0.2651 | 0.3685 | 0.2805 | 0.2753 | 0.3691 | 0.3384 | 0.5611 | 0.5945 | 0.7943 | 0.5282 | 0.4473 |
| Lwn412 | 0.5791 | 0.7451 | 0.5888 | 0.5904 | 0.7010 | 0.6469 | 0.9581 | 1.0353 | 1.3063 | 0.8918 | 0.7567 |
| Lwn443 | 0.7261 | 0.9002 | 0.7191 | 0.6976 | 0.7750 | 0.7497 | 0.9298 | 1.0027 | 1.2388 | 0.8511 | 0.7081 |
| Lwn490 | 0.9664 | 1.2285 | 0.8822 | 0.8687 | 0.8631 | 0.8577 | 0.7857 | 0.8502 | 1.0439 | 0.7346 | 0.6112 |
| Lwn510 | 0.8699 | 1.4030 | 0.6764 | 0.6736 | 0.6435 | 0.6521 | 0.5100 | 0.5585 | 0.6923 | 0.4796 | 0.4042 |
| Lwn555 | 0.6440 | 0.8105 | 0.4019 | 0.3943 | 0.3675 | 0.3841 | 0.2474 | 0.2717 | 0.3221 | 0.2174 | 0.1806 |
| k490 | 0.083 | 0.103 | 0.062 | 0.061 | 0.062 | 0.064 | 0.042 | 0.040 | 0.037 | 0.037 | 0.035 |
| Es380Err | 1.2% | 1.0% | 1.6% | 1.0% | 4.7% | 4.3% | 6.1% | 1.6% | 8.6% | 3.1% | 3.0% |
| Es412Err | 1.4% | 1.2% | 1.9% | 1.2% | 4.7% | 4.8% | 7.3% | 1.9% | 10.3% | 3.6% | 3.1% |
| Es443Err | 1.5% | 1.3% | 2.1% | 1.3% | 5.1% | 5.8% | 8.3% | 2.0% | 11.4% | 3.9% | 3.2% |
| Es490Err | 1.6% | 1.3% | 2.3% | 1.4% | 6.7% | 7.9% | 9.5% | 2.2% | 12.7% | 4.3% | 3.2% |
| Es510Err | 1.6% | 1.3% | 2.3% | 1.4% | 7.4% | 9.0% | 9.8% | 2.3% | 13.4% | 4.4% | 3.3% |
| Es555Err | 1.6% | 1.4% | 2.4% | 1.4% | 9.0% | 10.9% | 10.4% | 2.5% | 14.2% | 4.7% | 3.4% |
| ds380 | 14% | -3% | 11% | 15% | 27% | 24% | 13% | -4% | 32% | 24% | 40% |
| ds412 | 8% | -9% | 4% | 4% | 24% | 24% | 14% | -6% | 30% | 12% | 39% |
| ds443 | -4% | -11% | 6% | 1% | 20% | 11% | 14% | -2% | 30% | 10% | 39% |
| ds490 | -15% | -16% | 9% | -1% | 6% | 5% | 11% | -17% | 30% | 20% | 39% |
| ds510 | -12% | -14% | 6% | 0% | 9% | 10% | 8% | 1% | 30% | 20% | 39% |
| ds555 | -15% | -5% | 15% | -1% | 25% | 11% | 6% | -3% | 30% | 20% | 40% |
| Rrs490 | 0.0050 | 0.0063 | 0.0046 | 0.0045 | 0.0045 | 0.0044 | 0.0040 | 0.0044 | 0.0054 | 0.0038 | 0.0032 |
| Rrs555 | 0.0035 | 0.0044 | 0.0022 | 0.0021 | 0.0020 | 0.0021 | 0.0013 | 0.0015 | 0.0017 | 0.0012 | 0.0010 |
| X | 0.1573 | 0.1617 | 0.3224 | 0.3240 | 0.3518 | 0.3299 | 0.4829 | 0.4763 | 0.4916 | 0.5098 | 0.5104 |
| Expo | -0.0694 | -0.0793 | -0.4028 | -0.4057 | -0.4557 | -0.4163 | -0.6825 | -0.6713 | -0.6975 | -0.7287 | -0.7298 |
| Expov2 | -0.0347 | -0.0434 | -0.3391 | -0.3419 | -0.3885 | -0.3518 | -0.5917 | -0.5822 | -0.6042 | -0.6298 | -0.6307 |
| ChlaOC2 | 0.8122 | 0.7931 | 0.3556 | 0.3529 | 0.3102 | 0.3434 | 0.1677 | 0.1732 | 0.1607 | 0.1468 | 0.1463 |
| CZCSPigOC2 | 1.0929 | 1.0677 | 0.4864 | 0.4828 | 0.4255 | 0.4702 | 0.2329 | 0.2403 | 0.2233 | 0.2044 | 0.2037 |
| K490MT | 0.1076 | 0.1092 | 0.0689 | 0.0696 | 0.0599 | 0.0639 | 0.0399 | 0.0403 | 0.0394 | 0.0390 | 0.0389 |
| MeasChla | 0.204 | 0.204 | 0.135 | 0.135 | 0.103 | 0.103 | 0.034 | 0.034 | 0.177 | 0.177 | 0.035 |
| sat/meas | 3.9814 | 3.8876 | 2.6387 | 2.6188 | 3.0035 | 3.3252 | 4.9340 | 5.0947 | 0.9088 | 0.8301 | 4.2235 |
| MeasPig | 0.341 | 0.341 | 0.230 | 0.230 | 0.220 | 0.220 | -9999 | -9999 | 0.164 | 0.164 | 0.181 |
| sat/meas | 3.2051 | 3.1311 | 2.1148 | 2.0992 | 1.9342 | 2.1371 | -9999 | -9999 | 1.3618 | 1.2460 | 1.1255 |
| k490sat/k490meas | 1.2910 | 1.0615 | 1.1100 | 1.1441 | 0.9617 | 1.0003 | 0.9519 | 1.0004 | 1.0765 | 1.0410 | 1.1048 |
| OC2v2 | 0.8302 | 0.8121 | 0.3651 | 0.3622 | 0.3159 | 0.3520 | 0.1631 | 0.1688 | 0.1559 | 0.1416 | 0.1412 |
| OC2v2/ChlF | 2.4346 | 2.3814 | 1.5874 | 1.5747 | 1.4359 | 1.5998 | 0.0000 | 0.0000 | 0.9505 | 0.8636 | 0.7799 |
| OC2v2/HPLC | 4.0694 | 3.9805 | 2.7095 | 2.6879 | 3.0584 | 3.4077 | 4.7996 | 4.9666 | 0.8817 | 0.8011 | 4.0753 |

## Backscattering Data

Spectral backscattering coefficients varied across wavelength and between oceanographic regimes (see Appendix E).  In all cases the lower wavelengths had higher coefficients and the coefficients decreased with increasing wavelength.  Coefficients in near-shore waters tended to be higher and more variable with depth.  Stations in the Sargasso Sea showed little variation with depth.  Stray light appears to affect measurements within the first 1 – 3m in some cases.

## E.	SeaWiFS-Derived Data

Features in the SeaWiFS ocean color image (Figure 6) reveal that the physical oceanographic features affect the phytoplankton pigment concentrations.  An eddy is visible as an increase in pigment between 60 and 110 km offshore that can be seen in the the surface chl fluorescence (Figure 4) and HPLC data (Figure 5) can also be seen in the ocean color image.  The image indicates that the type of variability in pigment concentrations that is caused by eddy intrusions are evident across the continental shelf.

Figure 6.  SeaWiFS pigment image for November 4, 1997.

Cruise track and stations shown in white.

A comparison of the in-situ optical measurements and the satellite derived normalized water leaving radiance is shown in Figure 7.  The in-situ measurements at stations 7 and 8 were made within two hours of the over pass and at station 9 within four hours.  The overestimation of the in-situ water leaving radiance at station 7 could be due to either perturbations at the surface or due to the proximity to the coastal front.  However, station 8 and station 9 show that the in-situ observations are in good agreement with the satellite. A comparison of the pigment concentrations measured by satellite and by in situ methods is shown in Table 5.  In situ measurements are lower than satellite concentrations nearshore where colored dissolved organic matter and suspended sediments may complicate satellite ocean color algorithms.  Offshore, satellite measurements more closely match those measured in situ.  This lack of agreement may be due to algorithm failure or by a lack of spatial and temporal coincidence because of the difference in time of the in situ measurement and the satellite image.  This type of variability complicates the evaluation of satellite algorithms to accurately detect pigment concentrations in coastal waters.

Figure 7. Comparision of in-situ and SeaWiFS derived normalized water leaving radiance

V.	Summary

Table 5.  SeaWiFS image chl a concentrations, corresponding in situ chl a from fluorometric and HPLC analysis, and the OC2 algorithm.

| Date | Station | Latitude | Longitude | PRRFile | Flu Chl a | HPLC Chl a | OC2 Chl a | SeaWiFS Chla |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11/4/97 | 7 | 32.543 | -79.616 | 971104A1 | 0.341 | 0.204 | 0.812 | 0.729 |
| 11/4/97 | 7 | 32.543 | -79.616 | 971104A2 | 0.341 | 0.204 | 0.793 | 0.729 |
| 11/4/97 | 8 | 32.399 | -79.476 | 971104B1 | 0.230 | 0.135 | 0.356 | 0.288 |
| 11/4/97 | 8 | 32.399 | -79.476 | 971104B2 | 0.230 | 0.135 | 0.353 | 0.288 |
| 11/4/97 | 9 | 32.240 | -79.336 | 971104C1 | 0.220 | 0.103 | 0.310 | 0.464 |
| 11/4/97 | 9 | 32.240 | -79.336 | 971104C2 | 0.220 | 0.103 | 0.343 | 0.464 |
| 11/5/97 | 13 | 31.075 | -78.198 | 971105B1 | N/A | 0.034 | 0.168 | N/A |
| 11/5/97 | 13 | 31.075 | -78.198 | 971105B2 | N/A | 0.034 | 0.173 | N/A |
| 11/5/97 | 14 | 31.061 | -78.205 | 971105C1 | 0.164 | 0.177 | 0.159 | N/A |
| 11/5/97 | 14 | 31.061 | -78.205 | 971105C2 | 0.164 | 0.177 | 0.147 | N/A |
| 11/5/97 | 16 | 31.019 | -78.235 | 971105D1 | 0.181 | 0.035 | 0.165 | N/A |
| 11/5/97 | 16 | 31.019 | -78.235 | 971105D2 | 0.181 | 0.035 | 0.146 | N/A |

The results of this cruise show that the OC2 algorithm works reasonably well in stations further off-shore although in general the algorithm tends to over-predict chlorophyll concentrations in coastal waters.  Also we found surprisingly good agreement between our in-situ optical measurements of normalized water-leaving radiance and that measured by the SeaWiFS sensor.  We interpret this to mean that our in-situ measurements are of good quality and that our goal of validating satellite chlorophyll algorithms using these measurements is reasonable and tractable.

# VI.	References

O’Reilly, J. E., S. Maritorena, B. G. Mitchell, D. A. Siegel, K. L. Carder, S. A. Garver, and C. R. McClain, 1998.  Ocean color chlorophyll algorithms for SeaWiFS.  Journal of Geophysical Research, submitted.

Phinney, D.A. and C.S. Yentsch, 1991.  On the contribution of particles to blue light attenuation in the sea.  Journal of Plankton Research, 13, Supplement, 143-152.

Siegel, D. A., M. C. O'Brien, J. C. Sorensen, D. A. Konnoff and E. Fields (1995). BBOP Data Processing and Sampling Procedures. Vol: 19, Institute for Computational Earth System Science, UC Santa Barbara, Santa Barbara, CA,  23 pp.

Wright, S. W., S. W. Jeffrey, R. F. C Mantoura, C. A. Llewellyn, T. Bjornland, D. Repeta, and N. Welschmeyer, 1991.  Improved HPLC method for the analysis of chlorophylls and carotenoids from marine phytoplankton.  Marine Ecology Progress Series, 77, 183-196.

Yentsch, C.S. and D.W. Menzel, 1963.  A method for determination of phytoplankton chlorophyll and phaeophytin by fluorescence.   Deep Sea Research, 10, 221-231.

Yentsch, C.S. and D.A. Phinney, 1989.  A bridge between ocean optics and microbial ecology.  Limnology and Oceanography. 34: 1698-1709.

# VII.	Metadata

The core documentation section is designed for the purposes of the Coastal Information Directory (CID).  The metadata in this section is used in building the CID’s database.

Identification Information:

Citation:

Citation Information:

Originator:  Ajit Subramaniam, REMSA, NOAA Coastal Services Center

Originator:  Mary E. Culver, TPMC, NOAA Coastal Services Center

Originator:  John C. Brock, U.S. Geological Survey, Center for Coastal Geology

Originator:  Mark E. Geesey, REMSA, NOAA Coastal Services Center

Originator:  Giacomo R. DiTullio, Grice Marine Lab, College of Charleston

Originator:  David Jones, Grice Marine Lab, College of Charleston

Publication Date:  199809

Title: NOAA CSC/CRS Cruise NOV97SAR: Sargasso Sea Cruise

Geospatial Data Presentation Form:  profile

Series Information:

Series Name:  CSC Technical Report

Issue Identification:  CSC/9-98/001

Publication Information:

Publication Place:  Charleston, South Carolina

Publisher:  NOAA Coastal Services Center

Online Linkage:  http://www.csc.noaa.gov/crs/cruises/SCROL.html

Description:

Abstract:  See page iii.

Purpose:  See page 6.

Time Period of Content:

Time Period Information:

Range of Dates/Times:

Beginning Date:  19971103

Ending Date:  19971105

Currentness Reference: Publication Date

Status:

Progress:  Complete

Maintenance and Update Frequency:  Unknown

Spatial Domain:

Bounding Coordinates:

West Bounding Coordinate:  -79.625

East Bounding Coordinate:  -78.193

North Bounding Coordinate:  32.545

South Bounding Coordinate:  31.018

Keywords:

Theme:

Theme Keyword Thesaurus:  None

Theme Keyword:  oceanography

Theme Keyword:  bio-optical

Theme Keyword:  turbidity

Theme Keyword:  water clarity

Theme Keyword:  algal blooms

Theme Keyword:  coastal water optics

Theme Keyword:  case II algorithms

Theme Keyword:  light attenuation

Theme Keyword:  reflectance difference

Theme Keyword:  in-situ optical profiling

Theme Keyword:  ocean color satellites

Theme Keyword:  coastal ocean algorithm development

Theme Keyword:  downwelling irradiance

Theme Keyword:  upwelling radiance

Theme Keyword:  temperature

Theme Keyword:  chlorophyll

Theme Keyword:  particulate absorption

Theme Keyword:  colored dissolved organic matter

Theme Keyword:  salinity

Theme Keyword:  spectral attenuation

Theme Keyword:  spectral absorption

Theme Keyword:  beam attenuation

Theme Keyword:  quantum irradiance

Theme Keyword:  light scattering

Theme Keyword:  fluorescence

Place:

Place Keyword Thesaurus:  None

Place Keyword:  Sargasso Sea

Place Keyword:  South Atlantic Bight

Place Keyword:  South Carolina

Place Keyword:  United States

Place Keyword:  Gulf Stream

Temporal:

Temporal Keyword Thesaurus: None

Temporal Keyword:  Fall

Temporal Keyword:  November, 1997

Access Constraints:  None

Use Constraints:  See page v.

Point of Contact:

Contact Information:

Contact Organization Primary:

Contact Organization: NOAA Coastal Services Center

Contact Address:

Address Type:  mailing and physical address

Address:  2234 Hobson Avenue

City:  Charleston

State or Province:  South Carolina

Postal Code:  29405-2413

Country:  USA

Contact Voice Telephone:  (843) 740-1200

Contact Facsimile Telephone:  (843) 740-1224

Contact Electronic Mail Address:  csc@csc.noaa.gov

Hours of Service:  8AM-5PM, M-F

Data Set Credit:

Data Quality Information:

Attribute Accuracy:

Attribute Accuracy Report:  The instrumentation used on the cruise are sent to the respective manufacturers for calibration at least once per year. Calibration certificates for the relevant instrumentation are available in the full written report.

Logical Consistency Report:  See Methods Section, pp 12-13.

Completeness Report: Refer to the separate sections of Logical Consistency, Methodology, and Process Steps for descriptions of completeness of the data.

Lineage:

Methodology:  See Methods Section pp 6-13.

Process Step:

Process Description:  Calibration of the Biospherical Instruments QSP200 Quantum Scalar Radiometer.

Process Date: 19970210

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  Biospherical Instruments, Inc.

Contact Address:

Address Type:  mailing and physical address

Address:  5340 Riley Street

City:  San Diego

State or Province:  California

Postal Code:  92110-2621

Country:  USA

Contact Voice Telephone:  (619) 686-1888

Process Step:

Process Description:  Calibration of the Biospherical PRV-600s PRR Spectroradiometer.

Process Date:  19970210

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  Biospherical Instruments, Inc.

Contact Address:

Address Type:  mailing and physical address

Address:  5340 Riley Street

City:  San Diego

State or Province:  California

Postal Code:  92110-2621

Country:  USA

Contact Voice Telephone:  (619) 686-1888

Process Step:

Process Description:  Calibration of the Biospherical PRV610 PRR Spectroradiometer.

Process Date:  19970210

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  Biospherical Instruments, Inc.

Contact Address:

Address Type:  mailing and physical address

Address:  5340 Riley Street

City:  San Diego

State or Province:  California

Postal Code:  92110-2621

Country:  USA

Contact Voice Telephone:  (619) 686-1888

Process Step:

Process Description:  Calibration of the Hydroscat6 in situ Backscattering Sensor.

Process Date:  19970527

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  HOBI Labs

Contact Address:

Address Type:  mailing and physical address

Address:  55 Penny Lane, Suite 104

City:  Watsonville

State or Province:  California

Postal Code:  95076-6017

Country:  USA

Contact Voice Telephone:  (408) 768-0680

Process Step:

Process Description:  Calibration of the Hydrolabs Datasonde-3 turbidity, conductivity, pH, DO, temperature probe.

Process Date: 19980108

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  Hydrolab Corporation

Contact Address:

Address Type:  physical

Address:  12921 Burnet Road

City:  Austin

State or Province:  Texas

Postal Code:  78727

Country:  USA

Contact Voice Telephone:  (800) 949-3766

Process Step:

Process Description:  Calibration of the SeaTech C660 Transmissometer.

Process Date:  1995

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  Sea Tech, Inc.

Contact Address:

Address Type:  mailing and physical address

Address:  825 NE Circle Blvd.

City:  Corvallis

State or Province:  Oregon

Postal Code:  97330

Country:  USA

Contact Voice Telephone: (206) 757-9716

Process Step:

Process Description:  Calibration of the SeaTech LSS Light Scattering Sensor.

Process Date:  1995

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  Sea Tech, Inc.

Contact Address:

Address Type:  mailing and physical address

Address:  825 NE Circle Blvd.

City:  Corvallis

State or Province:  Oregon

Postal Code:  97330

Country:  USA

Contact Voice Telephone:  (541) 757-9716

Process Step:

Process Description:  Calibration of the SAFire Spectral Absorption and Fluorescence Instrument.

Process Date:  19951208

Process Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  WET Labs, Inc.

Contact Address:

Address Type:  mailing and physical address

Address:  620 Applegate Street

City:  Philomath

State or Province:  Oregon

Postal Code:  97370

Country:  USA

Contact Voice Telephone:  (541) 929-5650

Process Step:

Process Description:  Calibration of the WetStar in situ Fluorometer

Process Date:  1998

Process Contact:

Contact Information:

Contact Person Primary:

Contact Person:  A. Subramaniam

Contact Organization:  NOAA Science Center

Contact Address:

Address Type: mailing and physical address

Address:  4700 Silver Hill Road, Stop 9910

City:  Washington

State or Province: District of Columbia

Postal Code:  20233-9910

Country:  USA

Contact Voice Telephone:  (800) 789-2234

Spatial Data Organization Information:

Indirect Spatial Reference:  South Atlantic Bight, South Carolina, USA, Gulf Stream, Sargasso Sea

Distribution Information:

Distributor:

Contact Information:

Contact Organization Primary:

Contact Organization: NOAA Coastal Services Center

Contact Address:

Address Type:  mailing and physical address

Address:  2234 Hobson Avenue

City:  Charleston

State or Province:  South Carolina

Postal Code:  29405-2413

Country:  USA

Contact Voice Telephone:  (843) 740-1200

Contact Facsimile Telephone:  (843) 740-1224

Contact Electronic Mail Address:  csc@csc.noaa.gov

Hours of Service:  8AM-5PM, M-F

Resource Description:  NOV97SAR Cruise Report

Distribution Liability:  None

Custom Order Process:  Contact the distributor for a paper copy of the technical report, or the data can be accessed on-line at http://www.csc.noaa.gov/crs/cruises/.

Metadata Reference Information:

Metadata Date:  19980929

Metadata Review Date:  19981001

Metadata Contact:

Contact Information:

Contact Organization Primary:

Contact Organization:  NOAA, Coastal Services Center

Contact Position:  Metadata Specialist

Contact Address:

Address Type:  mailing and physical address

Address:  2234 Hobson Avenue

City:  Charleston

State or Province:  South Carolina

Postal Code:  29405-2413

Country:  USA

Contact Voice Telephone:  (843) 740-1200

Contact Facsimile Telephone:  (843) 740-1224

Contact Electronic Mail Address:  csc@csc.noaa.gov

Hours of Service:  8AM-5PM, M-F

Metadata Standard Name:  Content Standard for National Biological Information Infrastructure Metadata.

Metadata Standard Version:  December 1995

# VIII.	Appendix A - Water Column Profile Data Figures

# Appendix B – Sub-surface Light Field Estimation Statistics

The following pages contain tables containing the statistics for calculation of the sub-surface light field.  The channel column refers to the optical wavelength; min and max depths are the minimum and maximum depths used in the calculation; n points are the number of points used in the calculation; b0 is the intercept of the regression – the estimated sub-surface light (irradiance and radiance); b1 is the slope of the regression – the estimated attenuation coefficient, min, max, and mean refer to the minimum, maximum, and mean irradiance or radiance values used in the calculation; and std dev, var, uncertainty, and abdev refer to the estimates of the intercept.

| channel | min depth | max depth | n points | b0 | b1 | min | max | mean | std dev | var | uncertainty | abdev |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7 Downcast |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 9 | 47.08 | 0.75 | 11.58 | 41.66 | 19.38 | 1.56 | 1.22 | 1.31 | 0.07 |
| ed412 | 0.5 | 10 | 9 | 76.8 | 0.79 | 25.19 | 71.66 | 36.93 | 1.45 | 1.15 | 1.3 | 0.08 |
| ed443 | 0.5 | 10 | 9 | 102.69 | 0.79 | 35.28 | 87.62 | 49.27 | 1.38 | 1.11 | 1.26 | 0.08 |
| ed490 | 0.5 | 10 | 9 | 125.61 | 0.8 | 45.38 | 97.65 | 60.29 | 1.32 | 1.08 | 1.28 | 0.08 |
| ed510 | 0.5 | 10 | 9 | 124.89 | 0.8 | 45.14 | 93.09 | 60.08 | 1.32 | 1.08 | 1.28 | 0.08 |
| ed555 | 0.5 | 10 | 9 | 123.51 | 0.79 | 40.44 | 89.51 | 55.69 | 1.35 | 1.09 | 1.28 | 0.08 |
| lu380 | 0.5 | 10 | 18 | 0.3 | 0.77 | 0.02 | 0.21 | 0.07 | 2.12 | 1.76 | 1.03 | 0.02 |
| lu412 | 0.5 | 10 | 18 | 0.54 | 0.83 | 0.08 | 0.42 | 0.19 | 1.68 | 1.31 | 1.02 | 0.01 |
| lu443 | 0.5 | 10 | 18 | 0.73 | 0.87 | 0.18 | 0.62 | 0.33 | 1.49 | 1.17 | 1.02 | 0.02 |
| lu490 | 0.5 | 10 | 18 | 1.05 | 0.92 | 0.48 | 0.99 | 0.68 | 1.26 | 1.05 | 1.02 | 0.01 |
| lu510 | 0.5 | 10 | 18 | 0.99 | 0.93 | 0.48 | 0.94 | 0.65 | 1.24 | 1.05 | 1.03 | 0.02 |
| lu555 | 0.5 | 10 | 18 | 0.72 | 0.93 | 0.35 | 0.69 | 0.47 | 1.25 | 1.05 | 1.04 | 0.02 |
| lu683 | 0.5 | 10 | 9 | 0.09 | 0.7 | 0.02 | 0.06 | 0.03 | 1.56 | 1.22 | 1.17 | 0.05 |
| 7 Upcast |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 20 | 56.42 | 0.77 | 3.81 | 55.24 | 13.28 | 2.2 | 1.86 | 1.09 | 0.06 |
| ed412 | 0.5 | 10 | 10 | 90.64 | 0.82 | 32.85 | 89.41 | 49.2 | 1.42 | 1.13 | 1.21 | 0.07 |
| ed443 | 0.5 | 10 | 10 | 109.48 | 0.85 | 48.23 | 107.49 | 65.86 | 1.34 | 1.09 | 1.19 | 0.06 |
| ed490 | 0.5 | 10 | 10 | 126.92 | 0.86 | 62.38 | 117.16 | 80.77 | 1.26 | 1.05 | 1.13 | 0.05 |
| ed510 | 0.5 | 10 | 10 | 127.27 | 0.86 | 63.63 | 117.43 | 81.59 | 1.26 | 1.05 | 1.09 | 0.03 |
| ed555 | 0.5 | 10 | 20 | 113.07 | 0.89 | 32.79 | 111.22 | 56.2 | 1.45 | 1.15 | 1.08 | 0.06 |
| lu380 | 0.5 | 10 | 5 | 0.41 | 0.62 | 0.12 | 0.32 | 0.18 | 1.46 | 1.16 | 1.3 | 0.04 |
| lu412 | 0.5 | 10 | 5 | 0.7 | 0.7 | 0.27 | 0.6 | 0.38 | 1.34 | 1.09 | 1.23 | 0.04 |
| lu443 | 0.5 | 10 | 5 | 0.91 | 0.76 | 0.43 | 0.84 | 0.56 | 1.29 | 1.07 | 1.22 | 0.04 |
| lu490 | 0.5 | 10 | 5 | 1.34 | 0.82 | 0.79 | 1.28 | 0.95 | 1.2 | 1.03 | 1.21 | 0.04 |
| lu510 | 0.5 | 10 | 2 | 1.6 | 0.64 | 0.91 | 1.26 | 1.07 | 1.26 | 1.05 | 0 | 0 |
| lu555 | 0.5 | 10 | 5 | 0.91 | 0.83 | 0.55 | 0.89 | 0.66 | 1.2 | 1.03 | 1.2 | 0.04 |
| lu683 | 0.5 | 10 | 2 | 0.37 | 0.22 | 0.05 | 0.16 | 0.09 | 2.2 | 1.86 | 0 | 0 |

| channel | min depth | max depth | n points | b0 | b1 | min | max | mean | std dev | var | uncertainty |  | abdev |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8 Downcast |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 20 | 34.37 | 0.86 | 7.6 | 32.11 | 15 | 1.55 | 1.21 | 1.06 |  | 0.04 |
| ed412 | 0.5 | 10 | 10 | 57.16 | 0.87 | 29.72 | 52.48 | 37.8 | 1.25 | 1.05 | 1.11 |  | 0.05 |
| ed443 | 0.5 | 10 | 10 | 66.54 | 0.9 | 39.99 | 63.66 | 48.25 | 1.21 | 1.04 | 1.12 |  | 0.05 |
| ed490 | 0.5 | 10 | 10 | 71.24 | 0.92 | 47.5 | 73.11 | 56.3 | 1.17 | 1.02 | 1.13 |  | 0.05 |
| ed510 | 0.5 | 10 | 5 | 75.75 | 0.89 | 54.12 | 71.18 | 62.4 | 1.13 | 1.02 | 1.3 |  | 0.05 |
| ed555 | 0.5 | 10 | 10 | 66.76 | 0.9 | 39 | 66.42 | 48.91 | 1.23 | 1.04 | 1.14 |  | 0.05 |
| lu380 | 0.5 | 10 | 20 | 0.22 | 0.87 | 0.05 | 0.2 | 0.1 | 1.52 | 1.19 | 1.02 |  | 0.01 |
| lu412 | 0.5 | 10 | 20 | 0.39 | 0.91 | 0.15 | 0.37 | 0.23 | 1.34 | 1.09 | 1.02 |  | 0.01 |
| lu443 | 0.5 | 10 | 20 | 0.52 | 0.93 | 0.24 | 0.5 | 0.34 | 1.25 | 1.05 | 1.02 |  | 0.01 |
| lu490 | 0.5 | 10 | 20 | 0.69 | 0.95 | 0.43 | 0.68 | 0.53 | 1.15 | 1.02 | 1.01 |  | 0.01 |
| lu510 | 0.5 | 10 | 20 | 0.56 | 0.95 | 0.33 | 0.55 | 0.42 | 1.17 | 1.03 | 1.02 |  | 0.01 |
| lu555 | 0.5 | 10 | 10 | 0.33 | 0.92 | 0.22 | 0.31 | 0.25 | 1.14 | 1.02 | 1.04 |  | 0.02 |
| lu683 | 0.5 | 10 | 10 | 0.04 | 0.73 | 0.01 | 0.03 | 0.02 | 1.56 | 1.22 | 1.23 |  | 0.08 |
| 8 Upcast |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 10 | 33.07 | 0.85 | 14.77 | 31.3 | 20.52 | 1.32 | 1.08 | 1.14 |  | 0.06 |
| ed412 | 0.5 | 10 | 10 | 56.96 | 0.87 | 27.97 | 51.8 | 36.8 | 1.26 | 1.05 | 1.15 |  | 0.06 |
| ed443 | 0.5 | 10 | 10 | 70.79 | 0.88 | 36.67 | 64.97 | 47.42 | 1.24 | 1.05 | 1.18 |  | 0.07 |
| ed490 | 0.5 | 10 | 10 | 80.51 | 0.88 | 43.2 | 74.14 | 55.63 | 1.22 | 1.04 | 1.2 |  | 0.08 |
| ed510 | 0.5 | 10 | 10 | 81.99 | 0.87 | 40.49 | 74.8 | 53.16 | 1.23 | 1.05 | 1.22 |  | 0.09 |
| ed555 | 0.5 | 10 | 10 | 79.98 | 0.85 | 34.5 | 71.55 | 47.21 | 1.28 | 1.06 | 1.23 |  | 0.09 |
| lu380 | 0.5 | 10 | 20 | 0.22 | 0.86 | 0.05 | 0.21 | 0.1 | 1.55 | 1.21 | 1.02 |  | 0.01 |
| lu412 | 0.5 | 10 | 20 | 0.4 | 0.9 | 0.14 | 0.38 | 0.22 | 1.36 | 1.1 | 1.02 |  | 0.01 |
| lu443 | 0.5 | 10 | 20 | 0.51 | 0.93 | 0.24 | 0.5 | 0.33 | 1.26 | 1.06 | 1.02 |  | 0.01 |
| lu490 | 0.5 | 10 | 10 | 0.69 | 0.95 | 0.52 | 0.67 | 0.59 | 1.09 | 1.01 | 1.02 |  | 0.01 |
| lu510 | 0.5 | 10 | 10 | 0.56 | 0.94 | 0.4 | 0.54 | 0.47 | 1.1 | 1.01 | 1.03 |  | 0.01 |
| lu555 | 0.5 | 10 | 10 | 0.32 | 0.92 | 0.21 | 0.31 | 0.25 | 1.14 | 1.02 | 1.04 |  | 0.01 |
| lu683 | 0.5 | 10 | 5 | 0.03 | 0.74 | 0.01 | 0.03 | 0.02 | 1.36 | 1.1 | 1.34 |  | 0.04 |
| 9 Downcast |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 17 | 7.33 | 0.91 | 2.7 | 6.26 | 4.01 | 1.3 | 1.07 | 1.06 |  | 0.03 |
| ed412 | 0.5 | 10 | 17 | 12.26 | 0.92 | 5.19 | 11.2 | 7.25 | 1.26 | 1.05 | 1.09 |  | 0.04 |
| ed443 | 0.5 | 10 | 17 | 15.93 | 0.92 | 6.95 | 15.1 | 9.55 | 1.26 | 1.05 | 1.11 |  | 0.05 |
| ed490 | 0.5 | 10 | 7 | 21.74 | 0.89 | 12.18 | 19.13 | 14.58 | 1.18 | 1.03 | 1.32 |  | 0.06 |
| ed510 | 0.5 | 10 | 7 | 21.74 | 0.88 | 11.62 | 19.09 | 13.98 | 1.2 | 1.03 | 1.35 |  | 0.06 |
| ed555 | 0.5 | 10 | 17 | 18 | 0.88 | 5.15 | 17.84 | 8.52 | 1.42 | 1.13 | 1.14 |  | 0.07 |
| lu380 | 0.5 | 10 | 17 | 0.08 | 0.9 | 0.03 | 0.06 | 0.04 | 1.32 | 1.08 | 1.02 |  | 0.01 |
| lu412 | 0.5 | 10 | 17 | 0.13 | 0.92 | 0.05 | 0.11 | 0.07 | 1.26 | 1.06 | 1.03 |  | 0.02 |
| lu443 | 0.5 | 10 | 17 | 0.16 | 0.93 | 0.07 | 0.14 | 0.1 | 1.23 | 1.04 | 1.03 |  | 0.02 |
| lu490 | 0.5 | 10 | 17 | 0.2 | 0.94 | 0.1 | 0.18 | 0.14 | 1.19 | 1.03 | 1.03 |  | 0.02 |
| lu510 | 0.5 | 10 | 17 | 0.16 | 0.93 | 0.08 | 0.14 | 0.1 | 1.22 | 1.04 | 1.04 |  | 0.02 |
| lu555 | 0.5 | 10 | 17 | 0.09 | 0.91 | 0.03 | 0.08 | 0.05 | 1.31 | 1.08 | 1.05 |  | 0.03 |
| lu683 | 0.5 | 10 | 7 | 0.01 | 0.79 | 0 | 0.01 | 0 | 1.32 | 1.08 | 1.37 | 0.07 |  |

| channel | min depth | max depth | n points | b0 | b1 | min | max | mean | std dev | var | uncertainty | abdev |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9 Upcast |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 19 | 7.48 | 0.9 | 2.51 | 6.85 | 4.07 | 1.35 | 1.09 | 1.03 | 0.02 |
| ed412 | 0.5 | 10 | 19 | 11.79 | 0.92 | 4.93 | 11.76 | 7.31 | 1.29 | 1.07 | 1.05 | 0.03 |
| ed443 | 0.5 | 10 | 9 | 17.11 | 0.88 | 9.68 | 15.63 | 11.8 | 1.18 | 1.03 | 1.2 | 0.06 |
| ed490 | 0.5 | 10 | 9 | 20.93 | 0.87 | 11.1 | 19.52 | 14.05 | 1.2 | 1.04 | 1.27 | 0.07 |
| ed510 | 0.5 | 10 | 9 | 20.59 | 0.86 | 10.01 | 19.48 | 13.22 | 1.24 | 1.05 | 1.26 | 0.07 |
| ed555 | 0.5 | 10 | 9 | 19.75 | 0.83 | 7.95 | 18.43 | 11.2 | 1.32 | 1.08 | 1.25 | 0.07 |
| lu380 | 0.5 | 10 | 19 | 0.07 | 0.91 | 0.02 | 0.06 | 0.04 | 1.32 | 1.08 | 1.03 | 0.02 |
| lu412 | 0.5 | 10 | 19 | 0.11 | 0.92 | 0.05 | 0.1 | 0.07 | 1.26 | 1.06 | 1.03 | 0.02 |
| lu443 | 0.5 | 10 | 19 | 0.15 | 0.93 | 0.07 | 0.13 | 0.1 | 1.23 | 1.04 | 1.03 | 0.02 |
| lu490 | 0.5 | 10 | 19 | 0.19 | 0.94 | 0.1 | 0.18 | 0.13 | 1.19 | 1.03 | 1.03 | 0.02 |
| lu510 | 0.5 | 10 | 19 | 0.15 | 0.93 | 0.07 | 0.14 | 0.1 | 1.22 | 1.04 | 1.04 | 0.02 |
| lu555 | 0.5 | 10 | 19 | 0.09 | 0.91 | 0.03 | 0.08 | 0.05 | 1.33 | 1.09 | 1.06 | 0.04 |
| lu683 | 0.5 | 10 | 9 | 0.01 | 0.73 | 0 | 0.01 | 0 | 1.6 | 1.24 | 1.46 | 0.13 |
| 13 Downcast |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 19 | 35.39 | 0.94 | 20.15 | 38.84 | 25.79 | 1.2 | 1.03 | 1.09 | 0.05 |
| ed412 | 0.5 | 10 | 19 | 53.99 | 0.96 | 36.2 | 66.65 | 44.3 | 1.17 | 1.02 | 1.1 | 0.05 |
| ed443 | 0.5 | 10 | 19 | 64.71 | 0.97 | 44.93 | 80.43 | 54.76 | 1.16 | 1.02 | 1.11 | 0.06 |
| ed490 | 0.5 | 10 | 19 | 74 | 0.97 | 51.57 | 87.4 | 62.31 | 1.16 | 1.02 | 1.11 | 0.06 |
| ed510 | 0.5 | 10 | 19 | 78.58 | 0.95 | 45.52 | 90.39 | 58.35 | 1.21 | 1.04 | 1.11 | 0.06 |
| ed555 | 0.5 | 10 | 19 | 78.43 | 0.92 | 33.83 | 84.24 | 49.04 | 1.31 | 1.08 | 1.11 | 0.06 |
| lu380 | 0.5 | 10 | 19 | 0.46 | 0.95 | 0.26 | 0.42 | 0.34 | 1.17 | 1.02 | 1.01 | 0.01 |
| lu412 | 0.5 | 10 | 19 | 0.67 | 0.96 | 0.43 | 0.63 | 0.53 | 1.12 | 1.01 | 1.01 | 0.01 |
| lu443 | 0.5 | 10 | 19 | 0.71 | 0.96 | 0.47 | 0.66 | 0.57 | 1.12 | 1.01 | 1.01 | 0.01 |
| lu490 | 0.5 | 10 | 19 | 0.65 | 0.97 | 0.45 | 0.61 | 0.53 | 1.1 | 1.01 | 1.01 | 0.01 |
| lu510 | 0.5 | 10 | 19 | 0.44 | 0.96 | 0.28 | 0.41 | 0.35 | 1.13 | 1.02 | 1.01 | 0.01 |
| lu555 | 0.5 | 10 | 19 | 0.21 | 0.93 | 0.1 | 0.19 | 0.14 | 1.21 | 1.04 | 1.02 | 0.01 |
| lu683 | 0.5 | 10 | 9 | 0.02 | 0.77 | 0.01 | 0.02 | 0.01 | 1.45 | 1.15 | 1.23 | 0.06 |
| 13 Upcast |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 5 | 42.31 | 0.86 | 27.75 | 37.77 | 32.58 | 1.12 | 1.01 | 1.08 | 0.01 |
| ed412 | 0.5 | 10 | 5 | 65.18 | 0.89 | 46.61 | 61.36 | 53.01 | 1.11 | 1.01 | 1.07 | 0.01 |
| ed443 | 0.5 | 10 | 5 | 74.75 | 0.92 | 59.08 | 74.16 | 64.88 | 1.1 | 1.01 | 1.12 | 0.02 |
| ed490 | 0.5 | 10 | 2 | 93.91 | 0.82 | 73.56 | 80.69 | 77.04 | 1.07 | 1 | 0 | 0 |
| ed510 | 0.5 | 10 | 5 | 81.73 | 0.91 | 63.03 | 78.55 | 69.51 | 1.09 | 1.01 | 1.13 | 0.03 |
| ed555 | 0.5 | 10 | 10 | 82.21 | 0.88 | 39.96 | 74.36 | 56.97 | 1.21 | 1.04 | 1.14 | 0.05 |
| lu380 | 0.5 | 10 | 20 | 0.49 | 0.94 | 0.27 | 0.48 | 0.36 | 1.19 | 1.03 | 1.02 | 0.01 |
| lu412 | 0.5 | 10 | 20 | 0.72 | 0.95 | 0.45 | 0.7 | 0.56 | 1.15 | 1.02 | 1.02 | 0.01 |
| lu443 | 0.5 | 10 | 20 | 0.75 | 0.96 | 0.48 | 0.73 | 0.59 | 1.14 | 1.02 | 1.02 | 0.01 |
| lu490 | 0.5 | 10 | 20 | 0.68 | 0.96 | 0.46 | 0.67 | 0.55 | 1.12 | 1.01 | 1.02 | 0.01 |
| lu510 | 0.5 | 10 | 20 | 0.47 | 0.95 | 0.29 | 0.46 | 0.36 | 1.15 | 1.02 | 1.02 | 0.01 |
| lu555 | 0.5 | 10 | 20 | 0.23 | 0.93 | 0.11 | 0.22 | 0.15 | 1.24 | 1.05 | 1.02 | 0.02 |
| lu683 | 0.5 | 10 | 10 | 0.03 | 0.71 | 0.01 | 0.02 | 0.01 | 1.69 | 1.31 | 1.23 | 0.09 |

| channel | min depth | max depth | n points | b0 | b1 | min | max | mean | std dev | var | uncertainty |  | abdev |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 14 Downcast |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 18 | 26.94 | 0.97 | 18.02 | 25.78 | 21.87 | 1.11 | 1.01 | 1.04 | 0.02 |  |
| ed412 | 0.5 | 10 | 18 | 40.81 | 0.98 | 30.45 | 39.34 | 35.55 | 1.07 | 1 | 1.04 | 0.02 |  |
| ed443 | 0.5 | 10 | 18 | 47.29 | 0.98 | 36.34 | 46.44 | 42.26 | 1.07 | 1 | 1.05 | 0.02 |  |
| ed490 | 0.5 | 10 | 18 | 50.37 | 0.99 | 40.06 | 50.05 | 46.08 | 1.06 | 1 | 1.05 | 0.03 |  |
| ed510 | 0.5 | 10 | 18 | 50.61 | 0.97 | 34.69 | 47.71 | 42.28 | 1.1 | 1.01 | 1.06 | 0.03 |  |
| ed555 | 0.5 | 10 | 18 | 48.61 | 0.95 | 25.08 | 43.16 | 34.34 | 1.18 | 1.03 | 1.05 |  | 0.03 |
| lu380 | 0.5 | 10 | 18 | 0.44 | 0.95 | 0.26 | 0.39 | 0.33 | 1.14 | 1.02 | 1.01 |  | 0.01 |
| lu412 | 0.5 | 10 | 18 | 0.6 | 0.97 | 0.41 | 0.56 | 0.49 | 1.1 | 1.01 | 1.01 |  | 0.01 |
| lu443 | 0.5 | 10 | 18 | 0.6 | 0.97 | 0.42 | 0.56 | 0.5 | 1.09 | 1.01 | 1.01 |  | 0.01 |
| lu490 | 0.5 | 10 | 18 | 0.52 | 0.97 | 0.39 | 0.49 | 0.45 | 1.08 | 1.01 | 1.01 |  | 0.01 |
| lu510 | 0.5 | 10 | 18 | 0.36 | 0.96 | 0.24 | 0.33 | 0.29 | 1.11 | 1.01 | 1.01 |  | 0.01 |
| lu555 | 0.5 | 10 | 18 | 0.16 | 0.94 | 0.09 | 0.15 | 0.12 | 1.17 | 1.03 | 1.01 |  | 0.01 |
| lu683 | 0.5 | 10 | 18 | 0.01 | 0.86 | 0 | 0.01 | 0 | 1.55 | 1.21 | 1.19 |  | 0.11 |
| 14 Upcast |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 10 | 25.63 | 0.92 | 16.58 | 26.25 | 19.98 | 1.17 | 1.02 | 1.1 |  | 0.03 |
| ed412 | 0.5 | 10 | 5 | 43.32 | 0.88 | 30.62 | 39.19 | 34.03 | 1.13 | 1.02 | 1.26 |  | 0.04 |
| ed443 | 0.5 | 10 | 5 | 50.49 | 0.88 | 35.33 | 45.22 | 39.27 | 1.13 | 1.02 | 1.27 |  | 0.04 |
| ed490 | 0.5 | 10 | 10 | 46.64 | 0.92 | 31.83 | 47.45 | 37.07 | 1.15 | 1.02 | 1.1 |  | 0.04 |
| ed510 | 0.5 | 10 | 10 | 46.12 | 0.91 | 29.11 | 46.25 | 34.95 | 1.17 | 1.03 | 1.1 |  | 0.04 |
| ed555 | 0.5 | 10 | 10 | 44.33 | 0.88 | 23.39 | 42.32 | 30.2 | 1.22 | 1.04 | 1.09 |  | 0.04 |
| lu380 | 0.5 | 10 | 20 | 0.37 | 0.95 | 0.22 | 0.34 | 0.28 | 1.16 | 1.02 | 1.01 |  | 0.01 |
| lu412 | 0.5 | 10 | 20 | 0.49 | 0.96 | 0.34 | 0.47 | 0.4 | 1.11 | 1.01 | 1.01 |  | 0.01 |
| lu443 | 0.5 | 10 | 20 | 0.48 | 0.97 | 0.35 | 0.47 | 0.4 | 1.1 | 1.01 | 1.01 |  | 0.01 |
| lu490 | 0.5 | 10 | 20 | 0.43 | 0.97 | 0.32 | 0.41 | 0.36 | 1.09 | 1.01 | 1.01 |  | 0.01 |
| lu510 | 0.5 | 10 | 20 | 0.28 | 0.96 | 0.2 | 0.28 | 0.23 | 1.11 | 1.01 | 1.01 |  | 0.01 |
| lu555 | 0.5 | 10 | 20 | 0.13 | 0.95 | 0.07 | 0.12 | 0.09 | 1.18 | 1.03 | 1.01 |  | 0.01 |
| lu683 | 0.5 | 10 | 10 | 0.01 | 0.77 | 0 | 0.01 | 0.01 | 1.5 | 1.18 | 1.11 |  | 0.04 |
| 16 Downcast |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 11 | 5.52 | 0.97 | 4.18 | 5.34 | 4.53 | 1.08 | 1.01 | 1.11 |  | 0.03 |
| ed412 | 0.5 | 10 | 3 | 13.17 | 0.88 | 6.97 | 8.19 | 7.66 | 1.09 | 1.01 | 2.63 |  | 0.02 |
| ed443 | 0.5 | 10 | 3 | 14.83 | 0.88 | 8.08 | 9.4 | 8.85 | 1.08 | 1.01 | 2.79 |  | 0.02 |
| ed490 | 0.5 | 10 | 3 | 31.76 | 0.76 | 8.64 | 9.93 | 9.42 | 1.08 | 1.01 | 19.47 |  | 0.06 |
| ed510 | 0.5 | 10 | 11 | 9.42 | 0.98 | 7.75 | 9.18 | 8.2 | 1.06 | 1 | 1.1 |  | 0.03 |
| ed555 | 0.5 | 10 | 11 | 8.64 | 0.96 | 5.46 | 7.8 | 6.33 | 1.12 | 1.01 | 1.1 |  | 0.03 |
| lu380 | 0.5 | 10 | 11 | 0.12 | 0.94 | 0.06 | 0.1 | 0.08 | 1.15 | 1.02 | 1.02 |  | 0.01 |
| lu412 | 0.5 | 10 | 11 | 0.16 | 0.95 | 0.1 | 0.14 | 0.12 | 1.11 | 1.01 | 1.02 |  | 0.01 |
| lu443 | 0.5 | 10 | 11 | 0.16 | 0.96 | 0.1 | 0.13 | 0.12 | 1.1 | 1.01 | 1.02 |  | 0.01 |
| lu490 | 0.5 | 10 | 11 | 0.14 | 0.96 | 0.1 | 0.12 | 0.11 | 1.09 | 1.01 | 1.02 |  | 0.01 |
| lu510 | 0.5 | 10 | 11 | 0.09 | 0.96 | 0.06 | 0.08 | 0.07 | 1.11 | 1.01 | 1.02 |  | 0.01 |
| lu555 | 0.5 | 10 | 11 | 0.04 | 0.94 | 0.02 | 0.03 | 0.03 | 1.16 | 1.02 | 1.03 |  | 0.01 |
| lu683 | 0.5 | 10 | 11 | 0 | 0.87 | 0 | 0 | 0 | 1.4 | 1.12 | 1.22 |  | 0.06 |

| channel | min depth | max depth | n points | b0 | b1 | min | max | mean | std dev | var | uncertainty | abdev |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 16 Upcast |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ed380 | 0.5 | 10 | 10 | 4.54 | 0.94 | 3.34 | 4.46 | 3.73 | 1.11 | 1.01 | 1.09 | 0.04 |
| ed412 | 0.5 | 10 | 10 | 6.82 | 0.94 | 5.23 | 6.71 | 5.74 | 1.09 | 1.01 | 1.09 | 0.04 |
| ed443 | 0.5 | 10 | 10 | 7.8 | 0.94 | 5.97 | 7.65 | 6.56 | 1.09 | 1.01 | 1.09 | 0.04 |
| ed490 | 0.5 | 10 | 10 | 8.14 | 0.95 | 6.29 | 7.97 | 6.9 | 1.09 | 1.01 | 1.09 | 0.04 |
| ed510 | 0.5 | 10 | 10 | 7.93 | 0.93 | 5.79 | 7.64 | 6.47 | 1.11 | 1.01 | 1.09 | 0.04 |
| ed555 | 0.5 | 10 | 10 | 7.36 | 0.91 | 4.69 | 6.82 | 5.49 | 1.15 | 1.02 | 1.09 | 0.04 |
| lu380 | 0.5 | 10 | 17 | 0.07 | 0.96 | 0.04 | 0.07 | 0.06 | 1.13 | 1.02 | 1.01 | 0.01 |
| lu412 | 0.5 | 10 | 16 | 0.09 | 0.97 | 0.07 | 0.09 | 0.08 | 1.08 | 1.01 | 1.01 | 0.01 |
| lu443 | 0.5 | 10 | 16 | 0.09 | 0.98 | 0.07 | 0.09 | 0.08 | 1.07 | 1 | 1.01 | 0.01 |
| lu490 | 0.5 | 10 | 16 | 0.08 | 0.98 | 0.07 | 0.08 | 0.07 | 1.06 | 1 | 1.01 | 0.01 |
| lu510 | 0.5 | 10 | 16 | 0.05 | 0.97 | 0.04 | 0.05 | 0.05 | 1.08 | 1.01 | 1.01 | 0.01 |
| lu555 | 0.5 | 10 | 16 | 0.02 | 0.95 | 0.01 | 0.02 | 0.02 | 1.14 | 1.02 | 1.02 | 0.01 |
| lu683 | 0.5 | 10 | 10 | 0 | 0.74 | 0 | 0 | 0 | 1.56 | 1.22 | 1.17 | 0.07 |

# X.	Appendix C - Example Profile Header Information

The following text is an example of the header information found in each BBOP processed profile file.

<cruise_info>

filename p971104b

date 11-04-1997

day_of_year 308

day_since_010192 2135

file_created 14:18:56

cruise station 8

position 32 23.971 79 28.549

longitude 32 23.971

latitude 79 28.549

sky_state clear

operator_name ajit

sun_position 4

cruise_id  sargasso sea nov97sar

session_started 14:19:58

session_stopped 14:26:14

depth_offset 0.32

transmiss_offset 0.0032

trans_air_calib 4.711

trans_factory_air_calib 4.711

trans_sn 664

most_recent_dark_file p971104b

deck_comparison_file p971104b

cal_date_uw9643 021097

cal_date_sfc9644 021097

downcast_ended 14:21:52.960 174

upcast_ended 14:26:13.859 592

yoyo n

closest_CTD_cast y

sun_intensity bright

cloud_type none

cloud_amt none

wind_speed_and_dir

swell

collection_software_version prrprof_002086c

number_units 1

collection_cal_file 96439644.cfl;prr-600 #9643/9644 calibration file 2/10/97 cac

lcd_calib_file 0 /csc/nep1/coors/bbops/BUILD/calib/unit0_021097.cfl

1 /csc/nep1/coors/bbops/BUILD/calib/unit1_021097.cfl

2 /csc/nep1/coors/bbops/BUILD/calib/unit2_021097.cfl

lcdfile_created Dec 31 1997 11:18:19

castid index 	1prr_record	1depth

p971104b.dt1     1.7000000e+01   1.7000000e+01   1.5757800e+00

p971104b.db1     1.6800000e+02   1.6800000e+02   2.1253700e+01

p971104b.ub1     2.0500000e+02   2.0500000e+02   2.1342400e+01

p971104b.ut1     3.9700000e+02   3.9700000e+02   1.3916800e-01

<sampled_parameters>

1prr_record  1 1 0

1Ed380 0 -0.008317 0.000146

1Ed412 0 -0.021345 0.000551

1Ed443 0 -0.021874 0.000189

1Ed490 0 -0.02298 0.000282

1Ed510 0 -0.022313 0.000171

1Ed555 0 -0.022801 0.00048

1PAR 0 -9.05594 0.000371

1EdGND 0 1 0

1Temp 0 0.1421 0.0889

1Depth 0 0.9383 83.1773 26.9099 0 0

1Xmiss 0 0.05 0

1QSP 0 -1.02e-17 0.0018

1Tilt 0 0.04178 2.68617

1Roll 0 0.041514 2.69727

1Scat 0 1 0

1Fluor 0 1 0

2Lu380 0 -0.151929 0.000198

2Lu412 0 -0.498479 -0.000103

2Lu443 0 -0.90121 0.000203

2Lu490 0 -0.996381 0.00016

2Lu510 0 -1.24348 0.00033

2Lu555 0 -1.74733 0.000162

2Lu683 0 -1.52118 0.000105

2LuGnd 0 1 0

3Es380 0 -0.031424 0.00024

3Es412 0 -0.03211 -0.000879

3Es443 0 -0.033785 -2.1e-05

3Es490 0 -0.032938 -0.000256

3Es510 0 -0.032641 -0.000241

3Es555 0 -0.032326 0.000203

3PAR 0 -10.5311 -6.9e-05

3EdGND 0 1 0

<derived_parameters>

aq-1Tilt-1Roll

kq-1ed412

d-1fluor

d-1temp

d-1xmiss

d-d-1fluor

d-d-1temp

d-d-1xmiss

m-d-d-1temp

bin_0.5_1depth

ptsbin_0.5

kc-1ed380

kc-1ed412

kc-1ed443

kc-1ed490

kc-1ed510

kc-1ed555

kc-1par

<data>

<filters_used>

bbopradq -fa 1ed380 6.327000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1ed412 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1ed443 8.000000e-04 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1ed490 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1ed510 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1ed555 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3es380 1.000000e-04 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3es412 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3es443 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3es490 1.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3es510 1.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3es555 1.000000e-04 p971104b.lcd outqp971104b.lcd

bbopradq -fa 3par 2.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu380 8.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu412 6.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu443 5.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu490 1.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu510 5.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu555 3.000000e-05 p971104b.lcd outqp971104b.lcd

bbopradq -fa 2lu683 1.000000e-08 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1xmiss 3.000000e+01 p971104b.lcd outqp971104b.lcd

bbopradq -fa 1fluor 1.000000e-03 p971104b.lcd outqp971104b.lcd

bbopangq 1Tilt 1Roll 10 2 inqp971104b.lcd outqp971104b.lcd

bbopkq -s 1ed412 3 5 0.5 inqp971104b.lcd outqp971104b.lcd

bbopdespike -d 1fluor 0.03 10 indqp971104b.lcd outdqp971104b.lcd

bbopdespike -d 1temp 0.05 10 indqp971104b.lcd outdqp971104b.lcd

bbopdespike -d 1xmiss 0.05 10 indqp971104b.lcd outdqp971104b.lcd

bbopdespike -d d-1fluor 0.03 10 indqp971104b.lcd outdqp971104b.lcd

bbopdespike -d d-1temp 0.05 10 indqp971104b.lcd outdqp971104b.lcd

bbopdespike -d d-1xmiss 0.05 10 indqp971104b.lcd outdqp971104b.lcd

bbopmovavg -f d-d-1temp 5.0 dqp971104b.lcd mdqp971104b.lcd

bbopbin -b 0.5 mdqp971104b.lcd

bbopkc -s 1ed380 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

bbopkc -s 1ed412 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

bbopkc -s 1ed443 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

bbopkc -s 1ed490 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

bbopkc -s 1ed510 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

bbopkc -s 1ed555 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

bbopkc -s 1par 5 inkbmdqp971104b.lcd.2 outkbmdqp971104b.lcd.2

# XI.	Appendix D - Calibration Certificates

The following pages contain the calibration certificates for the PRR600s system.

# XII.	Appendix E – Backscattering Coefficient Profile Data Figures