Handbook for Metadata Receipt and Review

September 2004
Handbook for Metadata Receipt and Review

October 2004
 

US Climate Reference Network (USCRN)

Handbook for Metadata Receipt and Review

[image: image1.jpg]o
s TN

Ry ®

N Noumsw“‘d

c

>

s
Ansent oF o

Wk




October 12, 2004

Table of Contents

Introduction
3


Section 1.0
Overview of the Metadata Review Process
4

Section 2.0
Reviewing the Source Documents
5

2.1
Verifying the Fields
5

2.2
Keeping Track of the Review Process
7

Section 3.0
Reporting Review Findings
8
Appendix A
Forms Used for Packet Review
9
Appendix B
Sample CRN Station List
11
Appendix C
Sample ‘Findings’ Emails
12
Appendix D
WSSRD Staging File Names
13
Appendix E
Metadata Receipt and Review Handbook Change Log
14
List of Figures

Figure 1.  Example Document Checklist
5

Figure 2.  Example Verification Field List
6
Figure 3.  Example Hourly Observation Page
7
Figure 4.  Example Packet Review Form
8
Introduction

The U.S. Climate Reference Network (USCRN) is a network of climate stations whose primary goal is to provide future long-term homogeneous observations of temperature and precipitation that can be coupled to long-term historical observations for the detection and attribution of present and future climate change.

USCRN’s data are supported and documented by extensive metadata.  The metadata collection begins with documents from the candidate site survey, continues with documents created when a site is selected, and grows with the addition of documents throughout a station’s lifetime from its installation through its maintenance history.  This document, Handbook for Metadata Receipt and Review, focuses on the receipt and review of documents and photos that derive from installation and maintenance of USCRN stations.  These source documents are reviewed for internal consistency and used to verify entries in the on-line station information database.  Inconsistencies are forwarded to the field engineers for clarification and correction.  

This document is a set of evolving guidelines - it will change over time as automation is increased, station information changes, and new uses for the data are identified.

Section 1.0
Overview of the Metadata Review Process

1. A packet of source documents is received by the CRN team, inventoried, scanned and the image files placed in WSSRD.  When used below, the term ‘packet’ is intended to identify the group of related forms or photos associated with an individual station installation or station annual maintenance visit.

2. A packet is retrieved from the CRN file cabinet located in Room 500 or its scanned files images are located in the CRN WSSRD working directory on the LAN (network).

3. The documents are compared to the list found in the packet’s Document Checklist to be sure all documents on the list are available for review.  Note:  The characters adjacent to the list of documents (see figure below) are ATDD identifiers: the characters “NA” should not be interpreted as “no form available”.
[image: image2.jpg]Documents for USCRN Install Form Dt Qctaber 6, 2004

State/ID:

SiteName:

[

ey
a8
ac
20
2D
aE
aF
a0

N
N
N
a
N

FECTIONA Documents to be Used by ATDD & Sent o ICDC (nstallation)
Document

[__JUSCRN Sitenstal Acceptance Checkit

[ JuSCRN SteInstal Checkit

[ Jnepa statement

[ JuSCRN Site Soorng Sreet

[ SCRN Site "as-8u Draving

[ USCRN Pholographical Checkis

[ USCRN Site Vst Deta Verifcaion

[ JUSCRN Siteinfo. & Intrument Caefcert Recard
Calbration Shests
ot concts oot s s ar e

— )
1 -Anemometer

[ -Pyranometer
[ - Geonor wais) Hanawiten Notes
| E—

~Geonor V() Spreadsheet(s)





Figure 1.  Example Document Checklist

4. The Verification Field List (see Appendix A) is used to compare certain fields in the document against the on-line station information database entry.  

5. Discrepancies, omissions and form changes are noted on the Packet Review Form (see Appendix A).

6. The date in the on-line database’s Installation record is compared to the operational date on the CRN Station Report (see Appendix B) AND to the date when station data begins on the CRN Data Observations page for the station.

Section 2.0
Reviewing the Source Documents

Each document in the source document packet must be cross-checked against other documents in the packet.  The data previously keyed from them into the on-line station information database is then cross-checked against the source documents.  

2.1
Verifying the Fields

The Verification Field List (see Appendix A) lists the fields to be cross-checked and verified, which source documents contain which fields and comments about individual fields’ location on the forms, contents and format.  Use the list to check each field to be sure the values are the same as or within stated guidelines for each of the listed forms and in the database.

[image: image3.jpg]! Fle Edt View Insert Format Tools Table Window Help add column v x

3] A4 Normal + 14 pt, B v Times New Roman

Verification field list
The Site info & instrument Coeficient History Record may be used if the Station infomatiomHistory form is not
avalishle. f used, # shoukd be scamed and archived.

FIELDS to be FORMS in which fields occur Comments
checked/compared
Station DaialSie Information
Tosation/Station Name i Boceptance CheckIst
Station Information/History.
St nfo & Insirument Cogfficint History Record
State i Boceptance Checklst s This Tl Tor Canalion provinces
Station Information/History
S nfo & Insirument Cogfficint History Record
Testor i Boceptance Checklst
Station Information/History
S nfo & Insirument Cogfficint History Record
Taftude i Boceptance Checklst Todphees
Station Information/History
S nfo & Insirument Cogfficint History Record
Tongitude i Boceptance Checklst Todphees
Station Information/History.
St nfo & Insirument Cogfficint History Record
Elvation i Boceptance Checklst Forms and database Tt agree Wk
Station Information/History +e 100 et
Site nfo & nsirument Cogfficint History Record
Commssion Code Stafion Taformation/Hstory Shoulbs " The dafabase omall
reconds from Instelation uni (out ot
inhling) Corumissioning

Operstional Staion i Acceptance ChacklSt
Station InformationHistory
Stte o & Instrument Cogffcient History Racord.

Temperature Sensors

Seral# STafion Tormatan ARty
Terup Sensor Calkration Shests

Stte Info & Instrument Coaffcient History Racord.

Calfbrafion Coefitents 0,1 &2 | Stafion Ifomation/Hstory. ~Coeficients appear i the formula o

“Torap Sersar Calloraion Sheets The Torm B reverse order Tom Thelr
Stte Info & Instrument Cogffcient History Record. munbering.
-CCO, CC1 decirual s 2 places to the
sight in the catabase value
-CC2: derimal i 1 place o the right
i the database value
- CCO s lways negative in the

ey
w < F]

pawy s [agoshepess N NOOB AG BEAS-L-A-==s@df

Page 1 Sec 1 14 |/At14"  In5 Col9 |IREC| TRK| ExT|[ovR Engish Us. || BX ||

£ mE S e

[
o, [ orae | Chiveta. [DPack. [@cma. | |l 2% 2 o @O 6 1206





Figure 2.  Example Verification Field List

Most of the fields being reviewed are self-explanatory, but it might be helpful to say a little bit about calibration coefficient fields.  A coefficient is a number in front of a variable.  In the formula 3x+2y = 6, the numbers 3 and 2 are coefficients.  USCRN instruments are measured and adjusted for accuracy (calibrated) in order to ensure the accuracy of our observations.  The results of calibration (calibration coefficients) are included in USCRN metadata and are among the fields that are reviewed in the metadata receipt and review process.  

Verify the station’s start date by checking the date at which data for the station begins. Bring up the station’s Hourly Observation page by choosing Data->Observations from the CRN web page.  Select the station you wish to see by clicking on the map or selecting the station name from the list and clicking on the list’s Go button.  The station’s period of record appears to the left of the Hourly Ob page.

[image: image4.jpg]CRNetwork Hourly Observations - Netscape

elp

J‘ B R I e —r | [summaris | @

Back  Forward | Reload Stop
I

) il
l,"ms.CR]N Hourly Summary

NE Harrison 20 SSE: Agate Fossil Beds National Monument (Visitor Center Site)

Chenge Date/Time
Aug 23 2004 11:00 AM Mountain
Period of recard is

g2y 2003 Caleulated Temperature: 76.3F / 24.6°C
e 22 2000 Calculated Precipitation: 0.00in / 0.0 tm

Lest 12 Hos
Detaled Obs

Dy Sunmary
Moty Summary

Select Station

NCDC/ Climate / USCRN / Date / Search / Help

%23 A 2 8 | Document: Dore (0516 secs)





Figure 3.  Example Hourly Observation Page

It is not unusual for the installation date on the forms, the date on the on-line database’s “Installation” record and the Hourly Observations web page’s period of record start date to be different.  The engineers may fill out forms a day or two before or after the station begins transmitting data, and sometimes the station transmits unacceptable date for a while.  Because of this, care should be taken to note and communicate any differences so they may be resolved or noted as acceptable in the metadata collection.

2.2
Keeping Track of the Review Process

The Packet Review Form (see Appendix A) is provided so that you may record the progress of the review and any discrepancies or questions that arise.  Reviewing a CRN metadata packet can be tedious and interruptions are bound to occur.  Carefully noting the completion of each step on the Packet Review Form and accurately recording questions makes the review easier and more accurate.

[image: image5.jpg]A

B

C

D

E

F

Station Name

Install or AMV?

Are all forms
online?

Forms to be annotated

Annotation made

Notes/Questions NCDC/OakRidge





Figure 4.  Example Packet Review Form

Section 3.0
Reporting Review Findings
1. Enter your findings on the Field Findings Form (see Appendix A) and save it with a file name that adheres to the following pattern:
State location vector Install or AMV or Maint yyyymmdd FF.doc
2. Compose a ‘findings’ email (see Appendix B, first example).  The subject line should always adhere to the following pattern to make it easier to track the emails in their folders:

Metadata Packet Review: State location vector Install or AMV or Maint  yyyymmdd
Attach the Field Findings form and send the email to ATDD, Oak Ridge, Tennessee, for response, copying NCDC CRN personnel, and blind copying yourself.  Currently the addressees are:

To: Gabrielle.Ridenour@noaa.gov                 (ATDD)

Cc: Debra.S.Braun@noaa.gov                        (NCDC)
                  Freida.Evans@noaa.gov                           (NCDC)
Bcc: yourself
3. Once you have received a response and have finished with the packet, compose an email indicating any forms in the packet which have been changed and which therefore must be re-scanned and re-submitted to the archive (see Appendix B, second example). Currently the addressees are:
To: Debra.S.Braun@noaa.gov                        (NCDC)
Cc:  Freida.Evans@noaa.gov                          (NCDC
Bcc: yourself
Appendix A  Forms Used for Packet Review

The packet review form spreadsheet 
[image: image6.jpg]Microsoft Excel - PacketReviewForm.xls

fle Edt View Data Window Help
FEH SRV Y BR-F - @T-HE % Q)T b 16 - B IO
2% 4% % | @ % @ | YeReply with Changes... End Review... .
A1 - # Packet Review Form

A B € D E F =

Insert Format Tools

B oE

1 Packet Review Form
Cross
Install ar AMY Referenced
Are paper Has packet Data on-
packets all  [been imaged? | line/packet Yes
Station Name there? “Yes or No or No Notes/Questions NCDC/OakRidge Resalved (Person/Date)

EIEEE IS

9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
a0
31
32
33
34
35
36
a7

1« <> M\Sheet1 { Sheets / Sheets 14 | o[
Ready





                                                 is available on the CRN website.
The verification field list 

[image: image7.jpg]! Fle Edt View Insert Format Tools Table Window Help add column v x

3] A4 Normal + 14 pt, B v Times New Roman

Verification field list
The Site info & instrument Coeficient History Record may be used if the Station infomatiomHistory form is not
avalishle. f used, # shoukd be scamed and archived.

FIELDS to be FORMS in which fields occur Comments
checked/compared
Station DaialSie Information
Tosation/Station Name i Boceptance CheckIst
Station Information/History.
St nfo & Insirument Cogfficint History Record
State i Boceptance Checklst s This Tl Tor Canalion provinces
Station Information/History
S nfo & Insirument Cogfficint History Record
Testor i Boceptance Checklst
Station Information/History
S nfo & Insirument Cogfficint History Record
Taftude i Boceptance Checklst Todphees
Station Information/History
S nfo & Insirument Cogfficint History Record
Tongitude i Boceptance Checklst Todphees
Station Information/History.
St nfo & Insirument Cogfficint History Record
Elvation i Boceptance Checklst Forms and database Tt agree Wk
Station Information/History +e 100 et
Site nfo & nsirument Cogfficint History Record
Commssion Code Stafion Taformation/Hstory Shoulbs " The dafabase omall
reconds from Instelation uni (out ot
inhling) Corumissioning

Operstional Staion i Acceptance ChacklSt
Station InformationHistory
Stte o & Instrument Cogffcient History Racord.

Temperature Sensors

Seral# STafion Tormatan ARty
Terup Sensor Calkration Shests

Stte Info & Instrument Coaffcient History Racord.

Calfbrafion Coefitents 0,1 &2 | Stafion Ifomation/Hstory. ~Coeficients appear i the formula o

“Torap Sersar Calloraion Sheets The Torm B reverse order Tom Thelr
Stte Info & Instrument Cogffcient History Record. munbering.
-CCO, CC1 decirual s 2 places to the
sight in the catabase value
-CC2: derimal i 1 place o the right
i the database value
- CCO s lways negative in the

ey
w < F]

pawy s [agoshepess N NOOB AG BEAS-L-A-==s@df

Page 1 Sec 1 14 |/At14"  In5 Col9 |IREC| TRK| ExT|[ovR Engish Us. || BX ||

£ mE S e

[
o, [ orae | Chiveta. [DPack. [@cma. | |l 2% 2 o @O 6 1206





                                              is available on the CRN website.
The Field Findings Form:

[image: image8.jpg]dFinding |

i Fle Edt View Insert Format Tools Table Window Hep Type a question for e v x

NEHR I ~ @ | HRead Normal + Arial, 16 1 = Arial

Field Findings Form

Station:

FIELDS

Stafon Daf/STE Iiformafion
Tocation/Station Naze

3

Vertor
Taide

Tongiule

Elvafion

Conmission Code

Operstional Stahs

Temperature Semsors
Seral#

Sensar T Cal okt 1

Sensar T Cal Casliiend T

Sensar T Cal okt 2

Sensor 2 Cal Coeint 1

Sensar 2Cal Casliknd T

Sensar 2 Cal okt 2

Sensor 3 Cal Costlieind 1

=w <
pawy s [agoshepess N NOOB AG @A S -L-A-==s@df

Page 1 Sec 1 15 |[ato5s"  In1 cd 1 |[REc| TRk /ExT|/ovR| [Engish Us. |

start  © &N mE ST HeD

I
The. [EhF [=h ST O DGR





                                              is available on the CRN website.
Appendix B CRN station list

The CRN web site has a CRN Station Report, which is automatically updated when new stations are added to the network.

[image: image9.jpg]&) Climate Reference Network - Netscape

File Edit View Go Bookmarks Tools Window Help

J a‘a{k > FD%M B R;%ad g!;p [ https//www.ncdc.noas. gov/ern/repor Ureport=stationsapar_start_month=D18por_start_day=018por_start_year=20048por_start hour=apor v| | Summrize | @

& NCDC/ Climate / USCRN / Reports / Search / Help i
Station Listing
STATION OPERATIONAL [NAME GOES_ID|GOV_PROPERTY_ID
K Basiow 4ENE. M2, 202 |NOAA CMDLObservatary) 0FOB0_[CD0000E24575
AKFaitbarks 11 NE__ [1ul22,2002 | NOAA /NESDIS FCDAS) 0102CE_|CD0000z24576
AzZBignss Sep14,2002 |AUDUBON (Appleton-Whittell Research Ranct) o242 [oDoooos2e5e4
A2 Tucson 1 W Sep13, 2002 |Sonora Desert Museum, 013754 |cDo000z24985
CAMexced 3WSW  |Max25,2004  Kesterson Reservois (US Burean of Reclamation) 026Dz _|CDo000E26741
CA Redding [ZWNW _|Max25,2003 | Whiskeytown Nationsl Recreation Atea (RAWS Site) 01745 |cDooooz24550
(CA Stavepipe Wells | 5 May 05,2004 Death Valley National Pack (Stavepipe Wells Site) o258 |CD0000E26743
0O Boulder 14T Sep29,2003 | Mountain Research Station, INSTAAR, Univ. of CO, (Hills Ml 022320 _|CDO000825000
CO Dinosanc 25, u21,2004 |Dinosau Nationsl Monsment (Hg, Meintensnce Site) 324 [UNKNOWN
COLaJunta 17 WSW |Aug03, 2004 |USDA Comanche National rasslsnd o3EACE|CD0000E26735
OO Montrase 1IENE  [Jul25,2004 | Black Canyon of the Cuunsison National Pack (Vemal Mess) _|03D132 | UNKNOWN
0O Huan 7 NNE 06,2005 | Ag.Res.Sve, Central lains Bup. Range (S0 LTER s.CSU)__ (016728 | CDODO0R2498E
GA Newton 11 SW Augl0, 2002 |Roben W. Waoduff Foundation (chenway-DubignonSite) _|02CUDE | CDODUO249T5 B
GA Newtons W Aug20, 2002 |Robert W. Waoduff Foundation (chanway-George Site) __|02B64E | CDODMOR249TE
GA Watkinevile 5598 |[Apra0,2004 | USDA, ARS, Watkinsvile Colham Fenry Site 3FTEE _|CD0000E26742
ID Axco 175W 10,2008 |Craters ofthe Moon NM & Preserve (Headquartrs Ares) |01D4A6 | CDODNOR24995
1D Musphy 10W 725,200 |ARS, NW Watsrshed Research Crt. (Reymolds CreskSite) |O1EI3C | CDODUOR24993
IL Chanpsign9SW _ |Dec 20,2002 [Univ. of linois (Bondvill Envison, & Atmos. Resrch Sty |030734 _|CDO000E24981
ILShabbona SNNE  |Aug16, 2003 Nothem llinois Agronomy Research Center, t314C_[CDo000z24997
KSMarhattan6 S5W  |OctOL, 2003 |Kansas State University, (Konza Prsie Biclogical Statior) __|007644_|CDO000226730
K¥ Bowling Green 21 NIVE [May 19, 2004 Manmoth Cave National Pack (lob Corps Site) 2538 |cDo000E26732
KY Versailes INNW  |un 12,2003 |University of Kentucky (Woodford County Site) 27350 |conoose24992
L Lafoyette 1358 [lan10,2003  University of Lovisisns af Lafayette (Cade Famm) 015282 |cDoonoz24583
L Monzor 2511 Jan15,2005 | Upper Ouschita National Wildife Refuge, o141c4_|cDooooe24582
ME Linestons 4NNW _ [Sep20, 2002 Aroosteok National Widife Ref, Fie Trening Ates) Es|CDR000E24678
ME O1d Town 2 Sep13,2002 [University of Maine (Rogers Fam Sity aD3A3_|CD0000E24677
N Goodridge I2NNW |Aug2l, 2003 | Agassiz National Wildife Refige (Maintensnce Shop Site) __|1321D6 _|CDO0D0E24598
5 Newton 3 ENE Novw03, 2002 |Mississippi State University (Cosstal Plin Exp. Staior) 02F544_|CD0000E24679
MTS.May [SSW  [Sep25,2003  Glacier National Park (3t Mary Sit9 o205 [CD0000E26729
T Wolf Point 29ENE _|Dec 20,2001 |Fort Peck Indian Res. (Poplar River Site) 009356 __|CD0000z24666
MTWolfPoint 34N |Dec20, 2001 Fort Peck Indian Res. (Give Out Morgan 5ite) lo0ancc[cDaoooz24667
NC Asheville 135 Nov 14,2000 | NC M. Hortiettural Craps Res. Ot (Backlond Sit) 02538C_|CDn0onz24632

%23 A 2 B | Document: Done (0.484 secs)





Sample ‘Findings’ emails 

[image: image10.jpg]3 Metadata Packet Review: SC McClellanville 7NE Install 20020808 - Packets for Debra.S.Braun@ noaa.gov - Netscape 7.0

File Edt View Go Message Tools Window Help

L Yy & P B e ? v B o
GetMsgs ~ Compose | Reply Reply All Forward | File  Next Delete Prit  Stop
B Subject: Metadata Packet Review: SC McClellanville 7NE Install 20020808 Attachments:

From: Nancy Rowan <Nancy Rowan@noaa.qov>
Date: 11:51AM

To: Gabrielle Ridenour <Gabrielle Ridenour@nosa.qov>.
Ce: Debra S Braun <Debra.S Braun@noaa.qov>, Freida Evans <Freida Evans@noaa.gov>

SC McClellanvile 7NE Install 2002080,

Naney Rowan
Contractor STG
Hee

Dacument Analyst

nancy. rouan@noaa. gov
828-271-4006

6 % A \Z & Document: Done [—] )





[image: image11.jpg]ue, 05 Oct 2004 14:48:06 -0400

: Nancy Rowan' <Nancy Rowan@noaa g0v>
cbra S Braun <Debra S Bram@noaa gov>

Freida,

Please rescan: Accept List
Platform Description Tshle
Stn History Info
Precip Gauge Calib Sheet
Companent List

Nancy Rowan
Contractor STG

Heoe

Dacument Analyst
naney. rouangnoaa. gov





Appendix C WSSRD Staging File Names

All file names begin with state, location, vector.  Example: ME Limestone 4NNW
Install DocChecklist:   Documents for USCRN Install

Install AcceptList :    USCRN Site Install Acceptance Checklist

Install Checklist:   USCRN Site Install Checklist

Install Issues:   USCRN Site Install Issues

Install Component List:   USCRN Site Install Component Checklist

Install NEPA Statement:    NEPA Statement

Install AsBuilt Drawing:   USCRN Site “As-Built” Drawing

Install Photo Checklist:   USCRN Photographical Documentation Checklist

Install Data Verif:   USCRN Site Visit Data Verification

Install Stn History Info:   USCRN Station Database – Station History (Printed & Handwritten)

Install Platform Desc Table:   NOAA Platform Description Table

Install Temp Sensor 1 Calib Sheet:   Temperature Calibration Sheet (PRT #__ ) (No title)

Install Temp Sensor 2 Calib Sheet:   Temperature Calibration Sheet (PRT #__) (No title)

Install Temp Sensor 3 Calib Sheet:   Temperature Calibration Sheet (PRT #__) (No title)

Install Wind Speed Sensor Calib Sheet:   Anemometer Information/Calibration Sheet (No title)

Install Solar Rad Sensor Calib Sheet:  Solar Radiation Calibration Sheet (KZ#_____ ) (No title)

Install Precip Gauge 1 Sensor 1 Calib Sheet:   Calibration Sheet Precip Gauge 1 Transducer I

Install Precip Gauge 1 Sensor 2 Calib Sheet:   Calibration Sheet Precip Gauge 1 Transducer II

Install Precip Gauge 1 Sensor 3 Calib Sheet:   Calibration Sheet Precip Gauge 1 Transducer III

Metadata Receipt and Review Handbook Change Log

	Date
	Section and Paragraph Number
	Description of Change
	Are Redlines Attached?

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	



11
PAGE  

8 of 14

