	ISOTEL 4 ULTRA
Premium Surge Suppressor with Modem/Fax Protection 
	

	[image: image1.png]



	[image: image2.png]



	[image: image3.png]





	

	

	
	 


	[image: image4.png]



	[image: image5.png]



	[image: image6.png]



	[image: image7.png]



	[image: image8.png]




	 
	 
	 

	 
	[image: image9.png]



	


Click to Enlarge 

MODEL NUMBER:
ISOTEL4ULTRA
[image: image11.png]



4 outlets/6 ft. cord
[image: image12.png]



2700 joule rating
[image: image13.png]



All metal housing with LEDs
[image: image14.png]



Isolated filter banks
[image: image15.png]



Modem/fax surge protection
[image: image16.png]



$50,000 Ultimate Lifetime Insurance
[image: image17.png]



For more than 20 years, America's leading companies have trusted Tripp Lite's Isobar Premium surge and noise suppressors to protect sensitive computer, networking and telecom equipment. With more than 14 million satisfied customers, the Isobar remains the world's #1 selling premium surge suppressor. Loaded with a generous combination of high quality components, near indestructible all-metal case, unique noise filtration system and built-in single line phone suppression for modems, the Isobar / Isotel series offers the highest level of protection attainable in a multi-outlet strip. Robust surge suppression circuits with sine-wave tracking offer extreme levels of protection against the heaviest surge conditions exceeding IEEE 587 category A & B specifications and reducing 6,000V test surges to harmless levels under 35 volts. Isobar's unique protection system combines large torroidal chokes, ferrite rod-core inductors, HF/VHF capacitors and multiple layers of metal oxide varistors into exclusive isolated filter banks that remove EMI/RFI interference, even noise generated by other pieces of connected equipment. ISOTEL4ULTRA offers 4 outlets arranged in two filter banks to prevent system crashes, reboots and performance problems common as noisy system peripherals are powered off and on. Surge suppression rated at 2700 joules / 92,000 amps offers network-grade protection. Widely spaced NEMA 5-15 outlets accommodate up to 2 large transformer plugs without blocking outlets. A pair of RJ11 jacks offer single phone line surge suppression for modems, fax machines and cordless phones. Diagnostic LEDs confirm power availability, line fault and protection status. Includes 6 foot AC line cord with space-saving angled input plug, keyhole mounting tabs and a set of 4 child safety covers. Lifetime warranty with $50,000 Ultimate Lifetime connected equipment insurance (USA and Canada only).

· PLUG / OUTLETS
Input: NEMA 5-15P / Output: 4 NEMA5-15R / 6 ft. AC line cord

· ELECTRICAL
120VAC, 50/60Hz (Requires NEMA 5-15R wall receptacle)

· SUPPRESSION
AC: 140V RMS Clamping / 2700 joules / 92,000 amps PHONE: Single line protection starts at 260V

· FORMAT
Corded all-metal strip with transformer spaced outlets 
[image: image18.png]Key Buying Points




· Tripp Lite's ISOBAR / ISOTEL is the world's #1 selling premium suppressor series with more than 14 million satisfied customers and a safety-tested history of 20+ years

· Robust surge suppression with sine-wave tracking protects against the heaviest of surge conditions, exceeding IEEE category A&B specifications and reducing 6,000V test surges to harmless levels less than 35 volts. 

· Multi-component suppression circuits combine torroidal chokes, ferrite rod-core inductors, HF/VHF capacitors and multiple layers of metal oxide varistors into exclusive isolated filter banks that remove EMI/RFI interference, even noise from other pieces of connected equipment

· Single phone line surge suppression protects modems, fax machines and cordless phones (2 wire, single line, RJ11 jacks)

· 4 outlets arranged in two filter banks prevent system crashes, reboots and performance problems common as noisy peripherals are powered off and on

· Network grade surge suppression rated at 2700 joules / 92,000 amps

· Widely spaced outlets accommodate up to 4 large transformer plugs without blocking outlets

· 3 LED indicators confirm suppressor operation and site wiring status, plus warning of suppressor or electrical fault conditions

· Lighted power switch confirms power on/off status

· 6 foot AC line cord with space-saving angled input plug

· Keyhole mounting tabs allow permanent installation

· Set of 4 outlet covers safely seal off unused outlets

· 120VAC, 50/60Hz electrical compatibility 

· $50,000 Ultimate Lifetime Insurance (US & Canada)

· Lifetime product warranty 

· UL1449 listed - surge suppression (330V let-through), UL1283 listed - EMI protection, UL1363 listed - power tap, UL497A listed - communications suppression, cUL approved to Canadian standards, Complies with part 68 - FCC rules

 

[image: image19.png]Typical Applications




Ideal for premium AC and phone line protection for personal computers with peripherals, network and CAD/CAM/CAE workstations, internetworking accessories, telecommunications systems, point of sale equipment, audio/video and home theater systems in any home, office or industrial application. 

  

[image: image20.png]Package Includes




· ISOTEL4ULTRA premium surge suppressor

· 6 ft. RJ11 telephone cable

· Set of 4 outlet safety covers

· Instruction manual with warranty information

 

[image: image21.png]Complete Specifications




 
Product
Product Name
ISOTEL 4 ULTRA
Model Number
ISOTEL4ULTRA
 
Electrical
Nominal Voltage / Frequency
120 Volts 50/60Hz
Current (amps)
92,000 (36,000 NM / 56,000 CM)
Total Outlet Quantity (Nema 5-15R)
4
Unswitched Outlet Quantity
N/A
Input Plug Type
Nema 5-15P
Space Saving 90 DegreeAngle Plug
Yes
Cord Length (ft.)
6 ft. 
On / Off Power switch
Lighted 2 position rocker
 
Additional Protection
Remote Power Switch
N/A
Auto Monitor Shutoff
N/A
Fax / Modem Surge Suppression (Dialup)
Set of RJ11 jacks protect a single telephone line (includes 12 ft telephone cable).
Fax / Modem Surge Suppression (Dialup)
Set of RJ11 jacks protect a single telephone line (includes 12 ft telephone cable).
Coax Suppression (Antenna, Satellite, CableTV)
N/A
 
Surge Suppression
UL Verified Surge Suppression Joule Rating
2700
EMI/RFI Filtering
>40 - 80dB
Isolated Filter Banks
Yes, 2 banks
UL 1449 (2nd Edition)
330 Volts
IEEE 587 Cat. A & B Let-through (nm)
<35V
Protection Modes
Line to Neutral, Line to Ground and Neutral to Ground.
Initial Clamping Voltage
140 Volts RMS
Response Time (nm/cm)
NM = 0 ns. CM = <1 ns. 
 
Diagnostic Indicators
Protected LED Verifies Suppressor Operation
Yes
Line OK LED Confirms Proper Outlet Wiring
Yes
Low Voltage LED Warns of Brownout Conditions
N/A
 
Physical
Unit Construction Material
Heavy Guage Aluminum
Unit Dimensions (inches)
2.5 x 6 x 3.5 
Format
Surge suppression strip with duplex outlet layout
Keyhole Tabs for Wall or Desk Mounting
Yes
 
Safety
Integrated Outlet Safety Covers
Yes
Overload Protection
12 amp resettable circuit breaker
 
Standards
Surge Suppression Performance
UL1449 (rev.'98)
Temporary Power Tap
UL1363
Canadian Standards
cUL
Phone Communications
UL497A
Communications Interference
FCC Part 68
Immunity
IEEE 587 Cat. A&B
Line Noise Filtering
UL1283
 
Warranty
Equipment Coverage (USA / Canada Only)
$50,000 
Duration of Connected Equipment Coverage
Lifetime
Product Replacement Warranty
Lifetime



