 SEQ CHAPTER \h \r 1
Item: Surge Suppressor
Manuf/Model: Tripp-Lite / Isotel 4 Ultra

Description: 

A four-outlet, diagnostic surge suppressor.






 

Rated Input Voltage: 105 to 135 VAC, 60 Hz

AC Energy Absorption: 2700 Joules

Amp Spike Protection: 92,000 amps

Transient Response Time: Instantaneous 

UL 1449 & UL 1283 listed

Installation Procedure: The surge suppressor is mounted inside an aluminum enclosure (which also contains the True Charge 10 battery charger and the two, 12 volt, 100 Ah batteries) on the back wall of the enclosure above the low voltage disconnect. Plug the power cord from the True Charge 10 battery charger and the power cord from the CH12R battery charger (located inside the enclosure that houses the CR23X datalogger) into the surge suppressor.

Why measure this parameter?:
No data measured for this item.

How is data recorded?:
No data recorded for this item.

How is data computed?:
No data computed for this item. 

What data / information is stored on the data logger?: 

No data pertaining to this item is stored in the data logger.

What values are transmitted?:
No data pertaining to this item transmitted.

